## Filtered Data SAP
Equipment | Sort field | Description | FunctLocation | Description | ManufPartNo. | ManufSerialNo. | Manufacturer | Model number | Room | User status | Acquistion date | Cost Center | Created on | EquipCategory | Location | Main Equipment | Main WorkCtr | MaintPlant | Miscellaneous 1 | Miscellaneous 2 | Start-up date
100048823 |  | BATIMENT | CH61 | Rebut |  |  |  |  | room 12 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | Vendu ? | 2010-09-10
100048124 |  | ENTRETIEN EXTERIEUR | CH61 | Rebut |  |  |  |  | room 13 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  |  | 2010-09-10
100048125 |  | NBS 75 L | CH61 | Rebut | N/A | 2250 | test 1 |  | room 14 | fonctionel | 1999-01-01 | CH65 | 2010-09-16 | M |  |  |  | CH21 |  | 2109 | 2010-10-05
100048126 |  | out | CH61 | Rebut |  |  | test 2 |  | room 15 | fonctionel |  | CH65 | 2010-10-07 | M | B101 |  |  | CH21
100048127 |  | out | CH61 | Rebut |  |  | test 3 |  | room 16 | fonctionel |  | CH65 | 2010-10-07 | M | B101 |  | PM-D1 | CH21
100048128 |  | erreur | CH61 | Rebut | REF: 60050 |  | test 4 |  | room 17 | fonctionel | 2010-10-01 | CH65 | 2010-11-08 | Q | B101 |  |  | CH21 |  | A0146 | 2010-11-05
123456789 | 10030 | erreur | CH61 | Technical services | 87 | 1236789 | test 5 |  | room 18 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456790 | 10031 | erreur | CH61 | Technical services | 87 | 1236790 | test 6 |  | room 19 | fonctionel | 1998-07-01 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456791 | 10032 | Process | CH61 | Technical services | 702 | 1236791 | test 7 |  | room 20 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456792 | 10033 | Thermomètre | CH61 | Technical services | DTI.8000 | 1236792 | test 8 |  | room 21 | fonctionel | 1995-01-01 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456793 | 10034 | Thermomètre TESTO | CH61 | Technical services | 781/0560.7810/0608.0678 | 1236793 | test 9 |  | room 22 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456794 | 10035 | Référence de pression | CH61 | Technical services | EC.631.0000.A | 1236794 | test 10 |  | room 23 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456795 | 10036 | Compte-tours | CH61 | Technical services | DHR 906 | 1236795 | test 11 |  | room 24 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456796 | 10037 | Conductimètre | CH61 | Technical services | CONCAL | 1236796 | test 12 |  | room 25 | fonctionel | 1998-09-01 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456797 | 10038 | Débitmètre | CH61 | Technical services | PROMASS | 1236797 | test 13 |  | room 26 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456798 | 10039 | Sonde haut voltage | CH61 | Technical services | 80K-6 | 1236798 | test 14 |  | room 27 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456799 | 10040 | Bain à huile | CH61 | Technical services | F8/B5 | 1236799 | test 15 |  | room 28 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456800 | 10041 | Bain-maries | CH61 | Technical services |  | 1236800 | test 16 |  | room 29 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456801 | 10042 | Bain-marie | CH61 | Technical services |  | 1236801 | test 17 |  | room 30 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
123456802 | 10043 | Thermohy gromètre | CH61 | Rebut | TH550 | 1236802 | test 18 |  | room 31 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
1002316789 | 10044 | Poids | CH61 | Technical services | 100-100G | 73227/446654 | test 19 |  | room 32 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
1002316790 | 10045 | Manomètre de référence | CH61 | Technical services | 1.4571 | 73227/446655 | test 20 |  | room 33 | fonctionel | 1999-12-02 | CH65 | 2010-09-10 | Q | B102 |  | PM-V1 | CH21 |  |  | 2010-09-10
1002316791 | 10046 | Référence de Pression DRUCK | CH61 | Technical services | DPI 61 PC | 73227/446656 | test 21 |  | room 34 | fonctionel | 2001-02-22 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
1002316792 | 10047 | Thermomètre digital | CH61 | Technical services | DTI1000 | 73227/446657 | test 22 |  | room 35 | fonctionel | 2001-05-03 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
1002316793 | 10048 | Référence de Pression | CH61 | Technical services | KAL100 | 73227/446658 | test 23 |  | room 36 | fonctionel | 2003-06-16 | CH65 | 2010-09-10 | Q | B101 |  | PM-V1 | CH21 |  |  | 2010-09-10
1002316794 | 10049 | Deshumidificateur / Dehumidifier | CH61 | Rebut | TISB | 73227/446659 | test 24 |  | room 37 | fonctionel | 2004-02-01 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | Perdu (LSA | 2010-09-10
1002316795 | 10050 | Drive unit | CH61 | Transfert à MA | DU000 | 73227/446660 | test 25 |  | room 38 | fonctionel | 2005-08-23 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | LSA | 2010-09-10
1002316796 | 10051 | Pompe péristaltique | CH61 | Transfert à MA | WM 509 | A103459 | test 26 |  | room 39 | fonctionel | 1990-01-01 | CH65 | 2010-09-16 | M |  |  |  | CH21 |  | Suite 1 USP | 2010-09-16
1012306667 | 10052 | Moteur-réducteur | CH61 | Transfert à MA | 2NVCR | 00440556 | test 27 |  | room 40 | fonctionel | 2006-08-07 | CH65 | 2010-09-16 | M |  |  |  | CH21 |  | Suite 1 USP | 2010-09-16
1012306668 | 10053 | Sonde O2 | CH61 | Transfert à MA | PN 5220 | S 6198185 | test 28 |  | room 41 | fonctionel | 2006-12-05 | CH65 | 2010-09-16 | M |  |  |  | CH21 |  | Suite 1 USP | 2010-09-16
1012306669 | 10054 | Supervision DC 1 | CH61 | Transfert à MA | BIOST QUAD | 05137/06 | test 29 |  | room 42 | fonctionel | 2007-02-06 | CH65 | 2010-09-10 | M | B102 | X | PM-A | CH21 |  |  | 2010-09-10
1012306670 | 10055 | Supervision DC 2 | CH61 | Transfert à MA | BIOST QUAD | 01161/07 | test 30 |  | room 43 | fonctionel | 2007-03-06 | CH65 | 2010-09-10 | M | B102 |  | PM-A | CH21 |  |  | 2010-10-05
1012306671 | 10056 | Supervision DC 3 | CH61 | Transfert à MA | BIOST QUAD | 01160/07 | test 31 |  | room 44 | fonctionel | 2007-03-06 | CH65 | 2010-09-10 | M | B102 |  | PM-A | CH21 |  |  | 2010-10-05
1012306672 | 10057 | Supervision DC 4 | CH61 | Transfert à MA | BIOST QUAD | 01159/07 | test 32 |  | room 45 | fonctionel | 2007-03-06 | CH65 | 2010-09-10 | M | B102 |  | PM-A | CH21 |  |  | 2010-10-05
1012306673 | 10058 | Supervision DC 5 | CH61 | Transfert à MA | BIOST QUAD | 01158/07 | test 33 |  | room 46 | fonctionel | 2007-03-06 | CH65 | 2010-09-10 | M | B102 |  | PM-A | CH21 |  |  | 2010-10-05
1012306674 | 10059 | Moteur-réducteur | CH61 | Transfert à MSA | SPLt81-2N | 00972090 | test 34 |  | room 47 | fonctionel | 2007-06-01 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | LSA | 2010-09-10
1012306675 | 10060 | Automate | CH61 | Transfert à MSA | 315 |  | test 35 |  | room 48 | fonctionel | 2007-09-01 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | S-B5230 | 2010-09-10
1012306676 | 10061 | Pompe péristaltique | CH61 | Transfert à MSA | WM 505 U | 9040066 | test 36 |  | room 49 | fonctionel | 2005-11-15 | CH65 | 2010-09-16 | M |  |  |  | CH21 |  | Suite 1 USP | 2010-09-16
1012306677 | 10062 | test support | CH61 | Transfert à MSA | IB-75 | N/A | test 37 |  | room 50 | fonctionel | 2007-09-30 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | LSA | 2010-09-10
1012306678 | 10063 | Moteur-réducteur | CH61 | Transfert à MSA | IB-76 | 00440556 | test 38 |  | room 51 | fonctionel | 2007-09-30 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | LSA | 2010-09-10
100454789 | 10064 | Transmetteur de température | CH61 | Transfert à MSA | RTM80-A | N/A | test 39 |  | room 52 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | S-B5230 | 2010-09-10
100454790 | 10065 | Transmetteur de poids | CH61 | Transfert à MSA | IND110 | N/A | test 40 |  | room 53 | fonctionel | 2007-05-16 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | S-B5230 | 2010-09-10
100454791 | 10066 | Indicateur/Controleur de vitesse | CH61 | Transfert à MSA | IND111 | N/A | test 41 |  | room 54 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | S-B5230 | 2010-09-10
100454792 | 10067 | Débitmètre | CH61 | Transfert à MSA | IND112 | 63119 | test 42 |  | room 55 | fonctionel | 1990-01-01 | CH65 | 2010-09-16 | M |  |  |  | CH21 |  | Suite 1 USP | 2010-09-16
100454793 | 10068 | Débitmètre | CH61 | Transfert à MSA | IND113 | 63123 | test 43 |  | room 56 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | LSA | 2010-09-10
100454794 | 10069 | Pompe péristaltique | CH61 | Transfert à MSA | WM 504 | 7060273 | test 44 |  | room 57 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | LSA | 2010-09-10
100454795 | 10070 | Pompe péristaltique WM62056 | CH61 | Transfert à MSA | WM 62 | H080030 | test 45 |  | room 58 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | Suite 1 USP | 2010-09-10
100454796 | 10071 | Vanne débit + Actionneur | CH61 | Transfert à MSA | BIOST QUAD | 45426700604 | test 46 |  | room 59 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | LSA | 2010-09-10
100454797 | 10072 | Vanne débit + Actionneur | CH61 | Transfert à MSA | BIOST QUAD | 45386800102 | test 47 |  | room 60 | fonctionel | 1990-01-01 | CH65 | 2010-09-10 | M |  |  |  | CH21 |  | Suite 1 USP | 2010-09-10

## DataBase Application
Equipment | Sort field | Description | FunctLocation | Description | ManufPartNo. | ManufSerialNo. | Manufacturer | Model number | Room | User status | Acquistion date | Cost Center | Created on | EquipCategory | Location | Main Equipment | Main WorkCtr | MaintPlant | Miscellaneous 1 | Miscellaneous 2 | Start-up date | Ver. | CS ID | CS Description | Department | Sub-department (USP-DSP-Suite..) | Equipement Number | Site Tag Name | Description of Asset | Equipment Category | Room | Manufacturer | Model Number | Serial Number | Part Number | Firmware Name | Firmware Version | Operating System Name | Operating System Version | Application Name | Application Version | (Custom) Application Name | (Custom) Application Version | Fix node Name | VLAN ID: VLAN Name | IP Address | Subnet Mask | Default Gateway | Patch Panel: Port Number | Switch: Port Number | Number of free Network Cards | Type | Comments | Type | Comments | Type | Frequency | Comments | Type | Frequency | Comments | Hostname | Domaine | Number of cables | Cable n° 1 | Cable n° 2 | Cable n° 3 | Cable n° 4 | Cable n° 5 | Cable n° 6 | Cable n° 7 | Printing | Communication protocol | Switch | Connectable | Non Connectable | Access level management | Access level management type | Remote maintenance | Type of remote maintenance | Database Server | Application server | License server | Inventory in progress | Inventory validation | Inventory date | Observation

## Criteria
| Criteria | Value
23 | Ver.
24 | CS ID
25 | CS Description
26 | Department
27 | Sub-department (USP-DSP-Suite..)
28 | Equipement Number
29 | Site Tag Name
30 | Description of Asset | PC2 | PC | ATOM | VIES | THIN CLIENT | PANEL PC | PANEL
31 | Equipment Category
32 | Room
33 | Manufacturer
34 | Model Number
35 | Serial Number
36 | Part Number
37 | Firmware Name
38 | Firmware Version
39 | Operating System Name | WINDOWS 95 | WINDOWS 98 | WINDOWS 2000 | WINDOWS NT 2000 | WINDOWS XP | WINDOWS VISTA | WINDOWS 7 | WINDOWS 10 | WINDOWS EMBEDED | SCHNEIDER | SIEMENS | DOS | ALLEN BRADLEY | BECKOFF | FESTO
40 | Operating System Version | SP1 | SP2 | SP3 | S7-200 | S7-300 | S7-400
41 | Application Name
42 | Application Version
43 | Application Name
44 | Application Version
45 | Fix node Name
46 | VLAN ID: VLAN Name
47 | IP Address
48 | Subnet Mask
49 | Default Gateway
50 | Patch Panel: Port Number
51 | Switch: Port Number
52 | Number of free Network Cards
53 | Type | DIRECTORY
54 | Comments
55 | Type | DIRECTORY 2
56 | Comments
57 | Type | WINDOWS BACKUP | ACRO
58 | Frequency | 1 | 2 | 3 | 4
59 | Comments
60 | Type | SCRI | ACRO
61 | Frequency | 1 | 2 | 3 | 4
62 | Comments
63 | Hostname
64 | Domaine
65 | Number of cables
66 | Cable n° 1
67 | Cable n° 2
68 | Cable n° 3
69 | Cable n° 4
70 | Cable n° 5
71 | Cable n° 6
72 | Cable n° 7
73 | Printing
74 | Communication protocol | ETHERNET/IP | PROFIBUS DP | PROFINET | TCP/IP | CAN | POWERLINK | ETHERCAT
75 | Switch
76 | Connectable
77 | Non Connectable
78 | Access level management
79 | Access level management type | BADGE | KEY
80 | Remote maintenance
81 | Type of remote maintenance | PC ANYWHERE | REMOTE UTILITIES
82 | Database Server
83 | Application server
84 | License server
85 | Inventory in progress
86 | Inventory validation
87 | Inventory date
88 | Observation