## SPReport_Definition (hidden)
0 | Cable | Cable Drum | ConnectionSide2 Cable | ConnectionSide1 Cable | Equipment ConnectionSide2 Cable | Power Distribution Board_2 | SubClass Wiring Equipment | SubClass Panel | SubClass Local Panel | SubClass Junction Box | SubClass Cabinet | SubClass Electrical Equipment | SubClass Circuit To | SubClass Converting Electrical Equipment | SubClass Other Converting Equipment | SubClass Variable Frequency Drive | SubClass UPS | SubClass Transformer | SubClass Load | SubClass Resistor | SubClass Heat Trace | SubClass Harmonic Filter | SubClass Heater | SubClass Other Electrical Equipment | SubClass Motor | Equipment ConnectionSide1 Cable | Power Distribution Board_1 | SubClass Electrical Equipment Circuit | SubClass Circuit From
12 | Cable | CableDrum | Cable | Cable | Equipment | PowerDistributionBoard | WiringEquipment | Panel | LocalPanel | Junctionbox | Cabinet | ElectricalEquipment | Circuit | ConvertingElectEquip | OtherConvertingEquipment | VariableFrequencyDrive | UPS | Transformer | Load | Resistor | HeatTrace | HarmonicFilter | Heater | OtherElectEquipment | Motor | Equipment | PowerDistributionBoard | ElectricalEquipment | Circuit
|  | Cable;Cable.CableDrum | Cable;Cable.ConnectionSide2.Cable | Cable;Cable.ConnectionSide1.Cable | Cable;Equipment.ConnectionSide2.Cable | Equipment ConnectionSide2 Cable;PowerDistributionBoard.Equipment | Equipment ConnectionSide2 Cable;Equipment.SubClass.WiringEquipment | SubClass Wiring Equipment;WiringEquipment.SubClass.Panel | SubClass Panel;Panel.SubClass.LocalPanel | SubClass Panel;Panel.SubClass.Junctionbox | SubClass Panel;Panel.SubClass.Cabinet | Equipment ConnectionSide2 Cable;Equipment.SubClass.ElectricalEquipment | SubClass Electrical Equipment;ElectricalEquipment.SubClass.Circuit | SubClass Electrical Equipment;ElectricalEquipment.SubClass.ConvertingElectEquip | SubClass Converting Electrical Equipment;ConvertingElectEquip.SubClass.OtherConvertingEquipment | SubClass Converting Electrical Equipment;ConvertingElectEquip.SubClass.VariableFrequencyDrive | SubClass Converting Electrical Equipment;ConvertingElectEquip.SubClass.UPS | SubClass Converting Electrical Equipment;ConvertingElectEquip.SubClass.Transformer | SubClass Electrical Equipment;ElectricalEquipment.SubClass.Load | SubClass Load;Load.SubClass.Resistor | SubClass Load;Load.SubClass.HeatTrace | SubClass Load;Load.SubClass.HarmonicFilter | SubClass Load;Load.SubClass.Heater | SubClass Load;Load.SubClass.OtherElectEquipment | SubClass Load;Load.SubClass.Motor | Cable;Equipment.ConnectionSide1.Cable | Equipment ConnectionSide1 Cable;PowerDistributionBoard.Equipment | Equipment ConnectionSide1 Cable;Equipment.SubClass.ElectricalEquipment | SubClass Electrical Equipment Circuit;ElectricalEquipment.SubClass.Circuit
| FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| 57 | 1 | 3 | 1 | 11 | 2 | 3 | 3 | 1 | 1 | 1 | 0 | 1 | 3 | 1 | 1 | 1 | 1 | 3 | 1 | 1 | 1 | 1 | 1 | 1 | 11 | 2 | 0 | 1
| 4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
3 | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE | FALSE
| StatusType;True | ItemTag | PlantItemGroup.Name | PlantItemGroup.Name | ElectricalEquipmentSubClass | Substation;True | StatusType;True | ItemStatus;True | RatedActiveLoad | RatedActiveLoad | CabinetRatedPower |  | SP_PartNo | StatusType;True | OtherConvertRatedPower | VarFreqDriveRatedPower | UPSRatedPower | TransformerRatedPower | StatusType;True | ResistorRatedPower | HeatTraceRatedPower | HarmonicFilterRatedPower | HeaterRatedPower | OtherEquipRatedPower | MotorRatedPower | ElectricalEquipmentSubClass | Substation;True |  | SP_PartNo
| Rev |  | PlantGroup.Name |  | PowerDistributionBoard.ItemTag | PCWBS;True | ItemStatus;True | StatusType;True | [5 empty] | ItemStatus;True |  |  |  |  | ItemStatus;True | [6 empty] | PowerDistributionBoard.ItemTag | PCWBS;True
0 | ItemTag |  | ConnectionSide2PlantItem.PlantGroup.Name |  | Bus.ItemTag |  | DesignBy | DesignBy;True | [5 empty] | DesignBy |  |  |  |  | DesignBy | [6 empty] | Bus.ItemTag
FALSE | DesignBy;True |  |  |  | Circuit.ItemTag | [20 empty] | Circuit.ItemTag
| CableCategory |  |  |  | Description | [20 empty] | Description
| RefEquipment.ItemTag |  |  |  | Bus.Description | [20 empty] | Bus.Description
| CableSpecification |  |  |  | PowerDistributionBoard.BuildingName | [20 empty] | PowerDistributionBoard.BuildingName
| InsulationVoltageRating |  |  |  | ItemTag | [20 empty] | ItemTag
| RefGlandSide1.ItemTag |  |  |  | Circuit.Panel.SP_PartNo | [20 empty] | Circuit.Panel.SP_PartNo
| RefGlandSide2.ItemTag |  |  |  | Substation;True | [20 empty] | Substation;True
| SP_ActualRoutingPath |  |  |  | PCWBS;True | [20 empty] | PCWBS;True
Tail1Length
Tail2Length
EstimatedCableLength
DesignLength
RoutedLength
ActualLength
PullingArea
Note
SP_ID
SegregationLevel
WeightPerLength
OutsideDiameter
SupplyAcDcFlag
RatedVoltage
NoOfPhases
FullLoadCurrent
StartingCurrent
PowerFactorFullLoad
PowerFactorAtStarting
Routing
CustomDeratingFactor
AllowVoltDropPercentRunning
AllowVoltDropPercentStart
CableSizingFlag
InsulationTempRating
BasicAmpacityInAir
BasicAmpacityInGround
Reactance
Resistivity
InsulationMaterial;True
ConductorMaterial
SpareLength
ConnectionSide1PlantItem.ItemTag
ConnectionSide2PlantItem.ItemTag
ConnectionSide1PlantItem.PlantGroup.Name
ConnectionSide2PlantItem.PlantGroup.Name
Description
CableFormation
ConductorSize
RoutingPath
SP_CustomBasicAmpacity
ItemStatus;True
PurchaseBy;True
ComplyToNamingConvention
IsInternalEss
ElectricalEquipmentClassCPY
ConnectionSide1PlantItem.ItemTag,0
ConductorSize,1
CableCategory,1
RatedVoltage,1
Note on A1: Defines the number of rows to skip between items in the report.
Note on B1: Item name
Note on A2: Defines the number of header rows in the report.
Note on B2: View name
Note on B3: Parent item name
Note on B4: Filter name
Note on B5: Repeat flag
Note on B6: Item property count
Note on B7: Sort property count
Note on A8: Version
Note on B8: Group flag
Note on B9: Property name, Display format
Note on A10: Plant name

## Sheet1
#REF!
STATUS |  |  |  | IDENTIFICATION |  |  | FROM |  |  |  |  | TO |  |  |  |  | REFERENCE CABLE
S. No. | Item Status | Status Type | Revision | Item Tag | Design By | Purchase By | Tag | Description | Location | PCWBS Level 2 | PCWBS Level 3 & 4 | Tag | Description | Is Internal Ess | PCWBS Level 2 | PCWBS Level 3 & 4 | Cable Category | Reference Cable
S. No. | Item Status | Status Type | Revision | Item Tag | Design By | Purchase By | Tag From | Description From | Location From | PCWBS Level 2 From | PCWBS 3 & 4 From | Tag To | Description To | Is Internal Ess | PCWBS Level 2 To | PCWBS 3 & 4 To | Cable Category | Reference Cable
01 | 02 | 03 | 04 | 05 | 06 | 07 | 08 | 09 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19
22 | E | A | A | P-11-CEM651102-B2PS | TPF | TPF | 11-SWG823891 | 11 kV AIR INSULATED SWITCHGEAR | 11-SSLE-045 | C200 | C231 | 11-CEM651102 | SERVICE GAS COMPRESSOR | No | C200 | C232 | Power | 6/10 kV-1x(1x400mm2)-CU-XLPE-AWA | Bonjour, je souhaite en VBA supprimer la chaine de caracteres "-TSxx" en fin de colonne S. Exemple: "450/750V-2x2.5mm2-CU-XLPE-UA-TS67" Resultat que je souhaite obtenir => 450/750V-2x2.5mm2-CU-XLPE-UA -TSxx se trouvera toujours en fin de chaine de caractere et sera toujours d'une longueur de 5 caracteres. J'ai essayé de faire un VBA mais j'ai du raté quelque chose (voir module4). Merci de votre aide !
23 |  |  |  | P-11-CEM657025 | TPF |  | 11-SWG822221 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-CEM657025 | OFF-GAS COMPRESSOR (STRADDLING) - TURNING MOTOR |  | C100 | C132 | Power | 0.6/1kV-3x2.5mm2-CU-XLPE-SWA
24 |  |  |  | C-11-CEM657025--67 | TPF | TPF | 11-SWG822221 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-IRP657025 | OFF-GAS COMPRESSOR (STRADDLING) - TURNING MOTOR |  | C100 | C132 | Control | 450/750V-2x2.5mm2-CU-XLPE-UA-TS67
25 |  |  |  | C-11-EMK657025-01 | TPF | TPF | 11-SWG822221 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-EMK657025 | OFF-GAS COMPRESSOR (STRADDLING) - TURNING MOTOR |  | C100 | C132 | Control | 450/750V-5x2.5mm2-CU-XLPE-SWA
26 |  |  |  | C-11-CEM657025--07 | TPF | TPF | 11-SWG822221 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-IRP657025 | OFF-GAS COMPRESSOR (STRADDLING) - TURNING MOTOR |  | C100 | C132 | Control | 450/750V-2x2.5mm2-CU-MGT-XLPE-UA-TS07
27 |  |  |  | C-11-EPB657025-05 | TPF | TPF | 11-SWG822221 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-EPB657025 | OFF-GAS COMPRESSOR (STRADDLING) - TURNING MOTOR |  | C100 | C132 | Control | 450/750V-5x2.5mm2-CU-XLPE-SWA-TS05
28 |  |  |  | C-11-EPB657025-91 | TPF | TPF | 11-SWG822221 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-EPB657025 | OFF-GAS COMPRESSOR (STRADDLING) - TURNING MOTOR |  | C100 | C132 | Control | 450/750V-2x2.5mm2-CU-XLPE-SWA-TS91
29 |  |  |  | C-11-EMK657025-04 | TPF | TPF | 11-SWG822221 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-EMK657025 | OFF-GAS COMPRESSOR (STRADDLING) - TURNING MOTOR |  | C100 | C132 | Control | 450/750V-5x2.5mm2-CU-XLPE-SWA-TS04
30 |  |  |  | P-11-CEM657225 | TPF |  | 11-SWG822222 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-CEM657225 | OFF-GAS COMPRESSOR (NON STRADDLING) - TURNING MOTOR |  | C100 | C132 | Power | 0.6/1kV-3x2.5mm2-CU-XLPE-SWA
31 |  |  |  | C-11-EPB657225-05 | TPF | TPF | 11-SWG822222 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-EPB657225 | OFF-GAS COMPRESSOR (NON STRADDLING) - TURNING MOTOR |  | C100 | C132 | Control | 450/750V-5x2.5mm2-CU-XLPE-SWA-TS05
32 |  |  |  | C-11-EMK657225-01 | TPF | TPF | 11-SWG822222 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-EMK657225 | OFF-GAS COMPRESSOR (NON STRADDLING) - TURNING MOTOR |  | C100 | C132 | Control | 450/750V-5x2.5mm2-CU-XLPE-SWA
33 |  |  |  | C-11-EMK657225-04 | TPF | TPF | 11-SWG822222 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-EMK657225 | OFF-GAS COMPRESSOR (NON STRADDLING) - TURNING MOTOR |  | C100 | C132 | Control | 450/750V-5x2.5mm2-CU-XLPE-SWA-TS04
34 |  |  |  | C-11-CEM657225--07 | TPF | TPF | 11-SWG822222 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-IRP657225 | OFF-GAS COMPRESSOR (NON STRADDLING) - TURNING MOTOR |  | C100 | C132 | Control | 450/750V-2x2.5mm2-CU-MGT-XLPE-UA-TS07
35 |  |  |  | C-11-EPB657225-91 | TPF | TPF | 11-SWG822222 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-EPB657225 | OFF-GAS COMPRESSOR (NON STRADDLING) - TURNING MOTOR |  | C100 | C132 | Control | 450/750V-2x2.5mm2-CU-XLPE-SWA-TS91
36 |  |  |  | C-11-CEM657225--67 | TPF | TPF | 11-SWG822222 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-IRP657225 | OFF-GAS COMPRESSOR (NON STRADDLING) - TURNING MOTOR |  | C100 | C132 | Control | 450/750V-2x2.5mm2-CU-XLPE-UA-TS67
37 |  |  |  | P-11-CGEM671005A | TPF |  | 11-SWG822231 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-CGEM671005A | HYDRATE INHIBITORS UNIT RECLAMATION TRAIN 1 - CENTRIFUGE AUXILIARY A |  | C100 | C134 | Power | 0.6/1kV-3x2.5mm2-CU-XLPE-SWA
38 |  |  |  | C-11-CGEM671005A--07 | TPF | TPF | 11-SWG822231 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-IRPM671005A | HYDRATE INHIBITORS UNIT RECLAMATION TRAIN 1 - CENTRIFUGE AUXILIARY A |  | C100 | C134 | Control | 450/750V-2x2.5mm2-CU-MGT-XLPE-UA-TS07
39 |  |  |  | C-11-EMKM671005A-01 | TPF | TPF | 11-SWG822231 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-EMKM671005A | HYDRATE INHIBITORS UNIT RECLAMATION TRAIN 1 - CENTRIFUGE AUXILIARY A |  | C100 | C134 | Control | 450/750V-5x2.5mm2-CU-XLPE-SWA
40 |  |  |  | C-11-EPBM671005A-91 | TPF | TPF | 11-SWG822231 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-EPBM671005A | HYDRATE INHIBITORS UNIT RECLAMATION TRAIN 1 - CENTRIFUGE AUXILIARY A |  | C100 | C134 | Control | 450/750V-2x2.5mm2-CU-XLPE-SWA-TS91
41 |  |  |  | C-11-CGEM671005A--67 | TPF | TPF | 11-SWG822231 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-IRPM671005A | HYDRATE INHIBITORS UNIT RECLAMATION TRAIN 1 - CENTRIFUGE AUXILIARY A |  | C100 | C134 | Control | 450/750V-2x2.5mm2-CU-XLPE-UA-TS67
42 |  |  |  | C-11-EMKM671005A-04 | TPF | TPF | 11-SWG822231 | 0.4 kV SWITCHGEAR | 11-SSLE-048 | C100 | C136 | 11-EMKM671005A | HYDRATE INHIBITORS UNIT RECLAMATION TRAIN 1 - CENTRIFUGE AUXILIARY A |  | C100 | C134 | Control | 450/750V-5x2.5mm2-CU-XLPE-SWA-TS04