## Preventive maintenance
2014
|  |  | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri
Plant and Task |  | Responsible | 2014-09-29 | 2014-09-30 | 2014-10-01 | 2014-10-02 | 2014-10-03 | 2014-10-06 | 2014-10-07 | 2014-10-08 | 2014-10-09 | 2014-10-10 | 2014-10-13 | 2014-10-14 | 2014-10-15 | 2014-10-16 | 2014-10-17 | 2014-10-20 | 2014-10-21 | 2014-10-22 | 2014-10-23 | 2014-10-24
Air System
Check Receivers drains are working | Weekly | TD
Check for leaks | Weekly
Oil Level in compressors | Weekly | SC or PG
Air line Physical damage check | Monthly
Main inline Filter | Annually | PG | 2014-10-06: Changed 05/05/14
Coating Plant Air Filter | Annually | PG | 2014-10-06: Changed 05/05/14
Electric Circuits
Check for signs of wear 1 area per week | Weekly | MF
Check Plugs for arcing 1 area per week | Weekly | MF
Factory
lights in the factory | Monthly | TD
|  |  | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri
Plant and Task |  | Responsible | 2014-09-29 | 2014-09-30 | 2014-10-01 | 2014-10-02 | 2014-10-03 | 2014-10-06 | 2014-10-07 | 2014-10-08 | 2014-10-09 | 2014-10-10 | 2014-10-13 | 2014-10-14 | 2014-10-15 | 2014-10-16 | 2014-10-17 | 2014-10-20 | 2014-10-21 | 2014-10-22 | 2014-10-23 | 2014-10-24
Head Press Room
Check for damage to buttons/switches,Air regulators and pressure gauges, cabinets and sensors | Weekly | ZHC/JD
Check for air leaks | Weekly | ZHC/JD
Tidy loose cables | Weekly | ZHC/JD
Clean Machine 1 per week | Weekly | ZHC/JD
Grease and Lubricate 1 per week | Weekly | ZHC/JD
Check Rumbler oil level | Weekly | ZHC/JD
Clean Rumbler all over | Weekly | ZHC/JD
|  |  | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri
Plant and Task |  | Responsible | 2014-09-29 | 2014-09-30 | 2014-10-01 | 2014-10-02 | 2014-10-03 | 2014-10-06 | 2014-10-07 | 2014-10-08 | 2014-10-09 | 2014-10-10 | 2014-10-13 | 2014-10-14 | 2014-10-15 | 2014-10-16 | 2014-10-17 | 2014-10-20 | 2014-10-21 | 2014-10-22 | 2014-10-23 | 2014-10-24
Strap Room
Check for damage to guarding, buttons/switches,Air regulators and pressure gauges, cabinets and sensors | Weekly | SS or TD
Check for air leaks | Weekly | SS or TD
Tidy loose cables | Weekly | SS or TD
Clean Machine: 1 per week, strap machine or power press | Weekly | SS or TD
Grease and Lubricate power presses 1 per week | Weekly | SS or TD
Clean hand washing sink | Weekly | SS
|  |  | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri
Plant and Task |  | Responsible | 2014-09-29 | 2014-09-30 | 2014-10-01 | 2014-10-02 | 2014-10-03 | 2014-10-06 | 2014-10-07 | 2014-10-08 | 2014-10-09 | 2014-10-10 | 2014-10-13 | 2014-10-14 | 2014-10-15 | 2014-10-16 | 2014-10-17 | 2014-10-20 | 2014-10-21 | 2014-10-22 | 2014-10-23 | 2014-10-24
Padding room
Check for damage to guarding, buttons/switches,Air regulators and pressure gauges, cabinets and sensors | Weekly | DA
Check for air leaks | Weekly | DA
Tidy loose cables | Weekly | DA
Clean Machine 1 per week, | Weekly | DA
|  |  | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri
Plant and Task |  | Responsible | 2014-09-29 | 2014-09-30 | 2014-10-01 | 2014-10-02 | 2014-10-03 | 2014-10-06 | 2014-10-07 | 2014-10-08 | 2014-10-09 | 2014-10-10 | 2014-10-13 | 2014-10-14 | 2014-10-15 | 2014-10-16 | 2014-10-17 | 2014-10-20 | 2014-10-21 | 2014-10-22 | 2014-10-23 | 2014-10-24
Hand Coating
Strip gun and check injector sleeves+ clean pipes | Weekly | SD
Clean Extractor Booth | Weekly | SD
Clean holes in trolley for bars to sit in +trolley wheels | Weekly | SD
Clean oven Floor | Weekly | SD
Welders
Check weld nests for damage and wear | Weekly | KF
Check for water leaks | Weekly | KF
Clean whole machine 1 per week | Weekly | KF
2014-10-27
2014-09-01

## Preventive maintenance
2014
|  |  | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri | Mon | Tue | Wed | Thu | Fri
Plant and Task |  | Responsible | 2014-09-29 | 2014-09-30 | 2014-10-01 | 2014-10-02 | 2014-10-03 | 2014-10-06 | 2014-10-07 | 2014-10-08 | 2014-10-09 | 2014-10-10 | 2014-10-13 | 2014-10-14 | 2014-10-15 | 2014-10-16 | 2014-10-17 | 2014-10-20 | 2014-10-21 | 2014-10-22 | 2014-10-23 | 2014-10-24
Coating Plant
Cleaning tank 1 - Drain, washdown and refill with correct solution | Weekly
Clean out Ovens 1 & 5 | Weekly
Check electrical contacts in each oven | Weekly
Check Oven Control Box - check if any circuitbreakers have switched off. Check for burning/melting/other damage to wiring | Weekly
Clean Laser Booth and Lens | Weekly
Check / clean Water Traps | Weekly
Upstairs - Check Vacuum Bag. Replace / Clean as required. | Weekly
Clean down spraybooth and Gun | Weekly
Clean down Powder Pump, Injector-sleeve, etc | Weekly
powder hopper is full | Daily
Cleaning tank 3 - Check level of solution, top up if required | Daily
Cleaning tank 1 - Check level of solution, top up with fresh water if required | Daily
Water level in Cooler | Weekly
Clean Rollers and Guides | Weekly
Check condition of Hoses | Weekly
Check condition of HT Cable | Weekly
Cleaning tank 3 - Drain, washdown and refill with correct solution | Bi -weekly
Grease | Monthly
Check voltage controller in control cabinet | Monthly | PG
Check Vacuum Drive belt | Monthly
Cleanout Powder Hopper. Replace old Powder with fresh | Monthly
Water Cooler - complete clean(2 man job) | Monthly
Strip down and clean Spray Gun. Check for any internal wear, etc | Monthly
Clean Spinning Disc & Brushes | Monthly
Clean out Ovens 2, 3 & 4 | Monthly
Length of Coated Material Record settings | Monthly
Check Condition of Oven Rollers | Monthly
Clean out Extraction Pipes at Oven's ends | Monthly
Stripdown & clean X-Fan & all big pipes | Annually |  | 2014-09-29: Cleaned 25/9/14

## Forklift
2014
Forklift Pre-Use Checksheet |  |  |  | Make: |  | Komatsu |  |  |  | Model: |  |  | FB18M-25 (Electric)
Check every month
|  |  |  | January | February | March | April | May | June | July | August | September | October | November | December
| Item | Checks | Responsible | TD | SC | MF | JD | PG | ZHC | TD | JD | ZHC | ZHC | SS | JD
1 | Capacity Plate | Is it present?
2 | Fork Arms | Cracks, Level, Pins, Tips, Heels
3 | Carriage Plate | Distortion, Worn, Stop Bolts
4 | Backrest Extension | Distortion, Welds, Security
5 | Mast | Distortion, Straightness
6 | Mast Rollers & Slide | Foreign Bodies
7 | Lift Chains | Slack? Pins, Lubrication
8 | Chain Pulleys | Excessive Wear
9 | Hydraulic Pipes | Couplings, Leaks, Worn
10 | Hydraulic Cylinders | Leaks, Condition
11 | Wheels | Wheel Nut Security
12 | Tyres | Worn Tred, Chunks Missing
13 | Lights | Condition, Working
14 | Overhead Guard | Security
15 | External Condition | Overall Condition
16 | Battery | Bad Smell, Condition
17 | Operating Position | Clear of Obstructions
18 | Operators Seat | Security
19 | Starting Procedure | Warning Lights, Charged
20 | Seat Belt | Present, Working Order
21 | Audible Warnings | Horn/Reverse Siren - Working
22 | Hydraulic Controls | Working Order
23 | Foot / Hand Brakes | Working Order
24 | Steering | Working Order
Notes
January
February
March
April
May
June
July
August
September
October
November
December

## Pallet Safety
Initials | Date | A-C | D-F | G-I | J-L | N-Q | R-T

## Alarm and Extinguisher
2014 | Fire alarm drill (Annually) | Fire extinguisher service | Fire extinguisher checks (Monthly) | Fire alarm testing (Weekly) | Fire exits and emergency lighting (Weekly) | External and internal house keeping | Ground Floor Evacuation Plan Here | First Floor Evacuation Plan Here
January |  |  | 31/01/2014 OK | 15:00 03/01/14 Side Fire Door | 15:00 03/01/14 OK | 15:00 03/01/14 OK
|  |  |  | 15:00 10/01/14 Top Office Stairs | 15:00 10/01/14 OK | 15:00 10/01/14 OK
|  |  |  | 15:00 17/01/14 Lobby | 15:00 17/01/14 OK | 15:00 17/01/14 OK
|  |  |  | 15:00 24/01/14 Office Smoke Detector | 15:00 24/01/14 OK | 15:00 24/01/14 OK
|  |  |  | 15:00 31/01/14 Roller Door 1 | 15:00 31/01/14 OK | 15:00 31/01/14 OK
February |  | 2014 Firewatch certificate here | 28/02/2014 OK | 15:00 07/02/14 Roller Door 2 | 15:00 07/02/14 OK | 15:00 07/02/14 OK
|  |  |  | 15:00 14/02/14 Rear Fire Door | 15:00 14/02/14 OK | 15:00 14/02/14 OK
|  |  |  | 15:00 21/02/14 Side Fire Door | 15:00 21/02/14 OK | 15:00 21/02/14 OK
|  |  |  | 15:00 28/02/14 Top Office Stairs | 15:00 28/02/14 OK | 15:00 28/02/14 OK
March |  |  | 28/03/2014 OK | 15:00 07/03/14 Lobby | 15:00 07/03/14 OK | 15:00 07/03/14 OK
|  |  |  | 15:15 14/03/14 Roller Door 1 | 15:15 14/03/14 OK | 15:15 14/03/14 OK
2014-03-21
|  |  |  | 15:15 28/03/14 Roller Door 2 | 15:15 28/03/14 OK | 15:15 28/03/14 OK
April |  |  | 25/04/2014 OK | 15:00 04/04/14 Rear Fire Door | 15:00 04/04/14 OK | 15:15 04/04/14 OK
|  |  |  | 15:00 11/04/14 Side Fire Door | 15:00 11/04/14 OK | 15:00 11/04/14 OK
2014-04-18
|  |  |  | 15:15 25/04/14 Top Office Stairs | 15:15 25/04/14 OK | 15:15 25/04/14 OK
May |  |  | 30/05/14 OK | 15:15 02/05/14 Lobby | 15:15 02/05/14 OK | 15:15 02/05/14 OK
|  |  |  | 15:15 09.05.14 Roller Door 1 | 15:15 09.05.14 OK | 15:15 09.05.14 OK
|  |  |  | 15:00 16.05.14 Roller Door 2 | 15:00 16..05.14 OK | 15:00 16.05.14 OK
|  |  |  | 15:15 23.05.14 Rear Fire Door | 15:15 23.05.14 OK | 15:15 23.05.14 OK
2014-05-30
June |  |  | 27/06/14 OK | 15:15 06.06.14 Side Fire Door | 15:15 06.06.14 OK | 15:15 06.06.14 OK
|  |  |  | 15:15 13.06.14 Lobby | 15:15 13.06.14 OK | 15:15 13.06.14 OK
|  |  |  | 15:30 20.06.14 Top Office Stairs | 15:30 20.06.14 OK | 15:30 20.06.14 OK
|  |  |  | 15:15 27.06.14 Roller Door 1 | 15:15 27.06.14 OK | 15:15 27.06.14 OK
July | 25/07/14 - Main exit only used, Shahin couldn’t hear sounder or see strobe, Heads strobe doesn’t work, sounder not loud enough. Visitor not signed in. |  | 25/07/14 OK | 15:15 04.07.14 Roller Door 2 | 15:15 04.07.14 OK | 15:15 04.07.14 OK
|  |  |  | 15:00 11.07.14 Rear Fire Door | 15:00 11.07.14 OK | 15:00 11.07.14 OK
|  |  |  | 15:15 18.07.14 Side Fire Door | 15:15 18.07.14 OK | 15:15 18.07.14 OK
|  |  |  | 12:45 25.07.14 Lobby | 12:45 25.07.14 OK | 12:45 25.07.14 OK
August |  |  | 29/08/14 OK | 2014-08-01
|  |  |  | 15:00 08.08.14 Top Office Stairs | 15:00 08.08.14 OK | 15:00 08.08.14 OK
|  |  |  | 15:15 15.08.14 Roller 1 | 15:15 15.08.14 OK | 15:15 15.08.14 OK
|  |  |  | 15:15 22.08.14 Roller 2 | 15:15 22.08.14 OK | 15:15 22.08.14 OK
|  |  |  | 2014-08-29 | 15:15 29.08.14 OK | 15:15 29.08.14 OK
September |  |  | 26/09/2014 OK | 15:15 05.09.14 Head Press Room Detector | 15:15 05.09.14 OK | 15:15 05.09.14 OK
|  |  |  | 15:00 12.09.14 Lobby Detector | 15:00 12.09.14 OK | 15:00 12.09.14 OK
|  |  |  | 15:00 19.09.14 Side Fire Door | 15:00 19.09.14 OK | 15:00 19.09.14 OK
|  |  |  | 15:15 26.09.14 Strap Room Detector | 15:15 26.09.14 OK | 15:15 26.09.14 OK
October |  |  | 2014-10-31 | 2014-10-03
2014-10-10
2014-10-17
2014-10-24
2014-10-31
November |  |  | 2014-11-28 | 2014-11-07
2014-11-14
2014-11-21
2014-11-28
December |  |  | 2014-12-26 | 2014-12-05
2014-12-12
2014-12-19
2014-12-26
Note on D1: Check fire extinguishers are in position, undamaged, unused and secured to the wall.
Note on E1: Test fire alarm by setting off heat sensor. Check strobe is working.
Note on F1: Check emergency lighting at all fire exits is functioning properly and signage is in place
Note on G1: Check fire exits aren't blocked and there are no trip hazards, inside and outside.

## Feuil2
done
TD
SC
PG | 2014
MF | 2015
ZHC | 2016
JD | 2017
SS | 2018
TD | 2020
DA | 2021
SD | 2022
KF | 2023
2024
2025
2026
2014-09-01 | 2027
2014-10-27 | 2028
2029
2030
2031
2032
2033
2034
2035
2036
2037
2038
2039
2040
2041
2042
2043
2044
2045
2046
2047
2048
2049
2050