## MENU
| INDICE | DATE | MODIFICATION
| A | 2023-04-27 | MISE A JOUR NOM DE MACHINE
MENU | B | 2023-10-13 | mise a jour des COLONNE de cable de puissance
DONNEES | C | 2023-11-08 | AJOUT ONGLET RECYCLING
PG | D | 2023-12-08 | AJOUT ONGLET STARCUT / SILO DOUBLE ET HOPPER FEEDER
générality1 | E | 2024-02-01 | Ajout onglet BWC/BFBO/COD SP et cable 4x0,5
cable inverter | F | 2024-05-07 | mise a jour des COLONNE
architecture | G | 2024-05-23 | Ajout onglet cadette Cyl 1 et 2
Electrical cabinet | H | 2024-09-20 | Changement item moteur
EXCHANGE | i | 2024-10-23 | Ajout onglet Tab incliné avec DMX + Waste hemp +screener
PROFINET CABLE | j | 2024-10-29 | Ajout ligne 120mm² shield
Operateur panel
COLLECTING CONVEYOR
FLAP CVO
FLAP DTA
FLAP DFL
DIVERTING SYSTEM
DMX
BAGGING
SEREL
CONTACT ONLY
OILING DEVICE
WEIG.FEED 1
CHIMNEY
PO1000 N°1
OH1000 N°1
VT560TRD
VT540TR
COD HPV
COD FC
COD SP
HOPP.FEED
CHUTE FEED EXEL
EXEL CYL.1
EXEL CYL.2
CHUTE FEED JUMBO
JUMBO CYL.1
JUMBO CYL.2
VERTICAL RESERVE
CUTTING SYSTEM
BALE BUSTER
COD BWC
TABLIER INCL1
BFBO
CHUTE FEED STEP CLEANER
STEP CLEANER
WASTE
SCREENER
RECYCLING
FILTRATION
STARCUT
CAETTE CYL.1
CAETTE CYL.2
MOTEUR ONLY
MOTOR WITH CONTACT
SUPERMIX
BLENDING BOX SILO S
BLENDING BOX DOUBLE 1
BLENDING BOX DOUBLE 2
MAT FORMER
AIR-LAY
SUPERTRIM
RECAP CABLE
Générer liste machines onglets
Générer Fichier

## DONNEES
Emmanuel BERTHIER |  | H05VV5-F | 3G1 mm² | 2 x 1mm² + GND (500V)
Sandrine BAJAS |  | 2YSLCY-K | 5G1 mm² | 4 x 1mm² + GND (500V)
Augustin FERRAND |  | U1000-R2V | 7G1 mm² | 6 x 1mm² + GND (500V)
Benoit LACROIX |  | U1000-H07 | 12G1 mm² | 11 x 1mm² + GND (500V)
Nicolas POUILLON |  | PROFINET | 19G1 mm² | 18 x 1mm² + GND (500V)
|  | ETHERNET | 27G1 mm² | 26 x 1mm² + GND (500V)
|  |  | 3G1,5 mm² | 2 x 1,5mm² + GND (500V)
|  |  | 3G2,5 mm² | 2 x 2,5mm² + GND (500V)
|  |  | 5G2,5 mm² | 4 x 2,5mm² + GND (500V)
|  |  | 3G1 mm² | Shielded cable 2 x 1mm² + GND (500V)
|  |  | 4x0,5 mm² | Shielded cable 4 x 0,5mm² (500V)
|  |  | 4G2,5 mm² | 3 x 1,5mm² + GND (1000V)
|  |  | 4G4 mm² | 3 x 2,5mm² + GND (1000V)
|  |  | 4G6 mm² | 3 x 4mm² + GND (1000V)
|  |  | 4G10 mm² | 3 x 6mm² + GND (1000V)
|  |  | 4G16 mm² | 3 x 10mm² + GND (1000V)
|  |  | 4G25 mm² | 3 x 16mm² + GND (1000V)
|  |  | 4G35 mm² | 3 x 25mm² + GND (1000V)
|  |  | 4G50 mm² | 3 x 35mm² + GND (1000V)
|  |  | 4G70 mm² | 3 x 50mm² + GND (1000V)
|  |  | 4G1,5 mm² (Shield) | 3 x 70mm² + GND (1000V)
|  |  | 4G2,5 mm² (Shield) | Shielded cable 3 x 1,5mm² + GND (1000V)
|  |  | 4G4 mm² (Shield) | Shielded cable 3 x 2,5mm² + GND (1000V)
|  |  | 4G6 mm² (Shield) | Shielded cable 3 x 4mm² + GND (1000V)
|  |  | 4G10 mm² (Shield) | Shielded cable 3 x 6mm² + GND (1000V)
|  |  | 4G16 mm² (Shield) | Shielded cable 3 x 10mm² + GND (1000V)
|  |  | 4G25 mm² (Shield) | Shielded cable 3 x 16mm² + GND (1000V)
|  |  | 4G35 mm² (Shield) | Shielded cable 3 x 25mm² + GND (1000V)
|  |  | 4G50 mm² (Shield) | Shielded cable 3 x 35mm² + GND (1000V)
|  |  | 4G70 mm² (Shield) | Shielded cable 3 x 50mm² + GND (1000V)
|  |  | 4G95 mm² (Shield) | Shielded cable 3 x 70mm² + GND (1000V)
|  |  | 4G120 mm² (Shield) | Shielded cable 3 x 95mm² + GND (1000V)
|  |  | 6XV1840-2AH10 | Shielded cable 3 x 120mm² + GND (1000V)
|  |  | 3G1 mm² (Shield) | PROFINET CABLE 6XV1840-2AH10
Weighing feeder N°2
Connecting box
B3209-10204-05

## EXCHANGE
1 | EXCHANGE
From | Terminal | Cable Mark | Wire number | To | Terminal | Type of cable | Cable trays | Length of Cable
ELECTRICAL CABINET 10xxx90x DOOR X…. |  | WMS/1 | 1 | NEXT MACHINE |  | 11 x 1mm² + GND (500V)
2
3
4
5
6
7
8
9
10
11
| GND |  | GND |  | GND
|  | WV01/1 | 1 |  |  | Shielded cable 4 x 0,5mm² (500V)
2
| GND |  | GND
ELECTRICAL CABINET CARDE |  | W-CARD-01 |  | ELECTRICAL CABINET 10xxx90x CPU-S7-1515 X2-P1
total cable
Type | Cross section | Length [m] | NB CABLE
H05VV5-F | 3G1 mm² | 0 | 0
H05VV5-F | 5G1 mm² | 0 | 0
H05VV5-F | 7G1 mm² | 0 | 0
H05VV5-F | 12G1 mm² | 0 | 1
H05VV5-F | 19G1 mm² | 0 | 0
H05VV5-F | 27G1 mm² |  | 0
H05VV5-F | 3G1,5 mm² | 0 | 0
H05VV5-F | 3G2,5 mm² | 0 | 0
H05VV5-F | 5G2,5 mm² | 0 | 0
2YSLCY-K | 3G1 mm² (Shield) | 0 | 0
2YSLCY-K | 4x1 mm² (Shield) | 0 | 1
U1000-R2V | 4G1,5 mm² | 0 | 0
U1000-R2V | 4G2,5 mm² | 0 | 0
U1000-R2V | 4G4 mm² | 0 | 0
U1000-R2V | 4G6 mm² | 0 | 0
U1000-R2V | 4G10 mm² | 0 | 0
2YSLCY-K | 4G1,5 mm² (Shield) | 0 | 0
2YSLCY-K | 4G2,5 mm² (Shield) | 0 | 0
2YSLCY-K | 4G4 mm² (Shield) | 0 | 0
2YSLCY-K | 4G6 mm² (Shield) | 0 | 0
2YSLCY-K | 4G10 mm² (Shield) | 0 | 0
2YSLCY-K | 4G16 mm² (Shield) | 0 | 0
2YSLCY-K | 4G25 mm² (Shield) | 0 | 0
2YSLCY-K | 4G35 mm² (Shield) | 0 | 0
2YSLCY-K | 4G50 mm² (Shield) | 0 | 0
2YSLCY-K | 4G70 mm² (Shield) | 0 | 0
2YSLCY-K | 4G95 mm² (Shield) | 0 | 0
2YSLCY-K | 4G120 mm² (Shield) | 0 | 0
PROFINET | 6XV1840-2AH10 | 0 | 0
Bare copper | Cu nu 25mm² | 0 | 0

## MOTOR WITH CONTACT
2 | MOTOR WITH CONTACT
From | Terminal | Cable Mark | Wire number | To | Terminal | Type of cable | Cable trays | Length of Cable
ELECTRICAL CABINET 10xxx90x DOOR Inverter Axxx | U2 | WMxxx/1 | Grey |  | U | 11 x 1mm² + GND (500V)
| V2 |  | Black |  | V
| W2 |  | Brown |  | W
| 360° |  | SHIELD |  | B
| PE |  | GND |  | T
ELECTRICAL CABINET 10xxx90x DOOR Inverter Axxx | U2 | WMxxx/1 | Grey |  | U
| V2 |  | Black |  | V
| W2 |  | Brown |  | W
| 360° |  | SHIELD |  | B
| PE |  | GND |  | T
Earthing cable 25 mm²
From | Terminal | Cable Mark | Wire number | To | Terminal | Type of cable | Cable trays | Length of Cable
ELECTRICAL CABINET 10xxx90x DOOR X,,, | 1 | W-xx/1 | 1 |  | 1
| 2 |  | 2 |  | 2
| 3 |  | 3 |  | 3
| 4 |  | 4 |  | 4
| L |  | 5 |  | L
| E |  | 6 |  | E
| E |  | 7 |  | E
| 7 |  | 8 |  | 7
| 8 |  | 9 |  | 8
| 9 |  | 10 |  | 9
| 10 |  | 11 |  | 10
| Stand-by |  | GND |  | Stand-by
total cable
Type | Cross section | Length [m] | NB CABLE
H05VV5-F | 3G1 mm² | 0 | 0
H05VV5-F | 5G1 mm² | 0 | 0
H05VV5-F | 7G1 mm² | 0 | 0
H05VV5-F | 12G1 mm² | 0 | 1
H05VV5-F | 19G1 mm² | 0 | 0
H05VV5-F | 27G1 mm² | 0 | 0
H05VV5-F | 3G1,5 mm² | 0 | 0
H05VV5-F | 3G2,5 mm² | 0 | 0
H05VV5-F | 5G2,5 mm² | 0 | 0
2YSLCY-K | 3G1 mm² (Shield) | 0 | 0
2YSLCY-K | 4x1 mm² (Shield) | 0 | 0
U1000-R2V | 4G1,5 mm² | 0 | 0
U1000-R2V | 4G2,5 mm² | 0 | 0
U1000-R2V | 4G4 mm² | 0 | 0
U1000-R2V | 4G6 mm² | 0 | 0
U1000-R2V | 4G10 mm² | 0 | 0
2YSLCY-K | 4G1,5 mm² (Shield) | 0 | 0
2YSLCY-K | 4G2,5 mm² (Shield) | 0 | 0
2YSLCY-K | 4G4 mm² (Shield) | 0 | 0
2YSLCY-K | 4G6 mm² (Shield) | 0 | 0
2YSLCY-K | 4G10 mm² (Shield) | 0 | 0
2YSLCY-K | 4G16 mm² (Shield) | 0 | 0
2YSLCY-K | 4G25 mm² (Shield) | 0 | 0
2YSLCY-K | 4G35 mm² (Shield) | 0 | 0
2YSLCY-K | 4G50 mm² (Shield) | 0 | 0
2YSLCY-K | 4G70 mm² (Shield) | 0 | 0
2YSLCY-K | 4G95 mm² (Shield) | 0 | 0
DZ | 4G120 mm² (Shield) | 0 | 0
PROFINET | 6XV1840-2AH10 | 0 | 0
Bare copper | Cu nu 25mm² | 0 | 1

## RECAP CABLE
3
3
Customer: CUSTOMER (PAYS)
total cable
Electrical cabinet 10xxx901
Type | Cross section | All cable | Length [m] | Length [m]3
H05VV5-F | 3G1 mm² | 0 | 0 | 0
H05VV5-F | 5G1 mm² | 0 | 0 | 0
H05VV5-F | 7G1 mm² | 0 | 0 | 0
H05VV5-F | 12G1 mm² | 1 | 0 | 0
H05VV5-F | 19G1 mm² | 0 | 0 | 0
H05VV5-F | 27G1 mm² | 0 | 0 | 0
H05VV5-F | 3G1,5 mm² | 0 | 0 | 0
H05VV5-F | 3G2,5 mm² | 0 | 0 | 0
H05VV5-F | 5G2,5 mm² | 0 | 0 | 0
2YSLCY-K | 3G1 mm² (Shield) | 0 | 0 | 0
2YSLCY-K | 4x1 mm² (Shield) | 1 | 0 | 0
U1000-R2V | 4G1,5 mm² | 0 | 0 | 0
U1000-R2V | 4G2,5 mm² | 0 | 0 | 0
U1000-R2V | 4G4 mm² | 0 | 0 | 0
U1000-R2V | 4G6 mm² | 0 | 0 | 0
U1000-R2V | 4G10 mm² | 0 | 0 | 0
2YSLCY-K | 4G1,5 mm² (Shield) | 0 | 0 | 0
2YSLCY-K | 4G2,5 mm² (Shield) | 0 | 0 | 0
2YSLCY-K | 4G4 mm² (Shield) | 0 | 0 | 0
2YSLCY-K | 4G6 mm² (Shield) | 0 | 0 | 0
2YSLCY-K | 4G10 mm² (Shield) | 0 | 0 | 0
2YSLCY-K | 4G16 mm² (Shield) | 0 | 0 | 0
2YSLCY-K | 4G25 mm² (Shield) | 0 | 0 | 0
2YSLCY-K | 4G35 mm² (Shield) | 0 | 0 | 0
2YSLCY-K | 4G50 mm² (Shield) | 0 | 0 | 0
2YSLCY-K | 4G70 mm² (Shield) | 0 | 0 | 0
2YSLCY-K | 4G95 mm² (Shield) | 0 | 0 | 0
2YSLCY-K | 4G120 mm² (Shield) | 0 | 0 | 0
PROFINET | 6XV1840-2AH10 | 0 | 0 | 0
Bare copper | Cu nu 25mm² | 0 | 0 | 0
Section des câbles fournie à titre indicatif, certaines hypothèses ont été faites, ne prend pas en compte les cas particuliers, le mode de pose, l’environnement, etc... Dans tous les cas, il incombe à l’utilisateur de s’assurer que toutes les données sont correctes et que le câble utilisé est adapté à sa destination.
Cable cross-section provided for information only, certain assumptions have been made, does not take into account special cases, installation method, environment, etc... In all cases, it is the user's responsibility to ensure that all data is correct and that the cable used is suitable for its intended purpose.