## Sommaire Ventes
SOMMAIRE FACTURE
2015
Pris de la facture section L17,18
ONGLET | No facture MEBS | Client/Description | No PO | Date commande reçue | Date commande | Date shipping | Date Payée | méthode | Montant | Montant TOTAL | TPS | TVQ | Cout des fournitures | gestion | Parts | Parts | Parts
|  | CHOISIR de la liste | Inscrire | DATE PO | MEBS-fournisseurs | MEBS-clients | Client-MEBS | #chq/virement | Avant TX | Tx In | 5% | 9.975% | total |  | MEBS - 50 | DP - 25 | DG - 25
M @ CHOISIR
15-001 | M15-001 | #REF! | [6 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15-002 | M15-002 | #REF! | [6 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15-003 | M15-003 | #REF! | [6 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15-004 | M15-004 | #REF! | [6 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15-005 | M15-005 | #REF! | [6 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
15-006 | M15-006 | #REF! | [6 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-001 | M16-001 | #REF! | #REF! | 2016-02-01 |  | #REF! |  |  | 300 | 344.93 | 15 | 29.93 | #REF! | #REF! | #REF! | #REF! | #REF!
16-002 | M16-002 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-003 | M16-003 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-004 | M16-004 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-005 | M16-005 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-006 | M16-006 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-007 | M16-007 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-008 | M16-008 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-009 | M16-009 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-010 | M16-010 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-011 | M16-011 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-012 | M16-012 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-013 | M16-013 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-014 | M16-014 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-015 | M16-015 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-016 | M16-016 | #REF! | #REF! | #REF! |  | #REF! |  |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-017 | M16-017 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-018 | M16-018 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-019 | M16-019 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-020 | M16-020 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-021 | M16-021 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-022 | M16-022 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-023 | M16-023 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-024 | M16-024 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-025 | M16-025 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-026 | M16-026 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-027 | M16-027 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-028 | M16-028 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-029 | M16-029 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-030 | M16-030 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-031 | M16-031 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-032 | M16-032 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-033 | M16-033 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-034 | M16-034 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-035 | M16-035 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-036 | M16-036 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-037 | M16-037 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-038 | M16-038 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-039 | M16-039 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-040 | M16-040 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-041 | M16-041 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-042 | M16-042 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-043 | M16-043 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-044 | M16-044 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-045 | M16-045 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-046 | M16-046 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-047 | M16-047 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-048 | M16-048 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-049 | M16-049 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-050 | M16-050 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-051 | M16-051 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-052 | M16-052 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-053 | M16-053 | [7 empty] | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF!
16-054 | M16-054 | [7 empty] | #REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!
#REF!

## Template
M15-003
2016-02-22
CLIENT |  |  |  |  | Facture / Invoice | Définition des recettes | %
Client name - liste déroulante | [5 empty] | Vente |  | #N/A
do not touch | [5 empty] | Coût des fournitures |  | #N/A
do not touch | [5 empty] | GESTION | 15 | #N/A
0 | [5 empty] | Bénéfice |  | #N/A
contact name (no touch)
do not touch | [5 empty] | Partage des recettes
contact e-mail (no touch) | [6 empty] | %
DESCRIPTION |  |  |  |  | TARIF |  | 50 | #N/A
Date PO |  |  | Shipping Date |  |  |  | 25 | #N/A
PO Associé | [6 empty] | 25 | #N/A
Vente Équipement
Produit / Description | Item # | SN | Prix Unitaire | QTE |  | Cout des Fournitures
#N/A | # d'Identifiant SCEM MEBS Picking List # | #N/A | #N/A | 1 | #N/A | #N/A
#N/A | # d'inventaire SCEM MEBS Picking List # | #N/A | #N/A |  | #N/A | #N/A
#N/A | # d'inventaire SCEM MEBS Picking List # | #N/A | #N/A |  | #N/A | #N/A
#N/A | # d'inventaire SCEM MEBS Picking List # | #N/A | #N/A |  | #N/A | #N/A
#N/A | # d'inventaire SCEM MEBS Picking List # | #N/A | #N/A |  | #N/A | #N/A
#N/A | # d'inventaire SCEM MEBS Picking List # | #N/A | #N/A |  | #N/A | #N/A
#N/A | # d'inventaire SCEM MEBS Picking List # | #N/A | #N/A |  | #N/A | #N/A
#N/A | # d'inventaire SCEM MEBS Picking List # | #N/A | #N/A |  | #N/A | #N/A
*TRANSPORT AUX FRAIS DU CLIENT* | transporteur id |  | Montant si payé par MEBS |  | 0
- Les factures sont toutes assujetties aux taxes applicables (TPS/TVQ).
|  |  |  | Sous total: | #N/A
S.V.P. Émettre paiement à l'ordre de: |  |  |  |  | #N/A
#N/A
| #REF! |  |  |  | #N/A

## Inventaire
| 1 | [6 empty] | ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09
1 | 2 | 3 |  | 5 |  | 7 | 8 | 9 | 10 | 11 | 12 |  | 14 |  | 16
# d'Identifiant SCEM MEBS Picking List # | Prov Or. | Catégorie | catégorie raccourcis | Manufacturier | Manifacturier Raccourci | # | Item Part # | Description | Quantité | qtée validée | État (n/u/D)
SS-Md-Abb-iStat | SS | medical | Md | Abbott | Abb | iStat |  | iSTAT | 4 | 1 | u
DP-De-Agi-M3500b | DP | Defib. Equip | De | Agilent | Agi | M3500b | M3500B | Heartstart M3500B / opt ABL | 1 | 1 | u
DP-De-Agi-M3500b | DP | Defib. Equip | De | Agilent | Agi | M3500b | M3500B | Heartstart M3500B / opt ABL | 1 | 1 | u
DP-De-Agi-M3500b | DP | Defib. Equip | De | Agilent | Agi | M3500b | M3500B | Heartstart M3500B / opt ABL | 1 | 1 | u
SS-Md-Bio-XX | SS | Medical | Md | BIOJECTOR | Bio | XX | 0 | BIOJECTOR (Needle-Free Injection Mgt System) | 3 | 1 | u | 0 | 0 | 0 | - | 0 | 0 | 0
SS-Md-BMD-Xvent4 | SS | Medical | Md | BMD | BMD | Xvent4 | 0 | BMD CROSSVENT 4 (Bio Med Device) | 5 | 1 | u |  |  |  | -
CC-Ot-Bur-Lamp | CC | Other | Ot | Burton | Bur | Lamp | 0 | Lampe examen Halogen spot | 1 | 1 | u | 0 | 0 | 0 | - | 1595 | 0 | 0
DP-Ds-Com-LpQcGenDefib | DP | Defib. Supply | Ds | Commed | Com | LpQcGenDefib | 0 | Quik-Combo defib electrodes (padpro) | 0 | 9 | nbox
JMD-Sm-DNI-214b | JMD | Simulator | Sm | DNI Nevada Inc | DNI | 214b | 214B | Patient Vital Signs Simulator 214B | 1 | 1 | u | 737 | 150 |  | - | 0 | Inv,Zoll 23022015 | 0
DP-Md-Ifo-UsbAd | DP | medical | Md | I Foundry | Ifo | UsbAd | 3202608-002 | IrDA FIR USB Adapter | 1 | 1 | demo |  | 50 |  | -
DP-De-Lear-H4000 | DP | Defib. Equip | De | Leardeal | Lear | H4000 | M5500B | Heartstart 4000 model / opt ABA | 1 | 1 | u
CC-ECG-Marq-ECG12PcMac | CC | ECG equipment | ECG | Marquette | Marq | ECG12PcMac | 10368-385 | 12 leads ECG, MAC PC | 1 | 1 | demo |  |  |  | -
JMD-O2-Masi-Mnci-2 | JMD | Supply SPO2 | O2 | MasimoSET | Masi | Mnci-2 | MNC-I | MasimoSet - Adaptor Cable (Nell-Masimo) MNC-I | 1 | 1 | D | 300 | 200 | 500 | - | 0 | 0 | 0
DP-O2-Masi-Rcdi | DP | Supply SPO2 | O2 | MasimoSET | Masi | Rcdi | R-DCI | MasimoSet - Adult SpO2 , SPCO, SPMET |  | 1 | N | 532.5 | 0 | 1065 | - | 0 | Inv,Zoll 23022015 | 0
DP-O2-Masi-RcdiRC4 | DP | Supply SPO2 | O2 | MasimoSET | Masi | RcdiRC4 | R-DCI/RC-4 | MasimoSet - Adult SpO2 , SPCO, SPMET + pt cable |  | 2 | U | 600 | 0 | 0 | - | 0 | 0 | 0
JMD-O2-Masi-LNCS-demo | JMD | Supply SPO2 | O2 | MasimoSET | Masi | LNCS-demo | M-LNCS DCI | MasimoSet - Adult SpO2 sensor (masimo flat connector) | 2 | 2 | N | 200 | 67.5 | 2275 | - | 0 | Inv,Zoll 23022015 | 0
JMD-O2-Masi-Lncs-Dci | JMD | Supply SPO2 | O2 | MasimoSET | Masi | Lncs-Dci | LNCS-DCI | MasimoSet - Adult SpO2 sensor + 48" extension LNCS-DCI | 2 | 2 | U | 200 | 150 | 540 | - | 1750 | chez Peter Yaffi | 0
DP-O2-Masi-Lncs-Inf | DP | Supply SPO2 | O2 | MasimoSET | Masi | Lncs-Inf | LNCS-INF | MasimoSet - LNCS Infant SpO2 Adhesive sensor | 9 | 10 | N | 275 | 0 | 135 | - | 0 | Inv,Zoll 23022015 | 0
DP-O2-Masi-Lncs | DP | Supply SPO2 | O2 | MasimoSet | Masi | Lncs |  | MasimoSet - LNCS SpO2 Sensor Adult 48" | 4 | 4 | U | 225 | 150 | 300 | -
DP-O2-Masi-Lncs-4 | DP | Supply SPO2 | O2 | MasimoSet | Masi | Lncs-4 | 11171-000024 | MasimoSet - LNCS-4-EXT Patient Cable | 3 | 3 | N | 175 | 100 | 202 | -
DP-O2-Masi-Lncs-4E | DP | Supply SPO2 | O2 | MasimoSet | Masi | Lncs-4E | 11171-000027 | MasimoSet - LNCS-4-EXT Patient Cable Extension | 1 | 1 | N | 175 | 100 | 202 | -
JMD-O2-Masi-LNCS-m | JMD | Supply SPO2 | O2 | MasimoSET | Masi | LNCS-m | LNCS-DCI | MasimoSet - LNCS-DCI Adult SpO2 sensor | 1 | 1 | N | 132.5 | 0 | 175 | - | 0 | Inv,Zoll 23022015 | 0
JMD-O2-Masi-DCIP | JMD | Supply SPO2 | O2 | MasimoSET | Masi | DCIP | LNCS-DCIP | MasimoSet - LNCS-DCIP Pediatric SpO2 sensor | 2 | 1 | N | 87.5 | 0 | 265 | - | 0 | Inv,Zoll 23022015 | 0
JMD-O2-Masi-R-DcipDc3 | JMD | Supply SPO2 | O2 | MasimoSET | Masi | R-DcipDc3 | DCIP-DC3 | MasimoSet - Rainbow DCIP-DC3 (Pedi. SpO2-SpCO-SpMet) | 1 | 1 | Demo | 67.5 | 0 | 550 | - | 0 | Inv,Zoll 23022015 | 0
DP-O2-Masi-RC4 | DP | Supply SPO2 | O2 | MasimoSET | Masi | RC4 | RC-4 | MasimoSet - Rainbow pt cable |  | 8 | nbox | 187.5 | 75 | 375 | - | 0 | Inv,Zoll 23022015 | 0
JMD-O2-Masi-Mnci-1 | JMD | Supply SPO2 | O2 | MasimoSET | Masi | Mnci-1 | MNC-I | MasimoSet -Adaptor Cable (Nellcor-Masimo) MNC-I | 1 | 0 | Demo | 300 | 200 | 500 | - | 0 | 0 | 0
DP-De-MeaS-M4400 | DP | Defib. Equip | De | measurments specialties | MeaS | M4400 | 3306868 | MEAS 4400 Series Temperature Probe / Expired for training only |  | 17 | exp
DP-O2-Nell-ASP3 | DP | Supply SPO2 | O2 | Nellcor | Nell | ASP3 | ASP-3 | Oxisensor II (kit: 2x D-25/1x D-25L) | 3 | 5 | nbox | 25 | 10 | 75 | - | 0 | 0 | 0
DP-O2-Nell-D25 | DP | Supply SPO2 | O2 | Nellcor | Nell | D25 | D-25 | Oxisensor II D-25 (single unit) | 3 | 5 | nbox | 15 | 5 | 35 | - | 0 | chez Peter Yaffi | 0
DP-O2-Nell-DEC | DP | Supply SPO2 | O2 | Nellcor | Nell | DEC | DEC-4 | Sensor Extension Cable DEC-4 | 6 | 5 | nbox | 45 | 31.5 | 65 | - | 0 | chez Peter Yaffi | 0
DP-De-PhyC-Lp5cBA-1 | DP | Defib. Equip | De | Physio Control | PhyC | Lp5cBA-1 |  | Ach - Lifepak 500 Biphasique Anglais | 1 | 1 | u
DP-De-PhyC-Lp5cBF-1 | DP | Defib. Equip | De | Physio Control | PhyC | Lp5cBF-1 |  | Ach - Lifepak 500 Biphasique Français | 1 | 1 | u
DP-De-PhyC-Lp5cMA-1 | DP | Defib. Equip | De | Physio Control | PhyC | Lp5cMA-1 |  | Ach - Lifepak 500 Monophasique Anglais | 1 | 1 | U
DP-De-PhyC-Lp5cMF-1 | DP | Defib. Equip | De | Physio Control | PhyC | Lp5cMF-1 |  | Ach- Lifepak 500 Monophasique Français | 1 | 1 | u
DP-Ds-PhyC-Strap | DP | Defib. Supply | Ds | Physio Control | PhyC | Strap | 11220-000030 | Bandouilière de remplacement |  | 1 | u
DP-Ds-PhyC-LpBss2 | DP | Defib. Supply | Ds | Physio Control | PhyC | LpBss2 | VBSS2-02-000009 | Battery Support System BSS-2 | 6 | 7 | u
DP-Ds-PhyC-FiltLine | DP | Defib. Supply | Ds | Physio Control | PhyC | FiltLine | 11996-000081 | FilterLine set adult-pediatric CO2 sampling line & airway adaptor | 37 | 7 | n
DP-Ds-PhyC-LpFpBasicSm | DP | Defib. Supply | Ds | Physio Control | PhyC | LpFpBasicSm |  | Lifepak - Fast-Patch Basic Patient simulator |  | 2 | U
DP-Ds-PhyC-LpQcBasicSm | DP | Defib. Supply | Ds | Physio Control | PhyC | LpQcBasicSm |  | Lifepak - Quik-Combo Basic Patient Simulator | 1 | 2 | U
UK-Ds-PhyC-Lp10kit002 | UK | Defib. Supply | Ds | Physio Control | PhyC | Lp10kit002 | 804200-38 | Lifepak 10 + module 12 dérivations + tr. Case (no printer / no batt) |  | 1 | u | 300 |  |  | -
UK-Ds-PhyC-Lp10kit001 | UK | Defib. Supply | Ds | Physio Control | PhyC | Lp10kit001 | 804200-38 | Lifepak 10 + module 12 dérivations + transport case (no batt) |  | 1 | u | 500 |  |  | -
UK-Ds-PhyC-Lp10kit003 | UK | Defib. Supply | Ds | Physio Control | PhyC | Lp10kit003 | 804200-38 | Lifepak 10 + module 12 dérivations + transport case (no batt) |  | 1 | u | 500 |  |  | -
JMD-Ds-PhyC-Lp10Chg | JMD | Defib. Supply | Ds | Physio Control | PhyC | Lp10Chg | 804217-00 | Lifepak 10 Chargeur | 3 | 3 | u | 0 | 0 | 0 | - | 0 | 0 | 0
DP-Md-PhyC-Lp10PrKey | DP | medical | Md | Physio Control | PhyC | Lp10PrKey |  | Lifepak 10 programming key | 4 | 4 |  |  |  |  | -
JMD-Ds-PhyC-LpM3LCb | JMD | Defib. Supply | Ds | Physio Control | PhyC | LpM3LCb | 0 | Lifepak 1000 3 Lead ECG Cable | 7 | 7 | nbox | 224 | 50 | 0 | - | 60 us | 0 | 0
DP-Ds-PhyC-LpM5Lcb | DP | Defib. Supply | Ds | Physio Control | PhyC | LpM5Lcb | 11110-000066 | Lifepak 1000 Cable ECG 5 lead |  | 2 | nbox
DP-Ds-PhyC-LpMCblPouN | DP | Defib. Supply | Ds | Physio Control | PhyC | LpMCblPouN | 0 | Lifepak 1000 Cable Pouch | 5 | 5 | nbox
DP-Ds-PhyC-LpMCblPouU | DP | Defib. Supply | Ds | Physio Control | PhyC | LpMCblPouU | 0 | Lifepak 1000 Cable Pouch | 2 | 2 | u
DP-Ds-PhyC-LpMStrap2 | DP | Defib. Supply | Ds | Physio Control | PhyC | LpMStrap2 | 0 | Lifepak 1000 Shoulder Strap | 4 | 4 | nbox
DP-Ds-PhyC-LpMtrspN | DP | Defib. Supply | Ds | Physio Control | PhyC | LpMtrspN | 0 | Lifepak 1000 Transport Case (new) | 3 | 2 | nbox
JMD-Ds-PhyC-LpMtrspU | JMD | Defib. Supply | Ds | Physio Control | PhyC | LpMtrspU | 0 | Lifepak 1000 Transport Case (used) | 2 | 3 | u | 125 |  | 0 | - | 0 | AC Adapt + cables + paper | 2000
DP-Ds-PhyC-Lp12-15Pap | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12-15Pap | 11240-000016 | Lifepak 12 - 15 100mm Printer Paper | 15 | 14 | N
DP-Ds-PhyC-Lp12Ecg3 | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12Ecg3 | 11110-000029 | Lifepak 12 - 3 Lead ECG Cable |  | 4 | U
DP-Ds-PhyC-Lp12Ecg4wire | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12Ecg4wire | 11110-000102 | Lifepak 12 - 4 Lead ECG Main Trunk Wire Connector |  | 5 | U & D
DP-Ds-PhyC-Lp12Ecg5 | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12Ecg5 | 11110-000066 | Lifepak 12 - 5 Lead ECG Cable |  | 1 | U
DP-Ds-PhyC-Lp50mmPrint | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp50mmPrint | 804189-00 | Lifepak 12 - 50mm Printer Assembly |  | 1 | D
DP-Ds-PhyC-Lp12AcAdpExt | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12AcAdpExt | 11110-000051 | Lifepak 12 - Ac Adapter Extension Cord |  | 13 | D
DP-Ds-PhyC-Lp12Ac | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12Ac | 0 | Lifepak 12 - AC Adaptor | 9 | 13 | u
DP-Ds-PhyC-Lp12BkPou | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12BkPou |  | Lifepak 12 - Back Pouch |  | 3 | U | [7 empty] | 0
DP-Ds-PhyC-Lp12Strap | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12Strap | 11220-000030 | Lifepak 12 - Bandoulière de remplacement |  | 1 | N
DP-Ds-PhyC-Lp12NiCd | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12NiCd |  | Lifepak 12 - Batterie NiCd (new) | 12 | 2 | N
DP-Ds-PhyC-Lp12NiCdU | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12NiCdU |  | Lifepak 12 - Batterie NiCd (USED) |  | 5 | U
DP-Ds-PhyC-Lp12bpTub12 | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12bpTub12 | 11996-000125 | Lifepak 12 - Boyau PNI 12'' |  | 3 | u
DP-Ds-PhyC-Lp12bpTub9 | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12bpTub9 | 11996-000033 | Lifepak 12 - Boyau PNI 9'' |  | 3 | u
DP-Ds-PhyC-Lp12CblPc | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12CblPc | 11230-000005 | Lifepak 12 - Cable de liaison PC |  | 1 | demo
DP-Ds-PhyC-Lp12CblBase | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12CblBase | 11110-000102 | Lifepak 12 - Cable Ecg 12 Lead 96" (cable de base) |  | 10 | U & D
DP-Ds-PhyC-Lp12CblV1-V6 | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12CblV1-V6 | 11110-000103 | Lifepak 12 - Cable Ecg 12 Precordial Lead (V1-V6) |  | 12 | U & D
DP-Ds-PhyC-Lp15CfgCbl | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15CfgCbl | 3311538 | Lifepak 12 - configuration transfer cable | 2 | 2 | u
DP-Ds-PhyC-Lp12HrdPadPedi | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12HrdPadPedi |  | Lifepak 12 - Hard Paddle adapter pediatric |  | 5 | D
DP-De-PhyC-Lp12HrdPad | DP | Defib. Equip | De | Physio Control | PhyC | Lp12HrdPad |  | Lifepak 12 - Hard Paddles (1pr) | 1 | 1 | D
DP-Ds-PhyC-Lp12BpTub | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12BpTub |  | Lifepak 12 - NiBP Regular Tube (9' or 12') |  | 1 | D
DP-Ds-PhyC-Lp12BpCork | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12BpCork |  | Lifepak 12 - NiBP Spiraled Tube 12' |  | 1 | D
DP-Ds-PhyC-Lp12TherCbl | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp12TherCbl | 11110-000051 | Lifepak 12 - Therapy Cable |  | 9 | u
DP-Ds-PhyC-Lp15Wire | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15Wire | 3306602 | Lifepak 15 - 4/6 wire holder | 5 | 5 | u
DP-Ds-PhyC-Lp15Hk | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15Hk |  | Lifepak 15 - carry hooks | 1 | 1 | u
DP-Ds-PhyC-Lp15TempCbl | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15TempCbl | 3303938 | Lifepak 15 - Temperature Adapter Cable | 2 | 2 | demo
DP-Ds-PhyC-Lp15Wire | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15Wire | 3306602 | Lifepak 15 - 4/6 wire holder | 2 | 2 | nbox
DP-Ds-PhyC-Lp15EcgV1V6usa | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15EcgV1V6usa | 11110-000103 | Lifepak 15 - 6 wire precordial lead attachment (USA) |  | 3 | Demo
DP-Ds-PhyC-Lp15EcgV1V6ceu | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15EcgV1V6ceu | 11110-000103 | Lifepak 15 - 6 wire precordial lead attachment (USA) |  | 2 | D
DP-Ds-PhyC-Lp15AcAdp | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15AcAdp | 11140-000072 | Lifepak 15 - AC Power Adapter |  | 2 | Demo
DP-Ds-PhyC-Lp15AcCord | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15AcCord | 11140-000015 | Lifepak 15 - AC Power Cord |  | 1 | Demo
DP-Ds-PhyC-Lp15Batt | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15Batt | 21330-001176 | Lifepak 15 - Battery Lithium-Ion 5.7 Amp Hour Cap. |  | 3 | Demo
DP-Ds-PhyC-Lp15Ecg12ceu | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15Ecg12ceu |  | Lifepak 15 - ECG Cable Main Trunk 8' (CEU) |  | 2 | D
DP-Ds-PhyC-Lp15Ecg12usa | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15Ecg12usa | 11110-000111 | Lifepak 15 - ECG Cable Main Trunk 8' (USA) |  | 5 | Demo
DP-Ds-PhyC-Lp15HrdPad | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15HrdPad |  | Lifepak 15 - Hard Paddle (1pr) |  | 1 | D
DP-Ds-PhyC-Lp15Mount | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15Mount |  | Lifepak 15 - Mounting Plate |  | 1 | D
DP-Ds-PhyC-Lp15OpMan | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15OpMan | 3306222 | Lifepak 15 - Operating Manual | 1 | 2 | nbox
DP-Ds-PhyC-Lp15QcThCbl | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15QcThCbl | 11110-000004 | Lifepak 15 - Quik Combo Therapy Cable |  | 5 | Demo
DP -Ds-PhyC-Lp15Chg | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp15Chg | 11577-000004 | Lifepak 15 - Station Battery Charger |  | 1 | Demo | 900 | 500 | 1800 | -
DP-Ds-PhyC-Lp20Door | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp20Door |  | Lifepak 20 - AED Front Door |  | 3 | D
DP-Ds-PhyC-Lp20Pch | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp20Pch | 11260-000016 | Lifepak 20 Accessory Pouch | 1 | 1 | u
UK-Ds-PhyC-Lp20PchPal | UK | Defib. Supply | Ds | Physio Control | PhyC | Lp20PchPal |  | Lifepak 20 Accessory Pouch (palette) |  | 1 | u | 56 | 15 | 0 | - | 0 | 0 | 0
DP-Ds-PhyC-Lp20TrCs | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp20TrCs |  | Lifepak 20 Case transport |  | 1 | u
DP-Ds-PhyC-Lp20TrCsx | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp20TrCsx |  | Lifepak 20 Case transport (générique) |  | 1 | u
DP-Ds-PhyC-Lp20DkSt | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp20DkSt | 21330-000996 | Lifepak 20 Docking station |  | 2 | demo
DP-Ds-PhyC-Lp20PalRig | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp20PalRig | 11130-000037 | Lifepak 20 Palette rigide adulte |  | 3 | demo
DP-Ds-PhyC-Lp20VHS | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp20VHS | 3202373 | Lifepak 20 video VHS inservice | 1 | 1 | nbox
DP-De-PhyC-Lp3cEcgCbl | DP | Defib. Equip | De | Physio Control | PhyC | Lp3cEcgCbl |  | Lifepak 300 3 lead cable |  | 1 | u
DP-Ds-PhyC-Lp3cFpCbl | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp3cFpCbl |  | Lifepak 300 fast patch cable |  | 2 | u
DP-Ds-PhyC-LpQcFpCbl | DP | Defib. Supply | Ds | Physio Control | PhyC | LpQcFpCbl |  | Lifepak 300 Quik-Combo / fast-patch training cable |  | 3 | u
DP-Ds-PhyC-Lp3cQcCbl | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp3cQcCbl |  | Lifepak 300 quik-combo cable |  | 1 | u
DP-Ds-PhyC-Lp5Bss | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp5Bss | 801807 | Lifepak 5 BSS | 1 | 1 | u
CC-De-PhyC-Lp5cMA-01 | CC | Defib. Equip | De | Physio Control | PhyC | Lp5cMA-01 | 0 | Lifepak 500 (monophasic) | 1 | 1 | u | 300 | 50 | 0 | - | 0 | no cables | 0
DP-De-PhyC-Lp5cMA-02 | DP | Defib. Equip | De | Physio Control | PhyC | Lp5cMA-02 | 0 | Lifepak 500 (monophasic) | 1 | 1 | u
DP-De-PhyC-Lp5cMA-03 | DP | Defib. Equip | De | Physio Control | PhyC | Lp5cMA-03 | 0 | Lifepak 500 (monophasic) | 1 | 1 | u
DP-De-PhyC-Lp5cMA-04 | DP | Defib. Equip | De | Physio Control | PhyC | Lp5cMA-04 | 0 | Lifepak 500 (monophasic) | 1 | 1 | u
DP-De-PhyC-Lp5cMA-05 | DP | Defib. Equip | De | Physio Control | PhyC | Lp5cMA-05 | 0 | Lifepak 500 (monophasic) | 1 | 1 | u
DP-De-PhyC-Lp5cMA-06 | DP | Defib. Equip | De | Physio Control | PhyC | Lp5cMA-06 | 0 | Lifepak 500 (monophasic) | 1 | 1 | u
DP-De-PhyC-Lp5cMA-07 | DP | Defib. Equip | De | Physio Control | PhyC | Lp5cMA-07 | 0 | Lifepak 500 (monophasic) | 1 | 1 | u
JMD-Ds-PhyC-Lp5cUpg6x | JMD | Defib. Supply | Ds | Physio Control | PhyC | Lp5cUpg6x | 43340-000089 | Lifepak 500 (V6,X) upgrade | 0 | 1 | N | 100 | 50 | 150 | -
DP-Ds-PhyC-Lp5cBatU16 | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp5cBatU16 |  | Lifepak 500 Batterie Non Rechargeable (exp 05/2016) | 1 | 2 | u
DP-Ds-PhyC-Lp5cBatCh | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp5cBatCh | 3006535-000 | Lifepak 500 Battery charger | 2 | 2 | u
DP-Ds-PhyC-Lp5cBatAv | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp5cBatAv |  | Lifepak 500 Non Rechargeable Battery (exp 11/2020) | 1 | 2 | N
DP-Ds-PhyC-Lp5cTest | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp5cTest | 3005389-000 | Lifepak 500 Test Load | 1 | 1 | u
DP-Ds-PhyC-Lp5cDVD | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp5cDVD |  | Lifepak 500 video DVD d'orientation | 1 | 1 | u
DP-Ds-PhyC-Lp5cVHS | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp5cVHS | 3005390 | Lifepak 500 video VHS inservice | 3 | 3 | nbox
DP-Ds-PhyC-Lp5cTTrCs | DP | Defib. Supply | Ds | Physio Control | PhyC | Lp5cTTrCs | 11250-000004 | Lifepak 500T Transport Case | 2 | 2 | u
DP-De-PhyC-Lp7 | DP | Defib. Equip | De | Physio Control | PhyC | Lp7 | 801380 | Lifepak 7 | 2 | 2 | u
DP-De-PhyC-Lp8 | DP | Defib. Equip | De | Physio Control | PhyC | Lp8 | 0 | Lifepak 8 | 1 | 1 | u
CC-De-PhyC-Lp9SchMod | CC | Defib. Equip | De | Physio Control | PhyC | Lp9SchMod | 0 | Lifepak 9B (shock advisory module) | 1 | 1 | u | 0 | 20 | 0 | - | 286 us | envoyé à JM le 2 fév. | 0
CC-De-PhyC-Lp9 | CC | Defib. Equip | De | Physio Control | PhyC | Lp9 | 0 | Lifepak 9P | 1 | 1 | u | 0 | 0 | 0 | - | (286+197) us | 0 | 0
DP-Ds-PhyC-LpCrDVD | DP | Defib. Supply | Ds | Physio Control | PhyC | LpCrDVD |  | Lifepak CR Plus video DVD d'orientation | 2 | 1 | demo
JMD-Ds-PhyC-LpCrUpg30 | JMD | Defib. Supply | Ds | Physio Control | PhyC | LpCrUpg30 | 21340-000276 | Lifepak CR+ (V3,0) upgrade | 1 | 1 | nbox | 100 | 50 | 150 | -
DP-Ds-PhyC-LpCrQpx | DP | Defib. Supply | Ds | Physio Control | PhyC | 7: LpCrQpx; ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 9: Lifepak CR+ Quik-Pak defib electrodes (expiré) non clinical use; ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11: 40
DP-Ds-PhyC-LpCrQp | DP | Defib. Supply | Ds | Physio Control | PhyC | 7: LpCrQp; ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 9: Lifepak CR+ Quik-Pak defib electrodes (non expiré); ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11: 17
JMD-Ds-PhyC-LpCrtUpg20 | JMD | Defib. Supply | Ds | Physio Control | PhyC | LpCrtUpg20 | 43340-000072 | Lifepak CR-T (V2,0) upgrade |  | 1 | nbox | 25 | 5 | 50 | - | 0 | data card 80 | 02-2001
DP-Ds-PhyC-LpCrTTrCs | DP | Defib. Supply | Ds | Physio Control | PhyC | LpCrTTrCs | 21300-004576 | Lifepak CR-T Transport Case | 1 | 1 | u
DP-Ds-PhyC-LpQcExt | DP | Defib. Supply | Ds | Physio Control | PhyC | LpQcExt |  | Lifepak Quick-Combo Extention Cable 48" | 2 | 1 | u
DP-Ds-PhyC-LpQcCblDefib | DP | Defib. Supply | Ds | Physio Control | PhyC | LpQcCblDefib |  | Lifepak Quik-Combo Cable defib |  | 3 | u
EVS-Lo-PhyC-LP12-1 | EVS | Location | Lo | Physio Control | PhyC | LP12-1 |  | LOC - Lifepak 12 #1 (EvoluSoins Stock) | 1 | 1 | u | 200 | 1 |  | -
EVS-Lo-PhyC-LP12-2 | EVS | Location | Lo | Physio Control | PhyC | LP12-2 |  | LOC - Lifepak 12 #2 (EvoluSoins Stock) | 1 | 1 | u | 200 | 1 |  | -
EVS-Lo-PhyC-Sim-1 | EVS | Location | Lo | Physio Control | PhyC | Sim-1 |  | LOC - Simulateur de rythme cardiaque 12D | 1 | 1 | u | 50 | 1 |  | -
JMD-Lo-PhyC-001 | JMD | Location | Lo | Physio Control | PhyC | 1 | 3309629-000 | LOC - True CPR en LOCATION ANNUELLE | 1 | 1 | demo | 100 | 75 |  | -
EVS-Lo-PhyC-HrdPad | EVS | Location | Lo | Physio Control | PhyC | HrdPad |  | LOC- Lifepak 12 Hard Paddles | 1 | 1 | u | 50 | 1 |  | -
DP-Ac-PhyC-VitalMed | DP | Location/Achat | Ac | Physio Control | PhyC | VitalMed | VLP12-02-007199 | LocAch - Lifepak 12 (mensualité) | 1 | 1 | u | 268.75 | 1000 |  | 35845881
DP-De-PhyC-SoinsImm | DP | Defib. Equip | De | Physio Control | PhyC | SoinsImm | VLP12-02-007199 | LocAch - Lifepak 12 en location-achat | 1 | 1 | u
DP-Ac-PhyC-Sim-2 | DP | Location/Achat | Ac | Physio Control | PhyC | Sim-2 | 806395-002 | LocAch - Simulateur 12 dérivations Quik-Combo | 1 | 1 | U | 599 | 420 |  | 12-L005515
DP-De-PhyC-BSS1 | DP | Defib. Equip | De | Physio Control | PhyC | BSS1 | VBSS2-02-000009 | LocAch - Système de support pour batteries | 1 | 1 | U
DP-De-PhyC-Lucas1 | DP | Defib. Equip | De | Physio Control | PhyC | Lucas1 | 100249 | Lucas (complete with bag) NOT FOR SALE | 1 | 1 | demo
DP-Ds-PhyC-LuBatt | DP | Defib. Supply | Ds | Physio Control | PhyC | LuBatt | 3302430-007 | Lucas 2 battery | 1 | 1 | nbox
DP-Ds-PhyC-LuBatCh | DP | Defib. Supply | Ds | Physio Control | PhyC | LuBatCh | 3302430-059 | Lucas 2 Battery chargeur | 1 | 1 | nbox
DP-Ds-PhyC-LuSctCup | DP | Defib. Supply | Ds | Physio Control | PhyC | LuSctCup | 3302430-014 | Lucas 2 suction cup disposable 3 pack | 1 | 1 | nbox
DP-Ds-PhyC-LuConCh | DP | Defib. Supply | Ds | Physio Control | PhyC | LuConCh | 11996-000278 | Lucas connector chemitron | 1 | 1 | nbox
DP-Ds-PhyC-LuConOh | DP | Defib. Supply | Ds | Physio Control | PhyC | LuConOh | 11996-000279 | Lucas connector OHMEDA | 1 | 1 | nbox
DP-Sm-PhyC-LuConOxe | DP | Simulator | Sm | Physio Control | PhyC | LuConOxe | 11996-000283 | Lucas connector oxequip | 1 | 1 | nbox | 0 | 0 | 0 | - | 0 | 0 | 0
DP-Ds-PhyC-LuConPB | DP | Defib. Supply | Ds | Physio Control | PhyC | LuConPB | 11996-000280 | Lucas connector Purtain-Benet | 1 | 1 | nbox
DP-Ds-PhyC-LuConSch | DP | Defib. Supply | Ds | Physio Control | PhyC | LuConSch | 11996-000282 | Lucas connector schrader | 1 | 1 | D
DP-O2-PhyC-Lu2TrBag | DP | Supply SPO2 | O2 | Physio Control | PhyC | Lu2TrBag |  | Lucas II transport bag (damage Buckle) | 1 | 1 | U |  | 0 | 0 | - | 0 | 0 | 0
DP-Ds-PhyC-LuVarFl | DP | Defib. Supply | Ds | Physio Control | PhyC | LuVarFl | 725024 | Lucas mediline variflow Lucas (EUR) | 1 | 1 | Demo
DP-Ds-PhyC-MicrPed | DP | Defib. Supply | Ds | Physio Control | PhyC | MicrPed | xs 04665 | Microstream - Airway adaptor adult/pediatric (box 25) | 1bx | 25 | nbox
DP-Ds-PhyC-LpQc12Sm | DP | Defib. Supply | Ds | Physio Control | PhyC | LpQc12Sm |  | Quik-Combo 12 Lead Patient Simulator | 1 | 1 | U
DP-Ds-PhyC-LpQCx14 | DP | Defib. Supply | Ds | Physio Control | PhyC | LpQCx14 | 0 | Quik-Combo defib electrodes (exp 2014) non clinical use | 80(8cs/10) | 70 | N
DP-Ds-PhyC-LpQCx15 | DP | Defib. Supply | Ds | Physio Control | PhyC | LpQCx15 |  | Quik-Combo defib electrodes (exp 2015) non clinical use |  | 40 | N
DP-Ds-PhyC-LpQpace | DP | Defib. Supply | Ds | Physio Control | PhyC | LpQpace | 11996-000041 | Quik-Pace electrodes (exp 2005) non clinical use | 0 | 4 | N
DP-Ds-PhyC-SmrtLine | DP | Defib. Supply | Ds | Physio Control | PhyC | SmrtLine | 3012176 | smart captnoline plus O2 adult (box of 25) | 1bx | 1 | nbox
SS-Md-ProP-PpVsMon | SS | medical | Md | PROPAQ | ProP | PpVsMon | 0 | PROPAQ Vital Signs Monitor Encore model 206EL | 5 | - | u | 0 | 0 | 0 | - | 0 | 0 | 0
UK-Eq-SafC-ScMedBag1356 | UK | Equipment | Eq | Safecross | SafC | ScMedBag1356 |  | Medical bag/First aid kit #01356 | 1 | 0 | n | 360 | 330 |  | -
CC-Md-Sch-Bp200 | CC | medical | Md | Schiller | Sch | Bp200 | BP-200 | Blood Pressure monitor BP-200 | 1 | 1 | u |  |  |  | -
DP-Ds-Stcrp-BpAdLg | DP | Defib. Supply | Ds | Statcorp | Stcrp | BpAdLg |  | Statcorp Brassard PNI Adulte Large | 1 | 3 | U
DP-Ds-Stcrp-BpAdRg | DP | Defib. Supply | Ds | Statcorp | Stcrp | BpAdRg |  | Statcorp Brassard PNI Adulte Régulier | 1 | 0 | u
DP-Ds-Stcrp-BpPed | DP | Defib. Supply | Ds | Statcorp | Stcrp | BpPed |  | Statcorp Brassard PNI Pédiatrique | 1 | 1 | u
DP-Sm-Sym-Cs301 | DP | Simulator | Sm | Symbio | Sym | Cs301 | CS-301 | 12 Lead Patient Simulator CS-301 | 2 | 1 | N | 650 | 250 | 0 | - | 0 | RETIRÉ DE LA LISTE- LOCATION | 0
DP-Sm-Sym-Cs301u | DP | Simulator | Sm | Symbio | Sym | Cs301u | CS-301u | 12 Lead Patient Simulator CS-301 (used) | 3 | 1 | u | 550 | 250 |  | -
DP-Ds-Trm-BpThigh | DP | Defib. Supply | Ds | Trimline | Trm | BpThigh |  | Trimline - Brassard PNI Cuisse | 1 | 1 | N
DP-Ds-Tcff-AD(T) | DP | Defib. Supply | Ds | TuffCuff | Tcff | AD(T) |  | Tuff Cuff Brassard PNI - Adulte grand | 1 | 4 | D
DP-Ds-Tcff-AD(R) | DP | Defib. Supply | Ds | TuffCuff | Tcff | AD(R) |  | Tuff Cuff Brassard PNI - Adulte régulier | 1 | 7 | D & N
DP-Ds-Tcff-Ped | DP | Defib. Supply | Ds | TuffCuff | Tcff | Ped |  | Tuff Cuff Brassard PNI Pédiatrique | 1 | 6 | D & N
SS-Md-Via-LTV1200 | SS | medical | Md | VIALYS | Via | LTV1200 | 0 | VIALYS LTV 1200 - (Airway Pressure) | 1 | 1 | u | 0 | 0 | 0 | - | 0 | 0 | 0
MEBS-Ds-WAL-NiBP-11 | MEBS | Defib. Supply | Ds | Welch Allyn | WAL | NiBP-11 | WALREUSE111SC | Brassard Welch Allyn (Flexiport) Adulte #11 | 2 | - | N | 29.03 | 23.03 |  | -
MEBS-Ot-WAL-CalibKey | MEBS | Other | Ot | Welch Allyn | WAL | CalibKey | WAL06138000 | Clé de calibration de thermomètre 690/692 | 3 | 1 | N | 49.99 | 38.59 |  | -
DP-Ds-Zoll-MsCb3 | DP | Defib. Supply | Ds | Zoll | Zoll | MsCb3 | 0 | 3 lead ECG cable | 7 | - | u
DP-Ds-Zoll-XX | DP | Defib. Supply | Ds | Zoll | Zoll | XX | 0 | CPR Connector | 1 | - | u
DP-De-Zoll-Es-001 | DP | Defib. Equip | De | Zoll | Zoll | Es-001 | 0 | E Series Defibrillator Monitor | 0 | - | u
DP-Ds-Zoll-XX | DP | Defib. Supply | Ds | Zoll | Zoll | XX | 0 | Flash Card 16 Mb | 1 | - | u
JMD-Ds-Zoll-XX | JMD | Defib. Supply | Ds | Zoll | Zoll | XX |  | Lithium Ion battery | 4 | - | u |  |  |  | -
DP-Ds-Zoll-XX | DP | Defib. Supply | Ds | Zoll | Zoll | XX | 0 | Multifunction cable | 11 | - | u
AM-Ds-Zoll-AEDPbatt | AM | Defib. Supply | Ds | Zoll | Zoll | AEDPbatt | FZ-127 | Non Rechargeable AED Pro Battery | 1 | 0 | n | 541.5 | 473.88 |  | -
UK-Ds-Zoll-MsBatN | UK | Defib. Supply | Ds | Zoll | Zoll | MsBatN |  | Série M - Batterie Recgargeable | 1 | 1 | n |  |  |  | -
DP-Ds-Zoll-SoftCs | DP | Defib. Supply | Ds | Zoll | Zoll | SoftCs | 0 | Softcase | 13 | - | u
AM-Ds-Zoll-FZ-190 | AM | Defib. Supply | Ds | Zoll | Zoll | FZ-190 | FZ-190 | Zoll E Series - 1st Step 12 Lead cable | 1 | 2 | n | 314.21 | 314.21 |  | -
DP-De-Zoll-MsBlu1 | DP | Defib. Equip | De | Zoll | Zoll | MsBlu1 | 0 | Zoll Série M - Saccoche Bleue | 1 | 1 | u
DP-De-Zoll-MsBlu2 | DP | Defib. Equip | De | Zoll | Zoll | MsBlu2 | 0 | Zoll Série M - Saccoche Bleue | 1 | 1 | u
DP-De-Zoll-MsRed | DP | Defib. Equip | De | Zoll | Zoll | MsRed | 0 | Zoll Série M - Saccoche Rouge | 1 | 1 | u
-
-
DP-De-PhyC-Lp12Base | DP | Defib. Equip | De | Physio Control | PhyC | Lp12Base |  | Lifepak 12 - Unité de base | 1 | 1 | U
DP-Form-PhyC-911 | DP | Formation | Form | Physio Control | PhyC | 911 |  | Consultation en formation |  | 1 | N | 850 | 1 | 1 | -
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11
Missing Info |  |  | #N/A |  | #N/A | [9 empty] | - | bar: ARTICLES DISPONIBLES LE: AVAILABLE ITEMS: 2016-02-09 11

## Listes Inventaire
Listes
FOURNISSEURS | Catégories | abréviation | Manufacturiers | abréviation |  | VENTES DANS L'INVENTAIRE
JMD | Medical | Md | Abbott | Abb | onglet associe | no inventaire | qte vendu
DP | Defib. Supply | Ds | Agilent | Agi | Template | # d'Identifiant SCEM MEBS Picking List # | 1
CC | Simulator | Sm | BIOJECTOR | Bio |  | # d'inventaire SCEM MEBS Picking List # | #REF!
UK | Supply SPO2 | O2 | BMD | BMD |  | # d'inventaire SCEM MEBS Picking List # | #REF!
SS | Equipment | Eq | Burton | Bur |  | # d'inventaire SCEM MEBS Picking List # | #REF!
AM | Defib. Equip | De | Commed | Com |  | # d'inventaire SCEM MEBS Picking List # | #REF!
SOS | Other | Ot | DNI Nevada Inc | DNI |  | # d'inventaire SCEM MEBS Picking List # | #REF!
DL | ECG equipment | ECG | HillRom Air Shield | HAS |  | # d'inventaire SCEM MEBS Picking List # | #REF!
EVS | Location | Lo | I Foundry | Ifo |  | # d'inventaire SCEM MEBS Picking List # | #REF!
DG | Location/Achat | Ac | Leardeal | Lear
PH | Formation | Form | Marquette | Marq
MEBS |  |  | MasimoSET | Masi
|  |  | measurments specialties | MeaS
|  |  | medtronic | MedT
|  |  | microstream | MicS
|  |  | Nellcor | Nell
|  |  | oridion medical | Ori
|  |  | Philips | Phi
|  |  | Physio Control | PhyC
|  |  | PROPAQ | ProP
|  |  | Schiller | Sch
|  |  | Symbio | Sym
|  |  | VIALYS | Via
|  |  | Zoll | Zoll
|  |  | Safecross | SafC
|  |  | Welch Allyn | WAL
|  |  | TuffCuff | Tcff
|  |  | Statcorp | Stcrp
|  |  | Trimline | Trm
|  |  | Unknown | UK

## ListeClients
Nom | Adresse 1 | Adresse 2 | Adresse 3 | no client | Contact | Telephone | Fax | 2nd contact | Courriel | LISTE FACTURE VS SOUMISSION | TOTAL A PAYER
Client name - liste déroulante | do not touch | do not touch |  |  | contact name (no touch) | do not touch |  |  | contact e-mail (no touch) | Facture / Invoice | Facture totale / Total Invoice
[10 empty] | Soumission | Montant de cette proposition
Client name - liste déroulante | do not touch | do not touch |  |  | contact name (no touch) | do not touch |  |  | contact e-mail (no touch)