## Data to provide
Project data from client |  |  | Clear information |  | Clear data | Year&Month | Date | GHI [Wh/m^2] | POA Irradiation [Wh/m^2] | Year&Month | Date | GTI Pyrano [kWh/m²] | Year&Month | Date | Yield at Meter [kWh] | Year&Month | Date | Availability (in %)
[6 empty] | 20051 | 2005-01-31 | 58936 | 93669.8571 | 20157 | 2015-07-31 | 20 | 20051 | 2005-01-31 | 179447 | 20051 | 2005-01-31 | 97.8%
General Information |  | 1 |  | Items changed manually |  | 20052 | 2005-02-28 | 75313 | 106519.8359 | 20158 | 2015-08-31 |  | 20052 | 2005-02-28 | 309133 | 20052 | 2005-02-28 | 99.9%
Client information |  |  |  | Inputs |  | 20053 | 2005-03-31 | 115584 | 143795.6841 | 20159 | 2015-09-30 |  | 20053 | 2005-03-31 | 311309 | 20053 | 2005-03-31 | 95.2%
Client Name |  |  |  | Outputs |  | 20054 | 2005-04-30 | 147550 | 160126.6395 | 201810 | 2018-10-31 | 30 | 20054 | 2005-04-30 | 358602 | 20054 | 2005-04-30 | 98.2%
Client TVA number | [5 empty] | 20055 | 2005-05-31 | 184347 | 187315.3561 | 201511 | 2015-11-30 |  | 20055 | 2005-05-31 | 381045 | 20055 | 2005-05-31 | 98.9%
Contact person | [5 empty] | 20056 | 2005-06-30 | 203724 | 201306.2162 | 201512 | 2015-12-31 |  | 20056 | 2005-06-30 | 348398 | 20056 | 2005-06-30 | 100%
Email address | [5 empty] | 20057 | 2005-07-31 | 212392 | 212584.4606 | 20161 | 2016-01-31 | 60.9 | 20057 | 2005-07-31 | 377568 | 20057 | 2005-07-31 | 100%
3E information | [5 empty] | 20058 | 2005-08-31 | 153789 | 163410.511 | 20162 | 2016-02-29 | 94 | 20058 | 2005-08-31 | 300992 | 20058 | 2005-08-31 | 100%
Reference 3E (PR) | [5 empty] | 20059 | 2005-09-30 | 134705 | 159657.2096 | 20163 | 2016-03-31 | 123.2 | 20059 | 2005-09-30 | 250837 | 20059 | 2005-09-30 | 100%
3E Author | [5 empty] | 200510 | 2005-10-31 | 71903 | 87919.1128 | 20164 | 2016-04-30 | 157.4 | 200510 | 2005-10-31 | 125751 | 200510 | 2005-10-31 | 100%
Date | [5 empty] | 200511 | 2005-11-30 | 55493 | 81516.4917 | 20165 | 2016-05-31 | 165.5 | 200511 | 2005-11-30 | 104310 | 200511 | 2005-11-30 | 100%
Version | [5 empty] | 200512 | 2005-12-31 | 53494 | 89733.449 | 20166 | 2016-06-30 | 199.9 | 200512 | 2005-12-31 | 139966 | 200512 | 2005-12-31 | 97%
3E Controller | [5 empty] | 20061 | 2006-01-31 | 49365 | 73054.041 | 20167 | 2016-07-31 | 208.9 | 20061 | 2006-01-31 | 187306 | 20061 | 2006-01-31 | 100%
Date | [5 empty] | 20062 | 2006-02-28 | 85307 | 124523.0215 | 20168 | 2016-08-31 | 203.8 | 20062 | 2006-02-28 | 244654 | 20062 | 2006-02-28 | 100%
3E Approver | [5 empty] | 20063 | 2006-03-31 | 113827 | 137760.6059 | 20169 | 2016-09-30 | 173.4 | 20063 | 2006-03-31 | 329312 | 20063 | 2006-03-31 | 94.6%
Date | [5 empty] | 20064 | 2006-04-30 | 163081 | 180844.1669 | 201610 | 2016-10-31 | 119.6 | 20064 | 2006-04-30 | 360143 | 20064 | 2006-04-30 | 100%
[6 empty] | 20065 | 2006-05-31 | 187865 | 190688.7677 | 201611 | 2016-11-30 | 72.8 | 20065 | 2006-05-31 | 394458 | 20065 | 2006-05-31 | 100%
Main parameter | [5 empty] | 20066 | 2006-06-30 | 220762 | 219147.7669 | 201612 | 2016-12-31 | 82.4 | 20066 | 2006-06-30 | 393474 | 20066 | 2006-06-30 | 98.4%
Lot | [5 empty] | 20067 | 2006-07-31 | 219791 | 222115.7537 | 20171 | 2017-01-31 | 76.7 | 20067 | 2006-07-31 | 222165 | 20067 | 2006-07-31 | 80%
Project Number | [5 empty] | 20068 | 2006-08-31 | 186492 | 199068.3851 | 20172 | 2017-02-28 | 84.3 | 20068 | 2006-08-31 | 297156 | 20068 | 2006-08-31 | 99.3%
Project Name | [5 empty] | 20069 | 2006-09-30 | 111189 | 128150.0899 | 20173 | 2017-03-31 | 150.4 | 20069 | 2006-09-30 | 212621 | 20069 | 2006-09-30
SPV | [5 empty] | 200610 | 2006-10-31 | 81408 | 103772.0593 | 20174 | 2017-04-30 | 184.2 | 200610 | 2006-10-31 | 181659 | 200610 | 2006-10-31
Project Localization | [5 empty] | 200611 | 2006-11-30 | 59516 | 88966.4841 | 20175 | 2017-05-31 | 179.9 | 200611 | 2006-11-30 | 99400 | 200611 | 2006-11-30
Department code | [5 empty] | 200612 | 2006-12-31 | 51541 | 83984.002 | 20176 | 2017-06-30 | 194.4 | 200612 | 2006-12-31 | 107637 | 200612 | 2006-12-31
Department name | [5 empty] | 20071 | 2007-01-31 | 60723 | 97430.2009 | 20177 | 2017-07-31 | 183.2 | 20071 | 2007-01-31 | 194124 | 20071 | 2007-01-31
Installation Type | [5 empty] | 20072 | 2007-02-28 | 65183 | 88617.6454 | 20178 | 2017-08-31 | 168.8 | 20072 | 2007-02-28 | 253274 | 20072 | 2007-02-28
Name plate power | kWp |  |  |  |  | 20073 | 2007-03-31 | 118607 | 144813.8506 | 20179 | 2017-09-30 | 143.4 | 20073 | 2007-03-31 |  | 20073 | 2007-03-31
COD date | [5 empty] | 20074 | 2007-04-30 | 153341 | 168547.0334 | 201710 | 2017-10-31 | 126 | 20074 | 2007-04-30 |  | 20074 | 2007-04-30
Availability assumption | % |  |  |  |  | 20075 | 2007-05-31 | 166761 | 168950.5595 | 201711 | 2017-11-30 | 78.5 | 20075 | 2007-05-31 |  | 20075 | 2007-05-31
[6 empty] | 20076 | 2007-06-30 | 196734 | 194099.9919 | 201712 | 2017-12-31 | 52.5 | 20076 | 2007-06-30 |  | 20076 | 2007-06-30
Project information | [5 empty] | 20077 | 2007-07-31 | 210466 | 210514.5275 | 19001 |  |  | 20077 | 2007-07-31 |  | 20077 | 2007-07-31
Latitude (4 digits min.) | ° |  |  |  |  | 20078 | 2007-08-31 | 167786 | 177771.472 | 20051 | 2005-01-01 | 40 | 20078 | 2007-08-31 |  | 20078 | 2007-08-31
Longitude (4 digits min.) | ° |  |  |  |  | 20079 | 2007-09-30 | 144552 | 171373.8806 | 19001 |  |  | 20079 | 2007-09-30 |  | 20079 | 2007-09-30
Altitude | m |  |  |  |  | 200710 | 2007-10-31 | 89070 | 120045.0965 | 19001 |  |  | 200710 | 2007-10-31 |  | 200710 | 2007-10-31
Topography | [5 empty] | 200711 | 2007-11-30 | 69936 | 110839.9884 | 19001 |  |  | 200711 | 2007-11-30 |  | 200711 | 2007-11-30
Area superficie | ha |  |  |  |  | 200712 | 2007-12-31 | 54994 | 92911.1492 | 19001 |  |  | 200712 | 2007-12-31 |  | 200712 | 2007-12-31
Azimuth (S=180°,N=360°) | ° |  |  |  |  | 20081 | 2008-01-31 | 55991 | 85880.0434 | 19001 |  |  | 20081 | 2008-01-31 |  | 20081 | 2008-01-31
Tilt | ° |  |  |  |  | 20082 | 2008-02-29 | 77394 | 109982.7855 | 19001 |  |  | 20082 | 2008-02-29 |  | 20082 | 2008-02-29
Albedo (default=0.2) | [5 empty] | 20083 | 2008-03-31 | 118504 | 143513.0304 | 19001 |  |  | 20083 | 2008-03-31 |  | 20083 | 2008-03-31
[6 empty] | 20084 | 2008-04-30 | 152598 | 166771.3451 | 19001 |  |  | 20084 | 2008-04-30 |  | 20084 | 2008-04-30
System Parameters | [5 empty] | 20085 | 2008-05-31 | 156968 | 158688.6495 | 19001 |  |  | 20085 | 2008-05-31 |  | 20085 | 2008-05-31
Module manufacter | [5 empty] | 20086 | 2008-06-30 | 206964 | 204072.018 | 19001 |  |  | 20086 | 2008-06-30 |  | 20086 | 2008-06-30
Module model | [5 empty] | 20087 | 2008-07-31 | 214450 | 215544.566 | 19001 |  |  | 20087 | 2008-07-31 |  | 20087 | 2008-07-31
Module nameplate power | Wp |  |  |  |  | 20088 | 2008-08-31 | 182035 | 195253.4904 | 19001 |  |  | 20088 | 2008-08-31 |  | 20088 | 2008-08-31
Average Flash test power | Wp |  |  |  |  | 20089 | 2008-09-30 | 132411 | 157982.9997 | 19001 |  |  | 20089 | 2008-09-30 |  | 20089 | 2008-09-30
No. of modules | pcs |  |  |  |  | 200810 | 2008-10-31 | 92573 | 121981.0445 | 19001 |  |  | 200810 | 2008-10-31 |  | 200810 | 2008-10-31
Type of inverters | [5 empty] | 200811 | 2008-11-30 | 57351 | 84316.8822 | 19001 |  |  | 200811 | 2008-11-30 |  | 200811 | 2008-11-30
No. of inverters | pcs |  |  |  |  | 200812 | 2008-12-31 | 44519 | 67130.8898 | 19001 |  |  | 200812 | 2008-12-31 |  | 200812 | 2008-12-31
Type of transformers | [5 empty] | 20091 | 2009-01-31 | 54983 | 83119.5526 | 19001 |  |  | 20091 | 2009-01-31 |  | 20091 | 2009-01-31
No. of transformers | pcs |  |  |  |  | 20092 | 2009-02-28 | 79007 | 111123.4371 | 19001 |  |  | 20092 | 2009-02-28 |  | 20092 | 2009-02-28
[6 empty] | 20093 | 2009-03-31 | 133766 | 167991.4077 | 19001 |  |  | 20093 | 2009-03-31 |  | 20093 | 2009-03-31
Module technology | [5 empty] | 20094 | 2009-04-30 | 130015 | 140505.3443 | 19001 |  |  | 20094 | 2009-04-30 |  | 20094 | 2009-04-30
Module cell technology (check) | W |  |  |  |  | 20095 | 2009-05-31 | 172744 | 175990.3156 | 19001 |  |  | 20095 | 2009-05-31 |  | 20095 | 2009-05-31
Module power interval (product) | % |  |  |  |  | 20096 | 2009-06-30 | 205505 | 202353.1672 | 19001 |  |  | 20096 | 2009-06-30 |  | 20096 | 2009-06-30
Module power interval (product) | % |  |  |  |  | 20097 | 2009-07-31 | 210983 | 212094.0485 | 19001 |  |  | 20097 | 2009-07-31 |  | 20097 | 2009-07-31
Power tolerance (min) | % |  |  |  |  | 20098 | 2009-08-31 | 195999 | 212280.0019 | 19001 |  |  | 20098 | 2009-08-31 |  | 20098 | 2009-08-31
Power tolerance (max) | % |  |  |  |  | 20099 | 2009-09-30 | 149630 | 179723.458 | 19001 |  |  | 20099 | 2009-09-30 |  | 20099 | 2009-09-30
Module quality gain / loss | [5 empty] | 200910 | 2009-10-31 | 105221 | 143521.1727 | 19001 |  |  | 200910 | 2009-10-31 |  | 200910 | 2009-10-31
[6 empty] | 200911 | 2009-11-30 | 48162 | 64251.5391 | 19001 |  |  | 200911 | 2009-11-30 |  | 200911 | 2009-11-30
[6 empty] | 200912 | 2009-12-31 | 44782 | 68459.6707 | 19001 |  |  | 200912 | 2009-12-31 |  | 200912 | 2009-12-31
[6 empty] | 20101 | 2010-01-31 | 53254 | 80741.2753 | 19001 |  |  | 20101 | 2010-01-31 |  | 20101 | 2010-01-31
[6 empty] | 20102 | 2010-02-28 | 72073 | 100074.8345 | 19001 |  |  | 20102 | 2010-02-28 |  | 20102 | 2010-02-28
Resolution |  | m |  |  |  | 20103 | 2010-03-31 | 115589 | 141885.6695 | 19001 |  |  | 20103 | 2010-03-31 |  | 20103 | 2010-03-31
Source |  | hc3v5 |  |  |  | 20104 | 2010-04-30 | 161347 | 178748.8553 | 19001 |  |  | 20104 | 2010-04-30 |  | 20104 | 2010-04-30
Début |  | 20050101 |  |  |  | 20105 | 2010-05-31 | 178462 | 179825.2888 | 19001 |  |  | 20105 | 2010-05-31 |  | 20105 | 2010-05-31
Fin |  | 20181021 |  |  |  | 20106 | 2010-06-30 | 194122 | 190948.6038 | 19001 |  |  | 20106 | 2010-06-30 |  | 20106 | 2010-06-30
Lien SoDa |  | http://192.168.100.38:8082/?source=&lat=&lon=&start=kWp&end=&alt=&tilt=&azimuth=&albedo=&resolution=_classic |  |  |  | 20107 | 2010-07-31 | 219807 | 220498.6808 | 19001 |  |  | 20107 | 2010-07-31 |  | 20107 | 2010-07-31
[6 empty] | 20108 | 2010-08-31 | 200589 | 216919.189 | 19001 |  |  | 20108 | 2010-08-31 |  | 20108 | 2010-08-31
[6 empty] | 20109 | 2010-09-30 | 137609 | 163144.3664 | 19001 |  |  | 20109 | 2010-09-30 |  | 20109 | 2010-09-30
[6 empty] | 201010 | 2010-10-31 | 83238 | 108119.2402 | 19001 |  |  | 201010 | 2010-10-31 |  | 201010 | 2010-10-31
[6 empty] | 201011 | 2010-11-30 | 60389 | 88578.7946 | 19001 |  |  | 201011 | 2010-11-30 |  | 201011 | 2010-11-30
[6 empty] | 201012 | 2010-12-31 | 46696 | 72775.9536 | 19001 |  |  | 201012 | 2010-12-31 |  | 201012 | 2010-12-31
[6 empty] | 20111 | 2011-01-31 | 55936 | 88610.1675 | 19001 |  |  | 20111 | 2011-01-31 |  | 20111 | 2011-01-31
[6 empty] | 20112 | 2011-02-28 | 76334 | 107801.6664 | 19001 |  |  | 20112 | 2011-02-28 |  | 20112 | 2011-02-28
[6 empty] | 20113 | 2011-03-31 | 116926 | 143391.9689 | 19001 |  |  | 20113 | 2011-03-31 |  | 20113 | 2011-03-31
[6 empty] | 20114 | 2011-04-30 | 169926 | 189513.7615 | 19001 |  |  | 20114 | 2011-04-30 |  | 20114 | 2011-04-30
[6 empty] | 20115 | 2011-05-31 | 200380 | 203797.5333 | 19001 |  |  | 20115 | 2011-05-31 |  | 20115 | 2011-05-31
[6 empty] | 20116 | 2011-06-30 | 186252 | 181830.2585 | 19001 |  |  | 20116 | 2011-06-30 |  | 20116 | 2011-06-30
[6 empty] | 20117 | 2011-07-31 | 204531 | 204177.7442 | 19001 |  |  | 20117 | 2011-07-31 |  | 20117 | 2011-07-31
[6 empty] | 20118 | 2011-08-31 | 181207 | 193769.257 | 19001 |  |  | 20118 | 2011-08-31 |  | 20118 | 2011-08-31
[6 empty] | 20119 | 2011-09-30 | 141900 | 169708.5511 | 19001 |  |  | 20119 | 2011-09-30 |  | 20119 | 2011-09-30
[6 empty] | 201110 | 2011-10-31 | 105796 | 143890.598 | 19001 |  |  | 201110 | 2011-10-31 |  | 201110 | 2011-10-31
[6 empty] | 201111 | 2011-11-30 | 47701 | 66658.3202 | 19001 |  |  | 201111 | 2011-11-30 |  | 201111 | 2011-11-30
[6 empty] | 201112 | 2011-12-31 | 49491 | 77691.8255 | 19001 |  |  | 201112 | 2011-12-31 |  | 201112 | 2011-12-31
[6 empty] | 20121 | 2012-01-31 | 62184 | 101454.3551 | 19001 |  |  | 20121 | 2012-01-31 |  | 20121 | 2012-01-31
[6 empty] | 20122 | 2012-02-29 | 95828 | 141824.5715 | 19001 |  |  | 20122 | 2012-02-29 |  | 20122 | 2012-02-29
[6 empty] | 20123 | 2012-03-31 | 131464 | 164233.6171 | 19001 |  |  | 20123 | 2012-03-31 |  | 20123 | 2012-03-31
[6 empty] | 20124 | 2012-04-30 | 134864 | 145479.5937 | 19001 |  |  | 20124 | 2012-04-30 |  | 20124 | 2012-04-30
[6 empty] | 20125 | 2012-05-31 | 181673 | 184659.2905 | 19001 |  |  | 20125 | 2012-05-31 |  | 20125 | 2012-05-31
[6 empty] | 20126 | 2012-06-30 | 194789 | 192166.2392 | 19001 |  |  | 20126 | 2012-06-30 |  | 20126 | 2012-06-30
[6 empty] | 20127 | 2012-07-31 | 227845 | 229249.851 | 19001 |  |  | 20127 | 2012-07-31 |  | 20127 | 2012-07-31
[6 empty] | 20128 | 2012-08-31 | 193623 | 208302.3798 | 19001 |  |  | 20128 | 2012-08-31 |  | 20128 | 2012-08-31
[6 empty] | 20129 | 2012-09-30 | 123353 | 142872.5571 | 19001 |  |  | 20129 | 2012-09-30 |  | 20129 | 2012-09-30
[6 empty] | 201210 | 2012-10-31 | 85019 | 109341.2401 | 19001 |  |  | 201210 | 2012-10-31 |  | 201210 | 2012-10-31
[6 empty] | 201211 | 2012-11-30 | 56305 | 82749.2131 | 19001 |  |  | 201211 | 2012-11-30 |  | 201211 | 2012-11-30
[6 empty] | 201212 | 2012-12-31 | 50282 | 81243.6694 | 19001 |  |  | 201212 | 2012-12-31 |  | 201212 | 2012-12-31
[6 empty] | 20131 | 2013-01-31 | 58804 | 93885.1927 | 19001 |  |  | 20131 | 2013-01-31 |  | 20131 | 2013-01-31
[6 empty] | 20132 | 2013-02-28 | 75912 | 104623.0805 | 19001 |  |  | 20132 | 2013-02-28 |  | 20132 | 2013-02-28
[6 empty] | 20133 | 2013-03-31 | 106695 | 127566.4278 | 19001 |  |  | 20133 | 2013-03-31 |  | 20133 | 2013-03-31
[6 empty] | 20134 | 2013-04-30 | 135065 | 148717.5683 | 19001 |  |  | 20134 | 2013-04-30 |  | 20134 | 2013-04-30
[6 empty] | 20135 | 2013-05-31 | 181237 | 183873.0604 | 19001 |  |  | 20135 | 2013-05-31 |  | 20135 | 2013-05-31
[6 empty] | 20136 | 2013-06-30 | 201397 | 196882.7041 | 19001 |  |  | 20136 | 2013-06-30 |  | 20136 | 2013-06-30
[6 empty] | 20137 | 2013-07-31 | 208938 | 210158.5175 | 19001 |  |  | 20137 | 2013-07-31 |  | 20137 | 2013-07-31
[6 empty] | 20138 | 2013-08-31 | 187685 | 201115.5082 | 19001 |  |  | 20138 | 2013-08-31 |  | 20138 | 2013-08-31
[6 empty] | 20139 | 2013-09-30 | 133728 | 155919.2644 | 19001 |  |  | 20139 | 2013-09-30 |  | 20139 | 2013-09-30
[6 empty] | 201310 | 2013-10-31 | 88534 | 116310.3018 | 19001 |  |  | 201310 | 2013-10-31 |  | 201310 | 2013-10-31
[6 empty] | 201311 | 2013-11-30 | 55644 | 80696.404 | 19001 |  |  | 201311 | 2013-11-30 |  | 201311 | 2013-11-30
[6 empty] | 201312 | 2013-12-31 | 51165 | 83302.68 | 19001 |  |  | 201312 | 2013-12-31 |  | 201312 | 2013-12-31
[6 empty] | 20141 | 2014-01-31 | 49030 | 68253.1877 | 19001 |  |  | 20141 | 2014-01-31 |  | 20141 | 2014-01-31
[6 empty] | 20142 | 2014-02-28 | 75229 | 104366.6633 | 19001 |  |  | 20142 | 2014-02-28 | 179447 | 20142 | 2014-02-28 | 97.8%
[6 empty] | 20143 | 2014-03-31 | 131166 | 167318.8314 | 19001 |  |  | 20143 | 2014-03-31 | 309133 | 20143 | 2014-03-31 | 99.9%
[6 empty] | 20144 | 2014-04-30 | 157983 | 174060.4366 | 19001 |  |  | 20144 | 2014-04-30 | 311309 | 20144 | 2014-04-30 | 95.2%
[6 empty] | 20145 | 2014-05-31 | 197665 | 201338.5816 | 19001 |  |  | 20145 | 2014-05-31 | 358602 | 20145 | 2014-05-31 | 98.2%
[6 empty] | 20146 | 2014-06-30 | 209921 | 207813.8155 | 19001 |  |  | 20146 | 2014-06-30 | 381045 | 20146 | 2014-06-30 | 98.9%
[6 empty] | 20147 | 2014-07-31 | 192106 | 191361.6991 | 19001 |  |  | 20147 | 2014-07-31 | 348398 | 20147 | 2014-07-31 | 100%
[6 empty] | 20148 | 2014-08-31 | 192028 | 206406.6623 | 19001 |  |  | 20148 | 2014-08-31 | 377568 | 20148 | 2014-08-31 | 100%
[6 empty] | 20149 | 2014-09-30 | 138922 | 163223.6153 | 19001 |  |  | 20149 | 2014-09-30 | 300992 | 20149 | 2014-09-30 | 100%
[6 empty] | 201410 | 2014-10-31 | 105356 | 142560.8426 | 19001 |  |  | 201410 | 2014-10-31 | 250837 | 201410 | 2014-10-31 | 100%
[6 empty] | 201411 | 2014-11-30 | 53946 | 78304.0792 | 19001 |  |  | 201411 | 2014-11-30 | 125751 | 201411 | 2014-11-30 | 100%
[6 empty] | 201412 | 2014-12-31 | 49027 | 78029.5217 | 19001 |  |  | 201412 | 2014-12-31 | 104310 | 201412 | 2014-12-31 | 100%
[6 empty] | 20151 | 2015-01-31 | 60036 | 95689.6995 | 19001 |  |  | 20151 | 2015-01-31 | 139966 | 20151 | 2015-01-31 | 97%
[6 empty] | 20152 | 2015-02-28 | 76152 | 105229.6947 | 19001 |  |  | 20152 | 2015-02-28 | 187306 | 20152 | 2015-02-28 | 100%
[6 empty] | 20153 | 2015-03-31 | 113248 | 138012.4498 | 19001 |  |  | 20153 | 2015-03-31 | 244654 | 20153 | 2015-03-31 | 100%
[6 empty] | 20154 | 2015-04-30 | 170370 | 190701.1386 | 19001 |  |  | 20154 | 2015-04-30 | 329312 | 20154 | 2015-04-30 | 94.6%
[6 empty] | 20155 | 2015-05-31 | 192708 | 195038.1404 | 19001 |  |  | 20155 | 2015-05-31 | 360143 | 20155 | 2015-05-31 | 100%
[6 empty] | 20156 | 2015-06-30 | 224145 | 220516.8537 | 19001 |  |  | 20156 | 2015-06-30 | 394458 | 20156 | 2015-06-30 | 100%
[6 empty] | 20157 | 2015-07-31 | 220319 | 221028.3108 | 19001 |  |  | 20157 | 2015-07-31 | 393474 | 20157 | 2015-07-31 | 98.4%
[6 empty] | 20158 | 2015-08-31 | 176272 | 187415.7635 | 19001 |  |  | 20158 | 2015-08-31 | 222165 | 20158 | 2015-08-31 | 80%
[6 empty] | 20159 | 2015-09-30 | 138138 | 163374.9248 | 19001 |  |  | 20159 | 2015-09-30 | 297156 | 20159 | 2015-09-30 | 99.3%
[6 empty] | 201510 | 2015-10-31 | 92980 | 122945.5822 | 19001 |  |  | 201510 | 2015-10-31 | 212621 | 201510 | 2015-10-31 | 100%
[6 empty] | 201511 | 2015-11-30 | 69499 | 111726.7248 | 19001 |  |  | 201511 | 2015-11-30 | 181659 | 201511 | 2015-11-30 | 98.6%
[6 empty] | 201512 | 2015-12-31 | 47380 | 73874.0375 | 19001 |  |  | 201512 | 2015-12-31 | 99400 | 201512 | 2015-12-31 | 100%
[6 empty] | 20161 | 2016-01-31 | 50480 | 73892.9578 | 19001 |  |  | 20161 | 2016-01-31 | 107637 | 20161 | 2016-01-31 | 100%
[6 empty] | 20162 | 2016-02-29 | 77160 | 107917.2437 | 19001 |  |  | 20162 | 2016-02-29 | 194124 | 20162 | 2016-02-29 | 99.6%
[6 empty] | 20163 | 2016-03-31 | 112689 | 137204.6804 | 19001 |  |  | 20163 | 2016-03-31 | 253274 | 20163 | 2016-03-31 | 99.8%
[6 empty] | 20164 | 2016-04-30 | 159108 | 172894.0939 | 19001 |  |  | 20164 | 2016-04-30 | 314735 | 20164 | 2016-04-30 | 99.4%
[6 empty] | 20165 | 2016-05-31 | 175766 | 178443.4771 | 19001 |  |  | 20165 | 2016-05-31 | 319360 | 20165 | 2016-05-31 | 97.1%
[6 empty] | 20166 | 2016-06-30 | 208727 | 205641.8754 | 19001 |  |  | 20166 | 2016-06-30 | 380073 | 20166 | 2016-06-30 | 98.6%
[6 empty] | 20167 | 2016-07-31 | 211026 | 211766.6409 | 19001 |  |  | 20167 | 2016-07-31 | 388615 | 20167 | 2016-07-31 | 98.7%
[6 empty] | 20168 | 2016-08-31 | 201532 | 217356.4438 | 19001 |  |  | 20168 | 2016-08-31 | 395618 | 20168 | 2016-08-31 | 99.1%
[6 empty] | 20169 | 2016-09-30 | 149988 | 180374.3895 | 19001 |  |  | 20169 | 2016-09-30 | 319103 | 20169 | 2016-09-30 | 98.8%
[6 empty] | 201610 | 2016-10-31 | 98100 | 133434.3923 | 19001 |  |  | 201610 | 2016-10-31 | 207809 | 201610 | 2016-10-31 | 99.5%
[6 empty] | 201611 | 2016-11-30 | 58107 | 85606.3688 | 19001 |  |  | 201611 | 2016-11-30 | 135718 | 201611 | 2016-11-30 | 100%
[6 empty] | 201612 | 2016-12-31 | 53707 | 90701.839 | 19001 |  |  | 201612 | 2016-12-31 | 128530 | 201612 | 2016-12-31 | 100%
[6 empty] | 20171 | 2017-01-31 | 57419 | 91993.6192 | 19001 |  |  | 20171 | 2017-01-31 | 138405 | 20171 | 2017-01-31 | 98.4%
[6 empty] | 20172 | 2017-02-28 | 72140 | 99573.4044 | 19001 |  |  | 20172 | 2017-02-28 | 174412 | 20172 | 2017-02-28 | 99.5%
[6 empty] | 20173 | 2017-03-31 | 130929 | 162185.9657 | 19001 |  |  | 20173 | 2017-03-31 | 305674 | 20173 | 2017-03-31 | 98.2%
[6 empty] | 20174 | 2017-04-30 | 175995 | 196133.6992 | 19001 |  |  | 20174 | 2017-04-30 | 370359 | 20174 | 2017-04-30 | 99.4%
[6 empty] | 20175 | 2017-05-31 | 191532 | 194769.515 | 19001 |  |  | 20175 | 2017-05-31 | 359810 | 20175 | 2017-05-31 | 99.5%
[6 empty] | 20176 | 2017-06-30 | 210005 | 207811.7376 | 19001 |  |  | 20176 | 2017-06-30 | 382085 | 20176 | 2017-06-30 | 98.9%
[6 empty] | 20177 | 2017-07-31 | 202668 | 201926.2037 | 19001 |  |  | 20177 | 2017-07-31 | 357555 | 20177 | 2017-07-31 | 99.4%
[6 empty] | 20178 | 2017-08-31 | 170093 | 180253.8981 | 19001 |  |  | 20178 | 2017-08-31 | 334492 | 20178 | 2017-08-31 | 99.9%
[6 empty] | 20179 | 2017-09-30 | 132578 | 155762.3605 | 19001 |  |  | 20179 | 2017-09-30 | 294322 | 20179 | 2017-09-30 | 99.3%
[6 empty] | 201710 | 2017-10-31 | 100566 | 135380.8486 | 19001 |  |  | 201710 | 2017-10-31 | 255220 | 201710 | 2017-10-31 | 99.7%
[6 empty] | 201711 | 2017-11-30 | 59782 | 89706.5589 | 19001 |  |  | 201711 | 2017-11-30 | 153491 | 201711 | 2017-11-30 | 99.9%
[6 empty] | 201712 | 2017-12-31 | 46396 | 71072.0072 | 19001 |  |  | 201712 | 2017-12-31 | 94590 | 201712 | 2017-12-31 | 99.9%
[6 empty] | 20181 | 2018-01-31 | 54735 | 84466.2551 | 19001 |  |  | 20181 | 2018-01-31 | 119420 | 20181 | 2018-01-31 | 99.1%
[6 empty] | 20182 | 2018-02-28 | 74995 | 104315.6996 | 19001 |  |  | 20182 | 2018-02-28 | 183365 | 20182 | 2018-02-28 | 99.6%
[6 empty] | 20183 | 2018-03-31 | 117205 | 142585.3523 | 19001 |  |  | 20183 | 2018-03-31 | 246935 | 20183 | 2018-03-31 | 99.4%
[6 empty] | 20184 | 2018-04-30 | 139793 | 152401.0829 | 19001 |  |  | 20184 | 2018-04-30 | 284592 | 20184 | 2018-04-30
[6 empty] | 20185 | 2018-05-31 | 166363 | 168571.2553 | 19001 |  |  | 20185 | 2018-05-31 |  | 20185 | 2018-05-31
[6 empty] | 20186 | 2018-06-30 | 200723 | 196807.7218 | 19001 |  |  | 20186 | 2018-06-30 |  | 20186 | 2018-06-30
[6 empty] | 20187 | 2018-07-31 | 231214 | 232926.0298 | 19001 |  |  | 20187 | 2018-07-31 |  | 20187 | 2018-07-31
[6 empty] | 20188 | 2018-08-31 | 197884 | 213324.4473 | 19001 |  |  | 20188 | 2018-08-31 |  | 20188 | 2018-08-31
[6 empty] | 20189 | 2018-09-30 | 152863 | 183713.2724 | 19001 |  |  | 20189 | 2018-09-30 |  | 20189 | 2018-09-30
[6 empty] | 201810 | 2018-10-31 | 42711 | 53054.6818 | 19001 |  |  | 201810 | 2018-10-31 |  | 201810 | 2018-10-31
[6 empty] | 201811 | 2018-11-30 |  |  | 19001 |  |  | 201811 | 2018-11-30 |  | 201811 | 2018-11-30
[6 empty] | 201812 | 2018-12-31 | -67441 | -77603.9088 | 19001 |  |  | 201812 | 2018-12-31 |  | 201812 | 2018-12-31
[6 empty] | 20191 | 2019-01-31 | -177593 | -208262.4995 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20192 | 2019-02-28 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20193 | 2019-03-31 | -287745 | -338921.0901 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20194 | 2019-04-30 | -397897 | -469579.6807 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20195 | 2019-05-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20196 | 2019-06-30 | -508049 | -600238.2713 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20197 | 2019-07-31 | -618201 | -730896.862 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20198 | 2019-08-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20199 | 2019-09-30 | -728353 | -861555.4526 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 201910 | 2019-10-31 | -838505 | -992214.0432 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 201911 | 2019-11-30 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 201912 | 2019-12-31 | -948657 | -1122872.6339 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20201 | 2020-01-31 | -1058809 | -1253531.2245 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20202 | 2020-02-29 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20203 | 2020-03-31 | -1168961 | -1384189.8151 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20204 | 2020-04-30 | -1279113 | -1514848.4057 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20205 | 2020-05-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20206 | 2020-06-30 | -1389265 | -1645506.9964 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20207 | 2020-07-31 | -1499417 | -1776165.587 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20208 | 2020-08-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20209 | 2020-09-30 | -1609569 | -1906824.1776 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 202010 | 2020-10-31 | -1719721 | -2037482.7682 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 202011 | 2020-11-30 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 202012 | 2020-12-31 | -1829873 | -2168141.3589 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20211 | 2021-01-31 | -1940025 | -2298799.9495 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20212 | 2021-02-28 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20213 | 2021-03-31 | -2050177 | -2429458.5401 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20214 | 2021-04-30 | -2160329 | -2560117.1308 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20215 | 2021-05-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20216 | 2021-06-30 | -2270481 | -2690775.7214 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20217 | 2021-07-31 | -2380633 | -2821434.312 | 19001 |  |  | 19001 |  |  | 19001
Note on O1: Feyswal Assiandi (3E): Copie monthly pyronometer data For more accurate results, only use complete years with no data issue. The remaining data points will be used to determine the RMSE of the correlated data
Note on S1: Feyswal Assiandi (3E): Only consider complete months and complete years for the correlation and then use remaining complete months to calculate uncertainty
Note on A42: Feyswal Assiandi (3E): BE CAREFUL : Put in the following sections the exact text that will be automatically retrieved to the report
Note on C68: Feyswal Assiandi (3E): Copy this link into an internet browser. Wait 5 minutes to get the SoDa data to paste in tab "Irr Correlation"

## Irr Correlation
| Date | GHI [Wh/m^2] | POA Irradiation [Wh/m^2] | nod | Month | Year | GTI Pyrano [kWh/m²] | GTI SoDa Correlated [kWh/m²] | Series of 12 | Month | GHI SoDa LT | GTI SoDa LT | Year | GHI SoDa LT | GTI SoDa LT | Dates | GTI SoDa [kWh/m²] | GTI Pyrano [kWh/m²] |  |  | Monthly historical irradiation data (GHI) | Dates | GTI SoDa Correlated [kWh/m²] | GTI Pyrano NOT used [kWh/m²] | Obs - Pred
20051 | 2005-01-01 | 58936 | 93669.8571 | 31 | 1 | 2005 | 40 | 93.6699 | 1 | 1 | 55.9339 | 86.7442 | 2005 | 1467.23 | 1687.5548 | 31/01/2016 | 179.7235 | 0 | For more accurate results, only use complete years with no data issue. |  |  | 2005-01-01 | 93.6699 | 40 | -53.6699 | RMSE | 109.7342
20052 | 28/02/2005 | 75313 | 106519.8359 | 28 | 2 | 2005 | 0 | 106.5198 | 0 | 2 | 77.1563 | 108.6291 | 2006 | 1530.144 | 1752.0751 | 29/02/2016 | 106.5198 | 0 | The remaining data points will be used to determine the RMSE of the correlated data |  |  | 31/07/2015 | 169.7086 | 0 | -169.7086 | MIN | 0
20053 | 31/03/2005 | 115584 | 143795.6841 | 31 | 3 | 2005 | 0 | 143.7957 | 0 | 3 | 119.9226 | 147.6672 | 2007 | 1498.153 | 1745.9154 | 31/03/2016 | 169.7086 | 0 |  |  |  | 31/10/2018 | 66.6583 | 0 | -66.6583 | MAX | 40
20054 | 30/04/2005 | 147550 | 160126.6395 | 30 | 4 | 2005 | 0 | 160.1266 | 0 | 4 | 154.711 | 170.2341 | 2008 | 1491.758 | 1711.1177 | 30/04/2016 | 106.5198 | 0 | If pyranometer data are provided, you have to manually determine the uncertainty. | [6 empty] | NRMSE | 274.3%
20055 | 31/05/2005 | 184347 | 187315.3561 | 31 | 5 | 2005 | 0 | 187.3154 | 0 | 5 | 182.1622 | 184.8753 | 2009 | 1530.797 | 1761.4131 | 31/05/2016 | 169.7086 | 0 | This will be done by comparing the datapoints from "GTI Pyrano" NOT considered to determine the fit equation,
20056 | 30/06/2005 | 203724 | 201306.2162 | 30 | 6 | 2005 | 0 | 201.3062 | 0 | 6 | 204.8498 | 201.8916 | 2010 | 1523.175 | 1742.2608 | 30/06/2016 | 202.3532 | 0 | with the corresponding values from "GTI SoDa Correlated"
20057 | 31/07/2005 | 212392 | 212584.4606 | 31 | 7 | 2005 | 0 | 212.5845 | 0 | 7 | 211.9478 | 212.5401 | 2011 | 1536.38 | 1770.8417 | 31/07/2016 | 169.7086 | 0 | If no GTI Pyrano value provided, then consider the uncertainty from SoDa given in Cell I19
20058 | 31/08/2005 | 153789 | 163410.511 | 31 | 8 | 2005 | 0 | 163.4105 | 0 | 8 | 183.7792 | 196.871 | 2012 | 1537.229 | 1783.5766 | 31/08/2016 | 169.7086 | 0 | Be careful to consider only complete months
20059 | 30/09/2005 | 134705 | 159657.2096 | 30 | 9 | 2005 | 0 | 159.6572 | 0 | 9 | 136.0541 | 160.8667 | 2013 | 1484.804 | 1703.0507 | 30/09/2016 | 179.7235 | 0
200510 | 31/10/2005 | 71903 | 87919.1128 | 31 | 10 | 2005 | 0 | 87.9191 | 0 | 10 | 92.2895 | 122.2478 | 2014 | 1552.379 | 1783.0379 | 31/10/2016 | 66.6583 | 0 | Equation
200511 | 30/11/2005 | 55493 | 81516.4917 | 30 | 11 | 2005 | 0 | 81.5165 | 0 | 11 | 57.8332 | 85.686 | 2015 | 1581.247 | 1825.5533 | 30/11/2016 | 179.7235 | 0 | a | x | + b
200512 | 31/12/2005 | 53494 | 89733.449 | 31 | 12 | 2005 | 0 | 89.7334 | 0 | 12 | 49.498 | 79.3008 | 2016 | 1556.39 | 1795.2344 | 31/12/2016 | 0 | 0 | 0 | x | 0
20061 | 31/01/2006 | 49365 | 73054.041 | 31 | 1 | 2006 | 0 | 73.054 | 0 |  |  |  | 2017 | 1550.103 | 1786.5698 | 31/01/2017 | 179.7235 | 0
20062 | 28/02/2006 | 85307 | 124523.0215 | 28 | 2 | 2006 | 0 | 124.523 | 0 | SoDa LT | [5 empty] | 28/02/2017 | 106.5198 | 0
20063 | 31/03/2006 | 113827 | 137760.6059 | 31 | 3 | 2006 | 0 | 137.7606 | 0 | Annual variability | 2.126% |  |  |  |  | 31/03/2017 | 169.7086 | 0
20064 | 30/04/2006 | 163081 | 180844.1669 | 30 | 4 | 2006 | 0 | 180.8442 | 0 | LT GHI | 1526.1376 |  |  |  |  | 30/04/2017 | 106.5198 | 0
20065 | 31/05/2006 | 187865 | 190688.7677 | 31 | 5 | 2006 | 0 | 190.6888 | 0 | LT GTI | 1757.554 |  |  |  |  | 31/05/2017 | 169.7086 | 0
20066 | 30/06/2006 | 220762 | 219147.7669 | 30 | 6 | 2006 | 0 | 219.1478 | 0 | GHI uncertainty | 5.1% |  |  |  |  | 30/06/2017 | 202.3532 | 0
20067 | 31/07/2006 | 219791 | 222115.7537 | 31 | 7 | 2006 | 0 | 222.1158 | 0 | [6 empty] | 31/07/2017 | 169.7086 | 0
20068 | 31/08/2006 | 186492 | 199068.3851 | 31 | 8 | 2006 | 0 | 199.0684 | 0 | Nb Years | 13 |  |  |  |  | 31/08/2017 | 169.7086 | 0
20069 | 30/09/2006 | 111189 | 128150.0899 | 30 | 9 | 2006 | 0 | 128.1501 | 0 | [6 empty] | 30/09/2017 | 179.7235 | 0
200610 | 31/10/2006 | 81408 | 103772.0593 | 31 | 10 | 2006 | 0 | 103.7721 | 0 | SoDa LT Correlated | [5 empty] | 31/10/2017 | 66.6583 | 0
200611 | 30/11/2006 | 59516 | 88966.4841 | 30 | 11 | 2006 | 0 | 88.9665 | 0 | Month | GTI SoDa Correlated | Monthly breakdsown | Year | GTI SoDa Correlated |  | 30/11/2017 | 179.7235 | 0
200612 | 31/12/2006 | 51541 | 83984.002 | 31 | 12 | 2006 | 0 | 83.984 | 0 | 1 | 86.7442 | 4.936% | 2005 | 1687.5548 |  | 31/12/2017 | 0 | 0
20071 | 31/01/2007 | 60723 | 97430.2009 | 31 | 1 | 2007 | 0 | 97.4302 | 0 | 2 | 108.6291 | 6.181% | 2006 | 1752.0751
20072 | 28/02/2007 | 65183 | 88617.6454 | 28 | 2 | 2007 | 0 | 88.6176 | 0 | 3 | 147.6672 | 8.402% | 2007 | 1745.9154
20073 | 31/03/2007 | 118607 | 144813.8506 | 31 | 3 | 2007 | 0 | 144.8139 | 0 | 4 | 170.2341 | 9.686% | 2008 | 1711.1177
20074 | 30/04/2007 | 153341 | 168547.0334 | 30 | 4 | 2007 | 0 | 168.547 | 0 | 5 | 184.8753 | 10.52% | 2009 | 1761.4131
20075 | 31/05/2007 | 166761 | 168950.5595 | 31 | 5 | 2007 | 0 | 168.9506 | 0 | 6 | 201.8916 | 11.49% | 2010 | 1742.2608
20076 | 30/06/2007 | 196734 | 194099.9919 | 30 | 6 | 2007 | 0 | 194.1 | 0 | 7 | 212.5401 | 12.09% | 2011 | 1770.8417
20077 | 31/07/2007 | 210466 | 210514.5275 | 31 | 7 | 2007 | 0 | 210.5145 | 0 | 8 | 196.871 | 11.2% | 2012 | 1783.5766
20078 | 31/08/2007 | 167786 | 177771.472 | 31 | 8 | 2007 | 0 | 177.7715 | 0 | 9 | 160.8667 | 9.153% | 2013 | 1703.0507
20079 | 30/09/2007 | 144552 | 171373.8806 | 30 | 9 | 2007 | 0 | 171.3739 | 0 | 10 | 122.2478 | 6.956% | 2014 | 1783.0379
200710 | 31/10/2007 | 89070 | 120045.0965 | 31 | 10 | 2007 | 0 | 120.0451 | 0 | 11 | 85.686 | 4.875% | 2015 | 1825.5533
200711 | 30/11/2007 | 69936 | 110839.9884 | 30 | 11 | 2007 | 0 | 110.84 | 0 | 12 | 79.3008 | 4.512% | 2016 | 1795.2344
200712 | 31/12/2007 | 54994 | 92911.1492 | 31 | 12 | 2007 | 0 | 92.9111 | 0 | Total | 1757.554 | 100% | 2017 | 1786.5698
20081 | 31/01/2008 | 55991 | 85880.0434 | 31 | 1 | 2008 | 0 | 85.88 | 0
20082 | 29/02/2008 | 77394 | 109982.7855 | 29 | 2 | 2008 | 0 | 109.9828 | 0 | SoDa LT Correlated
20083 | 31/03/2008 | 118504 | 143513.0304 | 31 | 3 | 2008 | 0 | 143.513 | 0 | Annual variability | 2.254%
20084 | 30/04/2008 | 152598 | 166771.3451 | 30 | 4 | 2008 | 0 | 166.7713 | 0 | LT GTI SoDa Correlated | 1757.554
20085 | 31/05/2008 | 156968 | 158688.6495 | 31 | 5 | 2008 | 0 | 158.6886 | 0 | GTI Correlation Uncertainty | 274.3%
20086 | 30/06/2008 | 206964 | 204072.018 | 30 | 6 | 2008 | 0 | 204.072 | 0
20087 | 31/07/2008 | 214450 | 215544.566 | 31 | 7 | 2008 | 0 | 215.5446 | 0
20088 | 31/08/2008 | 182035 | 195253.4904 | 31 | 8 | 2008 | 0 | 195.2535 | 0
20089 | 30/09/2008 | 132411 | 157982.9997 | 30 | 9 | 2008 | 0 | 157.983 | 0
200810 | 31/10/2008 | 92573 | 121981.0445 | 31 | 10 | 2008 | 0 | 121.981 | 0
200811 | 30/11/2008 | 57351 | 84316.8822 | 30 | 11 | 2008 | 0 | 84.3169 | 0
200812 | 31/12/2008 | 44519 | 67130.8898 | 31 | 12 | 2008 | 0 | 67.1309 | 0
20091 | 31/01/2009 | 54983 | 83119.5526 | 31 | 1 | 2009 | 0 | 83.1196 | 0
20092 | 28/02/2009 | 79007 | 111123.4371 | 28 | 2 | 2009 | 0 | 111.1234 | 0
20093 | 31/03/2009 | 133766 | 167991.4077 | 31 | 3 | 2009 | 0 | 167.9914 | 0
20094 | 30/04/2009 | 130015 | 140505.3443 | 30 | 4 | 2009 | 0 | 140.5053 | 0
20095 | 31/05/2009 | 172744 | 175990.3156 | 31 | 5 | 2009 | 0 | 175.9903 | 0
20096 | 30/06/2009 | 205505 | 202353.1672 | 30 | 6 | 2009 | 0 | 202.3532 | 0
20097 | 31/07/2009 | 210983 | 212094.0485 | 31 | 7 | 2009 | 0 | 212.094 | 0
20098 | 31/08/2009 | 195999 | 212280.0019 | 31 | 8 | 2009 | 0 | 212.28 | 0
20099 | 30/09/2009 | 149630 | 179723.458 | 30 | 9 | 2009 | 0 | 179.7235 | 0
200910 | 31/10/2009 | 105221 | 143521.1727 | 31 | 10 | 2009 | 0 | 143.5212 | 0
200911 | 30/11/2009 | 48162 | 64251.5391 | 30 | 11 | 2009 | 0 | 64.2515 | 0
200912 | 31/12/2009 | 44782 | 68459.6707 | 31 | 12 | 2009 | 0 | 68.4597 | 0
20101 | 31/01/2010 | 53254 | 80741.2753 | 31 | 1 | 2010 | 0 | 80.7413 | 0
20102 | 28/02/2010 | 72073 | 100074.8345 | 28 | 2 | 2010 | 0 | 100.0748 | 0
20103 | 31/03/2010 | 115589 | 141885.6695 | 31 | 3 | 2010 | 0 | 141.8857 | 0
20104 | 30/04/2010 | 161347 | 178748.8553 | 30 | 4 | 2010 | 0 | 178.7489 | 0
20105 | 31/05/2010 | 178462 | 179825.2888 | 31 | 5 | 2010 | 0 | 179.8253 | 0
20106 | 30/06/2010 | 194122 | 190948.6038 | 30 | 6 | 2010 | 0 | 190.9486 | 0
20107 | 31/07/2010 | 219807 | 220498.6808 | 31 | 7 | 2010 | 0 | 220.4987 | 0
20108 | 31/08/2010 | 200589 | 216919.189 | 31 | 8 | 2010 | 0 | 216.9192 | 0
20109 | 30/09/2010 | 137609 | 163144.3664 | 30 | 9 | 2010 | 0 | 163.1444 | 0
201010 | 31/10/2010 | 83238 | 108119.2402 | 31 | 10 | 2010 | 0 | 108.1192 | 0
201011 | 30/11/2010 | 60389 | 88578.7946 | 30 | 11 | 2010 | 0 | 88.5788 | 0
201012 | 31/12/2010 | 46696 | 72775.9536 | 31 | 12 | 2010 | 0 | 72.776 | 0
20111 | 31/01/2011 | 55936 | 88610.1675 | 31 | 1 | 2011 | 0 | 88.6102 | 0
20112 | 28/02/2011 | 76334 | 107801.6664 | 28 | 2 | 2011 | 0 | 107.8017 | 0
20113 | 31/03/2011 | 116926 | 143391.9689 | 31 | 3 | 2011 | 0 | 143.392 | 0
20114 | 30/04/2011 | 169926 | 189513.7615 | 30 | 4 | 2011 | 0 | 189.5138 | 0
20115 | 31/05/2011 | 200380 | 203797.5333 | 31 | 5 | 2011 | 0 | 203.7975 | 0
20116 | 30/06/2011 | 186252 | 181830.2585 | 30 | 6 | 2011 | 0 | 181.8303 | 0
20117 | 31/07/2011 | 204531 | 204177.7442 | 31 | 7 | 2011 | 0 | 204.1777 | 0
20118 | 31/08/2011 | 181207 | 193769.257 | 31 | 8 | 2011 | 0 | 193.7693 | 0
20119 | 30/09/2011 | 141900 | 169708.5511 | 30 | 9 | 2011 | 0 | 169.7086 | 0
201110 | 31/10/2011 | 105796 | 143890.598 | 31 | 10 | 2011 | 0 | 143.8906 | 0
201111 | 30/11/2011 | 47701 | 66658.3202 | 30 | 11 | 2011 | 0 | 66.6583 | 0
201112 | 31/12/2011 | 49491 | 77691.8255 | 31 | 12 | 2011 | 0 | 77.6918 | 0
20121 | 31/01/2012 | 62184 | 101454.3551 | 31 | 1 | 2012 | 0 | 101.4544 | 0
20122 | 29/02/2012 | 95828 | 141824.5715 | 29 | 2 | 2012 | 0 | 141.8246 | 0
20123 | 31/03/2012 | 131464 | 164233.6171 | 31 | 3 | 2012 | 0 | 164.2336 | 0
20124 | 30/04/2012 | 134864 | 145479.5937 | 30 | 4 | 2012 | 0 | 145.4796 | 0
20125 | 31/05/2012 | 181673 | 184659.2905 | 31 | 5 | 2012 | 0 | 184.6593 | 0
20126 | 30/06/2012 | 194789 | 192166.2392 | 30 | 6 | 2012 | 0 | 192.1662 | 0
20127 | 31/07/2012 | 227845 | 229249.851 | 31 | 7 | 2012 | 0 | 229.2499 | 0
20128 | 31/08/2012 | 193623 | 208302.3798 | 31 | 8 | 2012 | 0 | 208.3024 | 0
20129 | 30/09/2012 | 123353 | 142872.5571 | 30 | 9 | 2012 | 0 | 142.8726 | 0
201210 | 31/10/2012 | 85019 | 109341.2401 | 31 | 10 | 2012 | 0 | 109.3412 | 0
201211 | 30/11/2012 | 56305 | 82749.2131 | 30 | 11 | 2012 | 0 | 82.7492 | 0
201212 | 31/12/2012 | 50282 | 81243.6694 | 31 | 12 | 2012 | 0 | 81.2437 | 0
20131 | 31/01/2013 | 58804 | 93885.1927 | 31 | 1 | 2013 | 0 | 93.8852 | 0
20132 | 28/02/2013 | 75912 | 104623.0805 | 28 | 2 | 2013 | 0 | 104.6231 | 0
20133 | 31/03/2013 | 106695 | 127566.4278 | 31 | 3 | 2013 | 0 | 127.5664 | 0
20134 | 30/04/2013 | 135065 | 148717.5683 | 30 | 4 | 2013 | 0 | 148.7176 | 0
20135 | 31/05/2013 | 181237 | 183873.0604 | 31 | 5 | 2013 | 0 | 183.8731 | 0
20136 | 30/06/2013 | 201397 | 196882.7041 | 30 | 6 | 2013 | 0 | 196.8827 | 0
20137 | 31/07/2013 | 208938 | 210158.5175 | 31 | 7 | 2013 | 0 | 210.1585 | 0
20138 | 31/08/2013 | 187685 | 201115.5082 | 31 | 8 | 2013 | 0 | 201.1155 | 0
20139 | 30/09/2013 | 133728 | 155919.2644 | 30 | 9 | 2013 | 0 | 155.9193 | 0
201310 | 31/10/2013 | 88534 | 116310.3018 | 31 | 10 | 2013 | 0 | 116.3103 | 0
201311 | 30/11/2013 | 55644 | 80696.404 | 30 | 11 | 2013 | 0 | 80.6964 | 0
201312 | 31/12/2013 | 51165 | 83302.68 | 31 | 12 | 2013 | 0 | 83.3027 | 0
20141 | 31/01/2014 | 49030 | 68253.1877 | 31 | 1 | 2014 | 0 | 68.2532 | 0
20142 | 28/02/2014 | 75229 | 104366.6633 | 28 | 2 | 2014 | 0 | 104.3667 | 0
20143 | 31/03/2014 | 131166 | 167318.8314 | 31 | 3 | 2014 | 0 | 167.3188 | 0
20144 | 30/04/2014 | 157983 | 174060.4366 | 30 | 4 | 2014 | 0 | 174.0604 | 0
20145 | 31/05/2014 | 197665 | 201338.5816 | 31 | 5 | 2014 | 0 | 201.3386 | 0
20146 | 30/06/2014 | 209921 | 207813.8155 | 30 | 6 | 2014 | 0 | 207.8138 | 0
20147 | 31/07/2014 | 192106 | 191361.6991 | 31 | 7 | 2014 | 0 | 191.3617 | 0
20148 | 31/08/2014 | 192028 | 206406.6623 | 31 | 8 | 2014 | 0 | 206.4067 | 0
20149 | 30/09/2014 | 138922 | 163223.6153 | 30 | 9 | 2014 | 0 | 163.2236 | 0
201410 | 31/10/2014 | 105356 | 142560.8426 | 31 | 10 | 2014 | 0 | 142.5608 | 0
201411 | 30/11/2014 | 53946 | 78304.0792 | 30 | 11 | 2014 | 0 | 78.3041 | 0
201412 | 31/12/2014 | 49027 | 78029.5217 | 31 | 12 | 2014 | 0 | 78.0295 | 0
20151 | 31/01/2015 | 60036 | 95689.6995 | 31 | 1 | 2015 | 0 | 95.6897 | 0
20152 | 28/02/2015 | 76152 | 105229.6947 | 28 | 2 | 2015 | 0 | 105.2297 | 0
20153 | 31/03/2015 | 113248 | 138012.4498 | 31 | 3 | 2015 | 0 | 138.0124 | 0
20154 | 30/04/2015 | 170370 | 190701.1386 | 30 | 4 | 2015 | 0 | 190.7011 | 0
20155 | 31/05/2015 | 192708 | 195038.1404 | 31 | 5 | 2015 | 0 | 195.0381 | 0
20156 | 30/06/2015 | 224145 | 220516.8537 | 30 | 6 | 2015 | 0 | 220.5169 | 0
20157 | 31/07/2015 | 220319 | 221028.3108 | 31 | 7 | 2015 | 20 | 221.0283 | 7
20158 | 31/08/2015 | 176272 | 187415.7635 | 31 | 8 | 2015 | 0 | 187.4158 | 0
20159 | 30/09/2015 | 138138 | 163374.9248 | 30 | 9 | 2015 | 0 | 163.3749 | 0
201510 | 31/10/2015 | 92980 | 122945.5822 | 31 | 10 | 2015 | 0 | 122.9456 | 0
201511 | 30/11/2015 | 69499 | 111726.7248 | 30 | 11 | 2015 | 0 | 111.7267 | 0
201512 | 31/12/2015 | 47380 | 73874.0375 | 31 | 12 | 2015 | 0 | 73.874 | 0
20161 | 31/01/2016 | 50480 | 73892.9578 | 31 | 1 | 2016 | 60.9 | 73.893 | 1
20162 | 29/02/2016 | 77160 | 107917.2437 | 29 | 2 | 2016 | 94 | 107.9172 | 2
20163 | 31/03/2016 | 112689 | 137204.6804 | 31 | 3 | 2016 | 123.2 | 137.2047 | 3
20164 | 30/04/2016 | 159108 | 172894.0939 | 30 | 4 | 2016 | 157.4 | 172.8941 | 4
20165 | 31/05/2016 | 175766 | 178443.4771 | 31 | 5 | 2016 | 165.5 | 178.4435 | 5
20166 | 30/06/2016 | 208727 | 205641.8754 | 30 | 6 | 2016 | 199.9 | 205.6419 | 6
20167 | 31/07/2016 | 211026 | 211766.6409 | 31 | 7 | 2016 | 208.9 | 211.7666 | 7
20168 | 31/08/2016 | 201532 | 217356.4438 | 31 | 8 | 2016 | 203.8 | 217.3564 | 8
20169 | 30/09/2016 | 149988 | 180374.3895 | 30 | 9 | 2016 | 173.4 | 180.3744 | 9
201610 | 31/10/2016 | 98100 | 133434.3923 | 31 | 10 | 2016 | 119.6 | 133.4344 | 10
201611 | 30/11/2016 | 58107 | 85606.3688 | 30 | 11 | 2016 | 72.8 | 85.6064 | 11
201612 | 31/12/2016 | 53707 | 90701.839 | 31 | 12 | 2016 | 82.4 | 90.7018 | 12
20171 | 31/01/2017 | 57419 | 91993.6192 | 31 | 1 | 2017 | 76.7 | 91.9936 | 1
20172 | 28/02/2017 | 72140 | 99573.4044 | 28 | 2 | 2017 | 84.3 | 99.5734 | 2
20173 | 31/03/2017 | 130929 | 162185.9657 | 31 | 3 | 2017 | 150.4 | 162.186 | 3
20174 | 30/04/2017 | 175995 | 196133.6992 | 30 | 4 | 2017 | 184.2 | 196.1337 | 4
20175 | 31/05/2017 | 191532 | 194769.515 | 31 | 5 | 2017 | 179.9 | 194.7695 | 5
20176 | 30/06/2017 | 210005 | 207811.7376 | 30 | 6 | 2017 | 194.4 | 207.8117 | 6
20177 | 31/07/2017 | 202668 | 201926.2037 | 31 | 7 | 2017 | 183.2 | 201.9262 | 7
20178 | 31/08/2017 | 170093 | 180253.8981 | 31 | 8 | 2017 | 168.8 | 180.2539 | 8
20179 | 30/09/2017 | 132578 | 155762.3605 | 30 | 9 | 2017 | 143.4 | 155.7624 | 9
201710 | 31/10/2017 | 100566 | 135380.8486 | 31 | 10 | 2017 | 126 | 135.3808 | 10
201711 | 30/11/2017 | 59782 | 89706.5589 | 30 | 11 | 2017 | 78.5 | 89.7066 | 11
201712 | 31/12/2017 | 46396 | 71072.0072 | 31 | 12 | 2017 | 52.5 | 71.072 | 12
20181 | 31/01/2018 | 54735 | 84466.2551 | 31 | 1 | 2018 | 0 | 84.4663 | 0
20182 | 28/02/2018 | 74995 | 104315.6996 | 28 | 2 | 2018 | 0 | 104.3157 | 0
20183 | 31/03/2018 | 117205 | 142585.3523 | 31 | 3 | 2018 | 0 | 142.5854 | 0
20184 | 30/04/2018 | 139793 | 152401.0829 | 30 | 4 | 2018 | 0 | 152.4011 | 0
20185 | 31/05/2018 | 166363 | 168571.2553 | 31 | 5 | 2018 | 0 | 168.5713 | 0
20186 | 30/06/2018 | 200723 | 196807.7218 | 30 | 6 | 2018 | 0 | 196.8077 | 0
20187 | 31/07/2018 | 231214 | 232926.0298 | 31 | 7 | 2018 | 0 | 232.926 | 0
20188 | 31/08/2018 | 197884 | 213324.4473 | 31 | 8 | 2018 | 0 | 213.3244 | 0
20189 | 30/09/2018 | 152863 | 183713.2724 | 30 | 9 | 2018 | 0 | 183.7133 | 0
201810 | 31/10/2018 | 42711 | 53054.6818 | 31 | 10 | 2018 | 30 | 53.0547 | 10
201811 | 30/11/2018 | 0 | 0 | 30 | 11 | 2018 | 0 | 0 | 0
201812 | 31/12/2018 | -67441 | -77603.9088 | 31 | 12 | 2018 | 0 | -77.6039 | 0
20191 | 31/01/2019 | -177593 | -208262.4995 | 31 | 1 | 2019 | 0 | -208.2625 | 0
20192 | 28/02/2019 | 0 | 0 | 28 | 2 | 2019 | 0 | 0 | 0
20193 | 31/03/2019 | -287745 | -338921.0901 | 31 | 3 | 2019 | 0 | -338.9211 | 0
20194 | 30/04/2019 | -397897 | -469579.6807 | 30 | 4 | 2019 | 0 | -469.5797 | 0
20195 | 31/05/2019 | 0 | 0 | 31 | 5 | 2019 | 0 | 0 | 0
20196 | 30/06/2019 | -508049 | -600238.2713 | 30 | 6 | 2019 | 0 | -600.2383 | 0
20197 | 31/07/2019 | -618201 | -730896.862 | 31 | 7 | 2019 | 0 | -730.8969 | 0
20198 | 31/08/2019 | 0 | 0 | 31 | 8 | 2019 | 0 | 0 | 0
20199 | 30/09/2019 | -728353 | -861555.4526 | 30 | 9 | 2019 | 0 | -861.5555 | 0
201910 | 31/10/2019 | -838505 | -992214.0432 | 31 | 10 | 2019 | 0 | -992.214 | 0
201911 | 30/11/2019 | 0 | 0 | 30 | 11 | 2019 | 0 | 0 | 0
201912 | 31/12/2019 | -948657 | -1122872.6339 | 31 | 12 | 2019 | 0 | -1122.8726 | 0
20201 | 31/01/2020 | -1058809 | -1253531.2245 | 31 | 1 | 2020 | 0 | -1253.5312 | 0
20202 | 29/02/2020 | 0 | 0 | 29 | 2 | 2020 | 0 | 0 | 0
20203 | 31/03/2020 | -1168961 | -1384189.8151 | 31 | 3 | 2020 | 0 | -1384.1898 | 0
20204 | 30/04/2020 | -1279113 | -1514848.4057 | 30 | 4 | 2020 | 0 | -1514.8484 | 0
20205 | 31/05/2020 | 0 | 0 | 31 | 5 | 2020 | 0 | 0 | 0
20206 | 30/06/2020 | -1389265 | -1645506.9964 | 30 | 6 | 2020 | 0 | -1645.507 | 0
20207 | 31/07/2020 | -1499417 | -1776165.587 | 31 | 7 | 2020 | 0 | -1776.1656 | 0
20208 | 31/08/2020 | 0 | 0 | 31 | 8 | 2020 | 0 | 0 | 0
20209 | 30/09/2020 | -1609569 | -1906824.1776 | 30 | 9 | 2020 | 0 | -1906.8242 | 0
202010 | 31/10/2020 | -1719721 | -2037482.7682 | 31 | 10 | 2020 | 0 | -2037.4828 | 0
202011 | 30/11/2020 | 0 | 0 | 30 | 11 | 2020 | 0 | 0 | 0
202012 | 31/12/2020 | -1829873 | -2168141.3589 | 31 | 12 | 2020 | 0 | -2168.1414 | 0
20211 | 31/01/2021 | -1940025 | -2298799.9495 | 31 | 1 | 2021 | 0 | -2298.7999 | 0
20212 | 28/02/2021 | 0 | 0 | 28 | 2 | 2021 | 0 | 0 | 0
20213 | 31/03/2021 | -2050177 | -2429458.5401 | 31 | 3 | 2021 | 0 | -2429.4585 | 0
20214 | 30/04/2021 | -2160329 | -2560117.1308 | 30 | 4 | 2021 | 0 | -2560.1171 | 0
20215 | 31/05/2021 | 0 | 0 | 31 | 5 | 2021 | 0 | 0 | 0
20216 | 30/06/2021 | -2270481 | -2690775.7214 | 30 | 6 | 2021 | 0 | -2690.7757 | 0
20217 | 31/07/2021 | -2380633 | -2821434.312 | 31 | 7 | 2021 | 0 | -2821.4343 | 0
Formulas:
nod = DAY(EOMONTH([Date],0))
Note on U1: Feyswal Assiandi (3E): Copy/paste the months you want to use for the correlation (only by groups of 12 consecutive months)
Note on W1: Feyswal Assiandi (3E): For more accurate results, only use complete years with no data issue. The remaining data points will be used to determine the RMSE of the correlated data
Note on AI1: Feyswal Assiandi (3E): Copy/paste all complete months that can be used for testing accuracy of the correlation
Note on AJ1: Feyswal Assiandi (3E): Check a few values to make sure the VLOOKUP worked correctly. You might have issues with the Date format, it is best to copy it from Column S to be sure to have it under the right format and that the VLOOKUP function will recognise the right cell
Note on AK1: Feyswal Assiandi (3E): For more accurate results, only use complete years with no data issue. The remaining data points will be used to determine the RMSE of the correlated data
Note on L21: Feyswal Assiandi (3E): Adapt the range when additionnal years will come

## Yield Correlation
Year&Month | Date | GTI SoDa Correlated [kWh/m²] | Yield at Meter [kWh] | Availability | Yield @100% Av [kWh] | Yield Correlated @100% Av [kWh] | Series of 12 | Select years with complete months and full 12 months available |  |  | Dates | GTI SoDa Correlated [kWh/m²] | Yield @100% Av [kWh] | nod | Month | Year | Estimate correlation error/uncertainty by comparing the values of the correlated yield NOT used for the correlation, with the actual yields |  |  | Dates | Yield @100% Av [kWh] | Yield Correlated @100% Av [kWh] | Observed - Predicted
20051 | 2005-01-01 | 93.6699 | 179447 | 97.8% | 183483.6401 | 183483.6401 | 1 |  |  |  | 2005-01-01 | 93.6699 | 183483.6401 | 31 | 1 | 2005 |  |  |  | 31/01/2006 |  | 1027003.2061 |  | RMSE | 5.8208e-11
20052 | 28/02/2005 | 106.5198 | 309133 | 99.9% | 309442.4424 | 309442.4424 | 2 |  |  |  | 28/02/2005 | 106.5198 | 309442.4424 | #VALUE! | #VALUE! | #VALUE! | Month | Actual Monthly Yield | Actual Yield breakdown | 28/02/2006 | 309442.4424 | 309442.4424 | 5.8208e-11 | MIN | 309442.4424
20053 | 31/03/2005 | 143.7957 | 311309 | 95.2% | 327005.2521 | 674829.9099 | 3 |  |  |  | 31/03/2005 | 179.7235 |  | #VALUE! | #VALUE! | #VALUE! | 1 | 183483.6401 | 100% | 31/03/2006 |  | 1027003.2061 |  | MAX | 309442.4424
20054 | 30/04/2005 | 160.1266 | 358602 | 98.2% | 365175.1527 | 834910.1419 | 4 |  |  |  | 30/04/2005 | 106.5198 | 309442.4424 | #VALUE! | #VALUE! | #VALUE! | 2 | 0 | 0% | 30/04/2006 | 309442.4424 | 309442.4424 | 5.8208e-11 | NRMSE | #DIV/0!
20055 | 31/05/2005 | 187.3154 | 381045 | 98.9% | 385283.1143 | 1101420.9469 | 5 |  |  |  | 31/05/2005 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE! | 3 | 0 | 0% | 31/05/2006 |  | 928834.5087
20056 | 30/06/2005 | 201.3062 | 348398 | 100% | 348398 | 1238562.9626 | 6 |  |  |  | 30/06/2005 | 106.5198 | 309442.4424 | #VALUE! | #VALUE! | #VALUE! | 4 | 0 | 0% | 30/06/2006 | 309442.4424 | 309442.4424 | 5.8208e-11
20057 | 31/07/2005 | 212.5845 | 377568 | 100% | 377568 | 1349115.2196 | 7 |  |  |  | 31/07/2005 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE! | 5 | 0 | 0% | 31/07/2006 |  | 928834.5087
20058 | 31/08/2005 | 163.4105 | 300992 | 100% | 300992 | 867099.497 | 8 |  |  |  | 31/08/2005 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE! | 6 | 0 | 0% | 31/08/2006 |  | 928834.5087
20059 | 30/09/2005 | 159.6572 | 250837 | 100% | 250837 | 830308.6693 | 9 |  |  |  | 30/09/2005 | 202.3532 |  | #VALUE! | #VALUE! | #VALUE! | 7 | 0 | 0% | 28/02/2014 | 309442.4424 | 309442.4424 | 5.8208e-11
200510 | 31/10/2005 | 87.9191 | 125751 | 100% | 125751 | 127113.3624 | 10 |  |  |  | 31/10/2005 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE! | 8 | 0 | 0% | 31/03/2014 |  | 928834.5087
200511 | 30/11/2005 | 81.5165 | 104310 | 100% | 104310 | 64353.2216 | 11 |  |  |  | 30/11/2005 | 179.7235 |  | #VALUE! | #VALUE! | #VALUE! | 9 | 0 | 0% | 30/04/2014 | 309442.4424 | 309442.4424 | 5.8208e-11
200512 | 31/12/2005 | 89.7334 | 139966 | 97% | 144294.8454 | 144897.9534 | 12 |  |  |  | 31/12/2005 | 66.6583 |  | #VALUE! | #VALUE! | #VALUE! | 10 | 0 | 0% | 31/05/2014 |  | 928834.5087
20061 | 31/01/2006 | 73.054 | 187306 | 100% | 187306 | -18597.9008 | 1 |  |  |  | 31/01/2015 | 179.7235 |  | #VALUE! | #VALUE! | #VALUE! | 11 | 0 | 0% | 30/06/2014 |  | 1248825.4457
20062 | 28/02/2006 | 124.523 | 244654 | 100% | 244654 | 485914.3063 | 2 |  |  |  | 28/02/2015 | 106.5198 | 309442.4424 | #VALUE! | #VALUE! | #VALUE! | 12 | 0 | 0% | 31/07/2014 |  | 928834.5087
20063 | 31/03/2006 | 137.7606 | 329312 | 94.6% | 348109.9366 | 615672.5191 | 3 |  |  |  | 31/03/2015 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE! | TOTAL | 183483.6401 | 100% | 31/08/2014 |  | 928834.5087
20064 | 30/04/2006 | 180.8442 | 360143 | 100% | 360143 | 1037988.6834 | 4 |  |  |  | 30/04/2015 | 106.5198 | 309442.4424 | #VALUE! | #VALUE! | #VALUE! |  |  |  | 30/09/2014 |  | 1027003.2061
20065 | 31/05/2006 | 190.6888 | 394458 | 100% | 394458 | 1134487.9967 | 5 |  |  |  | 31/05/2015 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE! |  |  |  | 31/10/2014 |  | -81290.4035
20066 | 30/06/2006 | 219.1478 | 393474 | 98.4% | 399871.9512 | 1413450.4389 | 6 |  |  |  | 30/06/2015 | 202.3532 |  | #VALUE! | #VALUE! | #VALUE! |  |  |  | 30/11/2014 |  | 1027003.2061
20067 | 31/07/2006 | 222.1158 | 222165 | 80% | 277706.25 | 1442543.4102 | 7 |  |  |  | 31/07/2015 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE! |  |  |  | 31/12/2014
20068 | 31/08/2006 | 199.0684 | 297156 | 99.3% | 299250.7553 | 1216627.1651 | 8 | Equation |  |  | 31/08/2015 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE! |  |  |  | 31/01/2018 |  | 1027003.2061
20069 | 30/09/2006 | 128.1501 | 212621 | 0% |  | 521467.7646 | 0 | a | x | + b | 30/09/2015 | 179.7235 |  | #VALUE! | #VALUE! | #VALUE! |  |  |  | 28/02/2018 | 309442.4424 | 309442.4424 | 5.8208e-11
200610 | 31/10/2006 | 103.7721 | 181659 | 0% |  | 282508.0284 | 0 | 9802.2576 | x | -734692.4316 | 31/10/2015 | 66.6583 |  | #VALUE! | #VALUE! | #VALUE! |  |  |  | 31/03/2018 |  | 928834.5087
200611 | 30/11/2006 | 88.9665 | 99400 | 0% |  | 137379.9663 | 0 |  |  |  | 30/11/2015 | 179.7235 |  | #VALUE! | #VALUE! | #VALUE!
200612 | 31/12/2006 | 83.984 | 107637 | 0% |  | 88540.3931 | 0 |  |  |  | 31/12/2015 | 0 |  | #VALUE! | #VALUE! | #VALUE!
20071 | 31/01/2007 | 97.4302 | 194124 | 0% |  | 220343.4984 | 0 |  |  |  | 31/01/2016 | 179.7235 |  | #VALUE! | #VALUE! | #VALUE!
20072 | 28/02/2007 | 88.6176 | 253274 | 0% |  | 133960.5593 | 0 |  |  |  | 29/02/2016 | 106.5198 | 309442.4424 | #VALUE! | #VALUE! | #VALUE!
20073 | 31/03/2007 | 144.8139 | 0 | 0% |  | 684810.2402 | 0 |  |  |  | 31/03/2016 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE!
20074 | 30/04/2007 | 168.547 | 0 | 0% |  | 917449.013 | 0 |  |  |  | 30/04/2016 | 106.5198 | 309442.4424 | #VALUE! | #VALUE! | #VALUE!
20075 | 31/05/2007 | 168.9506 | 0 | 0% |  | 921404.4798 | 0 |  |  |  | 31/05/2016 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE!
20076 | 30/06/2007 | 194.1 | 0 | 0% |  | 1167925.6948 | 0 |  |  |  | 30/06/2016 | 202.3532 |  | #VALUE! | #VALUE! | #VALUE!
20077 | 31/07/2007 | 210.5145 | 0 | 0% |  | 1328825.2023 | 0 |  |  |  | 31/07/2016 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE!
20078 | 31/08/2007 | 177.7715 | 0 | 0% |  | 1007869.3365 | 0 |  |  |  | 31/08/2016 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE!
20079 | 30/09/2007 | 171.3739 | 0 | 0% |  | 945158.497 | 0 |  |  |  | 30/09/2016 | 179.7235 |  | #VALUE! | #VALUE! | #VALUE!
200710 | 31/10/2007 | 120.0451 | 0 | 0% |  | 442020.5317 | 0 |  |  |  | 31/10/2016 | 66.6583 |  | #VALUE! | #VALUE! | #VALUE!
200711 | 30/11/2007 | 110.84 | 0 | 0% |  | 351789.6904 | 0 |  |  |  | 30/11/2016 | 179.7235 |  | #VALUE! | #VALUE! | #VALUE!
200712 | 31/12/2007 | 92.9111 | 0 | 0% |  | 176046.5901 | 0 |  |  |  | 31/12/2016 | 0 |  | #VALUE! | #VALUE! | #VALUE!
20081 | 31/01/2008 | 85.88 | 0 | 0% |  | 107125.8791 | 0 |  |  |  | 31/01/2017 | 179.7235 |  | #VALUE! | #VALUE! | #VALUE!
20082 | 29/02/2008 | 109.9828 | 0 | 0% |  | 343387.1671 | 0 |  |  |  | 28/02/2017 | 106.5198 | 309442.4424 | #VALUE! | #VALUE! | #VALUE!
20083 | 31/03/2008 | 143.513 | 0 | 0% |  | 672059.2661 | 0 |  |  |  | 31/03/2017 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE!
20084 | 30/04/2008 | 166.7713 | 0 | 0% |  | 900043.2583 | 0 |  |  |  | 30/04/2017 | 106.5198 | 309442.4424 | #VALUE! | #VALUE! | #VALUE!
20085 | 31/05/2008 | 158.6886 | 0 | 0% |  | 820814.5942 | 0 |  |  |  | 31/05/2017 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE!
20086 | 30/06/2008 | 204.072 | 0 | 0% |  | 1265674.0636 | 0 |  |  |  | 30/06/2017 | 202.3532 |  | #VALUE! | #VALUE! | #VALUE!
20087 | 31/07/2008 | 215.5446 | 0 | 0% |  | 1378130.9353 | 0 |  |  |  | 31/07/2017 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE!
20088 | 31/08/2008 | 195.2535 | 0 | 0% |  | 1179232.5848 | 0 |  |  |  | 31/08/2017 | 169.7086 |  | #VALUE! | #VALUE! | #VALUE!
20089 | 30/09/2008 | 157.983 | 0 | 0% |  | 813897.6326 | 0 |  |  |  | 30/09/2017 | 179.7235 |  | #VALUE! | #VALUE! | #VALUE!
200810 | 31/10/2008 | 121.981 | 0 | 0% |  | 460997.1931 | 0 |  |  |  | 31/10/2017 | 66.6583 |  | #VALUE! | #VALUE! | #VALUE!
200811 | 30/11/2008 | 84.3169 | 0 | 0% |  | 91803.3704 | 0 |  |  |  | 30/11/2017 | 179.7235 |  | #VALUE! | #VALUE! | #VALUE!
200812 | 31/12/2008 | 67.1309 | 0 | 0% |  | -76658.1549 | 0 |  |  |  | 31/12/2017 | 0 |  | #VALUE! | #VALUE! | #VALUE!
20091 | 31/01/2009 | 83.1196 | 0 | 0% |  | 80066.8373 | 0
20092 | 28/02/2009 | 111.1234 | 0 | 0% |  | 354568.128 | 0
20093 | 31/03/2009 | 167.9914 | 0 | 0% |  | 912002.6265 | 0
20094 | 30/04/2009 | 140.5053 | 0 | 0% |  | 642577.1519 | 0
20095 | 31/05/2009 | 175.9903 | 0 | 0% |  | 990409.9826 | 0
20096 | 30/06/2009 | 202.3532 | 0 | 0% |  | 1248825.4457 | 0
20097 | 31/07/2009 | 212.094 | 0 | 0% |  | 1344308.0739 | 0
20098 | 31/08/2009 | 212.28 | 0 | 0% |  | 1346130.8368 | 0
20099 | 30/09/2009 | 179.7235 | 0 | 0% |  | 1027003.2061 | 0
200910 | 31/10/2009 | 143.5212 | 0 | 0% |  | 672139.0791 | 0
200911 | 30/11/2009 | 64.2515 | 0 | 0% |  | -104882.2918 | 0
200912 | 31/12/2009 | 68.4597 | 0 | 0% |  | -63633.1024 | 0
20101 | 31/01/2010 | 80.7413 | 0 | 0% |  | 56754.3499 | 0
20102 | 28/02/2010 | 100.0748 | 0 | 0% |  | 246266.8783 | 0
20103 | 31/03/2010 | 141.8857 | 0 | 0% |  | 656107.4552 | 0
20104 | 30/04/2010 | 178.7489 | 0 | 0% |  | 1017449.8991 | 0
20105 | 31/05/2010 | 179.8253 | 0 | 0% |  | 1028001.3781 | 0
20106 | 30/06/2010 | 190.9486 | 0 | 0% |  | 1137034.9769 | 0
20107 | 31/07/2010 | 220.4987 | 0 | 0% |  | 1426692.4448 | 0
20108 | 31/08/2010 | 216.9192 | 0 | 0% |  | 1391605.3443 | 0
20109 | 30/09/2010 | 163.1444 | 0 | 0% |  | 864490.6786 | 0
201010 | 31/10/2010 | 108.1192 | 0 | 0% |  | 325120.2157 | 0
201011 | 30/11/2010 | 88.5788 | 0 | 0% |  | 133579.7338 | 0
201012 | 31/12/2010 | 72.776 | 0 | 0% |  | -21323.7851 | 0
20111 | 31/01/2011 | 88.6102 | 0 | 0% |  | 133887.2593 | 0
20112 | 28/02/2011 | 107.8017 | 0 | 0% |  | 322007.2753 | 0
20113 | 31/03/2011 | 143.392 | 0 | 0% |  | 670872.5893 | 0
20114 | 30/04/2011 | 189.5138 | 0 | 0% |  | 1122970.2827 | 0
20115 | 31/05/2011 | 203.7975 | 0 | 0% |  | 1262983.4947 | 0
20116 | 30/06/2011 | 181.8303 | 0 | 0% |  | 1047654.6072 | 0
20117 | 31/07/2011 | 204.1777 | 0 | 0% |  | 1266710.4198 | 0
20118 | 31/08/2011 | 193.7693 | 0 | 0% |  | 1164683.7465 | 0
20119 | 30/09/2011 | 169.7086 | 0 | 0% |  | 928834.5087 | 0
201110 | 31/10/2011 | 143.8906 | 0 | 0% |  | 675760.2809 | 0
201111 | 30/11/2011 | 66.6583 | 0 | 0% |  | -81290.4035 | 0
201112 | 31/12/2011 | 77.6918 | 0 | 0% |  | 26862.8579 | 0
20121 | 31/01/2012 | 101.4544 | 0 | 0% |  | 259789.2952 | 0
20122 | 29/02/2012 | 141.8246 | 0 | 0% |  | 655508.5564 | 0
20123 | 31/03/2012 | 164.2336 | 0 | 0% |  | 875167.7948 | 0
20124 | 30/04/2012 | 145.4796 | 0 | 0% |  | 691336.0262 | 0
20125 | 31/05/2012 | 184.6593 | 0 | 0% |  | 1075385.508 | 0
20126 | 30/06/2012 | 192.1662 | 0 | 0% |  | 1148970.5528 | 0
20127 | 31/07/2012 | 229.2499 | 0 | 0% |  | 1512473.6694 | 0
20128 | 31/08/2012 | 208.3024 | 0 | 0% |  | 1307141.1604 | 0
20129 | 30/09/2012 | 142.8726 | 0 | 0% |  | 665781.1814 | 0
201210 | 31/10/2012 | 109.3412 | 0 | 0% |  | 337098.5735 | 0
201211 | 30/11/2012 | 82.7492 | 0 | 0% |  | 76436.6735 | 0
201212 | 31/12/2012 | 81.2437 | 0 | 0% |  | 61678.947 | 0
20131 | 31/01/2013 | 93.8852 | 0 | 0% |  | 185594.4149 | 0
20132 | 28/02/2013 | 104.6231 | 0 | 0% |  | 290849.9578 | 0
20133 | 31/03/2013 | 127.5664 | 0 | 0% |  | 515746.5583 | 0
20134 | 30/04/2013 | 148.7176 | 0 | 0% |  | 723075.4867 | 0
20135 | 31/05/2013 | 183.8731 | 0 | 0% |  | 1067678.678 | 0
20136 | 30/06/2013 | 196.8827 | 0 | 0% |  | 1195202.5572 | 0
20137 | 31/07/2013 | 210.1585 | 0 | 0% |  | 1325335.4999 | 0
20138 | 31/08/2013 | 201.1155 | 0 | 0% |  | 1236693.5931 | 0
20139 | 30/09/2013 | 155.9193 | 0 | 0% |  | 793668.368 | 0
201310 | 31/10/2013 | 116.3103 | 0 | 0% |  | 405411.1115 | 0
201311 | 30/11/2013 | 80.6964 | 0 | 0% |  | 56314.5102 | 0
201312 | 31/12/2013 | 83.3027 | 0 | 0% |  | 81861.8989 | 0
20141 | 31/01/2014 | 68.2532 | 0 | 0% |  | -65657.1016 | 0
20142 | 28/02/2014 | 104.3667 | 179447 | 97.8% | 183483.6401 | 288336.4903 | 2
20143 | 31/03/2014 | 167.3188 | 309133 | 99.9% | 309442.4424 | 905409.86 | 3
20144 | 30/04/2014 | 174.0604 | 311309 | 95.2% | 327005.2521 | 971492.811 | 4
20145 | 31/05/2014 | 201.3386 | 358602 | 98.2% | 365175.1527 | 1238880.2163 | 5
20146 | 30/06/2014 | 207.8138 | 381045 | 98.9% | 385283.1143 | 1302352.1267 | 6
20147 | 31/07/2014 | 191.3617 | 348398 | 100% | 348398 | 1141084.2432 | 7
20148 | 31/08/2014 | 206.4067 | 377568 | 100% | 377568 | 1288558.8494 | 8
20149 | 30/09/2014 | 163.2236 | 300992 | 100% | 300992 | 865267.4967 | 9
201410 | 31/10/2014 | 142.5608 | 250837 | 100% | 250837 | 662725.6759 | 10
201411 | 30/11/2014 | 78.3041 | 125751 | 100% | 125751 | 32864.3261 | 11
201412 | 31/12/2014 | 78.0295 | 104310 | 100% | 104310 | 30173.0428 | 12
20151 | 31/01/2015 | 95.6897 | 139966 | 97% | 144294.8454 | 203282.6551 | 1
20152 | 28/02/2015 | 105.2297 | 187306 | 100% | 187306 | 296796.1467 | 2
20153 | 31/03/2015 | 138.0124 | 244654 | 100% | 244654 | 618141.1577 | 3
20154 | 30/04/2015 | 190.7011 | 329312 | 94.6% | 348109.9366 | 1134609.2597 | 4
20155 | 31/05/2015 | 195.0381 | 360143 | 100% | 360143 | 1177121.6681 | 5
20156 | 30/06/2015 | 220.5169 | 394458 | 100% | 394458 | 1426870.5799 | 6
20157 | 31/07/2015 | 221.0283 | 393474 | 98.4% | 399871.9512 | 1431884.0144 | 7
20158 | 31/08/2015 | 187.4158 | 222165 | 80% | 277706.25 | 1102405.166 | 8
20159 | 30/09/2015 | 163.3749 | 297156 | 99.3% | 299250.7553 | 866750.6715 | 9
201510 | 31/10/2015 | 122.9456 | 212621 | 100% | 212621 | 470451.8396 | 10
201511 | 30/11/2015 | 111.7267 | 181659 | 98.6% | 184238.3367 | 360481.7092 | 11
201512 | 31/12/2015 | 73.874 | 99400 | 100% | 99400 | -10560.0835 | 12
20161 | 31/01/2016 | 73.893 | 107637 | 100% | 107637 | -10374.6225 | 1
20162 | 29/02/2016 | 107.9172 | 194124 | 99.6% | 194903.6145 | 323140.1937 | 2
20163 | 31/03/2016 | 137.2047 | 253274 | 99.8% | 253781.5631 | 610223.194 | 3
20164 | 30/04/2016 | 172.8941 | 314735 | 99.4% | 316634.8089 | 960060.0192 | 4
20165 | 31/05/2016 | 178.4435 | 319360 | 97.1% | 328898.0433 | 1014456.5031 | 5
20166 | 30/06/2016 | 205.6419 | 380073 | 98.6% | 385469.574 | 1281062.2109 | 6
20167 | 31/07/2016 | 211.7666 | 388615 | 98.7% | 393733.536 | 1341098.7403 | 7
20168 | 31/08/2016 | 217.3564 | 395618 | 99.1% | 399210.8981 | 1395891.4285 | 8
20169 | 30/09/2016 | 180.3744 | 319103 | 98.8% | 322978.7449 | 1033383.8045 | 9
201610 | 31/10/2016 | 133.4344 | 207809 | 99.5% | 208853.2663 | 573265.8588 | 10
201611 | 30/11/2016 | 85.6064 | 135718 | 100% | 135718 | 104443.2503 | 11
201612 | 31/12/2016 | 90.7018 | 128530 | 100% | 128530 | 154390.3621 | 12
20171 | 31/01/2017 | 91.9936 | 138405 | 98.4% | 140655.4878 | 167052.7239 | 1
20172 | 28/02/2017 | 99.5734 | 174412 | 99.5% | 175288.4422 | 241351.7311 | 2
20173 | 31/03/2017 | 162.186 | 305674 | 98.2% | 311276.9857 | 855096.1886 | 3
20174 | 30/04/2017 | 196.1337 | 370359 | 99.4% | 372594.5674 | 1187860.6179 | 4
20175 | 31/05/2017 | 194.7695 | 359810 | 99.5% | 361618.0905 | 1174488.5332 | 5
20176 | 30/06/2017 | 207.8117 | 382085 | 98.9% | 386334.6815 | 1302331.7595 | 6
20177 | 31/07/2017 | 201.9262 | 357555 | 99.4% | 359713.2797 | 1244640.239 | 7
20178 | 31/08/2017 | 180.2539 | 334492 | 99.9% | 334826.8268 | 1032202.7167 | 8
20179 | 30/09/2017 | 155.7624 | 294322 | 99.3% | 296396.7774 | 792130.3552 | 9
201710 | 31/10/2017 | 135.3808 | 255220 | 99.7% | 255987.9639 | 592345.5244 | 10
201711 | 30/11/2017 | 89.7066 | 153491 | 99.9% | 153644.6446 | 144634.3699 | 11
201712 | 31/12/2017 | 71.072 | 94590 | 99.9% | 94684.6847 | -38026.3063 | 12
20181 | 31/01/2018 | 84.4663 | 119420 | 99.1% | 120504.5409 | 93267.5625 | 1
20182 | 28/02/2018 | 104.3157 | 183365 | 99.6% | 184101.4056 | 287836.9311 | 2
20183 | 31/03/2018 | 142.5854 | 246935 | 99.4% | 248425.5533 | 662965.9258 | 3
20184 | 30/04/2018 | 152.4011 | 284592 | 0% |  | 759182.246 | 0
20185 | 31/05/2018 | 168.5713 | 0 | 0% |  | 917686.4423 | 0
20186 | 30/06/2018 | 196.8077 | 0 | 0% |  | 1194467.5612 | 0
20187 | 31/07/2018 | 232.926 | 0 | 0% |  | 1548508.5219 | 0
20188 | 31/08/2018 | 213.3244 | 0 | 0% |  | 1356368.7598 | 0
20189 | 30/09/2018 | 183.7133 | 0 | 0% |  | 1066112.3949 | 0
201810 | 31/10/2018 | 53.0547 | 0 | 0% |  | -214636.772 | 0
201811 | 30/11/2018 | 0 | 0 | 0% |  |  | 0
201812 | 31/12/2018 | -77.6039 | 0 | 0% |  | -1495385.939 | 0
20191 | 31/01/2019 | -208.2625 | 0 | 0% |  | -2776135.106 | 0
20192 | 28/02/2019 | 0 | 0 | 0% |  |  | 0
20193 | 31/03/2019 | -338.9211 | 0 | 0% |  | -4056884.2729 | 0
20194 | 30/04/2019 | -469.5797 | 0 | 0% |  | -5337633.4399 | 0
20195 | 31/05/2019 | 0 | 0 | 0% |  |  | 0
20196 | 30/06/2019 | -600.2383 | 0 | 0% |  | -6618382.6068 | 0
20197 | 31/07/2019 | -730.8969 | 0 | 0% |  | -7899131.7738 | 0
20198 | 31/08/2019 | 0 | 0 | 0% |  |  | 0
20199 | 30/09/2019 | -861.5555 | 0 | 0% |  | -9179880.9408 | 0
201910 | 31/10/2019 | -992.214 | 0 | 0% |  | -10460630.1077 | 0
201911 | 30/11/2019 | 0 | 0 | 0% |  |  | 0
201912 | 31/12/2019 | -1122.8726 | 0 | 0% |  | -11741379.2747 | 0
20201 | 31/01/2020 | -1253.5312 | 0 | 0% |  | -13022128.4417 | 0
20202 | 29/02/2020 | 0 | 0 | 0% |  |  | 0
20203 | 31/03/2020 | -1384.1898 | 0 | 0% |  | -14302877.6086 | 0
20204 | 30/04/2020 | -1514.8484 | 0 | 0% |  | -15583626.7756 | 0
20205 | 31/05/2020 | 0 | 0 | 0% |  |  | 0
20206 | 30/06/2020 | -1645.507 | 0 | 0% |  | -16864375.9425 | 0
20207 | 31/07/2020 | -1776.1656 | 0 | 0% |  | -18145125.1095 | 0
20208 | 31/08/2020 | 0 | 0 | 0% |  |  | 0
20209 | 30/09/2020 | -1906.8242 | 0 | 0% |  | -19425874.2765 | 0
202010 | 31/10/2020 | -2037.4828 | 0 | 0% |  | -20706623.4434 | 0
202011 | 30/11/2020 | 0 | 0 | 0% |  |  | 0
202012 | 31/12/2020 | -2168.1414 | 0 | 0% |  | -21987372.6104 | 0
20211 | 31/01/2021 | -2298.7999 | 0 | 0% |  | -23268121.7773 | 0
20212 | 28/02/2021 | 0 | 0 | 0% |  |  | 0
20213 | 31/03/2021 | -2429.4585 | 0 | 0% |  | -24548870.9443 | 0
20214 | 30/04/2021 | -2560.1171 | 0 | 0% |  | -25829620.1113 | 0
20215 | 31/05/2021 | 0 | 0 | 0% |  |  | 0
20216 | 30/06/2021 | -2690.7757 | 0 | 0% |  | -27110369.2782 | 0
20217 | 31/07/2021 | -2821.4343 | 0 | 0% |  | -28391118.4452 | 0
Note on D1: Feyswal Assiandi (3E): Only consider complete months and complete years for the correlation and then use remaining complete months to calculate uncertainty
Note on R1: Feyswal Assiandi (3E): Copy/paste the months you want to use for the correlation (only by groups of 12 consecutive months)
Note on S1: Feyswal Assiandi (3E): Baisser la formule pour considérer toute la période sélectionnée
Note on T1: Feyswal Assiandi (3E): Baisser la formule pour considérer toute la période sélectionnée
Note on AE1: Feyswal Assiandi (3E): Copy/paste all complete months that can be used for testing accuracy of the correlation
Note on AF1: Feyswal Assiandi (3E): Baisser la formule pour considérer toute la période sélectionnée
Note on AG1: Feyswal Assiandi (3E): Baisser la formule pour considérer toute la période sélectionnée
Note on J21: Feyswal Assiandi (3E): Please recopy the value of the trendline equation