## Feuil1
31069BLA$ | Accessory | $ CB | L/AC/250/RA-C19/EU$AC Power Cable, Europe, 2.5m length, right angled C19 plug at equipment end$1036000609$30$0$ | 47001AGN$ Accessory$ CBL/AC/250/RA-C19/EU$AC Power Cable, Europe, 2.5m length, right angled C19 plug at equipment end$1036000609$30$0$ | 47157MAR$ Accessory$ CBL/AC/250/RA-C19/EU$AC Power Cable, Europe, 2.5m length, right angled C19 plug at equipment end$1036000609$30$0$ | 82033CAS$ Accessory$ CBL/AC/250/RA-C19/EU$AC Power Cable, Europe, 2.5m length, right angled C19 plug at equipment end$1036000609$30$0$ | P31TLS$ Accessory$ CBL/AC/250/RA-C19/EU$AC Power Cable, Europe, 2.5m length, right angled C19 plug at equipment end$1036000609$30$2$ | P31TLS2$ Accessory$ CBL/AC/250/RA-C19/EU$AC Power Cable, Europe, 2.5m length, right angled C19 plug at equipment end$1036000609$30$2$ | P33BDX$ Accessory$ CBL/AC/250/RA-C19/EU$AC Power Cable, Europe, 2.5m length, right angled C19 plug at equipment end$1036000609$30$0$
31069BLA$ | Accessory | $ CB | L/DC/300/2AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 2 single wires AWG10 red (-48V) / black (return), SUB-D connector at equipment end$1036700020$75$0$ | 47001AGN$ Accessory$ CBL/DC/300/2AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 2 single wires AWG10 red (-48V) / black (return), SUB-D connector at equipment end$1036700020$75$0$ | 47157MAR$ Accessory$ CBL/DC/300/2AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 2 single wires AWG10 red (-48V) / black (return), SUB-D connector at equipment end$1036700020$75$0$ | 82033CAS$ Accessory$ CBL/DC/300/2AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 2 single wires AWG10 red (-48V) / black (return), SUB-D connector at equipment end$1036700020$75$0$ | P31TLS$ Accessory$ CBL/DC/300/2AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 2 single wires AWG10 red (-48V) / black (return), SUB-D connector at equipment end$1036700020$75$0$ | P31TLS2$ Accessory$ CBL/DC/300/2AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 2 single wires AWG10 red (-48V) / black (return), SUB-D connector at equipment end$1036700020$75$0$ | P33BDX$ Accessory$ CBL/DC/300/2AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 2 single wires AWG10 red (-48V) / black (return), SUB-D connector at equipment end$1036700020$75$2$
31069BLA$ | Accessory | $ CB | L/DC/300/2AWG16/1HU-HP/R-/B+$DC Power Cable, 3m length, 2 x 2 wires AWG16 red (-48V) / black (return) with overall jacket$1036700022$75$1$ | 47001AGN$ Accessory$ CBL/DC/300/2AWG16/1HU-HP/R-/B+$DC Power Cable, 3m length, 2 x 2 wires AWG16 red (-48V) / black (return) with overall jacket$1036700022$75$0$ | 47157MAR$ Accessory$ CBL/DC/300/2AWG16/1HU-HP/R-/B+$DC Power Cable, 3m length, 2 x 2 wires AWG16 red (-48V) / black (return) with overall jacket$1036700022$75$0$ | 82033CAS$ Accessory$ CBL/DC/300/2AWG16/1HU-HP/R-/B+$DC Power Cable, 3m length, 2 x 2 wires AWG16 red (-48V) / black (return) with overall jacket$1036700022$75$0$ | P31TLS$ Accessory$ CBL/DC/300/2AWG16/1HU-HP/R-/B+$DC Power Cable, 3m length, 2 x 2 wires AWG16 red (-48V) / black (return) with overall jacket$1036700022$75$0$ | P31TLS2$ Accessory$ CBL/DC/300/2AWG16/1HU-HP/R-/B+$DC Power Cable, 3m length, 2 x 2 wires AWG16 red (-48V) / black (return) with overall jacket$1036700022$75$0$ | P33BDX$ Accessory$ CBL/DC/300/2AWG16/1HU-HP/R-/B+$DC Power Cable, 3m length, 2 x 2 wires AWG16 red (-48V) / black (return) with overall jacket$1036700022$75$0$
31069BLA$ | Accessory | $ CB | L/DC/300/3AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 3 single wires AWG10 red (-48V)/black (return)/green-yellow, SUB-D connector at equipment end$1036700041$150$0$ | 47001AGN$ Accessory$ CBL/DC/300/3AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 3 single wires AWG10 red (-48V)/black (return)/green-yellow, SUB-D connector at equipment end$1036700041$150$2$ | 47157MAR$ Accessory$ CBL/DC/300/3AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 3 single wires AWG10 red (-48V)/black (return)/green-yellow, SUB-D connector at equipment end$1036700041$150$2$ | 82033CAS$ Accessory$ CBL/DC/300/3AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 3 single wires AWG10 red (-48V)/black (return)/green-yellow, SUB-D connector at equipment end$1036700041$150$2$ | P31TLS$ Accessory$ CBL/DC/300/3AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 3 single wires AWG10 red (-48V)/black (return)/green-yellow, SUB-D connector at equipment end$1036700041$150$0$ | P31TLS2$ Accessory$ CBL/DC/300/3AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 3 single wires AWG10 red (-48V)/black (return)/green-yellow, SUB-D connector at equipment end$1036700041$150$0$ | P33BDX$ Accessory$ CBL/DC/300/3AWG10/SUB-D/R-/B+$DC Power Cable, 3m length, 3 single wires AWG10 red (-48V)/black (return)/green-yellow, SUB-D connector at equipment end$1036700041$150$0$
31069BLA$ | Accessory | $ DM | /5HU$Dummy card 5HU$0063709901$48$2$ | 47001AGN$ Accessory$ DM/5HU$Dummy card 5HU$0063709901$48$8$ | 47157MAR$ Accessory$ DM/5HU$Dummy card 5HU$0063709901$48$7$ | 82033CAS$ Accessory$ DM/5HU$Dummy card 5HU$0063709901$48$7$ | P31TLS$ Accessory$ DM/5HU$Dummy card 5HU$0063709901$48$7$ | P31TLS2$ Accessory$ DM/5HU$Dummy card 5HU$0063709901$48$14$ | P33BDX$ Accessory$ DM/5HU$Dummy card 5HU$0063709901$48$8$
31069BLA$ | Accessory | $ ST | AGING-PRECONFIGURED L2$Staging Option Preconfigured$7022460001$0$2$ | 47001AGN$ Accessory$ STAGING-PRECONFIGURED L2$Staging Option Preconfigured$7022460001$0$1$ | 47157MAR$ Accessory$ STAGING-PRECONFIGURED L2$Staging Option Preconfigured$7022460001$0$1$ | 82033CAS$ Accessory$ STAGING-PRECONFIGURED L2$Staging Option Preconfigured$7022460001$0$1$ | P31TLS$ Accessory$ STAGING-PRECONFIGURED L2$Staging Option Preconfigured$7022460001$0$1$ | P31TLS2$ Accessory$ STAGING-PRECONFIGURED L2$Staging Option Preconfigured$7022460001$0$1$ | P33BDX$ Accessory$ STAGING-PRECONFIGURED L2$Staging Option Preconfigured$7022460001$0$1$
31069BLA$$ | Amplifie | r$$$$$ |  | 47001AGN$$ Amplifier$$$$$ | 47157MAR$$ Amplifier$$$$$ | 82033CAS$$ Amplifier$$$$$ | P31TLS$$ Amplifier$$$$$ | P31TLS2$$ Amplifier$$$$$ | P33BDX$$ Amplifier$$$$$
31069BLA$ | Amplifier | $ ED | FA-C-D20-VGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable gain controlled (C-Band) with Dual Monitor$1063709051$8980$0$ | 47001AGN$ Amplifier$ EDFA-C-D20-VGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable gain controlled (C-Band) with Dual Monitor$1063709051$8980$0$ | 47157MAR$ Amplifier$ EDFA-C-D20-VGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable gain controlled (C-Band) with Dual Monitor$1063709051$8980$0$ | 82033CAS$ Amplifier$ EDFA-C-D20-VGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable gain controlled (C-Band) with Dual Monitor$1063709051$8980$0$ | P31TLS$ Amplifier$ EDFA-C-D20-VGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable gain controlled (C-Band) with Dual Monitor$1063709051$8980$0$ | P31TLS2$ Amplifier$ EDFA-C-D20-VGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable gain controlled (C-Band) with Dual Monitor$1063709051$8980$0$ | P33BDX$ Amplifier$ EDFA-C-D20-VGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable gain controlled (C-Band) with Dual Monitor$1063709051$8980$1$
31069BLA$ | Amplifier | $ ED | FA-C-D20-VLGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable low gain controlled (C-Band), dual monitoring ports$1063709052$8980$0$ | 47001AGN$ Amplifier$ EDFA-C-D20-VLGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable low gain controlled (C-Band), dual monitoring ports$1063709052$8980$0$ | 47157MAR$ Amplifier$ EDFA-C-D20-VLGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable low gain controlled (C-Band), dual monitoring ports$1063709052$8980$1$ | 82033CAS$ Amplifier$ EDFA-C-D20-VLGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable low gain controlled (C-Band), dual monitoring ports$1063709052$8980$1$ | P31TLS$ Amplifier$ EDFA-C-D20-VLGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable low gain controlled (C-Band), dual monitoring ports$1063709052$8980$0$ | P31TLS2$ Amplifier$ EDFA-C-D20-VLGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable low gain controlled (C-Band), dual monitoring ports$1063709052$8980$0$ | P33BDX$ Amplifier$ EDFA-C-D20-VLGC-DM$Optical Amplifier, Double Stage 20 dBm maximum output power, variable low gain controlled (C-Band), dual monitoring ports$1063709052$8980$0$
31069BLA$ | Amplifier | $ ED | FA-C-S20-GCB-DM$Optical Amplifier for Booster application,Single Stage 20dBm max. output power, gain controlled (C-Band) with Dual Monitor$1063709050-03$5380$0$ | 47001AGN$ Amplifier$ EDFA-C-S20-GCB-DM$Optical Amplifier for Booster application,Single Stage 20dBm max. output power, gain controlled (C-Band) with Dual Monitor$1063709050-03$5380$2$ | 47157MAR$ Amplifier$ EDFA-C-S20-GCB-DM$Optical Amplifier for Booster application,Single Stage 20dBm max. output power, gain controlled (C-Band) with Dual Monitor$1063709050-03$5380$1$ | 82033CAS$ Amplifier$ EDFA-C-S20-GCB-DM$Optical Amplifier for Booster application,Single Stage 20dBm max. output power, gain controlled (C-Band) with Dual Monitor$1063709050-03$5380$1$ | P31TLS$ Amplifier$ EDFA-C-S20-GCB-DM$Optical Amplifier for Booster application,Single Stage 20dBm max. output power, gain controlled (C-Band) with Dual Monitor$1063709050-03$5380$1$ | P31TLS2$ Amplifier$ EDFA-C-S20-GCB-DM$Optical Amplifier for Booster application,Single Stage 20dBm max. output power, gain controlled (C-Band) with Dual Monitor$1063709050-03$5380$0$ | P33BDX$ Amplifier$ EDFA-C-S20-GCB-DM$Optical Amplifier for Booster application,Single Stage 20dBm max. output power, gain controlled (C-Band) with Dual Monitor$1063709050-03$5380$1$
31069BLA$$ | Attenuat | or and | VOA$$$$$ | 47001AGN$$ Attenuator and VOA$$$$$ | 47157MAR$$ Attenuator and VOA$$$$$ | 82033CAS$$ Attenuator and VOA$$$$$ | P31TLS$$ Attenuator and VOA$$$$$ | P31TLS2$$ Attenuator and VOA$$$$$ | P33BDX$$ Attenuator and VOA$$$$$
31069BLA$ | Attenuato | r and V | OA$ ATT/01dB/LC$Optical Attenuator LC Connector$0058001201$90$2$ | 47001AGN$ Attenuator and VOA$ ATT/01dB/LC$Optical Attenuator LC Connector$0058001201$90$0$ | 47157MAR$ Attenuator and VOA$ ATT/01dB/LC$Optical Attenuator LC Connector$0058001201$90$0$ | 82033CAS$ Attenuator and VOA$ ATT/01dB/LC$Optical Attenuator LC Connector$0058001201$90$0$ | P31TLS$ Attenuator and VOA$ ATT/01dB/LC$Optical Attenuator LC Connector$0058001201$90$3$ | P31TLS2$ Attenuator and VOA$ ATT/01dB/LC$Optical Attenuator LC Connector$0058001201$90$0$ | P33BDX$ Attenuator and VOA$ ATT/01dB/LC$Optical Attenuator LC Connector$0058001201$90$4$
31069BLA$ | Attenuato | r and V | OA$ ATT/02dB/LC$Optical Attenuator LC Connector$0058001202$90$0$ | 47001AGN$ Attenuator and VOA$ ATT/02dB/LC$Optical Attenuator LC Connector$0058001202$90$1$ | 47157MAR$ Attenuator and VOA$ ATT/02dB/LC$Optical Attenuator LC Connector$0058001202$90$0$ | 82033CAS$ Attenuator and VOA$ ATT/02dB/LC$Optical Attenuator LC Connector$0058001202$90$0$ | P31TLS$ Attenuator and VOA$ ATT/02dB/LC$Optical Attenuator LC Connector$0058001202$90$0$ | P31TLS2$ Attenuator and VOA$ ATT/02dB/LC$Optical Attenuator LC Connector$0058001202$90$0$ | P33BDX$ Attenuator and VOA$ ATT/02dB/LC$Optical Attenuator LC Connector$0058001202$90$0$
31069BLA$ | Attenuato | r and V | OA$ ATT/03dB/LC$Optical Attenuator LC Connector$0058001203$90$0$ | 47001AGN$ Attenuator and VOA$ ATT/03dB/LC$Optical Attenuator LC Connector$0058001203$90$1$ | 47157MAR$ Attenuator and VOA$ ATT/03dB/LC$Optical Attenuator LC Connector$0058001203$90$2$ | 82033CAS$ Attenuator and VOA$ ATT/03dB/LC$Optical Attenuator LC Connector$0058001203$90$0$ | P31TLS$ Attenuator and VOA$ ATT/03dB/LC$Optical Attenuator LC Connector$0058001203$90$3$ | P31TLS2$ Attenuator and VOA$ ATT/03dB/LC$Optical Attenuator LC Connector$0058001203$90$1$ | P33BDX$ Attenuator and VOA$ ATT/03dB/LC$Optical Attenuator LC Connector$0058001203$90$0$
31069BLA$ | Attenuato | r and V | OA$ ATT/04dB/LC$Optical Attenuator LC Connector$0058001204$90$2$ | 47001AGN$ Attenuator and VOA$ ATT/04dB/LC$Optical Attenuator LC Connector$0058001204$90$1$ | 47157MAR$ Attenuator and VOA$ ATT/04dB/LC$Optical Attenuator LC Connector$0058001204$90$2$ | 82033CAS$ Attenuator and VOA$ ATT/04dB/LC$Optical Attenuator LC Connector$0058001204$90$1$ | P31TLS$ Attenuator and VOA$ ATT/04dB/LC$Optical Attenuator LC Connector$0058001204$90$1$ | P31TLS2$ Attenuator and VOA$ ATT/04dB/LC$Optical Attenuator LC Connector$0058001204$90$0$ | P33BDX$ Attenuator and VOA$ ATT/04dB/LC$Optical Attenuator LC Connector$0058001204$90$0$
31069BLA$ | Attenuato | r and V | OA$ ATT/06dB/LC$Optical Attenuator LC Connector$0058001206$90$0$ | 47001AGN$ Attenuator and VOA$ ATT/06dB/LC$Optical Attenuator LC Connector$0058001206$90$2$ | 47157MAR$ Attenuator and VOA$ ATT/06dB/LC$Optical Attenuator LC Connector$0058001206$90$0$ | 82033CAS$ Attenuator and VOA$ ATT/06dB/LC$Optical Attenuator LC Connector$0058001206$90$0$ | P31TLS$ Attenuator and VOA$ ATT/06dB/LC$Optical Attenuator LC Connector$0058001206$90$0$ | P31TLS2$ Attenuator and VOA$ ATT/06dB/LC$Optical Attenuator LC Connector$0058001206$90$0$ | P33BDX$ Attenuator and VOA$ ATT/06dB/LC$Optical Attenuator LC Connector$0058001206$90$0$
31069BLA$ | Attenuato | r and V | OA$ ATT/07dB/LC$Optical Attenuator LC Connector$0058001207$90$0$ | 47001AGN$ Attenuator and VOA$ ATT/07dB/LC$Optical Attenuator LC Connector$0058001207$90$0$ | 47157MAR$ Attenuator and VOA$ ATT/07dB/LC$Optical Attenuator LC Connector$0058001207$90$0$ | 82033CAS$ Attenuator and VOA$ ATT/07dB/LC$Optical Attenuator LC Connector$0058001207$90$0$ | P31TLS$ Attenuator and VOA$ ATT/07dB/LC$Optical Attenuator LC Connector$0058001207$90$0$ | P31TLS2$ Attenuator and VOA$ ATT/07dB/LC$Optical Attenuator LC Connector$0058001207$90$0$ | P33BDX$ Attenuator and VOA$ ATT/07dB/LC$Optical Attenuator LC Connector$0058001207$90$0$
31069BLA$ | Attenuato | r and V | OA$ ATT/09dB/LC$Optical Attenuator LC Connector$0058001209$90$0$ | 47001AGN$ Attenuator and VOA$ ATT/09dB/LC$Optical Attenuator LC Connector$0058001209$90$0$ | 47157MAR$ Attenuator and VOA$ ATT/09dB/LC$Optical Attenuator LC Connector$0058001209$90$0$ | 82033CAS$ Attenuator and VOA$ ATT/09dB/LC$Optical Attenuator LC Connector$0058001209$90$1$ | P31TLS$ Attenuator and VOA$ ATT/09dB/LC$Optical Attenuator LC Connector$0058001209$90$0$ | P31TLS2$ Attenuator and VOA$ ATT/09dB/LC$Optical Attenuator LC Connector$0058001209$90$0$ | P33BDX$ Attenuator and VOA$ ATT/09dB/LC$Optical Attenuator LC Connector$0058001209$90$0$
31069BLA$ | Attenuato | r and V | OA$ ATT/11dB/LC$Optical Attenuator LC Connector$0058001211$90$0$ | 47001AGN$ Attenuator and VOA$ ATT/11dB/LC$Optical Attenuator LC Connector$0058001211$90$0$ | 47157MAR$ Attenuator and VOA$ ATT/11dB/LC$Optical Attenuator LC Connector$0058001211$90$0$ | 82033CAS$ Attenuator and VOA$ ATT/11dB/LC$Optical Attenuator LC Connector$0058001211$90$0$ | P31TLS$ Attenuator and VOA$ ATT/11dB/LC$Optical Attenuator LC Connector$0058001211$90$0$ | P31TLS2$ Attenuator and VOA$ ATT/11dB/LC$Optical Attenuator LC Connector$0058001211$90$0$ | P33BDX$ Attenuator and VOA$ ATT/11dB/LC$Optical Attenuator LC Connector$0058001211$90$0$
31069BLA$ | Attenuato | r and V | OA$ ATT/12dB/LC$Optical Attenuator LC Connector$0058001212$90$0$ | 47001AGN$ Attenuator and VOA$ ATT/12dB/LC$Optical Attenuator LC Connector$0058001212$90$1$ | 47157MAR$ Attenuator and VOA$ ATT/12dB/LC$Optical Attenuator LC Connector$0058001212$90$1$ | 82033CAS$ Attenuator and VOA$ ATT/12dB/LC$Optical Attenuator LC Connector$0058001212$90$1$ | P31TLS$ Attenuator and VOA$ ATT/12dB/LC$Optical Attenuator LC Connector$0058001212$90$0$ | P31TLS2$ Attenuator and VOA$ ATT/12dB/LC$Optical Attenuator LC Connector$0058001212$90$0$ | P33BDX$ Attenuator and VOA$ ATT/12dB/LC$Optical Attenuator LC Connector$0058001212$90$2$
31069BLA$ | Attenuato | r and V | OA$ ATT/13dB/LC$Optical Attenuator LC Connector$0058001213$90$0$ | 47001AGN$ Attenuator and VOA$ ATT/13dB/LC$Optical Attenuator LC Connector$0058001213$90$0$ | 47157MAR$ Attenuator and VOA$ ATT/13dB/LC$Optical Attenuator LC Connector$0058001213$90$1$ | 82033CAS$ Attenuator and VOA$ ATT/13dB/LC$Optical Attenuator LC Connector$0058001213$90$0$ | P31TLS$ Attenuator and VOA$ ATT/13dB/LC$Optical Attenuator LC Connector$0058001213$90$0$ | P31TLS2$ Attenuator and VOA$ ATT/13dB/LC$Optical Attenuator LC Connector$0058001213$90$0$ | P33BDX$ Attenuator and VOA$ ATT/13dB/LC$Optical Attenuator LC Connector$0058001213$90$2$
31069BLA$ | Attenuato | r and V | OA$ ATT/16dB/LC$Optical Attenuator LC Connector$0058001216$90$0$ | 47001AGN$ Attenuator and VOA$ ATT/16dB/LC$Optical Attenuator LC Connector$0058001216$90$1$ | 47157MAR$ Attenuator and VOA$ ATT/16dB/LC$Optical Attenuator LC Connector$0058001216$90$0$ | 82033CAS$ Attenuator and VOA$ ATT/16dB/LC$Optical Attenuator LC Connector$0058001216$90$0$ | P31TLS$ Attenuator and VOA$ ATT/16dB/LC$Optical Attenuator LC Connector$0058001216$90$0$ | P31TLS2$ Attenuator and VOA$ ATT/16dB/LC$Optical Attenuator LC Connector$0058001216$90$0$ | P33BDX$ Attenuator and VOA$ ATT/16dB/LC$Optical Attenuator LC Connector$0058001216$90$0$
31069BLA$$ | Channel | Module$ | $$$$ | 47001AGN$$ Channel Module$$$$$ | 47157MAR$$ Channel Module$$$$$ | 82033CAS$$ Channel Module$$$$$ | P31TLS$$ Channel Module$$$$$ | P31TLS2$$ Channel Module$$$$$ | P33BDX$$ Channel Module$$$$$
31069BLA$ | Channel M | odule$ | 4WCC-PCN-10G$10G Channel Card Core Type with 4 pluggable network and 4 pluggable client interfaces$1063701002-01$28980$0$ | 47001AGN$ Channel Module$ 4WCC-PCN-10G$10G Channel Card Core Type with 4 pluggable network and 4 pluggable client interfaces$1063701002-01$28980$0$ | 47157MAR$ Channel Module$ 4WCC-PCN-10G$10G Channel Card Core Type with 4 pluggable network and 4 pluggable client interfaces$1063701002-01$28980$0$ | 82033CAS$ Channel Module$ 4WCC-PCN-10G$10G Channel Card Core Type with 4 pluggable network and 4 pluggable client interfaces$1063701002-01$28980$0$ | P31TLS$ Channel Module$ 4WCC-PCN-10G$10G Channel Card Core Type with 4 pluggable network and 4 pluggable client interfaces$1063701002-01$28980$1$ | P31TLS2$ Channel Module$ 4WCC-PCN-10G$10G Channel Card Core Type with 4 pluggable network and 4 pluggable client interfaces$1063701002-01$28980$0$ | P33BDX$ Channel Module$ 4WCC-PCN-10G$10G Channel Card Core Type with 4 pluggable network and 4 pluggable client interfaces$1063701002-01$28980$1$
31069BLA$ | Channel M | odule$ | 16TCC-PCN-4GUS+10G$16-port 10G ADM TDM Card Core Type, pluggable client and network IF, Network Ports are fully G.709 enabled$1063701044-01$9980$1$ | 47001AGN$ Channel Module$ 16TCC-PCN-4GUS+10G$16-port 10G ADM TDM Card Core Type, pluggable client and network IF, Network Ports are fully G.709 enabled$1063701044-01$9980$1$ | 47157MAR$ Channel Module$ 16TCC-PCN-4GUS+10G$16-port 10G ADM TDM Card Core Type, pluggable client and network IF, Network Ports are fully G.709 enabled$1063701044-01$9980$1$ | 82033CAS$ Channel Module$ 16TCC-PCN-4GUS+10G$16-port 10G ADM TDM Card Core Type, pluggable client and network IF, Network Ports are fully G.709 enabled$1063701044-01$9980$1$ | P31TLS$ Channel Module$ 16TCC-PCN-4GUS+10G$16-port 10G ADM TDM Card Core Type, pluggable client and network IF, Network Ports are fully G.709 enabled$1063701044-01$9980$3$ | P31TLS2$ Channel Module$ 16TCC-PCN-4GUS+10G$16-port 10G ADM TDM Card Core Type, pluggable client and network IF, Network Ports are fully G.709 enabled$1063701044-01$9980$1$ | P33BDX$ Channel Module$ 16TCC-PCN-4GUS+10G$16-port 10G ADM TDM Card Core Type, pluggable client and network IF, Network Ports are fully G.709 enabled$1063701044-01$9980$2$
31069BLA$$ | Common M | odule$$ | $$$ | 47001AGN$$ Common Module$$$$$ | 47157MAR$$ Common Module$$$$$ | 82033CAS$$ Common Module$$$$$ | P31TLS$$ Common Module$$$$$ | P31TLS2$$ Common Module$$$$$ | P33BDX$$ Common Module$$$$$
31069BLA$ | Common Mo | dule$ | CEM/9HU$Common Equipment Module for SH9HU$1063708416$1180$0$ | 47001AGN$ Common Module$ CEM/9HU$Common Equipment Module for SH9HU$1063708416$1180$0$ | 47157MAR$ Common Module$ CEM/9HU$Common Equipment Module for SH9HU$1063708416$1180$0$ | 82033CAS$ Common Module$ CEM/9HU$Common Equipment Module for SH9HU$1063708416$1180$0$ | P31TLS$ Common Module$ CEM/9HU$Common Equipment Module for SH9HU$1063708416$1180$1$ | P31TLS2$ Common Module$ CEM/9HU$Common Equipment Module for SH9HU$1063708416$1180$1$ | P33BDX$ Common Module$ CEM/9HU$Common Equipment Module for SH9HU$1063708416$1180$1$
31069BLA$ | Common Mo | dule$ | FAN/9HU$Fan Module for SH9HU$1042700011$390$0$ | 47001AGN$ Common Module$ FAN/9HU$Fan Module for SH9HU$1042700011$390$0$ | 47157MAR$ Common Module$ FAN/9HU$Fan Module for SH9HU$1042700011$390$0$ | 82033CAS$ Common Module$ FAN/9HU$Fan Module for SH9HU$1042700011$390$0$ | P31TLS$ Common Module$ FAN/9HU$Fan Module for SH9HU$1042700011$390$3$ | P31TLS2$ Common Module$ FAN/9HU$Fan Module for SH9HU$1042700011$390$3$ | P33BDX$ Common Module$ FAN/9HU$Fan Module for SH9HU$1042700011$390$3$
31069BLA$ | Common Mo | dule$ | FAN/Plug-In$Fan Module for SH7HU$0042700001-04$1080$0$ | 47001AGN$ Common Module$ FAN/Plug-In$Fan Module for SH7HU$0042700001-04$1080$1$ | 47157MAR$ Common Module$ FAN/Plug-In$Fan Module for SH7HU$0042700001-04$1080$1$ | 82033CAS$ Common Module$ FAN/Plug-In$Fan Module for SH7HU$0042700001-04$1080$1$ | P31TLS$ Common Module$ FAN/Plug-In$Fan Module for SH7HU$0042700001-04$1080$0$ | P31TLS2$ Common Module$ FAN/Plug-In$Fan Module for SH7HU$0042700001-04$1080$0$ | P33BDX$ Common Module$ FAN/Plug-In$Fan Module for SH7HU$0042700001-04$1080$0$
31069BLA$ | Common Mo | dule$ | NCU-II$Network Element Control Unit with high performance processor, 2.5 HU high, 2 x RJ45 Ethernet ports and 1 x serial interface$1063708412$1280$1$ | 47001AGN$ Common Module$ NCU-II$Network Element Control Unit with high performance processor, 2.5 HU high, 2 x RJ45 Ethernet ports and 1 x serial interface$1063708412$1280$1$ | 47157MAR$ Common Module$ NCU-II$Network Element Control Unit with high performance processor, 2.5 HU high, 2 x RJ45 Ethernet ports and 1 x serial interface$1063708412$1280$1$ | 82033CAS$ Common Module$ NCU-II$Network Element Control Unit with high performance processor, 2.5 HU high, 2 x RJ45 Ethernet ports and 1 x serial interface$1063708412$1280$1$ | P31TLS$ Common Module$ NCU-II$Network Element Control Unit with high performance processor, 2.5 HU high, 2 x RJ45 Ethernet ports and 1 x serial interface$1063708412$1280$1$ | P31TLS2$ Common Module$ NCU-II$Network Element Control Unit with high performance processor, 2.5 HU high, 2 x RJ45 Ethernet ports and 1 x serial interface$1063708412$1280$1$ | P33BDX$ Common Module$ NCU-II$Network Element Control Unit with high performance processor, 2.5 HU high, 2 x RJ45 Ethernet ports and 1 x serial interface$1063708412$1280$1$
31069BLA$ | Common Mo | dule$ | PSU/7HU-DC-800$Power Supply Module (800W) DC for SH7HU$1040700005-01$980$0$ | 47001AGN$ Common Module$ PSU/7HU-DC-800$Power Supply Module (800W) DC for SH7HU$1040700005-01$980$2$ | 47157MAR$ Common Module$ PSU/7HU-DC-800$Power Supply Module (800W) DC for SH7HU$1040700005-01$980$2$ | 82033CAS$ Common Module$ PSU/7HU-DC-800$Power Supply Module (800W) DC for SH7HU$1040700005-01$980$2$ | P31TLS$ Common Module$ PSU/7HU-DC-800$Power Supply Module (800W) DC for SH7HU$1040700005-01$980$0$ | P31TLS2$ Common Module$ PSU/7HU-DC-800$Power Supply Module (800W) DC for SH7HU$1040700005-01$980$0$ | P33BDX$ Common Module$ PSU/7HU-DC-800$Power Supply Module (800W) DC for SH7HU$1040700005-01$980$0$
31069BLA$ | Common Mo | dule$ | PSU/9HU-AC$Power Supply Module (1000W) AC for SH9HU$1040700042-01$980$0$ | 47001AGN$ Common Module$ PSU/9HU-AC$Power Supply Module (1000W) AC for SH9HU$1040700042-01$980$0$ | 47157MAR$ Common Module$ PSU/9HU-AC$Power Supply Module (1000W) AC for SH9HU$1040700042-01$980$0$ | 82033CAS$ Common Module$ PSU/9HU-AC$Power Supply Module (1000W) AC for SH9HU$1040700042-01$980$0$ | P31TLS$ Common Module$ PSU/9HU-AC$Power Supply Module (1000W) AC for SH9HU$1040700042-01$980$2$ | P31TLS2$ Common Module$ PSU/9HU-AC$Power Supply Module (1000W) AC for SH9HU$1040700042-01$980$2$ | P33BDX$ Common Module$ PSU/9HU-AC$Power Supply Module (1000W) AC for SH9HU$1040700042-01$980$0$
31069BLA$ | Common Mo | dule$ | PSU/9HU-DC$Power Supply Module (1000W) DC for SH9HU$1040700041$980$0$ | 47001AGN$ Common Module$ PSU/9HU-DC$Power Supply Module (1000W) DC for SH9HU$1040700041$980$0$ | 47157MAR$ Common Module$ PSU/9HU-DC$Power Supply Module (1000W) DC for SH9HU$1040700041$980$0$ | 82033CAS$ Common Module$ PSU/9HU-DC$Power Supply Module (1000W) DC for SH9HU$1040700041$980$0$ | P31TLS$ Common Module$ PSU/9HU-DC$Power Supply Module (1000W) DC for SH9HU$1040700041$980$0$ | P31TLS2$ Common Module$ PSU/9HU-DC$Power Supply Module (1000W) DC for SH9HU$1040700041$980$0$ | P33BDX$ Common Module$ PSU/9HU-DC$Power Supply Module (1000W) DC for SH9HU$1040700041$980$2$
31069BLA$ | Common Mo | dule$ | SCU-II$Shelf Control Unit for high availability set-up, 2.5 HU high for small slots$1063708423-01$980$1$ | 47001AGN$ Common Module$ SCU-II$Shelf Control Unit for high availability set-up, 2.5 HU high for small slots$1063708423-01$980$1$ | 47157MAR$ Common Module$ SCU-II$Shelf Control Unit for high availability set-up, 2.5 HU high for small slots$1063708423-01$980$1$ | 82033CAS$ Common Module$ SCU-II$Shelf Control Unit for high availability set-up, 2.5 HU high for small slots$1063708423-01$980$1$ | P31TLS$ Common Module$ SCU-II$Shelf Control Unit for high availability set-up, 2.5 HU high for small slots$1063708423-01$980$1$ | P31TLS2$ Common Module$ SCU-II$Shelf Control Unit for high availability set-up, 2.5 HU high for small slots$1063708423-01$980$1$ | P33BDX$ Common Module$ SCU-II$Shelf Control Unit for high availability set-up, 2.5 HU high for small slots$1063708423-01$980$1$
31069BLA$$ | DCM$$$$$ |  |  | 47001AGN$$ DCM$$$$$ | 47157MAR$$ DCM$$$$$ | 82033CAS$$ DCM$$$$$ | P31TLS$$ DCM$$$$$ | P31TLS2$$ DCM$$$$$ | P33BDX$$ DCM$$$$$
31069BLA$ | DCM$ D | CF-M/04 | 0/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 40km Standard Single Mode Fiber$0063709224$5580$0$ | 47001AGN$ DCM$ DCF-M/040/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 40km Standard Single Mode Fiber$0063709224$5580$0$ | 47157MAR$ DCM$ DCF-M/040/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 40km Standard Single Mode Fiber$0063709224$5580$1$ | 82033CAS$ DCM$ DCF-M/040/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 40km Standard Single Mode Fiber$0063709224$5580$0$ | P31TLS$ DCM$ DCF-M/040/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 40km Standard Single Mode Fiber$0063709224$5580$0$ | P31TLS2$ DCM$ DCF-M/040/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 40km Standard Single Mode Fiber$0063709224$5580$0$ | P33BDX$ DCM$ DCF-M/040/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 40km Standard Single Mode Fiber$0063709224$5580$0$
31069BLA$ | DCM$ D | CF-M/05 | 0/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 50km Standard Single Mode Fiber$1063709225$6280$0$ | 47001AGN$ DCM$ DCF-M/050/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 50km Standard Single Mode Fiber$1063709225$6280$1$ | 47157MAR$ DCM$ DCF-M/050/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 50km Standard Single Mode Fiber$1063709225$6280$0$ | 82033CAS$ DCM$ DCF-M/050/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 50km Standard Single Mode Fiber$1063709225$6280$1$ | P31TLS$ DCM$ DCF-M/050/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 50km Standard Single Mode Fiber$1063709225$6280$0$ | P31TLS2$ DCM$ DCF-M/050/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 50km Standard Single Mode Fiber$1063709225$6280$0$ | P33BDX$ DCM$ DCF-M/050/SSMF$Managed DCM using dispersion compensating fiber (DCF), compensating 50km Standard Single Mode Fiber$1063709225$6280$0$
31069BLA$ | DCM$ D | CG-M/06 | 0/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 60km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$0063709256$5280$0$ | 47001AGN$ DCM$ DCG-M/060/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 60km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$0063709256$5280$0$ | 47157MAR$ DCM$ DCG-M/060/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 60km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$0063709256$5280$1$ | 82033CAS$ DCM$ DCG-M/060/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 60km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$0063709256$5280$1$ | P31TLS$ DCM$ DCG-M/060/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 60km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$0063709256$5280$1$ | P31TLS2$ DCM$ DCG-M/060/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 60km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$0063709256$5280$0$ | P33BDX$ DCM$ DCG-M/060/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 60km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$0063709256$5280$0$
31069BLA$ | DCM$ D | CG-M/08 | 0/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 80km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$1063709258$5280$0$ | 47001AGN$ DCM$ DCG-M/080/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 80km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$1063709258$5280$0$ | 47157MAR$ DCM$ DCG-M/080/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 80km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$1063709258$5280$0$ | 82033CAS$ DCM$ DCG-M/080/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 80km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$1063709258$5280$0$ | P31TLS$ DCM$ DCG-M/080/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 80km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$1063709258$5280$0$ | P31TLS2$ DCM$ DCG-M/080/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 80km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$1063709258$5280$0$ | P33BDX$ DCM$ DCG-M/080/SSMF$Managed DCM using Chirped Fiber Bragg Gratings (CFG), compensating 80km Standard Single Mode Fiber for 100GHz channel spacing in the C-band$1063709258$5280$1$
31069BLA$$ | Filter$$ | $$$ |  | 47001AGN$$ Filter$$$$$ | 47157MAR$$ Filter$$$$$ | 82033CAS$$ Filter$$$$$ | P31TLS$$ Filter$$$$$ | P31TLS2$$ Filter$$$$$ | P33BDX$$ Filter$$$$$
31069BLA$ | Filter$ | 4CSM+ | #19550-#19520$4-port Channel Splitter for channel 19550 to 19520, with upgrade port$1063708721$3980$0$ | 47001AGN$ Filter$ 4CSM+#19550-#19520$4-port Channel Splitter for channel 19550 to 19520, with upgrade port$1063708721$3980$0$ | 47157MAR$ Filter$ 4CSM+#19550-#19520$4-port Channel Splitter for channel 19550 to 19520, with upgrade port$1063708721$3980$0$ | 82033CAS$ Filter$ 4CSM+#19550-#19520$4-port Channel Splitter for channel 19550 to 19520, with upgrade port$1063708721$3980$2$ | P31TLS$ Filter$ 4CSM+#19550-#19520$4-port Channel Splitter for channel 19550 to 19520, with upgrade port$1063708721$3980$0$ | P31TLS2$ Filter$ 4CSM+#19550-#19520$4-port Channel Splitter for channel 19550 to 19520, with upgrade port$1063708721$3980$0$ | P33BDX$ Filter$ 4CSM+#19550-#19520$4-port Channel Splitter for channel 19550 to 19520, with upgrade port$1063708721$3980$0$
31069BLA$ | Filter$ | 4CSM+ | #19590-#19560$4-port Channel Splitter for channel 19590 to 19560, with upgrade port$1063708720$3980$2$ | 47001AGN$ Filter$ 4CSM+#19590-#19560$4-port Channel Splitter for channel 19590 to 19560, with upgrade port$1063708720$3980$2$ | 47157MAR$ Filter$ 4CSM+#19590-#19560$4-port Channel Splitter for channel 19590 to 19560, with upgrade port$1063708720$3980$2$ | 82033CAS$ Filter$ 4CSM+#19590-#19560$4-port Channel Splitter for channel 19590 to 19560, with upgrade port$1063708720$3980$0$ | P31TLS$ Filter$ 4CSM+#19590-#19560$4-port Channel Splitter for channel 19590 to 19560, with upgrade port$1063708720$3980$0$ | P31TLS2$ Filter$ 4CSM+#19590-#19560$4-port Channel Splitter for channel 19590 to 19560, with upgrade port$1063708720$3980$0$ | P33BDX$ Filter$ 4CSM+#19590-#19560$4-port Channel Splitter for channel 19590 to 19560, with upgrade port$1063708720$3980$0$
31069BLA$$ | Jumper$$ | $$$ |  | 47001AGN$$ Jumper$$$$$ | 47157MAR$$ Jumper$$$$$ | 82033CAS$$ Jumper$$$$$ | P31TLS$$ Jumper$$$$$ | P31TLS2$$ Jumper$$$$$ | P33BDX$$ Jumper$$$$$
31069BLA$ | Jumper$ | J/XX/ | XX/XXX$Jumper for internal cabling$0051000000$91$4$ | 47001AGN$ Jumper$ J/XX/XX/XXX$Jumper for internal cabling$0051000000$91$9$ | 47157MAR$ Jumper$ J/XX/XX/XXX$Jumper for internal cabling$0051000000$91$11$ | 82033CAS$ Jumper$ J/XX/XX/XXX$Jumper for internal cabling$0051000000$91$11$ | P31TLS$ Jumper$ J/XX/XX/XXX$Jumper for internal cabling$0051000000$91$10$ | P31TLS2$ Jumper$ J/XX/XX/XXX$Jumper for internal cabling$0051000000$91$2$ | P33BDX$ Jumper$ J/XX/XX/XXX$Jumper for internal cabling$0051000000$91$10$
31069BLA$$ | Plug$$$$ | $ |  | 47001AGN$$ Plug$$$$$ | 47157MAR$$ Plug$$$$$ | 82033CAS$$ Plug$$$$$ | P31TLS$$ Plug$$$$$ | P31TLS2$$ Plug$$$$$ | P33BDX$$ Plug$$$$$
31069BLA$ | Plug$ | SFP+/11 | GU/1310S/SM/LC$10G Pluggable I/F for 1310nm, short reach, SFP+ form factor$1061701850-03$480$0$ | 47001AGN$ Plug$ SFP+/11GU/1310S/SM/LC$10G Pluggable I/F for 1310nm, short reach, SFP+ form factor$1061701850-03$480$0$ | 47157MAR$ Plug$ SFP+/11GU/1310S/SM/LC$10G Pluggable I/F for 1310nm, short reach, SFP+ form factor$1061701850-03$480$0$ | 82033CAS$ Plug$ SFP+/11GU/1310S/SM/LC$10G Pluggable I/F for 1310nm, short reach, SFP+ form factor$1061701850-03$480$0$ | P31TLS$ Plug$ SFP+/11GU/1310S/SM/LC$10G Pluggable I/F for 1310nm, short reach, SFP+ form factor$1061701850-03$480$1$ | P31TLS2$ Plug$ SFP+/11GU/1310S/SM/LC$10G Pluggable I/F for 1310nm, short reach, SFP+ form factor$1061701850-03$480$0$ | P33BDX$ Plug$ SFP+/11GU/1310S/SM/LC$10G Pluggable I/F for 1310nm, short reach, SFP+ form factor$1061701850-03$480$1$
31069BLA$ | Plug$ | SFP+/11 | GU/DCTV/SM/LC$11G Pluggable, very long reach C-Band tunable DWDM network IF, SFP+ form factor$1061702000-02$5980$2$ | 47001AGN$ Plug$ SFP+/11GU/DCTV/SM/LC$11G Pluggable, very long reach C-Band tunable DWDM network IF, SFP+ form factor$1061702000-02$5980$2$ | 47157MAR$ Plug$ SFP+/11GU/DCTV/SM/LC$11G Pluggable, very long reach C-Band tunable DWDM network IF, SFP+ form factor$1061702000-02$5980$2$ | 82033CAS$ Plug$ SFP+/11GU/DCTV/SM/LC$11G Pluggable, very long reach C-Band tunable DWDM network IF, SFP+ form factor$1061702000-02$5980$2$ | P31TLS$ Plug$ SFP+/11GU/DCTV/SM/LC$11G Pluggable, very long reach C-Band tunable DWDM network IF, SFP+ form factor$1061702000-02$5980$4$ | P31TLS2$ Plug$ SFP+/11GU/DCTV/SM/LC$11G Pluggable, very long reach C-Band tunable DWDM network IF, SFP+ form factor$1061702000-02$5980$1$ | P33BDX$ Plug$ SFP+/11GU/DCTV/SM/LC$11G Pluggable, very long reach C-Band tunable DWDM network IF, SFP+ form factor$1061702000-02$5980$3$
31069BLA$ | Plug$ | SFP/2G1 | /850I/MM/LC$pluggable client I/F for 850nm, intra office reach$0061705844-03$80$2$ | 47001AGN$ Plug$ SFP/2G1/850I/MM/LC$pluggable client I/F for 850nm, intra office reach$0061705844-03$80$2$ | 47157MAR$ Plug$ SFP/2G1/850I/MM/LC$pluggable client I/F for 850nm, intra office reach$0061705844-03$80$2$ | 82033CAS$ Plug$ SFP/2G1/850I/MM/LC$pluggable client I/F for 850nm, intra office reach$0061705844-03$80$2$ | P31TLS$ Plug$ SFP/2G1/850I/MM/LC$pluggable client I/F for 850nm, intra office reach$0061705844-03$80$8$ | P31TLS2$ Plug$ SFP/2G1/850I/MM/LC$pluggable client I/F for 850nm, intra office reach$0061705844-03$80$2$ | P33BDX$ Plug$ SFP/2G1/850I/MM/LC$pluggable client I/F for 850nm, intra office reach$0061705844-03$80$5$
31069BLA$ | Plug$ | SFP/2G5 | U/C1470V/SM/LC$up to 2.7G Pluggable CWDM I/F, very long reach$0061704491$580$0$ | 47001AGN$ Plug$ SFP/2G5U/C1470V/SM/LC$up to 2.7G Pluggable CWDM I/F, very long reach$0061704491$580$0$ | 47157MAR$ Plug$ SFP/2G5U/C1470V/SM/LC$up to 2.7G Pluggable CWDM I/F, very long reach$0061704491$580$0$ | 82033CAS$ Plug$ SFP/2G5U/C1470V/SM/LC$up to 2.7G Pluggable CWDM I/F, very long reach$0061704491$580$1$ | P31TLS$ Plug$ SFP/2G5U/C1470V/SM/LC$up to 2.7G Pluggable CWDM I/F, very long reach$0061704491$580$0$ | P31TLS2$ Plug$ SFP/2G5U/C1470V/SM/LC$up to 2.7G Pluggable CWDM I/F, very long reach$0061704491$580$0$ | P33BDX$ Plug$ SFP/2G5U/C1470V/SM/LC$up to 2.7G Pluggable CWDM I/F, very long reach$0061704491$580$0$
31069BLA$$ | Shelf$$$ | $$ |  | 47001AGN$$ Shelf$$$$$ | 47157MAR$$ Shelf$$$$$ | 82033CAS$$ Shelf$$$$$ | P31TLS$$ Shelf$$$$$ | P31TLS2$$ Shelf$$$$$ | P33BDX$$ Shelf$$$$$
31069BLA$ | Shelf$ | 40CSM/ | 2HU-#19590-#19200$40-port MUX/DMX Channel Splitter, C-Band, integrated in separate shelf to save slots in master shelf$1078708789-01$8980$0$ | 47001AGN$ Shelf$ 40CSM/2HU-#19590-#19200$40-port MUX/DMX Channel Splitter, C-Band, integrated in separate shelf to save slots in master shelf$1078708789-01$8980$0$ | 47157MAR$ Shelf$ 40CSM/2HU-#19590-#19200$40-port MUX/DMX Channel Splitter, C-Band, integrated in separate shelf to save slots in master shelf$1078708789-01$8980$0$ | 82033CAS$ Shelf$ 40CSM/2HU-#19590-#19200$40-port MUX/DMX Channel Splitter, C-Band, integrated in separate shelf to save slots in master shelf$1078708789-01$8980$0$ | P31TLS$ Shelf$ 40CSM/2HU-#19590-#19200$40-port MUX/DMX Channel Splitter, C-Band, integrated in separate shelf to save slots in master shelf$1078708789-01$8980$2$ | P31TLS2$ Shelf$ 40CSM/2HU-#19590-#19200$40-port MUX/DMX Channel Splitter, C-Band, integrated in separate shelf to save slots in master shelf$1078708789-01$8980$1$ | P33BDX$ Shelf$ 40CSM/2HU-#19590-#19200$40-port MUX/DMX Channel Splitter, C-Band, integrated in separate shelf to save slots in master shelf$1078708789-01$8980$1$
31069BLA$ | Shelf$ | SH1HU- | HP/2DC$1HU Slimline Shelf High Power with redundant DC Power Feed$1078700144$1680$1$ | 47001AGN$ Shelf$ SH1HU-HP/2DC$1HU Slimline Shelf High Power with redundant DC Power Feed$1078700144$1680$0$ | 47157MAR$ Shelf$ SH1HU-HP/2DC$1HU Slimline Shelf High Power with redundant DC Power Feed$1078700144$1680$0$ | 82033CAS$ Shelf$ SH1HU-HP/2DC$1HU Slimline Shelf High Power with redundant DC Power Feed$1078700144$1680$0$ | P31TLS$ Shelf$ SH1HU-HP/2DC$1HU Slimline Shelf High Power with redundant DC Power Feed$1078700144$1680$0$ | P31TLS2$ Shelf$ SH1HU-HP/2DC$1HU Slimline Shelf High Power with redundant DC Power Feed$1078700144$1680$0$ | P33BDX$ Shelf$ SH1HU-HP/2DC$1HU Slimline Shelf High Power with redundant DC Power Feed$1078700144$1680$0$
31069BLA$ | Shelf$ | SH1HU/ | PASSIVE/FT$Passive Unmanged 1HU Slimline Shelf with optional fiber tray, no power supplies and no SCU required$1078700065$340$1$ | 47001AGN$ Shelf$ SH1HU/PASSIVE/FT$Passive Unmanged 1HU Slimline Shelf with optional fiber tray, no power supplies and no SCU required$1078700065$340$0$ | 47157MAR$ Shelf$ SH1HU/PASSIVE/FT$Passive Unmanged 1HU Slimline Shelf with optional fiber tray, no power supplies and no SCU required$1078700065$340$0$ | 82033CAS$ Shelf$ SH1HU/PASSIVE/FT$Passive Unmanged 1HU Slimline Shelf with optional fiber tray, no power supplies and no SCU required$1078700065$340$0$ | P31TLS$ Shelf$ SH1HU/PASSIVE/FT$Passive Unmanged 1HU Slimline Shelf with optional fiber tray, no power supplies and no SCU required$1078700065$340$0$ | P31TLS2$ Shelf$ SH1HU/PASSIVE/FT$Passive Unmanged 1HU Slimline Shelf with optional fiber tray, no power supplies and no SCU required$1078700065$340$0$ | P33BDX$ Shelf$ SH1HU/PASSIVE/FT$Passive Unmanged 1HU Slimline Shelf with optional fiber tray, no power supplies and no SCU required$1078700065$340$0$
31069BLA$ | Shelf$ | SH7HU$ | 7HU Shelf$0078700101$1680$0$ | 47001AGN$ Shelf$ SH7HU$7HU Shelf$0078700101$1680$1$ | 47157MAR$ Shelf$ SH7HU$7HU Shelf$0078700101$1680$1$ | 82033CAS$ Shelf$ SH7HU$7HU Shelf$0078700101$1680$1$ | P31TLS$ Shelf$ SH7HU$7HU Shelf$0078700101$1680$0$ | P31TLS2$ Shelf$ SH7HU$7HU Shelf$0078700101$1680$0$ | P33BDX$ Shelf$ SH7HU$7HU Shelf$0078700101$1680$0$
31069BLA$ | Shelf$ | SH9HU$ | 9HU Shelf$1078700121$2180$0$ | 47001AGN$ Shelf$ SH9HU$9HU Shelf$1078700121$2180$0$ | 47157MAR$ Shelf$ SH9HU$9HU Shelf$1078700121$2180$0$ | 82033CAS$ Shelf$ SH9HU$9HU Shelf$1078700121$2180$0$ | P31TLS$ Shelf$ SH9HU$9HU Shelf$1078700121$2180$1$ | P31TLS2$ Shelf$ SH9HU$9HU Shelf$1078700121$2180$1$ | P33BDX$ Shelf$ SH9HU$9HU Shelf$1078700121$2180$1$
31069BLA$$ | Software | and Li | cense$$$$$ | 47001AGN$$ Software and License$$$$$ | 47157MAR$$ Software and License$$$$$ | 82033CAS$$ Software and License$$$$$ | P31TLS$$ Software and License$$$$$ | P31TLS2$$ Software and License$$$$$ | P33BDX$$ Software and License$$$$$
31069BLA$ | Software | and Lic | ense$ F7/FW 16.1.2 PREINST$SW for Release 16.1.2 preinstalled$1091703061-02$0$1$ | 47001AGN$ Software and License$ F7/FW 16.1.2 PREINST$SW for Release 16.1.2 preinstalled$1091703061-02$0$1$ | 47157MAR$ Software and License$ F7/FW 16.1.2 PREINST$SW for Release 16.1.2 preinstalled$1091703061-02$0$1$ | 82033CAS$ Software and License$ F7/FW 16.1.2 PREINST$SW for Release 16.1.2 preinstalled$1091703061-02$0$1$ | P31TLS$ Software and License$ F7/FW 16.1.2 PREINST$SW for Release 16.1.2 preinstalled$1091703061-02$0$1$ | P31TLS2$ Software and License$ F7/FW 16.1.2 PREINST$SW for Release 16.1.2 preinstalled$1091703061-02$0$1$ | P33BDX$ Software and License$ F7/FW 16.1.2 PREINST$SW for Release 16.1.2 preinstalled$1091703061-02$0$1$
31069BLA$ | Software | and Lic | ense$ F7/SW 16.X BASIC 1HU ACTIVE$Release 16.x system software for active 1HU chassis$1091701161$500$1$ | 47001AGN$ Software and License$ F7/SW 16.X BASIC 1HU ACTIVE$Release 16.x system software for active 1HU chassis$1091701161$500$0$ | 47157MAR$ Software and License$ F7/SW 16.X BASIC 1HU ACTIVE$Release 16.x system software for active 1HU chassis$1091701161$500$0$ | 82033CAS$ Software and License$ F7/SW 16.X BASIC 1HU ACTIVE$Release 16.x system software for active 1HU chassis$1091701161$500$0$ | P31TLS$ Software and License$ F7/SW 16.X BASIC 1HU ACTIVE$Release 16.x system software for active 1HU chassis$1091701161$500$0$ | P31TLS2$ Software and License$ F7/SW 16.X BASIC 1HU ACTIVE$Release 16.x system software for active 1HU chassis$1091701161$500$0$ | P33BDX$ Software and License$ F7/SW 16.X BASIC 1HU ACTIVE$Release 16.x system software for active 1HU chassis$1091701161$500$0$
31069BLA$ | Software | and Lic | ense$ F7/SW 16.X BASIC 7HU/9HU$Release 16.x system software for 7HU or 9HU chassis$1091701162$2300$0$ | 47001AGN$ Software and License$ F7/SW 16.X BASIC 7HU/9HU$Release 16.x system software for 7HU or 9HU chassis$1091701162$2300$1$ | 47157MAR$ Software and License$ F7/SW 16.X BASIC 7HU/9HU$Release 16.x system software for 7HU or 9HU chassis$1091701162$2300$1$ | 82033CAS$ Software and License$ F7/SW 16.X BASIC 7HU/9HU$Release 16.x system software for 7HU or 9HU chassis$1091701162$2300$1$ | P31TLS$ Software and License$ F7/SW 16.X BASIC 7HU/9HU$Release 16.x system software for 7HU or 9HU chassis$1091701162$2300$1$ | P31TLS2$ Software and License$ F7/SW 16.X BASIC 7HU/9HU$Release 16.x system software for 7HU or 9HU chassis$1091701162$2300$1$ | P33BDX$ Software and License$ F7/SW 16.X BASIC 7HU/9HU$Release 16.x system software for 7HU or 9HU chassis$1091701162$2300$1$