## Instruction
| Doc. ref.: SUP-W-release |  |  |  | Version: 2 | Created: 12/07/2016
WORK INSTRUCTION
RELEASE TO THE MARKET
If necessary, update the file (Data > Refresh all)
Lot number: |  |  |  | Model: |  | Power:
GTIN:
Lens ID | 0110240
Datamatrix scans:
Check availability and conformity of manufacturing work orders:
Work order ref. | Buttons lot number | Casts lot number | Vials/caps lot number | Stoppers lot number | Holders lot number | Buffer solution lot number | Pouches lot number
Check availability and conformity of sterilization documentation:
Sterilization certificate ref. | Sterilization validation report ref. | EO residue (if applicable) | Expiry date (yyyy-mm-dd)
Check availability and conformity of packaging orders:
Packaging order ref. | Secondary packaging lot number | Patient cards lot number | IFU lot number
x
Issuer initials: |  |  |  | Date (dd/mm/yyyy):
x
Quality manager approval?
Initials: |  |  |  | Date (dd/mm/yyyy):

## GTIN (hidden)
GTIN 13 | Model | Power
03664009000002 | BAB1 | 9D
03664009000019 | BAB1 | 9.5D
03664009000026 | BAB1 | 10D
03664009000033 | BAB1 | 10.5D
03664009000040 | BAB1 | 11D
03664009000057 | BAB1 | 11.5D
03664009000064 | BAB1 | 12D
03664009000071 | BAB1 | 12.5D
03664009000088 | BAB1 | 13D
03664009000095 | BAB1 | 13.5D
03664009000101 | BAB1 | 14D
03664009000118 | BAB1 | 14.5D
03664009000125 | BAB1 | 15D
03664009000132 | BAB1 | 15.5D
03664009000149 | BAB1 | 16D
03664009000156 | BAB1 | 16.5D
03664009000163 | BAB1 | 17D
03664009000170 | FSI1 | 4D
03664009000187 | FSI1 | 4.5D
03664009000194 | FSI1 | 5D
03664009000200 | FSI1 | 5.5D
03664009000217 | FSI1 | 6D
03664009000224 | FSI1 | 6.5D
03664009000231 | FSI1 | 7D
03664009000248 | FSI1 | 7.5D
03664009000255 | FSI1 | 8D
03664009000262 | FSI1 | 8.5D
03664009000279 | FSI1 | 9D
03664009000286 | FSI1 | 9.5D
03664009000293 | FSI1 | 10D
03664009000309 | FSI1 | 10.5D
03664009000316 | FSI1 | 11D

## Inventory (hidden)
Datamatrix scan | GTIN | Model | Power | Lot | Tray_position | ID | Work order | Sterilization certificate ref. | Expiry_date (yymmdd) | Expiry_date (yyyy-mm-dd) | SN | Packaging order ref.: SUP-W-packaging- | Date of picking (dd/mm/yyyy) | Reason of picking | Column16 | BAB1 | FSI1
010366400900000210YYMMDD0240A1 | 03664009000002 | BAB1 | 9D | YYMMDD0 | A1 | YYMMDD0A1 | IVOBL-Test | Test | 180101 | 2018-01-01 | 0 | 170324-test | Test | Test labeling |  | 9D | 4D
0103664009000231101601260240B2 | 03664009000231 | FSI1 | 7D | 1601260 | B2 | 1601260B2 |  |  | 170213 | 2017-02-13 | 1 |  |  |  |  | 9.5D | 4.5D
0103664009000231101601260240B3 | 03664009000231 | FSI1 | 7D | 1601260 | B3 | 1601260B3 |  |  | 170213 | 2017-02-13 | 2 |  |  |  |  | 10D | 5D
0103664009000231101601260240B4 | 03664009000231 | FSI1 | 7D | 1601260 | B4 | 1601260B4 |  |  | 170213 | 2017-02-13 | 3 |  |  |  |  | 10.5D | 5.5D
0103664009000231101601260240B5 | 03664009000231 | FSI1 | 7D | 1601260 | B5 | 1601260B5 |  |  | 170213 | 2017-02-13 | 4 |  |  |  |  | 11D | 6D
0103664009000231101601260240B6 | 03664009000231 | FSI1 | 7D | 1601260 | B6 | 1601260B6 |  |  | 170213 | 2017-02-13 | 5 |  |  |  |  | 11.5D | 6.5D
0103664009000231101601260240B7 | 03664009000231 | FSI1 | 7D | 1601260 | B7 | 1601260B7 |  |  | 170213 | 2017-02-13 | 6 |  |  |  |  | 12D | 7D
0103664009000231101601260240B8 | 03664009000231 | FSI1 | 7D | 1601260 | B8 | 1601260B8 |  |  | 170213 | 2017-02-13 | 7 |  |  |  |  | 12.5D | 7.5D
0103664009000231101601260240B9 | 03664009000231 | FSI1 | 7D | 1601260 | B9 | 1601260B9 |  |  | 170213 | 2017-02-13 | 8 |  |  |  |  | 13D | 8D
0103664009000231101601260240C1 | 03664009000231 | FSI1 | 7D | 1601260 | C1 | 1601260C1 |  |  | 170213 | 2017-02-13 | 9 |  |  |  |  | 13.5D | 8.5D
0103664009000231101601260240C2 | 03664009000231 | FSI1 | 7D | 1601260 | C2 | 1601260C2 |  |  | 170213 | 2017-02-13 | 10 |  |  |  |  | 14D | 9D
0103664009000231101601260240C3 | 03664009000231 | FSI1 | 7D | 1601260 | C3 | 1601260C3 |  |  | 170213 | 2017-02-13 | 11 |  |  |  |  | 14.5D | 9.5D
0103664009000231101601260240C4 | 03664009000231 | FSI1 | 7D | 1601260 | C4 | 1601260C4 |  |  | 170213 | 2017-02-13 | 12 |  |  |  |  | 15D | 10D
0103664009000231101601260240C5 | 03664009000231 | FSI1 | 7D | 1601260 | C5 | 1601260C5 |  |  | 170213 | 2017-02-13 | 13 |  |  |  |  | 15.5D | 10.5D
0103664009000231101601260240C6 | 03664009000231 | FSI1 | 7D | 1601260 | C6 | 1601260C6 |  |  | 170213 | 2017-02-13 | 14 |  |  |  |  | 16D | 11D
0103664009000002101601280240I1 | 03664009000002 | BAB1 | 9D | 1601280 | I1 | 1601280I1 |  |  | 170215 | 2017-02-15 | 73 |  |  |  |  | 16.5D
17D