## DEMI NAPPE
Copier / coller le tableau issu du fichier PLS-CADD -Support -Tableau d'Implantation des Supports | [76 empty] | Copier / coller le tableau issu du fichier PLS-CADD -Lignes -Rapport -Résume -Afficher tableau -Structure attachment coordinate
1.4763
TABLEAU D'IMPLANTATION DES SUPPORTS
N° de Support | Station (m) | Height Adjust. (m) | Offset Adjust. (m) | Orientation Angle (gr.) | X Easting (m) | Y Northing (m) | Centerline Z Elevation (m) | TIN Z Elevation (m) | Ahead Span (m) | Line Angle (gr.) | Sets In XY Structure Line Angle Calculation | Transverse Axis Azimuth (gr.) | Désignation Support | Description Support | Struct. Height (m) | Embedded Length (m) | Structure Specific Material | Counter Weights (N) | Automatic Structure Group Membership | Manual Structure Group Membership | N° Plaque Support | N° Attaches Terne1/Terne2 | Si Anticascade : AC | Type de Fondations | Tarage des Pinces Cond./Cdg (kN) | Pieds Dissymétriques | Commentaire Photo\Plan 1 | Commentaire Photo\Plan 2 | Commentaire Photo\Plan 3 | Commentaire Photo\Plan 4 | Commentaire Photo\Plan 5 | Commentaire Photo\Plan 6 | Commentaire Photo\Plan 7 | Commentaire Photo\Plan 8 | Commentaire Photo\Plan 9 | Commentaire Photo\Plan 10 | Structure Comment 17 | Structure Comment 18 | Structure Comment 19 | Structure Comment 20 | Structure Comment 21 | Structure Comment 22 | Structure Comment 23 | Structure Comment 24 | Structure Comment 25 | Structure Comment 26 | Structure Comment 27 | Structure Comment 28 | Structure Comment 29 | Structure Comment 30 | Structure Comment 31 | Structure Comment 32 | Structure Comment 33 | Structure Comment 34 | Structure Comment 35 | Structure Comment 36 | Structure Comment 37 | Structure Comment 38 | Structure Comment 39 | Structure Comment 40 | Structure Comment 41 | Structure Comment 42 | Structure Comment 43 | Structure Comment 44 | Structure Comment 45 | Structure Comment 46 | Structure Comment 47 | Structure Comment 48 | Structure Comment 49 | Structure Comment 50 | STRUCTURE ATTACHMENT COORDINATE | [7 empty] | Insulator Attach Point Z (m) | Wire Attach Point X (m) | Wire Attach Point Y (m) | Wire Attach Point Z (m) | Mid Span Point X (m) | Mid Span Point Y (m) | Mid Span Point Z (m) | Low Point X (m) | Low Point Y (m) | Low Point Z (m) | TIN Z below Insulator Attach Point (m) | TIN Z below Wire Attach Point (m) | TIN Z below Mid Span Point (m) | TIN Z below Low Point (m) | Ahead Span Arc Length (m) | Ahead Span Slack (m)
FRONTENAUD | 0 |  |  |  | 874303.338 | 6608804.189 | 187.384 | 187.384 | 44.342 | 0 | 1960-01-01 | 303.6501 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\frontenaud.fic | FRONTENAUD | 9.128 | 0 | 0 |  | 'All', 'Has DE', 'All sets DE' |  | FRONTENAUD | [57 empty] | 196.36 | 874304.69 | 6608801.57 | 196.2 | 874304 | 6608781.59 | 198.53 | 874304.69 | 6608801.57 | 196.2 | 187.3 | 187.32 | 187.36 | 187.32 | 40.47 | 0.031
31 | 44.342 |  |  | 203 | 874300.797 | 6608759.92 | 186.515 | 186.515 | 369.087 | 9.5512 | 1960-01-01 | 111.4257 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\31.fic | 31 | 22.632 | 0 | 0 |  | 'All', 'Has DE', 'All sets DE', 'Angle' |  | 31 | [49 empty] | Struct. Number | Set No. | Phase No. | Structure Name | Set Label | Insulator Attach Point X (m) | Insulator Attach Point Y (m) |  | 196.27 | 874303.29 | 6608801.77 | 196.29 | 874303.03 | 6608781.71 | 200.19 | 874303.29 | 6608801.77 | 196.29 | 187.36 | 187.3 | 186.93 | 187.3 | 41.2 | 0.03
32 | 413.429 |  | -0.175 | 200 | 874224.979 | 6608398.704 | 185.143 | 185.143 | 439.867 | 0 | 1960-01-01 | 113.2013 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\32.fic | 32 | 29.411 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 32 | [49 empty] | FRONTENAUD | 41 | 1 | frontenaud.fic | AD-P1 | 874304.77 | 6608803.83 |  | 196.2 | 874301.58 | 6608802.02 | 196.15 | 874300.12 | 6608782.23 | 199.32 | 874301.58 | 6608802.02 | 196.15 | 187.37 | 187.33 | 186.42 | 187.33 | 40.453 | 0.029
33 | 853.296 |  | -0.079 | 200 | 874134.324 | 6607968.28 | 185.478 | 185.478 | 423.711 | 0 | 1960-01-01 | 113.2013 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\33.fic | 33 | 32.301 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 33 | [49 empty] | FRONTENAUD | 42 | 1 | frontenaud.fic | AD-P2 | 874303.32 | 6608804.04 | 1.4763 | 206.41 | 874302.27 | 6608757.35 | 206.13 | 874264.61 | 6608577.81 | 198.68 | 874269.78 | 6608602.46 | 198.48 | 186.45 | 186.42 | 185.53 | 185.35 | 367.717 | 0.769
34 | 1277.007 |  | 0.034 | 202 | 874046.978 | 6607553.67 | 188.579 | 188.579 | 308.964 | 0 | 1960-01-01 | 115.2013 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\34.fic | 34 | 26.395 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 34 | [49 empty] | FRONTENAUD | 43 | 1 | frontenaud.fic | AD-P3 | 874301.75 | 6608804.28 |  | 204.69 | 874298.03 | 6608758.12 | 204.42 | 874260.21 | 6608578.72 | 197.29 | 874265.58 | 6608604.19 | 197.09 | 186.41 | 186.05 | 185.54 | 185.25 | 367.455 | 0.722
35 | 1585.971 |  | -0.196 | 198.5 | 873983.593 | 6607251.278 | 201.922 | 201.922 | 312.158 | 0 | 1960-01-01 | 111.7013 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\35.fic | 35 | 23.361 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 35 | [49 empty] | 31 | 41 | 1 | 31.fic | AD-P1 | 874302.73 | 6608759.57 |  | 203.03 | 874302.77 | 6608757.26 | 202.76 | 874265.1 | 6608577.72 | 195.79 | 874270.5 | 6608603.45 | 195.58 | 186.44 | 186.45 | 185.6 | 185.37 | 367.639 | 0.696
36 | 1898.129 | -1.248 |  | 200 | 873919.133 | 6606945.847 | 187.128 | 185.88 | 401.286 | -30.8004 | 1960-01-01 | 97.8011 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\36.fic | 36 | 23.23 | 0 | 0 |  | 'All', 'Has DE', 'All sets DE', 'Angle' |  | 36 | [49 empty] | 31 | 42 | 1 | 31.fic | AD-P2 | 874298.5 | 6608760.34 |  | 213 | 874226.95 | 6608398.26 | 211.79 | 874181.65 | 6608183.04 | 198.69 | 874184.11 | 6608194.71 | 198.64 | 185 | 184.99 | 185.42 | 185.29 | 441.197 | 1.309
37 | 2299.415 |  | 0.124 | 202.5 | 874028.54 | 6606559.764 | 185.55 | 185.55 | 387.926 | 0 | 1960-01-01 | 84.9009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\37.fic | 37 | 29.111 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 37 | [49 empty] | 31 | 43 | 1 | 31.fic | AD-P3 | 874303.24 | 6608759.48 |  | 211.33 | 874222.39 | 6608399.32 | 210.09 | 874177.06 | 6608184.06 | 196.68 | 874178.84 | 6608192.54 | 196.65 | 184.99 | 185 | 185.42 | 185.3 | 441.245 | 1.284
38 | 2687.341 |  | 0.239 | 200 | 874134.309 | 6606186.535 | 193.3 | 193.301 | 352.539 | 0 | 1960-01-01 | 82.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\38.fic | 38 | 23.468 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 38 | [49 empty] | 32 | 1 | 1 | 32.fic | S-P1 | 874226.96 | 6608398.29 |  | 209.58 | 874227.43 | 6608398.18 | 208.38 | 874182.21 | 6608182.93 | 195.08 | 874183.39 | 6608188.56 | 195.06 | 184.96 | 184.96 | 185.4 | 185.41 | 441.09 | 1.195
39 | 3039.88 |  | 0.078 | 200 | 874230.685 | 6605847.426 | 186.433 | 186.382 | 420.94 | 0 | 1960-01-01 | 82.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\39.fic | 39 | 25.93 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 39 | [49 empty] | 32 | 2 | 1 | 32.fic | S-P2 | 874222.37 | 6608399.25 |  | 216.21 | 874136.35 | 6607967.82 | 214.98 | 874092.68 | 6607760.52 | 200.06 | 874090.42 | 6607749.79 | 200.02 | 185.5 | 185.5 | 185.74 | 185.54 | 424.856 | 1.151
40 | 3460.82 |  | 0.213 | 200 | 874345.446 | 6605442.431 | 186.611 | 186.611 | 303.568 | 0 | 1960-01-01 | 82.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\40.fic | 40 | 28.7 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 40 | [49 empty] | 32 | 3 | 1 | 32.fic | S-P3 | 874227.43 | 6608398.19 |  | 213.63 | 874131.72 | 6607968.81 | 212.38 | 874088.09 | 6607761.57 | 197.99 | 874086.54 | 6607754.19 | 197.97 | 185.37 | 185.37 | 185.89 | 185.74 | 424.708 | 1.136
41 | 3764.388 |  | -0.025 | 202.5 | 874428.531 | 6605150.454 | 188.41 | 188.41 | 340.534 | 0 | 1960-01-01 | 84.9009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\41.fic | 41 | 22.72 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 41 | [49 empty] | 33 | 1 | 1 | 33.fic | S-P1 | 874136.36 | 6607967.85 |  | 211.07 | 874136.99 | 6607967.68 | 209.85 | 874093.24 | 6607760.36 | 196.38 | 874092.34 | 6607756.07 | 196.37 | 185.5 | 185.51 | 185.66 | 185.72 | 424.827 | 1.052
42 | 4104.922 |  | -0.071 | 198 | 874521.52 | 6604822.862 | 189.314 | 189.314 | 314.066 | 0 | 1960-01-01 | 80.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\42.fic | 42 | 23.44 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 42 | [49 empty] | 33 | 2 | 1 | 33.fic | S-P2 | 874131.73 | 6607968.83 |  | 213.4 | 874049.01 | 6607553.22 | 212.18 | 874017.32 | 6607402.07 | 210.07 | 874028.55 | 6607455.65 | 209.16 | 188.58 | 188.58 | 195.66 | 192.4 | 309.496 | 0.452
43 | 4418.988 |  | -0.024 | 202 | 874607.195 | 6604520.708 | 195.839 | 195.839 | 333.706 | 0 | 1960-01-01 | 84.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\43.fic | 43 | 26.003 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 43 | [49 empty] | 33 | 3 | 1 | 33.fic | S-P3 | 874137 | 6607967.72 |  | 211.66 | 874044.46 | 6607554.33 | 210.47 | 874012.74 | 6607403.08 | 208.45 | 874024.14 | 6607457.46 | 207.52 | 188.55 | 188.55 | 195.61 | 192.48 | 309.695 | 0.447
44 | 4752.694 |  | 0.143 | 202 | 874698.115 | 6604199.627 | 194.593 | 194.593 | 363.705 | 0 | 1960-01-01 | 84.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\44.fic | 44 | 23.446 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 44 | [49 empty] | 34 | 1 | 1 | 34.fic | S-P1 | 874049 | 6607553.18 |  | 209.98 | 874049.5 | 6607553.04 | 208.78 | 874017.79 | 6607401.97 | 207.06 | 874029.66 | 6607458.54 | 206.1 | 188.6 | 188.6 | 195.67 | 192.34 | 309.31 | 0.405
45 | 5116.399 |  | -0.032 | 202 | 874797.553 | 6603849.779 | 202.02 | 202.02 | 233.455 | 0 | 1960-01-01 | 84.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\45.fic | 45 | 23.423 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 45 | [49 empty] | 34 | 2 | 1 | 34.fic | S-P2 | 874044.45 | 6607554.29 |  | 223.64 | 873985.63 | 6607250.92 | 222.44 | 873953.71 | 6607099.53 | 207.62 | 873937.28 | 6607021.6 | 205.69 | 201.91 | 201.91 | 195.12 | 189.67 | 310.254 | 0.458
46 | 5349.854 |  | 0.059 | 198 | 874861.184 | 6603625.163 | 205.664 | 205.664 | 470.846 | 0 | 1960-01-01 | 80.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\46.fic | 46 | 23.561 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 46 | [49 empty] | 34 | 3 | 1 | 34.fic | S-P3 | 874049.49 | 6607553.06 |  | 222.02 | 873981.02 | 6607251.83 | 220.83 | 873948.99 | 6607099.91 | 205.91 | 873932.74 | 6607022.83 | 204.01 | 202.09 | 202.09 | 195.04 | 189.61 | 311.364 | 0.47
47 | 5820.7 |  | -0.152 | 200 | 874989.899 | 6603172.252 | 187.3 | 187.3 | 363.539 | 0 | 1960-01-01 | 82.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\47.fic | 47 | 28.96 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 47 | [49 empty] | 35 | 1 | 1 | 35.fic | S-P1 | 873985.63 | 6607250.9 |  | 220.21 | 873986.08 | 6607250.89 | 219.04 | 873954.18 | 6607099.53 | 204.56 | 873937.13 | 6607018.67 | 202.57 | 201.89 | 201.89 | 195.12 | 189.56 | 310.159 | 0.421
48 | 6184.239 |  | -0.11 | 201 | 875089.082 | 6602822.504 | 187.573 | 187.573 | 364.655 | 0 | 1960-01-01 | 83.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\48.fic | 48 | 23.022 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 48 | [49 empty] | 35 | 2 | 1 | 35.fic | S-P2 | 873981.01 | 6607251.76 |  | 207.57 | 873921.79 | 6606948.15 | 207.4 | 0 | 0 | 0 | 0 | 0 | 0 | 186.01 | 186.08 | 0 | 0 | 0 | 0
49 | 6548.894 |  | -0.123 | 200 | 875188.623 | 6602471.698 | 187.944 | 187.944 | 348.101 | 0 | 1960-01-01 | 82.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\49.fic | 49 | 25.92 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 49 | [49 empty] | 35 | 3 | 1 | 35.fic | S-P3 | 873986.07 | 6607250.82 |  | 205.97 | 873916.96 | 6606947.98 | 205.8 | 0 | 0 | 0 | 0 | 0 | 0 | 185.84 | 185.98 | 0 | 0 | 0 | 0
50 | 6896.995 |  | -0.063 | 200 | 875283.576 | 6602136.798 | 188.193 | 188.193 | 429.215 | 0 | 1960-01-01 | 82.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\50.fic | 50 | 22.853 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 50 | [49 empty] | 36 | 21 | 1 | 36.fic | AG-P1 | 873921.32 | 6606945.92 |  | 204.24 | 873922.27 | 6606948.17 | 204.08 | 0 | 0 | 0 | 0 | 0 | 0 | 186.04 | 186.08 | 0 | 0 | 0 | 0
51 | 7326.21 |  | -0.12 | 200 | 875400.78 | 6601723.895 | 204.617 | 204.617 | 348.212 | 0 | 1960-01-01 | 82.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\51.fic | 51 | 26.557 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 51 | [49 empty] | 36 | 22 | 1 | 36.fic | AG-P2 | 873916.49 | 6606945.76 |  | 207.57 | 873921.94 | 6606943.75 | 207.29 | 873976.27 | 6606751.99 | 198.41 | 873970.69 | 6606771.68 | 198.29 | 186.01 | 186.06 | 184.15 | 184.23 | 399.47 | 0.835
52 | 7674.422 |  | -0.097 | 202 | 875495.798 | 6601388.898 | 215.59 | 215.59 | 321.786 | 0 | 1960-01-01 | 84.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\52.fic | 52 | 25.12 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 52 | [49 empty] | 36 | 23 | 1 | 36.fic | AG-P3 | 873921.8 | 6606945.94 |  | 205.97 | 873917.11 | 6606943.58 | 205.69 | 873971.57 | 6606751.35 | 196.93 | 873966.03 | 6606770.93 | 196.81 | 185.84 | 185.9 | 184.17 | 184.16 | 400.416 | 0.808
53 | 7996.208 |  | -0.074 | 200 | 875583.603 | 6601079.323 | 206.115 | 206.115 | 411.944 | 0 | 1960-01-01 | 82.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\53.fic | 53 | 26.179 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 53 | [49 empty] | 36 | 41 | 1 | 36.fic | AD-P1 | 873921.32 | 6606945.92 |  | 204.24 | 873922.42 | 6606943.76 | 203.96 | 873976.76 | 6606752.02 | 195.08 | 873971.24 | 6606771.5 | 194.96 | 186.04 | 185.98 | 184.12 | 184.28 | 399.451 | 0.832
54 | 8408.152 |  | -0.071 | 202 | 875696.036 | 6600683.019 | 195.252 | 195.252 | 284.622 | 0 | 1960-01-01 | 84.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\54.fic | 54 | 23.074 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 54 | [49 empty] | 36 | 42 | 1 | 36.fic | AD-P2 | 873916.49 | 6606945.76 |  | 213.05 | 874030.6 | 6606560.23 | 211.88 | 874083.48 | 6606373.67 | 202.41 | 874080.85 | 6606382.94 | 202.38 | 185.64 | 185.64 | 189.06 | 189.16 | 388.603 | 0.761
55 | 8692.774 |  | -0.101 | 200 | 875773.749 | 6600409.212 | 201.779 | 201.779 | 331.341 | 0 | 1960-01-01 | 82.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\55.fic | 55 | 23.141 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 55 | [49 empty] | 36 | 43 | 1 | 36.fic | AD-P3 | 873921.8 | 6606945.94 |  | 211.35 | 874026.03 | 6606559.13 | 210.18 | 874078.94 | 6606372.48 | 200.92 | 874076.24 | 6606382.02 | 200.89 | 185.6 | 185.6 | 188.69 | 188.83 | 388.742 | 0.732
56 | 9024.115 |  | -0.095 | 203 | 875864.179 | 6600090.45 | 205.033 | 205.033 | 324.687 | 0 | 1960-01-01 | 85.4009 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\56.fic | 56 | 20.331 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 56 | [49 empty] | 37 | 1 | 1 | 37.fic | S-P1 | 874030.59 | 6606560.26 |  | 209.7 | 874031.11 | 6606560.27 | 208.49 | 874083.98 | 6606373.76 | 199.2 | 874081.32 | 6606383.15 | 199.18 | 185.65 | 185.66 | 189.11 | 189.19 | 388.47 | 0.734
57 | 9348.802 |  |  | 200 | 875952.707 | 6599778.065 | 213.362 | 213.362 | 403.569 | 9.7284 | 1960-01-01 | 87.2651 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\57.fic | 57 | 25.71 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE', 'Angle' |  | 57 | [49 empty] | 37 | 2 | 1 | 37.fic | S-P2 | 874026.03 | 6606559.16 |  | 215.16 | 874136.37 | 6606187.1 | 213.97 | 874184.55 | 6606017.56 | 203.44 | 874189.78 | 6605999.15 | 203.34 | 193.69 | 193.7 | 190.03 | 189.75 | 353.089 | 0.566
58 | 9752.371 |  | 0.073 | 197 | 876002.402 | 6599377.567 | 209.522 | 209.522 | 316.988 | 0 | 1960-01-01 | 89.1293 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\58.fic | 58 | 23.192 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 58 | [49 empty] | 37 | 3 | 1 | 37.fic | S-P3 | 874031.08 | 6606560.38 |  | 213.46 | 874131.85 | 6606185.83 | 212.29 | 874180.02 | 6606016.28 | 201.91 | 874185.34 | 6605997.59 | 201.8 | 193.42 | 193.42 | 190 | 189.68 | 353.087 | 0.548
59 | 10069.359 |  | 0.076 | 197 | 876041.489 | 6599062.998 | 216.366 | 216.366 | 282.9 | 0 | 1960-01-01 | 89.1293 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\59.fic | 59 | 26.233 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 59 | [49 empty] | 38 | 1 | 1 | 38.fic | S-P1 | 874136.36 | 6606187.12 |  | 211.82 | 874136.85 | 6606187.24 | 210.57 | 874185.03 | 6606017.68 | 200.18 | 874190.34 | 6605998.98 | 200.07 | 193.72 | 193.72 | 190.01 | 189.74 | 353.119 | 0.549
60 | 10352.259 |  | 0.024 | 200 | 876076.427 | 6598782.264 | 223.038 | 223.038 | 290.136 | 0 | 1960-01-01 | 92.1293 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\60.fic | 60 | 23.115 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 60 | [49 empty] | 38 | 2 | 1 | 38.fic | S-P2 | 874131.85 | 6606185.84 |  | 211.44 | 874232.73 | 6605848.02 | 210.21 | 874290.21 | 6605645.54 | 198.99 | 874287.55 | 6605654.88 | 198.96 | 186.98 | 186.99 | 184.99 | 184.92 | 421.947 | 0.97
61 | 10642.395 |  | 0.141 | 200 | 876112.09 | 6598494.328 | 205.807 | 205.807 | 384.332 | 0 | 1960-01-01 | 92.1293 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\61.fic | 61 | 36.996 | 0 | 0 |  | 'All', 'Has DE', 'All sets DE' |  | 61 | [49 empty] | 38 | 3 | 1 | 38.fic | S-P3 | 874136.84 | 6606187.25 |  | 209.75 | 874228.2 | 6605846.73 | 208.53 | 874285.68 | 6605644.26 | 197.51 | 874283 | 6605653.69 | 197.48 | 186.57 | 186.58 | 185.06 | 185.02 | 421.894 | 0.937
62 | 11026.727 |  | 0.351 | 200 | 876159.276 | 6598112.904 | 197.556 | 197.541 | 332.149 | 0 | 1960-01-01 | 92.1293 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\62.fic | 62 | 37.29 | 0 | 0 |  | 'All', 'Has DE', 'All sets DE' |  | 62 | [49 empty] | 39 | 1 | 1 | 39.fic | S-P1 | 874232.73 | 6605848.01 |  | 208.03 | 874233.21 | 6605848.12 | 206.81 | 874290.67 | 6605645.66 | 195.86 | 874287.98 | 6605655.14 | 195.83 | 186.86 | 186.85 | 184.99 | 184.89 | 421.84 | 0.926
63 | 11358.875 |  |  | 198.5 | 876200.584 | 6597783.334 | 197.577 | 197.577 | 377.836 | -51.9848 | 1960-01-01 | 64.6369 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\63.fic | 63 | 22.581 | 0 | 0 |  | 'All', 'Has DE', 'All sets DE', 'Angle' |  | 63 | [49 empty] | 39 | 2 | 1 | 39.fic | S-P2 | 874228.2 | 6605846.72 |  | 213.71 | 874347.68 | 6605443.05 | 212.5 | 874389.12 | 6605296.99 | 204.42 | 874394.49 | 6605278.05 | 204.31 | 186.36 | 186.36 | 188.1 | 188.2 | 304.022 | 0.362
64 | 11736.711 |  | 0.29 | 200 | 876505.584 | 6597560.32 | 199.566 | 199.566 | 411.229 | 0 | 1960-01-01 | 40.1445 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\64.fic | 64 | 29.018 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 64 | [49 empty] | 39 | 3 | 1 | 39.fic | S-P3 | 874233.21 | 6605848.14 |  | 211.98 | 874343.16 | 6605441.78 | 210.8 | 874384.57 | 6605295.81 | 202.81 | 874390.04 | 6605276.53 | 202.7 | 186.42 | 186.42 | 188.27 | 188.36 | 303.832 | 0.351
65 | 12147.94 |  | 0.412 | 200 | 876837.653 | 6597317.753 | 202.471 | 202.47 | 404.36 | 0 | 1960-01-01 | 40.1445 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\65.fic | 65 | 28.69 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 65 | [49 empty] | 40 | 1 | 1 | 40.fic | S-P1 | 874347.68 | 6605443.06 |  | 210.3 | 874348.13 | 6605443.2 | 209.08 | 874389.58 | 6605297.13 | 201.13 | 874395.04 | 6605277.88 | 201.02 | 186.14 | 186.14 | 188.08 | 188.18 | 304.042 | 0.348
66 | 12552.3 |  | 0.313 | 200 | 877164.305 | 6597079.414 | 201.888 | 201.888 | 398.079 | 0 | 1960-01-01 | 40.1445 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\66.fic | 66 | 29.074 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 66 | [49 empty] | 40 | 2 | 1 | 40.fic | S-P2 | 874343.16 | 6605441.78 |  | 210.38 | 874430.56 | 6605150.94 | 209.17 | 874477.06 | 6604987.17 | 201.4 | 874476.25 | 6604990.05 | 201.39 | 189.07 | 189.06 | 188.15 | 188.19 | 340.99 | 0.509
67 | 12950.379 |  | 0.328 | 200 | 877485.817 | 6596844.686 | 202.841 | 202.841 | 333.38 | 0 | 1960-01-01 | 40.1445 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\67.fic | 67 | 26.116 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 67 | [49 empty] | 40 | 3 | 1 | 40.fic | S-P3 | 874348.13 | 6605443.19 |  | 208.68 | 874425.98 | 6605149.84 | 207.46 | 874472.54 | 6604985.94 | 199.8 | 874471.64 | 6604989.1 | 199.79 | 188.9 | 188.9 | 188.38 | 188.39 | 341.263 | 0.498
68 | 13283.759 |  | 0.337 | 200 | 877755.076 | 6596648.111 | 208.366 | 208.366 | 214.627 | 0 | 1960-01-01 | 40.1445 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\68.fic | 68 | 20.11 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 68 | [49 empty] | 41 | 1 | 1 | 41.fic | S-P1 | 874430.55 | 6605150.94 |  | 206.93 | 874431.03 | 6605151.06 | 205.76 | 874477.52 | 6604987.33 | 198.13 | 874476.7 | 6604990.2 | 198.12 | 188.79 | 188.79 | 188.12 | 188.14 | 340.89 | 0.491
69 | 13498.386 |  |  | 196 | 877928.625 | 6596521.835 | 219.919 | 219.919 | 493.667 | -13.8324 | 1960-01-01 | 29.2283 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\69.fic | 69 | 23.92 | 0 | 0 | S-P1, 800; S-P2, 800; S-P3, 800 | 'All', 'Has DE', 'Not all sets DE', 'Angle' |  | 69 | [49 empty] | 41 | 2 | 1 | 41.fic | S-P2 | 874425.98 | 6605149.84 |  | 211.14 | 874523.57 | 6604823.41 | 209.74 | 874566.41 | 6604672.29 | 207.53 | 874551.98 | 6604723.2 | 206.76 | 189.63 | 189.67 | 194.88 | 193.88 | 314.662 | 0.389
70 | 13992.053 |  | 0.103 | 200 | 878380.682 | 6596323.463 | 222.634 | 222.634 | 435.879 | 0 | 1960-01-01 | 26.3122 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\70.fic | 70 | 32.19 | 0 | 0 |  | 'All', 'No DE', 'Not all sets DE' |  | 70 | [49 empty] | 41 | 3 | 1 | 41.fic | S-P3 | 874431.03 | 6605151.06 |  | 209.44 | 874519.09 | 6604822.04 | 208.07 | 874561.88 | 6604671.07 | 205.91 | 874547.39 | 6604722.19 | 205.13 | 189.29 | 189.29 | 193.95 | 193.66 | 314.363 | 0.384
71 | 14427.932 |  |  | 200 | 878779.9 | 6596148.489 | 229.056 | 229.056 | 235.71 | 14.3807 | 1960-01-01 | 33.5025 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\71.fic | 71 | 23.61 | 0 | 0 | S-P1, 1600; S-P2, 1600; S-P3, 1600 | 'All', 'No DE', 'Not all sets DE', 'Angle' |  | 71 | [49 empty] | 42 | 1 | 1 | 42.fic | S-P1 | 874523.55 | 6604823.51 |  | 207.77 | 874524.01 | 6604823.6 | 206.31 | 874566.86 | 6604672.47 | 204.18 | 874552.27 | 6604723.93 | 203.4 | 189.71 | 189.72 | 194.98 | 193.89 | 314.691 | 0.381
72 | 14663.642 |  |  | 225 | 878969.074 | 6596007.875 | 235.937 | 235.937 | 22.674 | 69.7539 | 1960-01-01 | 100.5698 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\72.fic | 72 | 20.97 | 0 | 0 |  | 'All', 'Has DE', 'All sets DE', 'Angle' |  | 72 | [49 empty] | 42 | 2 | 1 | 42.fic | S-P2 | 874519.08 | 6604822.09 |  | 220.25 | 874609.25 | 6604521.18 | 218.87 | 874654.72 | 6604360.67 | 209.49 | 874660.11 | 6604341.65 | 209.38 | 196.16 | 196.16 | 197.24 | 196.99 | 334.132 | 0.46
GRDCHENE | 14686.316 |  |  |  | 878965.37 | 6595985.506 | 235.942 | 235.942 | 0 | 0 | 1960-01-01 | 310.4468 | y:\be\affaires\56190 -- lidar cm nancy 2017\03_etudes\11-63kv frontenaud - grand chene\03_technique\03_fictif\grand chene.fic | GRAND CHENE | 10 | 0 | 0 |  | 'All', 'Has DE', 'All sets DE' |  | GRDCHENE | [49 empty] | 42 | 3 | 1 | 42.fic | S-P3 | 874524 | 6604823.65 |  | 218.57 | 874604.68 | 6604520.1 | 217.19 | 874650.16 | 6604359.56 | 207.74 | 874655.61 | 6604340.32 | 207.63 | 195.4 | 195.4 | 196.84 | 196.65 | 334.182 | 0.465
[71 empty] | 43 | 1 | 1 | 43.fic | S-P1 | 874609.24 | 6604521.22 |  | 216.83 | 874609.71 | 6604521.34 | 215.45 | 874655.21 | 6604360.79 | 206.1 | 874660.57 | 6604341.9 | 205.99 | 196.05 | 196.05 | 197.29 | 197.04 | 334.22 | 0.458
[71 empty] | 43 | 2 | 1 | 43.fic | S-P2 | 874604.69 | 6604520.08 |  | 216.42 | 874700.19 | 6604200.16 | 215.27 | 874749.93 | 6604025.14 | 209.94 | 874739.75 | 6604060.97 | 209.56 | 194.73 | 194.73 | 194.32 | 193.88 | 364.575 | 0.598
[71 empty] | 43 | 3 | 1 | 43.fic | S-P3 | 874609.71 | 6604521.34 |  | 214.74 | 874695.64 | 6604199.03 | 213.53 | 874745.39 | 6604024.01 | 208.16 | 874735.22 | 6604059.78 | 207.77 | 194.34 | 194.35 | 194.16 | 193.86 | 364.601 | 0.607
[71 empty] | 44 | 1 | 1 | 44.fic | S-P1 | 874700.18 | 6604200.14 |  | 213.05 | 874700.72 | 6604200.25 | 211.88 | 874750.43 | 6604025.28 | 206.61 | 874740.22 | 6604061.23 | 206.23 | 194.55 | 194.54 | 194.36 | 193.91 | 364.457 | 0.588
[71 empty] | 44 | 2 | 1 | 44.fic | S-P2 | 874695.64 | 6604199.01 |  | 223.89 | 874799.68 | 6603850.12 | 222.68 | 874831.46 | 6603737.98 | 220.94 | 874823.24 | 6603766.99 | 220.69 | 202.12 | 202.13 | 208.43 | 207.69 | 233.3 | 0.149
[71 empty] | 44 | 3 | 1 | 44.fic | S-P3 | 874700.71 | 6604200.27 |  | 222.09 | 874795.14 | 6603848.98 | 220.98 | 874826.97 | 6603736.69 | 219.19 | 874818.86 | 6603765.28 | 218.96 | 201.99 | 201.99 | 208.33 | 207.48 | 233.62 | 0.151
[71 empty] | 45 | 1 | 1 | 45.fic | S-P1 | 874799.64 | 6603850.3 |  | 220.41 | 874800.15 | 6603850.3 | 219.25 | 874831.95 | 6603738.15 | 217.52 | 874823.67 | 6603767.37 | 217.28 | 202.14 | 202.15 | 208.43 | 207.72 | 233.341 | 0.149
[71 empty] | 45 | 2 | 1 | 45.fic | S-P2 | 874795.1 | 6603849.16 |  | 227.63 | 874863.24 | 6603625.83 | 226.41 | 874927.55 | 6603399.36 | 205.17 | 874941.62 | 6603349.84 | 204.46 | 205.49 | 205.49 | 188.41 | 187.42 | 472.257 | 1.235
[71 empty] | 45 | 3 | 1 | 45.fic | S-P3 | 874800.12 | 6603850.42 |  | 225.89 | 874858.79 | 6603624.39 | 224.68 | 874923.02 | 6603397.99 | 203.04 | 874937.99 | 6603345.24 | 202.24 | 205.78 | 205.78 | 188.47 | 187.41 | 472.098 | 1.232
[71 empty] | 46 | 1 | 1 | 46.fic | S-P1 | 874863.24 | 6603625.82 |  | 224.22 | 874863.76 | 6603625.99 | 223.01 | 874928.09 | 6603399.52 | 200.89 | 874944.14 | 6603343.04 | 199.97 | 205.46 | 205.46 | 188.41 | 187.4 | 472.321 | 1.232
[71 empty] | 46 | 2 | 1 | 46.fic | S-P2 | 874858.78 | 6603624.4 |  | 214.66 | 874991.87 | 6603172.9 | 213.47 | 875041.48 | 6602997.94 | 201.68 | 875049.37 | 6602970.12 | 201.45 | 187.19 | 187.17 | 187.41 | 187.33 | 364.332 | 0.587
[71 empty] | 46 | 3 | 1 | 46.fic | S-P3 | 874863.76 | 6603625.98 |  | 212.14 | 874987.26 | 6603171.59 | 210.91 | 875036.91 | 6602996.68 | 199.55 | 875043.64 | 6602972.98 | 199.38 | 187.37 | 187.4 | 187.48 | 187.37 | 364.262 | 0.586
[71 empty] | 47 | 1 | 1 | 47.fic | S-P1 | 874991.89 | 6603172.82 |  | 209.49 | 874992.42 | 6603173.05 | 208.28 | 875042 | 6602998.08 | 197.41 | 875047.42 | 6602978.97 | 197.3 | 187.15 | 187.14 | 187.42 | 187.27 | 364.313 | 0.583
[71 empty] | 47 | 2 | 1 | 47.fic | S-P2 | 874987.28 | 6603171.51 |  | 208.95 | 875091.09 | 6602822.99 | 207.78 | 875140.86 | 6602647.62 | 200.39 | 875136.58 | 6602662.7 | 200.32 | 187.6 | 187.6 | 187.6 | 187.59 | 365.185 | 0.583
[71 empty] | 47 | 3 | 1 | 47.fic | S-P3 | 874992.45 | 6603172.98 |  | 207.27 | 875086.57 | 6602821.77 | 206.06 | 875136.33 | 6602646.38 | 198.7 | 875132.04 | 6602661.53 | 198.63 | 187.54 | 187.55 | 187.52 | 187.6 | 365.241 | 0.581
[71 empty] | 48 | 1 | 1 | 48.fic | S-P1 | 875091.08 | 6602823.04 |  | 205.59 | 875091.58 | 6602823.12 | 204.38 | 875141.35 | 6602647.76 | 197.03 | 875137.05 | 6602662.9 | 196.96 | 187.65 | 187.66 | 187.59 | 187.59 | 365.159 | 0.578
[71 empty] | 48 | 2 | 1 | 48.fic | S-P2 | 875086.55 | 6602821.83 |  | 212.26 | 875190.62 | 6602472.25 | 210.85 | 875238.14 | 6602304.82 | 201.36 | 875242.16 | 6602290.65 | 201.3 | 187.89 | 187.89 | 187.62 | 187.47 | 348.611 | 0.505
[71 empty] | 48 | 3 | 1 | 48.fic | S-P3 | 875091.56 | 6602823.17 |  | 210.53 | 875186.1 | 6602470.98 | 209.14 | 875233.62 | 6602303.54 | 199.66 | 875237.65 | 6602289.3 | 199.6 | 187.84 | 187.84 | 187.65 | 187.49 | 348.614 | 0.504
[71 empty] | 49 | 1 | 1 | 49.fic | S-P1 | 875190.62 | 6602472.27 |  | 208.88 | 875191.11 | 6602472.4 | 207.45 | 875238.62 | 6602304.95 | 197.97 | 875242.67 | 6602290.65 | 197.91 | 187.78 | 187.78 | 187.77 | 187.47 | 348.624 | 0.502
[71 empty] | 49 | 2 | 1 | 49.fic | S-P2 | 875186.1 | 6602470.98 |  | 209.51 | 875285.65 | 6602137.38 | 208.1 | 875344.23 | 6601930.93 | 205.89 | 875320.21 | 6602015.6 | 203.81 | 188.18 | 188.18 | 189.8 | 188.02 | 430.623 | 0.945
[71 empty] | 49 | 3 | 1 | 49.fic | S-P3 | 875191.11 | 6602472.41 |  | 207.78 | 875281.13 | 6602136.1 | 206.38 | 875339.72 | 6601929.64 | 204.21 | 875315.61 | 6602014.59 | 202.12 | 188.16 | 188.16 | 189.72 | 188.03 | 430.638 | 0.943
[71 empty] | 50 | 1 | 1 | 50.fic | S-P1 | 875285.65 | 6602137.38 |  | 206.08 | 875286.12 | 6602137.5 | 204.68 | 875344.69 | 6601931.05 | 202.51 | 875320.58 | 6602016.04 | 200.43 | 188.18 | 188.18 | 189.82 | 188.04 | 430.622 | 0.937
[71 empty] | 50 | 2 | 1 | 50.fic | S-P2 | 875281.13 | 6602136.1 |  | 229.56 | 875402.82 | 6601724.48 | 228.37 | 875450.33 | 6601556.94 | 225.61 | 875434.64 | 6601612.26 | 224.72 | 204.91 | 204.91 | 210.47 | 208.82 | 348.98 | 0.507
[71 empty] | 50 | 3 | 1 | 50.fic | S-P3 | 875286.12 | 6602137.52 |  | 227.87 | 875398.3 | 6601723.19 | 226.7 | 875445.8 | 6601555.73 | 223.96 | 875430.09 | 6601611.12 | 223.08 | 204.3 | 204.3 | 210.24 | 208.45 | 348.793 | 0.503
[71 empty] | 51 | 1 | 1 | 51.fic | S-P1 | 875402.82 | 6601724.47 |  | 226.16 | 875403.26 | 6601724.59 | 224.94 | 875450.78 | 6601557.09 | 222.25 | 875434.94 | 6601612.91 | 221.35 | 204.97 | 204.97 | 210.48 | 208.79 | 348.899 | 0.499
[71 empty] | 51 | 2 | 1 | 51.fic | S-P2 | 875398.3 | 6601723.19 |  | 240.32 | 875497.85 | 6601389.39 | 239.13 | 875541.75 | 6601234.64 | 227.38 | 875557.1 | 6601180.55 | 226.53 | 217.2 | 217.19 | 213.56 | 211.73 | 322.258 | 0.397
[71 empty] | 51 | 3 | 1 | 51.fic | S-P3 | 875403.25 | 6601724.6 |  | 238.63 | 875493.29 | 6601388.27 | 237.43 | 875537.21 | 6601233.45 | 225.66 | 875552.55 | 6601179.36 | 224.81 | 216.14 | 216.14 | 213.66 | 211.85 | 322.415 | 0.398
[71 empty] | 52 | 1 | 1 | 52.fic | S-P1 | 875497.84 | 6601389.41 |  | 236.97 | 875498.31 | 6601389.58 | 235.71 | 875542.22 | 6601234.81 | 223.93 | 875557.38 | 6601181.37 | 223.1 | 217.01 | 217.09 | 213.55 | 211.7 | 322.311 | 0.402
[71 empty] | 52 | 2 | 1 | 52.fic | S-P2 | 875493.29 | 6601388.27 |  | 230.68 | 875585.66 | 6601079.89 | 229.45 | 875641.88 | 6600881.72 | 211.07 | 875659.4 | 6600819.93 | 209.97 | 205.91 | 205.91 | 193 | 193.72 | 413.059 | 0.829
[71 empty] | 52 | 3 | 1 | 52.fic | S-P3 | 875498.32 | 6601389.53 |  | 228.97 | 875581.13 | 6601078.62 | 227.74 | 875637.34 | 6600880.5 | 209.34 | 875654.82 | 6600818.87 | 208.24 | 205.79 | 205.79 | 192.91 | 193.8 | 412.961 | 0.833
[71 empty] | 53 | 1 | 1 | 53.fic | S-P1 | 875585.66 | 6601079.91 |  | 227.28 | 875586.14 | 6601080.04 | 226.08 | 875642.37 | 6600881.82 | 207.59 | 875659.78 | 6600820.44 | 206.49 | 205.67 | 205.67 | 193.03 | 193.7 | 413.149 | 0.843
[71 empty] | 53 | 2 | 1 | 53.fic | S-P2 | 875581.13 | 6601078.62 |  | 216.69 | 875698.09 | 6600683.54 | 215.33 | 875736.92 | 6600546.68 | 213.23 | 875725.04 | 6600588.55 | 212.73 | 195.2 | 195.2 | 196.4 | 195.73 | 284.875 | 0.273
[71 empty] | 53 | 3 | 1 | 53.fic | S-P3 | 875586.14 | 6601080.04 |  | 215.02 | 875693.55 | 6600682.37 | 213.62 | 875732.39 | 6600545.45 | 211.51 | 875720.55 | 6600587.21 | 211.01 | 195.43 | 195.43 | 196.59 | 195.89 | 284.997 | 0.273
[71 empty] | 54 | 1 | 1 | 54.fic | S-P1 | 875698.09 | 6600683.53 |  | 213.28 | 875698.6 | 6600683.61 | 211.93 | 875737.41 | 6600546.78 | 209.81 | 875725.61 | 6600588.4 | 209.31 | 195.16 | 195.16 | 196.37 | 195.7 | 284.813 | 0.275
[71 empty] | 54 | 2 | 1 | 54.fic | S-P2 | 875693.55 | 6600682.4 |  | 223.37 | 875775.74 | 6600409.82 | 221.94 | 875820.96 | 6600250.36 | 214.88 | 875820.01 | 6600253.71 | 214.88 | 201.61 | 201.61 | 201.24 | 201.5 | 331.923 | 0.437
[71 empty] | 54 | 3 | 1 | 54.fic | S-P3 | 875698.58 | 6600683.66 |  | 221.6 | 875771.24 | 6600408.53 | 220.21 | 875816.43 | 6600249.19 | 213.18 | 875815.45 | 6600252.66 | 213.18 | 202.07 | 202.07 | 201.75 | 201.99 | 331.694 | 0.435
[71 empty] | 55 | 1 | 1 | 55.fic | S-P1 | 875775.75 | 6600409.78 |  | 219.91 | 875776.23 | 6600409.95 | 218.51 | 875821.46 | 6600250.49 | 211.45 | 875820.47 | 6600253.96 | 211.45 | 201.58 | 201.57 | 201.19 | 201.46 | 331.949 | 0.439
[71 empty] | 55 | 2 | 1 | 55.fic | S-P2 | 875771.25 | 6600408.5 |  | 223.78 | 875866.19 | 6600090.91 | 222.56 | 875910.2 | 6599934.63 | 222.43 | 875888.59 | 6600011.35 | 220.73 | 205.28 | 205.28 | 207.89 | 206.03 | 325.418 | 0.409
[71 empty] | 55 | 3 | 1 | 55.fic | S-P3 | 875776.24 | 6600409.92 |  | 222.05 | 875861.62 | 6600089.84 | 220.85 | 875905.64 | 6599933.63 | 220.75 | 875883.95 | 6600010.61 | 219.04 | 205 | 204.99 | 207.67 | 205.85 | 325.29 | 0.408
[71 empty] | 56 | 1 | 1 | 56.fic | S-P1 | 875866.2 | 6600090.92 |  | 220.36 | 875866.69 | 6600091.02 | 219.16 | 875910.66 | 6599934.75 | 218.99 | 875889.19 | 6600011.04 | 217.31 | 205.29 | 205.29 | 207.9 | 206.05 | 325.394 | 0.411
[71 empty] | 56 | 2 | 1 | 56.fic | S-P2 | 875861.64 | 6600089.86 |  | 237.44 | 875954.21 | 6599778.35 | 236.43 | 875979.36 | 6599578.16 | 222.32 | 875983.12 | 6599548.24 | 222.07 | 213.02 | 213.48 | 208.43 | 208.02 | 404.377 | 0.781
[71 empty] | 56 | 3 | 1 | 56.fic | S-P3 | 875866.7 | 6600091.04 |  | 235.81 | 875949.65 | 6599777.42 | 234.74 | 875974.77 | 6599577.28 | 220.67 | 875978.55 | 6599547.15 | 220.42 | 213.11 | 212.76 | 208.44 | 208.29 | 404.238 | 0.774
[71 empty] | 57 | 1 | 1 | 57.fic | S-P1 | 875954.77 | 6599778.48 |  | 234.09 | 875954.64 | 6599778.47 | 232.99 | 875979.83 | 6599578.26 | 218.78 | 875983.53 | 6599548.82 | 218.54 | 212.91 | 213.17 | 208.38 | 208 | 404.432 | 0.796
[71 empty] | 57 | 2 | 1 | 57.fic | S-P2 | 875950.24 | 6599777.56 |  | 231.15 | 876004.51 | 6599377.96 | 229.93 | 876024.04 | 6599220.64 | 228.15 | 876016.86 | 6599278.47 | 227.24 | 209.42 | 209.43 | 214.02 | 214.17 | 317.592 | 0.381
[71 empty] | 57 | 3 | 1 | 57.fic | S-P3 | 875955.26 | 6599778.58 |  | 229.43 | 875999.89 | 6599377.15 | 228.22 | 876019.43 | 6599219.85 | 226.47 | 876012.22 | 6599277.86 | 225.56 | 209.75 | 209.74 | 213.7 | 214.26 | 317.554 | 0.377
[71 empty] | 58 | 1 | 1 | 58.fic | S-P1 | 876004.53 | 6599377.93 |  | 227.74 | 876005.02 | 6599378.04 | 226.53 | 876024.56 | 6599220.73 | 224.68 | 876017.44 | 6599278.03 | 223.78 | 209.22 | 209.25 | 214.06 | 214.17 | 317.586 | 0.388
[71 empty] | 58 | 2 | 1 | 58.fic | S-P2 | 875999.9 | 6599377.14 |  | 240.99 | 876043.57 | 6599063.32 | 239.83 | 876061.06 | 6598922.91 | 236.27 | 876058.17 | 6598946.12 | 236.12 | 216.74 | 216.75 | 220.12 | 219.54 | 283.279 | 0.267
[71 empty] | 58 | 3 | 1 | 58.fic | S-P3 | 876005.04 | 6599378.02 |  | 239.3 | 876038.96 | 6599062.54 | 238.1 | 876056.4 | 6598922.22 | 234.57 | 876053.49 | 6598945.65 | 234.42 | 216.1 | 216.1 | 219.62 | 218.98 | 283.094 | 0.266
[71 empty] | 59 | 1 | 1 | 59.fic | S-P1 | 876043.57 | 6599063.36 |  | 237.64 | 876044.09 | 6599063.42 | 236.43 | 876061.57 | 6598923.01 | 232.79 | 876058.75 | 6598945.7 | 232.64 | 216.87 | 216.87 | 220.16 | 219.61 | 283.272 | 0.274
[71 empty] | 59 | 2 | 1 | 59.fic | S-P2 | 876038.96 | 6599062.56 |  | 244.55 | 876078.55 | 6598782.5 | 243.35 | 876096.61 | 6598639.51 | 235.77 | 876100.03 | 6598612.37 | 235.57 | 223.07 | 223.07 | 214.76 | 211.78 | 288.559 | 0.28
[71 empty] | 59 | 3 | 1 | 59.fic | S-P3 | 876044.09 | 6599063.45 |  | 242.82 | 876073.83 | 6598781.89 | 241.64 | 876091.11 | 6598638.82 | 234.07 | 876094.44 | 6598611.3 | 233.86 | 222.79 | 222.79 | 215.31 | 212.26 | 288.543 | 0.277
[71 empty] | 60 | 1 | 1 | 60.fic | S-P1 | 876078.53 | 6598782.53 |  | 241.13 | 876079.04 | 6598782.61 | 239.91 | 876097.24 | 6598639.61 | 232.24 | 876100.59 | 6598613.29 | 232.05 | 222.94 | 222.94 | 214.64 | 211.91 | 288.621 | 0.291
[71 empty] | 60 | 2 | 1 | 60.fic | S-P2 | 876073.85 | 6598781.94 |  | 239.31 | 876115.12 | 6598492.85 | 239.07 | 876138.48 | 6598303.97 | 225.7 | 876143.29 | 6598265.1 | 225.3 | 205.85 | 205.79 | 208.24 | 207.25 | 381.344 | 0.629
[71 empty] | 60 | 3 | 1 | 60.fic | S-P3 | 876079.03 | 6598782.59 |  | 237.57 | 876108.84 | 6598492.07 | 237.33 | 876132.19 | 6598303.19 | 224.22 | 876137.09 | 6598263.57 | 223.81 | 205.76 | 205.95 | 207.06 | 207.05 | 381.311 | 0.598
[71 empty] | 61 | 21 | 1 | 61.fic | AG-P1 | 876114.89 | 6598494.68 |  | 235.92 | 876115.9 | 6598492.94 | 235.68 | 876139.26 | 6598304.07 | 222.33 | 876144.14 | 6598264.65 | 221.92 | 205.84 | 205.83 | 208.25 | 207.26 | 381.338 | 0.622
[71 empty] | 61 | 22 | 1 | 61.fic | AG-P2 | 876108.62 | 6598493.9 |  | 242.72 | 876112.18 | 6598493.91 | 242.68 | 876135.73 | 6598303.62 | 231.2 | 876141.88 | 6598253.94 | 230.68 | 205.81 | 205.81 | 208.16 | 207.03 | 383.952 | 0.396
[71 empty] | 61 | 23 | 1 | 61.fic | AG-P3 | 876115.68 | 6598494.78 |  | 231.44 | 876162.34 | 6598111.01 | 231.11 | 876182.2 | 6597948.62 | 217.54 | 876192.4 | 6597865.15 | 215.78 | 198.73 | 198.39 | 196.99 | 197.03 | 327.852 | 0.364
[71 empty] | 61 | 39 | 1 | 61.fic | AG-G1 | 876112.13 | 6598494.33 |  | 229.74 | 876156.06 | 6598110.23 | 229.4 | 876177.01 | 6597946.96 | 215.75 | 876187.61 | 6597864.29 | 214.01 | 198.12 | 198.8 | 196.93 | 197.08 | 329.875 | 0.372
[71 empty] | 62 | 21 | 1 | 62.fic | AG-P1 | 876162.06 | 6598113.25 |  | 227.98 | 876163.12 | 6598111.11 | 227.65 | 876182.83 | 6597948.82 | 214.23 | 876193.17 | 6597863.69 | 212.43 | 198.85 | 198.53 | 197.09 | 197.05 | 327.598 | 0.35
[71 empty] | 62 | 22 | 1 | 62.fic | AG-P2 | 876155.77 | 6598112.47 |  | 231.44 | 876161.84 | 6598115.09 | 231.27 | 0 | 0 | 0 | 0 | 0 | 0 | 198.73 | 199.12 | 0 | 0 | 0 | 0
[71 empty] | 62 | 23 | 1 | 62.fic | AG-P3 | 876162.85 | 6598113.35 |  | 229.74 | 876155.55 | 6598114.31 | 229.57 | 0 | 0 | 0 | 0 | 0 | 0 | 198.12 | 198.99 | 0 | 0 | 0 | 0
[71 empty] | 62 | 41 | 1 | 62.fic | AD-P1 | 876162.06 | 6598113.25 |  | 227.98 | 876162.62 | 6598115.19 | 227.81 | 0 | 0 | 0 | 0 | 0 | 0 | 198.85 | 198.99 | 0 | 0 | 0 | 0
[71 empty] | 62 | 42 | 1 | 62.fic | AD-P2 | 876155.77 | 6598112.47 |  | 234.83 | 876159.28 | 6598113.34 | 234.8 | 0 | 0 | 0 | 0 | 0 | 0 | 197.72 | 198.46 | 0 | 0 | 0 | 0
[71 empty] | 62 | 43 | 1 | 62.fic | AD-P3 | 876162.85 | 6598113.35 |  | 215.76 | 876197.95 | 6597783.69 | 215.66 | 0 | 0 | 0 | 0 | 0 | 0 | 197.28 | 197.36 | 0 | 0 | 0 | 0
[71 empty] | 62 | 59 | 1 | 62.fic | AD-G1 | 876159.34 | 6598112.91 |  | 217.44 | 876203.78 | 6597783.3 | 217.27 | 876355.29 | 6597672.63 | 211.46 | 876323.2 | 6597696.07 | 211.01 | 197.55 | 197.32 | 197.79 | 197.59 | 376.074 | 0.722
[71 empty] | 63 | 22 | 1 | 63.fic | AG-P2 | 876198.19 | 6597781.85 |  | 215.75 | 876199.69 | 6597780.76 | 215.58 | 876351.85 | 6597669.48 | 209.86 | 876319.3 | 6597693.28 | 209.4 | 197.28 | 197.29 | 197.77 | 197.59 | 377.83 | 0.707
[71 empty] | 63 | 41 | 1 | 63.fic | AD-P1 | 876202.28 | 6597784.39 |  | 214 | 876204.26 | 6597783.6 | 213.82 | 876355.68 | 6597672.98 | 208.23 | 876322.93 | 6597696.9 | 207.76 | 197.42 | 197.23 | 197.8 | 197.63 | 375.832 | 0.693
[71 empty] | 63 | 42 | 1 | 63.fic | AD-P2 | 876198.19 | 6597781.85 |  | 226.99 | 876506.81 | 6597561.97 | 225.81 | 876672.86 | 6597440.7 | 215.33 | 876662.04 | 6597448.6 | 215.28 | 199.44 | 199.45 | 200.88 | 200.76 | 412.194 | 0.943
[71 empty] | 63 | 43 | 1 | 63.fic | AD-P3 | 876202.76 | 6597784.69 |  | 225.27 | 876504.02 | 6597558.2 | 224.14 | 876670.08 | 6597436.92 | 213.77 | 876659.25 | 6597444.83 | 213.71 | 199.35 | 199.35 | 200.97 | 200.89 | 412.21 | 0.924
[71 empty] | 64 | 1 | 1 | 64.fic | S-P1 | 876506.8 | 6597561.98 |  | 223.58 | 876507.09 | 6597562.35 | 222.37 | 876673.13 | 6597441.1 | 212.15 | 876661.93 | 6597449.29 | 212.09 | 199.47 | 199.47 | 200.85 | 200.72 | 412.112 | 0.906
[71 empty] | 64 | 2 | 1 | 64.fic | S-P2 | 876504.03 | 6597558.19 |  | 230.16 | 876838.92 | 6597319.43 | 228.96 | 877002.22 | 6597200.28 | 216.98 | 877005.08 | 6597198.19 | 216.97 | 202.65 | 202.66 | 203.51 | 203.5 | 405.182 | 0.884
[71 empty] | 64 | 3 | 1 | 64.fic | S-P3 | 876507.08 | 6597562.37 |  | 228.45 | 876836.15 | 6597315.64 | 227.26 | 876999.44 | 6597196.48 | 215.41 | 877002.17 | 6597194.49 | 215.41 | 202.51 | 202.51 | 203.7 | 203.73 | 405.162 | 0.867
[71 empty] | 65 | 1 | 1 | 65.fic | S-P1 | 876838.89 | 6597319.45 |  | 226.77 | 876839.17 | 6597319.85 | 225.56 | 877002.49 | 6597200.67 | 213.69 | 877005.41 | 6597198.54 | 213.69 | 202.55 | 202.54 | 203.49 | 203.49 | 405.226 | 0.866
[71 empty] | 65 | 2 | 1 | 65.fic | S-P2 | 876836.12 | 6597315.65 |  | 229.3 | 877165.52 | 6597081.14 | 228.15 | 877326.31 | 6596963.76 | 215.86 | 877333.32 | 6596958.63 | 215.84 | 201.81 | 201.81 | 202.55 | 202.6 | 399.004 | 0.856
[71 empty] | 65 | 3 | 1 | 65.fic | S-P3 | 876839.18 | 6597319.84 |  | 227.72 | 877162.73 | 6597077.32 | 226.49 | 877323.52 | 6596959.96 | 214.28 | 877330.78 | 6596954.66 | 214.26 | 201.84 | 201.84 | 202.53 | 202.6 | 398.966 | 0.84
[71 empty] | 66 | 1 | 1 | 66.fic | S-P1 | 877165.55 | 6597081.12 |  | 225.92 | 877165.8 | 6597081.49 | 224.74 | 877326.59 | 6596964.13 | 212.61 | 877333.76 | 6596958.9 | 212.58 | 201.82 | 201.82 | 202.55 | 202.6 | 398.964 | 0.831
[71 empty] | 66 | 2 | 1 | 66.fic | S-P2 | 877162.76 | 6597077.3 |  | 227.36 | 877487.09 | 6596846.38 | 226.17 | 877621.62 | 6596748.12 | 218.07 | 877623.65 | 6596746.64 | 218.07 | 202.72 | 202.72 | 203.14 | 203.15 | 333.681 | 0.495
[71 empty] | 66 | 3 | 1 | 66.fic | S-P3 | 877165.81 | 6597081.48 |  | 225.68 | 877484.3 | 6596842.6 | 224.47 | 877618.95 | 6596744.32 | 216.38 | 877621 | 6596742.82 | 216.38 | 202.83 | 202.83 | 203.15 | 203.18 | 333.888 | 0.493
[71 empty] | 67 | 1 | 1 | 67.fic | S-P1 | 877487.06 | 6596846.4 |  | 223.95 | 877487.38 | 6596846.77 | 222.75 | 877621.92 | 6596748.52 | 214.77 | 877623.9 | 6596747.08 | 214.77 | 202.67 | 202.67 | 203.15 | 203.15 | 333.68 | 0.481
[71 empty] | 67 | 2 | 1 | 67.fic | S-P2 | 877484.3 | 6596842.61 |  | 226.92 | 877756.16 | 6596649.87 | 225.7 | 877842.96 | 6596587.05 | 229.81 | 877756.15 | 6596649.87 | 225.7 | 208.43 | 208.44 | 217.53 | 208.44 | 214.942 | 0.135
[71 empty] | 67 | 3 | 1 | 67.fic | S-P3 | 877487.36 | 6596846.8 |  | 225.18 | 877753.59 | 6596646.04 | 223.99 | 877840.61 | 6596582.98 | 228.16 | 877753.59 | 6596646.04 | 223.99 | 208.24 | 208.25 | 217.27 | 208.25 | 215.582 | 0.131
[71 empty] | 68 | 1 | 1 | 68.fic | S-P1 | 877756.26 | 6596649.73 |  | 223.5 | 877756.46 | 6596650.26 | 222.3 | 877843.23 | 6596587.49 | 226.45 | 877756.46 | 6596650.26 | 222.3 | 208.59 | 208.65 | 217.55 | 208.65 | 214.832 | 0.13
[71 empty] | 68 | 2 | 1 | 68.fic | S-P2 | 877753.55 | 6596646.02 |  | 241.41 | 877929.76 | 6596524.23 | 240.53 | 878155.62 | 6596424.83 | 228.29 | 878119.42 | 6596440.76 | 227.82 | 220.09 | 220.16 | 210.23 | 208.33 | 495.427 | 1.754
[71 empty] | 68 | 3 | 1 | 68.fic | S-P3 | 877756.55 | 6596650.13 |  | 239.71 | 877927.63 | 6596519.92 | 238.86 | 878153.63 | 6596420.49 | 226.42 | 878120.12 | 6596435.23 | 226.02 | 219.73 | 219.78 | 210.6 | 208.38 | 495.611 | 1.692
[71 empty] | 69 | 1 | 1 | 69.fic | S-P1 | 877929.54 | 6596523.68 |  | 237.97 | 877930 | 6596524.71 | 237.1 | 878155.91 | 6596425.34 | 224.28 | 878124.67 | 6596439.08 | 223.93 | 220.16 | 220.19 | 210.15 | 208.37 | 495.394 | 1.698
[71 empty] | 69 | 2 | 1 | 69.fic | S-P2 | 877927.42 | 6596519.39 |  | 243.81 | 877928.63 | 6596521.83 | 243.81 | 878154.66 | 6596422.65 | 230.17 | 878122.5 | 6596436.76 | 229.78 | 219.92 | 219.92 | 210.43 | 208.42 | 495.756 | 1.962
[71 empty] | 69 | 3 | 1 | 69.fic | S-P3 | 877929.78 | 6596524.17 |  | 253.24 | 878381.48 | 6596325.43 | 252.11 | 878581.03 | 6596237.57 | 236.43 | 878590.75 | 6596233.29 | 236.4 | 222.41 | 222.41 | 220.7 | 221.15 | 437.306 | 1.247
[71 empty] | 69 | 59 | 1 | 69.fic | AD-G1 | 877928.63 | 6596521.83 |  | 250.68 | 878379.62 | 6596321.05 | 249.38 | 878578.86 | 6596233.32 | 234.72 | 878585.37 | 6596230.46 | 234.71 | 222.86 | 222.86 | 221.2 | 221.43 | 436.561 | 1.16
[71 empty] | 70 | 1 | 1 | 70.fic | S-P1 | 878381.53 | 6596325.4 |  | 248.12 | 878381.82 | 6596325.97 | 246.92 | 878581.35 | 6596238.1 | 232.68 | 878585.18 | 6596236.42 | 232.68 | 222.3 | 222.3 | 220.65 | 220.79 | 437.203 | 1.151
[71 empty] | 70 | 2 | 1 | 70.fic | S-P2 | 878379.63 | 6596321.05 |  | 254.82 | 878380.69 | 6596323.46 | 254.68 | 878580.25 | 6596235.89 | 238.97 | 878587.79 | 6596232.58 | 238.94 | 222.63 | 222.63 | 220.87 | 221.18 | 437.17 | 1.306
[71 empty] | 70 | 3 | 1 | 70.fic | S-P3 | 878381.79 | 6596325.99 |  | 250.32 | 878780.57 | 6596149.72 | 249.32 | 878872.73 | 6596079.49 | 247.53 | 878846.9 | 6596099.18 | 247.21 | 228.47 | 228.68 | 229.06 | 230.15 | 231.975 | 0.191
[71 empty] | 70 | 19 | 1 | 70.fic | S-G1 | 878380.68 | 6596323.46 |  | 248.58 | 878778.1 | 6596145.58 | 247.58 | 878871.5 | 6596077.41 | 245.46 | 878849.54 | 6596093.43 | 245.24 | 228.84 | 228.84 | 229.25 | 230.26 | 231.483 | 0.185
[71 empty] | 71 | 1 | 1 | 71.fic | S-P1 | 878780.98 | 6596150.35 |  | 246.86 | 878780.89 | 6596150.23 | 245.87 | 878872.89 | 6596079.75 | 243.39 | 878856.25 | 6596092.5 | 243.26 | 228.39 | 228.46 | 229.03 | 229.61 | 231.988 | 0.174
[71 empty] | 71 | 2 | 1 | 71.fic | S-P2 | 878778.53 | 6596146.13 |  | 252.67 | 878779.81 | 6596148.32 | 252.47 | 878874.28 | 6596078.2 | 250.43 | 878849.89 | 6596096.31 | 250.15 | 229.04 | 229.12 | 229.08 | 229.98 | 235.534 | 0.202
[71 empty] | 71 | 3 | 1 | 71.fic | S-P3 | 878781.28 | 6596150.87 |  | 254.16 | 878966.58 | 6596005.95 | 252.98 | 878966.03 | 6595996.93 | 248.7 | 878965.48 | 6595987.91 | 244.66 | 235.99 | 235.95 | 236.11 | 235.99 | 19.9 | 0.002
[71 empty] | 71 | 19 | 1 | 71.fic | S-G1 | 878779.92 | 6596148.52 |  | 251.61 | 878966.73 | 6596005.86 | 250.59 | 878966.77 | 6595996.92 | 247.4 | 878966.81 | 6595987.98 | 244.44 | 235.99 | 235.95 | 236.15 | 236.01 | 18.91 | 0.002
[71 empty] | 72 | 21 | 1 | 72.fic | AG-P1 | 878966.69 | 6596007.9 |  | 248.93 | 878966.43 | 6596005.73 | 248.27 | 878965.32 | 6595996.86 | 246.23 | 878964.21 | 6595987.98 | 244.32 | 235.99 | 235.96 | 236.13 | 235.97 | 18.319 | 0.001
[71 empty] | 72 | 22 | 1 | 72.fic | AG-P2 | 878966.72 | 6596007.9 |  | 256.87 | 878968.74 | 6596008.08 | 256.84 | 0 | 0 | 0 | 0 | 0 | 0 | 235.94 | 235.94 | 0 | 0 | 0 | 0
[71 empty] | 72 | 23 | 1 | 72.fic | AG-P3 | 878966.7 | 6596007.9 |  | 244.02 | 878966.81 | 6595987.98 | 244.44 | 0 | 0 | 0 | 0 | 0 | 0 | 235.93 | 236.01 | 0 | 0 | 0 | 0
[71 empty] | 72 | 39 | 1 | 72.fic | AG-G1 | 878969.02 | 6596007.88 |  | 243.97 | 878965.48 | 6595987.91 | 244.66 | 0 | 0 | 0 | 0 | 0 | 0 | 235.94 | 235.99 | 0 | 0 | 0 | 0
[71 empty] | GRDCHENE | 21 | 1 | grand chene.fic | AG-P1 | 878966.82 | 6595985.74 |  | 244 | 878964.21 | 6595987.98 | 244.32 | 0 | 0 | 0 | 0 | 0 | 0 | 235.9 | 235.97 | 0 | 0 | 0 | 0
[71 empty] | GRDCHENE | 22 | 1 | grand chene.fic | AG-P2 | 878965.35 | 6595985.74
[71 empty] | GRDCHENE | 23 | 1 | grand chene.fic | AG-P3 | 878963.93 | 6595985.74