## Data to provide
Project data from client |  |  | Clear information |  | Clear data | Year&Month | Date | GHI [Wh/m^2] | POA Irradiation [Wh/m^2] | Year&Month | Date | GTI Pyrano [kWh/m²] | Year&Month | Date | Yield at Meter [kWh] | Year&Month | Date | Availability (in %)
[6 empty] | 20051 | 2005-01-31 | 58936 | 93669.8571 | 20157 | 2015-07-31 | 20 | 20054 | 2005-04-30 | 179447 | 20051 | 2005-01-31 | 97.8%
General Information |  | 1 |  | Items changed manually |  | 20052 | 2005-02-28 | 75313 | 106519.8359 | 20158 | 2015-08-31 |  | 20055 | 2005-05-31 | 309133 | 20052 | 2005-02-28 | 99.9%
Client information |  |  |  | Inputs |  | 20053 | 2005-03-31 | 115584 | 143795.6841 | 20159 | 2015-09-30 |  | 20056 | 2005-06-30 | 311309 | 20053 | 2005-03-31 | 95.2%
Client Name |  |  |  | Outputs |  | 20054 | 2005-04-30 | 147550 | 160126.6395 | 201810 | 2018-10-31 | 30 | 20057 | 2005-07-31 | 358602 | 20054 | 2005-04-30 | 98.2%
Client TVA number | [5 empty] | 20055 | 2005-05-31 | 184347 | 187315.3561 | 201511 | 2015-11-30 |  | 20058 | 2005-08-31 | 381045 | 20055 | 2005-05-31 | 98.9%
Contact person | [5 empty] | 20056 | 2005-06-30 | 203724 | 201306.2162 | 201512 | 2015-12-31 |  | 20059 | 2005-09-30 | 348398 | 20056 | 2005-06-30 | 100%
Email address | [5 empty] | 20057 | 2005-07-31 | 212392 | 212584.4606 | 20161 | 2016-01-31 | 60.9 | 200510 | 2005-10-31 | 377568 | 20057 | 2005-07-31 | 100%
3E information | [5 empty] | 20058 | 2005-08-31 | 153789 | 163410.511 | 20162 | 2016-02-29 | 94 | 200511 | 2005-11-30 | 300992 | 20058 | 2005-08-31 | 100%
Reference 3E (PR) | [5 empty] | 20059 | 2005-09-30 | 134705 | 159657.2096 | 20163 | 2016-03-31 | 123.2 | 200512 | 2005-12-31 | 250837 | 20059 | 2005-09-30 | 100%
3E Author | [5 empty] | 200510 | 2005-10-31 | 71903 | 87919.1128 | 20164 | 2016-04-30 | 157.4 | 20061 | 2006-01-31 | 125751 | 200510 | 2005-10-31 | 100%
Date | [5 empty] | 200511 | 2005-11-30 | 55493 | 81516.4917 | 20165 | 2016-05-31 | 165.5 | 20062 | 2006-02-28 | 104310 | 200511 | 2005-11-30 | 100%
Version | [5 empty] | 200512 | 2005-12-31 | 53494 | 89733.449 | 20166 | 2016-06-30 | 199.9 | 20063 | 2006-03-31 | 139966 | 200512 | 2005-12-31 | 97%
3E Controller | [5 empty] | 20061 | 2006-01-31 | 49365 | 73054.041 | 20167 | 2016-07-31 | 208.9 | 20064 | 2006-04-30 | 187306 | 20061 | 2006-01-31 | 100%
Date | [5 empty] | 20062 | 2006-02-28 | 85307 | 124523.0215 | 20168 | 2016-08-31 | 203.8 | 20065 | 2006-05-31 | 244654 | 20062 | 2006-02-28 | 100%
3E Approver | [5 empty] | 20063 | 2006-03-31 | 113827 | 137760.6059 | 20169 | 2016-09-30 | 173.4 | 20066 | 2006-06-30 | 329312 | 20063 | 2006-03-31 | 94.6%
Date | [5 empty] | 20064 | 2006-04-30 | 163081 | 180844.1669 | 201610 | 2016-10-31 | 119.6 | 20067 | 2006-07-31 | 360143 | 20064 | 2006-04-30 | 100%
[6 empty] | 20065 | 2006-05-31 | 187865 | 190688.7677 | 201611 | 2016-11-30 | 72.8 | 20068 | 2006-08-31 | 394458 | 20065 | 2006-05-31 | 100%
Main parameter | [5 empty] | 20066 | 2006-06-30 | 220762 | 219147.7669 | 201612 | 2016-12-31 | 82.4 | 20069 | 2006-09-30 | 393474 | 20066 | 2006-06-30 | 98.4%
Lot | [5 empty] | 20067 | 2006-07-31 | 219791 | 222115.7537 | 20171 | 2017-01-31 | 76.7 | 200610 | 2006-10-31 | 222165 | 20067 | 2006-07-31 | 80%
Project Number | [5 empty] | 20068 | 2006-08-31 | 186492 | 199068.3851 | 20172 | 2017-02-28 | 84.3 | 200611 | 2006-11-30 | 297156 | 20068 | 2006-08-31 | 99.3%
Project Name | [5 empty] | 20069 | 2006-09-30 | 111189 | 128150.0899 | 20173 | 2017-03-31 | 150.4 | 200612 | 2006-12-31 | 212621 | 20069 | 2006-09-30
SPV | [5 empty] | 200610 | 2006-10-31 | 81408 | 103772.0593 | 20174 | 2017-04-30 | 184.2 | 20071 | 2007-01-31 | 181659 | 200610 | 2006-10-31
Project Localization | [5 empty] | 200611 | 2006-11-30 | 59516 | 88966.4841 | 20175 | 2017-05-31 | 179.9 | 20072 | 2007-02-28 | 99400 | 200611 | 2006-11-30
Department code | [5 empty] | 200612 | 2006-12-31 | 51541 | 83984.002 | 20176 | 2017-06-30 | 194.4 | 20073 | 2007-03-31 | 107637 | 200612 | 2006-12-31
Department name | [5 empty] | 20071 | 2007-01-31 | 60723 | 97430.2009 | 20177 | 2017-07-31 | 183.2 | 20074 | 2007-04-30 | 194124 | 20071 | 2007-01-31
Installation Type | [5 empty] | 20072 | 2007-02-28 | 65183 | 88617.6454 | 20178 | 2017-08-31 | 168.8 | 20075 | 2007-05-31 | 253274 | 20072 | 2007-02-28
Name plate power | kWp |  |  |  |  | 20073 | 2007-03-31 | 118607 | 144813.8506 | 20179 | 2017-09-30 | 143.4 | 20076 | 2007-06-30 |  | 20073 | 2007-03-31
COD date | [5 empty] | 20074 | 2007-04-30 | 153341 | 168547.0334 | 201710 | 2017-10-31 | 126 | 20074 | 2007-04-30 |  | 20074 | 2007-04-30 | 100%
Availability assumption | % |  |  |  |  | 20075 | 2007-05-31 | 166761 | 168950.5595 | 201711 | 2017-11-30 | 78.5 | 20075 | 2007-05-31 |  | 20075 | 2007-05-31 | 100%
[6 empty] | 20076 | 2007-06-30 | 196734 | 194099.9919 | 201712 | 2017-12-31 | 52.5 | 20076 | 2007-06-30 |  | 20076 | 2007-06-30 | 100%
Project information | [5 empty] | 20077 | 2007-07-31 | 210466 | 210514.5275 | 19001 |  |  | 20077 | 2007-07-31 |  | 20077 | 2007-07-31 | 100%
Latitude (4 digits min.) | ° |  |  |  |  | 20078 | 2007-08-31 | 167786 | 177771.472 | 20051 | 2005-01-01 | 40 | 20078 | 2007-08-31 |  | 20078 | 2007-08-31 | 100%
Longitude (4 digits min.) | ° |  |  |  |  | 20079 | 2007-09-30 | 144552 | 171373.8806 | 19001 |  |  | 20079 | 2007-09-30 |  | 20079 | 2007-09-30 | 100%
Altitude | m |  |  |  |  | 200710 | 2007-10-31 | 89070 | 120045.0965 | 19001 |  |  | 200710 | 2007-10-31 |  | 200710 | 2007-10-31 | 97%
Topography | [5 empty] | 200711 | 2007-11-30 | 69936 | 110839.9884 | 19001 |  |  | 200711 | 2007-11-30 |  | 200711 | 2007-11-30 | 100%
Area superficie | ha |  |  |  |  | 200712 | 2007-12-31 | 54994 | 92911.1492 | 19001 |  |  | 200712 | 2007-12-31 |  | 200712 | 2007-12-31 | 100%
Azimuth (S=180°,N=360°) | ° |  |  |  |  | 20081 | 2008-01-31 | 55991 | 85880.0434 | 19001 |  |  | 20081 | 2008-01-31 |  | 20081 | 2008-01-31 | 94.6%
Tilt | ° |  |  |  |  | 20082 | 2008-02-29 | 77394 | 109982.7855 | 19001 |  |  | 20082 | 2008-02-29 |  | 20082 | 2008-02-29 | 100%
Albedo (default=0.2) | [5 empty] | 20083 | 2008-03-31 | 118504 | 143513.0304 | 19001 |  |  | 20083 | 2008-03-31 |  | 20083 | 2008-03-31 | 100%
[6 empty] | 20084 | 2008-04-30 | 152598 | 166771.3451 | 19001 |  |  | 20084 | 2008-04-30 |  | 20084 | 2008-04-30 | 98.4%
System Parameters | [5 empty] | 20085 | 2008-05-31 | 156968 | 158688.6495 | 19001 |  |  | 20085 | 2008-05-31 |  | 20085 | 2008-05-31 | 80%
Module manufacter | [5 empty] | 20086 | 2008-06-30 | 206964 | 204072.018 | 19001 |  |  | 20086 | 2008-06-30 |  | 20086 | 2008-06-30 | 99.3%
Module model | [5 empty] | 20087 | 2008-07-31 | 214450 | 215544.566 | 19001 |  |  | 20087 | 2008-07-31 |  | 20087 | 2008-07-31
Module nameplate power | Wp |  |  |  |  | 20088 | 2008-08-31 | 182035 | 195253.4904 | 19001 |  |  | 20088 | 2008-08-31 |  | 20088 | 2008-08-31
Average Flash test power | Wp |  |  |  |  | 20089 | 2008-09-30 | 132411 | 157982.9997 | 19001 |  |  | 20089 | 2008-09-30 |  | 20089 | 2008-09-30
No. of modules | pcs |  |  |  |  | 200810 | 2008-10-31 | 92573 | 121981.0445 | 19001 |  |  | 200810 | 2008-10-31 |  | 200810 | 2008-10-31
Type of inverters | [5 empty] | 200811 | 2008-11-30 | 57351 | 84316.8822 | 19001 |  |  | 200811 | 2008-11-30 |  | 200811 | 2008-11-30
No. of inverters | pcs |  |  |  |  | 200812 | 2008-12-31 | 44519 | 67130.8898 | 19001 |  |  | 200812 | 2008-12-31 |  | 200812 | 2008-12-31
Type of transformers | [5 empty] | 20091 | 2009-01-31 | 54983 | 83119.5526 | 19001 |  |  | 20091 | 2009-01-31 |  | 20091 | 2009-01-31
No. of transformers | pcs |  |  |  |  | 20092 | 2009-02-28 | 79007 | 111123.4371 | 19001 |  |  | 20092 | 2009-02-28 |  | 20092 | 2009-02-28
[6 empty] | 20093 | 2009-03-31 | 133766 | 167991.4077 | 19001 |  |  | 20093 | 2009-03-31 |  | 20093 | 2009-03-31
Module technology | [5 empty] | 20094 | 2009-04-30 | 130015 | 140505.3443 | 19001 |  |  | 20094 | 2009-04-30 |  | 20094 | 2009-04-30
Module cell technology (check) | W |  |  |  |  | 20095 | 2009-05-31 | 172744 | 175990.3156 | 19001 |  |  | 20095 | 2009-05-31 |  | 20095 | 2009-05-31
Module power interval (product) | % |  |  |  |  | 20096 | 2009-06-30 | 205505 | 202353.1672 | 19001 |  |  | 20096 | 2009-06-30 |  | 20096 | 2009-06-30
Module power interval (product) | % |  |  |  |  | 20097 | 2009-07-31 | 210983 | 212094.0485 | 19001 |  |  | 20097 | 2009-07-31 |  | 20097 | 2009-07-31
Power tolerance (min) | % |  |  |  |  | 20098 | 2009-08-31 | 195999 | 212280.0019 | 19001 |  |  | 20098 | 2009-08-31 |  | 20098 | 2009-08-31
Power tolerance (max) | % |  |  |  |  | 20099 | 2009-09-30 | 149630 | 179723.458 | 19001 |  |  | 20099 | 2009-09-30 |  | 20099 | 2009-09-30
Module quality gain / loss | [5 empty] | 200910 | 2009-10-31 | 105221 | 143521.1727 | 19001 |  |  | 200910 | 2009-10-31 |  | 200910 | 2009-10-31
[6 empty] | 200911 | 2009-11-30 | 48162 | 64251.5391 | 19001 |  |  | 200911 | 2009-11-30 |  | 200911 | 2009-11-30
[6 empty] | 200912 | 2009-12-31 | 44782 | 68459.6707 | 19001 |  |  | 200912 | 2009-12-31 |  | 200912 | 2009-12-31
[6 empty] | 20101 | 2010-01-31 | 53254 | 80741.2753 | 19001 |  |  | 20101 | 2010-01-31 |  | 20101 | 2010-01-31
[6 empty] | 20102 | 2010-02-28 | 72073 | 100074.8345 | 19001 |  |  | 20102 | 2010-02-28 |  | 20102 | 2010-02-28
Resolution |  | m |  |  |  | 20103 | 2010-03-31 | 115589 | 141885.6695 | 19001 |  |  | 20103 | 2010-03-31 |  | 20103 | 2010-03-31
Source |  | hc3v5 |  |  |  | 20104 | 2010-04-30 | 161347 | 178748.8553 | 19001 |  |  | 20104 | 2010-04-30 |  | 20104 | 2010-04-30
Début |  | 20050101 |  |  |  | 20105 | 2010-05-31 | 178462 | 179825.2888 | 19001 |  |  | 20105 | 2010-05-31 |  | 20105 | 2010-05-31
Fin |  | 20181021 |  |  |  | 20106 | 2010-06-30 | 194122 | 190948.6038 | 19001 |  |  | 20106 | 2010-06-30 |  | 20106 | 2010-06-30
Lien SoDa |  | http://192.168.100.38:8082/?source=&lat=&lon=&start=kWp&end=&alt=&tilt=&azimuth=&albedo=&resolution=_classic |  |  |  | 20107 | 2010-07-31 | 219807 | 220498.6808 | 19001 |  |  | 20107 | 2010-07-31 |  | 20107 | 2010-07-31
[6 empty] | 20108 | 2010-08-31 | 200589 | 216919.189 | 19001 |  |  | 20108 | 2010-08-31 |  | 20108 | 2010-08-31
[6 empty] | 20109 | 2010-09-30 | 137609 | 163144.3664 | 19001 |  |  | 20109 | 2010-09-30 |  | 20109 | 2010-09-30
[6 empty] | 201010 | 2010-10-31 | 83238 | 108119.2402 | 19001 |  |  | 201010 | 2010-10-31 |  | 201010 | 2010-10-31
[6 empty] | 201011 | 2010-11-30 | 60389 | 88578.7946 | 19001 |  |  | 201011 | 2010-11-30 |  | 201011 | 2010-11-30
[6 empty] | 201012 | 2010-12-31 | 46696 | 72775.9536 | 19001 |  |  | 201012 | 2010-12-31 |  | 201012 | 2010-12-31
[6 empty] | 20111 | 2011-01-31 | 55936 | 88610.1675 | 19001 |  |  | 20111 | 2011-01-31 |  | 20111 | 2011-01-31
[6 empty] | 20112 | 2011-02-28 | 76334 | 107801.6664 | 19001 |  |  | 20112 | 2011-02-28 |  | 20112 | 2011-02-28
[6 empty] | 20113 | 2011-03-31 | 116926 | 143391.9689 | 19001 |  |  | 20113 | 2011-03-31 |  | 20113 | 2011-03-31
[6 empty] | 20114 | 2011-04-30 | 169926 | 189513.7615 | 19001 |  |  | 20114 | 2011-04-30 |  | 20114 | 2011-04-30
[6 empty] | 20115 | 2011-05-31 | 200380 | 203797.5333 | 19001 |  |  | 20115 | 2011-05-31 |  | 20115 | 2011-05-31
[6 empty] | 20116 | 2011-06-30 | 186252 | 181830.2585 | 19001 |  |  | 20116 | 2011-06-30 |  | 20116 | 2011-06-30
[6 empty] | 20117 | 2011-07-31 | 204531 | 204177.7442 | 19001 |  |  | 20117 | 2011-07-31 |  | 20117 | 2011-07-31
[6 empty] | 20118 | 2011-08-31 | 181207 | 193769.257 | 19001 |  |  | 20118 | 2011-08-31 |  | 20118 | 2011-08-31
[6 empty] | 20119 | 2011-09-30 | 141900 | 169708.5511 | 19001 |  |  | 20119 | 2011-09-30 |  | 20119 | 2011-09-30
[6 empty] | 201110 | 2011-10-31 | 105796 | 143890.598 | 19001 |  |  | 201110 | 2011-10-31 |  | 201110 | 2011-10-31
[6 empty] | 201111 | 2011-11-30 | 47701 | 66658.3202 | 19001 |  |  | 201111 | 2011-11-30 |  | 201111 | 2011-11-30
[6 empty] | 201112 | 2011-12-31 | 49491 | 77691.8255 | 19001 |  |  | 201112 | 2011-12-31 |  | 201112 | 2011-12-31
[6 empty] | 20121 | 2012-01-31 | 62184 | 101454.3551 | 19001 |  |  | 20121 | 2012-01-31 |  | 20121 | 2012-01-31
[6 empty] | 20122 | 2012-02-29 | 95828 | 141824.5715 | 19001 |  |  | 20122 | 2012-02-29 |  | 20122 | 2012-02-29
[6 empty] | 20123 | 2012-03-31 | 131464 | 164233.6171 | 19001 |  |  | 20123 | 2012-03-31 |  | 20123 | 2012-03-31
[6 empty] | 20124 | 2012-04-30 | 134864 | 145479.5937 | 19001 |  |  | 20124 | 2012-04-30 |  | 20124 | 2012-04-30
[6 empty] | 20125 | 2012-05-31 | 181673 | 184659.2905 | 19001 |  |  | 20125 | 2012-05-31 |  | 20125 | 2012-05-31
[6 empty] | 20126 | 2012-06-30 | 194789 | 192166.2392 | 19001 |  |  | 20126 | 2012-06-30 |  | 20126 | 2012-06-30
[6 empty] | 20127 | 2012-07-31 | 227845 | 229249.851 | 19001 |  |  | 20127 | 2012-07-31 |  | 20127 | 2012-07-31
[6 empty] | 20128 | 2012-08-31 | 193623 | 208302.3798 | 19001 |  |  | 20128 | 2012-08-31 |  | 20128 | 2012-08-31
[6 empty] | 20129 | 2012-09-30 | 123353 | 142872.5571 | 19001 |  |  | 20129 | 2012-09-30 |  | 20129 | 2012-09-30
[6 empty] | 201210 | 2012-10-31 | 85019 | 109341.2401 | 19001 |  |  | 201210 | 2012-10-31 |  | 201210 | 2012-10-31
[6 empty] | 201211 | 2012-11-30 | 56305 | 82749.2131 | 19001 |  |  | 201211 | 2012-11-30 |  | 201211 | 2012-11-30
[6 empty] | 201212 | 2012-12-31 | 50282 | 81243.6694 | 19001 |  |  | 201212 | 2012-12-31 |  | 201212 | 2012-12-31
[6 empty] | 20131 | 2013-01-31 | 58804 | 93885.1927 | 19001 |  |  | 20131 | 2013-01-31 |  | 20131 | 2013-01-31
[6 empty] | 20132 | 2013-02-28 | 75912 | 104623.0805 | 19001 |  |  | 20132 | 2013-02-28 |  | 20132 | 2013-02-28
[6 empty] | 20133 | 2013-03-31 | 106695 | 127566.4278 | 19001 |  |  | 20133 | 2013-03-31 |  | 20133 | 2013-03-31
[6 empty] | 20134 | 2013-04-30 | 135065 | 148717.5683 | 19001 |  |  | 20134 | 2013-04-30 |  | 20134 | 2013-04-30
[6 empty] | 20135 | 2013-05-31 | 181237 | 183873.0604 | 19001 |  |  | 20135 | 2013-05-31 |  | 20135 | 2013-05-31
[6 empty] | 20136 | 2013-06-30 | 201397 | 196882.7041 | 19001 |  |  | 20136 | 2013-06-30 |  | 20136 | 2013-06-30
[6 empty] | 20137 | 2013-07-31 | 208938 | 210158.5175 | 19001 |  |  | 20137 | 2013-07-31 |  | 20137 | 2013-07-31
[6 empty] | 20138 | 2013-08-31 | 187685 | 201115.5082 | 19001 |  |  | 20138 | 2013-08-31 |  | 20138 | 2013-08-31
[6 empty] | 20139 | 2013-09-30 | 133728 | 155919.2644 | 19001 |  |  | 20139 | 2013-09-30 |  | 20139 | 2013-09-30
[6 empty] | 201310 | 2013-10-31 | 88534 | 116310.3018 | 19001 |  |  | 201310 | 2013-10-31 |  | 201310 | 2013-10-31
[6 empty] | 201311 | 2013-11-30 | 55644 | 80696.404 | 19001 |  |  | 201311 | 2013-11-30 |  | 201311 | 2013-11-30
[6 empty] | 201312 | 2013-12-31 | 51165 | 83302.68 | 19001 |  |  | 201312 | 2013-12-31 |  | 201312 | 2013-12-31
[6 empty] | 20141 | 2014-01-31 | 49030 | 68253.1877 | 19001 |  |  | 20141 | 2014-01-31 |  | 20141 | 2014-01-31
[6 empty] | 20142 | 2014-02-28 | 75229 | 104366.6633 | 19001 |  |  | 20142 | 2014-02-28 | 179447 | 20142 | 2014-02-28 | 97.8%
[6 empty] | 20143 | 2014-03-31 | 131166 | 167318.8314 | 19001 |  |  | 20143 | 2014-03-31 | 309133 | 20143 | 2014-03-31 | 99.9%
[6 empty] | 20144 | 2014-04-30 | 157983 | 174060.4366 | 19001 |  |  | 20144 | 2014-04-30 | 311309 | 20144 | 2014-04-30 | 95.2%
[6 empty] | 20145 | 2014-05-31 | 197665 | 201338.5816 | 19001 |  |  | 20145 | 2014-05-31 | 358602 | 20145 | 2014-05-31 | 98.2%
[6 empty] | 20146 | 2014-06-30 | 209921 | 207813.8155 | 19001 |  |  | 20146 | 2014-06-30 | 381045 | 20146 | 2014-06-30 | 98.9%
[6 empty] | 20147 | 2014-07-31 | 192106 | 191361.6991 | 19001 |  |  | 20147 | 2014-07-31 | 348398 | 20147 | 2014-07-31 | 100%
[6 empty] | 20148 | 2014-08-31 | 192028 | 206406.6623 | 19001 |  |  | 20148 | 2014-08-31 | 377568 | 20148 | 2014-08-31 | 100%
[6 empty] | 20149 | 2014-09-30 | 138922 | 163223.6153 | 19001 |  |  | 20149 | 2014-09-30 | 300992 | 20149 | 2014-09-30 | 100%
[6 empty] | 201410 | 2014-10-31 | 105356 | 142560.8426 | 19001 |  |  | 201410 | 2014-10-31 | 250837 | 201410 | 2014-10-31 | 100%
[6 empty] | 201411 | 2014-11-30 | 53946 | 78304.0792 | 19001 |  |  | 201411 | 2014-11-30 | 125751 | 201411 | 2014-11-30 | 100%
[6 empty] | 201412 | 2014-12-31 | 49027 | 78029.5217 | 19001 |  |  | 201412 | 2014-12-31 | 104310 | 201412 | 2014-12-31 | 100%
[6 empty] | 20151 | 2015-01-31 | 60036 | 95689.6995 | 19001 |  |  | 20151 | 2015-01-31 | 139966 | 20151 | 2015-01-31 | 97%
[6 empty] | 20152 | 2015-02-28 | 76152 | 105229.6947 | 19001 |  |  | 20152 | 2015-02-28 | 187306 | 20152 | 2015-02-28 | 100%
[6 empty] | 20153 | 2015-03-31 | 113248 | 138012.4498 | 19001 |  |  | 20153 | 2015-03-31 | 244654 | 20153 | 2015-03-31 | 100%
[6 empty] | 20154 | 2015-04-30 | 170370 | 190701.1386 | 19001 |  |  | 20154 | 2015-04-30 | 329312 | 20154 | 2015-04-30 | 94.6%
[6 empty] | 20155 | 2015-05-31 | 192708 | 195038.1404 | 19001 |  |  | 20155 | 2015-05-31 | 360143 | 20155 | 2015-05-31 | 100%
[6 empty] | 20156 | 2015-06-30 | 224145 | 220516.8537 | 19001 |  |  | 20156 | 2015-06-30 | 394458 | 20156 | 2015-06-30 | 100%
[6 empty] | 20157 | 2015-07-31 | 220319 | 221028.3108 | 19001 |  |  | 20157 | 2015-07-31 | 393474 | 20157 | 2015-07-31 | 98.4%
[6 empty] | 20158 | 2015-08-31 | 176272 | 187415.7635 | 19001 |  |  | 20158 | 2015-08-31 | 222165 | 20158 | 2015-08-31 | 80%
[6 empty] | 20159 | 2015-09-30 | 138138 | 163374.9248 | 19001 |  |  | 20159 | 2015-09-30 | 297156 | 20159 | 2015-09-30 | 99.3%
[6 empty] | 201510 | 2015-10-31 | 92980 | 122945.5822 | 19001 |  |  | 201510 | 2015-10-31 | 212621 | 201510 | 2015-10-31 | 100%
[6 empty] | 201511 | 2015-11-30 | 69499 | 111726.7248 | 19001 |  |  | 201511 | 2015-11-30 | 181659 | 201511 | 2015-11-30 | 98.6%
[6 empty] | 201512 | 2015-12-31 | 47380 | 73874.0375 | 19001 |  |  | 201512 | 2015-12-31 | 99400 | 201512 | 2015-12-31 | 100%
[6 empty] | 20161 | 2016-01-31 | 50480 | 73892.9578 | 19001 |  |  | 20161 | 2016-01-31 | 107637 | 20161 | 2016-01-31 | 100%
[6 empty] | 20162 | 2016-02-29 | 77160 | 107917.2437 | 19001 |  |  | 20162 | 2016-02-29 | 194124 | 20162 | 2016-02-29 | 99.6%
[6 empty] | 20163 | 2016-03-31 | 112689 | 137204.6804 | 19001 |  |  | 20163 | 2016-03-31 | 253274 | 20163 | 2016-03-31 | 99.8%
[6 empty] | 20164 | 2016-04-30 | 159108 | 172894.0939 | 19001 |  |  | 20164 | 2016-04-30 | 314735 | 20164 | 2016-04-30 | 99.4%
[6 empty] | 20165 | 2016-05-31 | 175766 | 178443.4771 | 19001 |  |  | 20165 | 2016-05-31 | 319360 | 20165 | 2016-05-31 | 97.1%
[6 empty] | 20166 | 2016-06-30 | 208727 | 205641.8754 | 19001 |  |  | 20166 | 2016-06-30 | 380073 | 20166 | 2016-06-30 | 98.6%
[6 empty] | 20167 | 2016-07-31 | 211026 | 211766.6409 | 19001 |  |  | 20167 | 2016-07-31 | 388615 | 20167 | 2016-07-31 | 98.7%
[6 empty] | 20168 | 2016-08-31 | 201532 | 217356.4438 | 19001 |  |  | 20168 | 2016-08-31 | 395618 | 20168 | 2016-08-31 | 99.1%
[6 empty] | 20169 | 2016-09-30 | 149988 | 180374.3895 | 19001 |  |  | 20169 | 2016-09-30 | 319103 | 20169 | 2016-09-30 | 98.8%
[6 empty] | 201610 | 2016-10-31 | 98100 | 133434.3923 | 19001 |  |  | 201610 | 2016-10-31 | 207809 | 201610 | 2016-10-31 | 99.5%
[6 empty] | 201611 | 2016-11-30 | 58107 | 85606.3688 | 19001 |  |  | 201611 | 2016-11-30 | 135718 | 201611 | 2016-11-30 | 100%
[6 empty] | 201612 | 2016-12-31 | 53707 | 90701.839 | 19001 |  |  | 201612 | 2016-12-31 | 128530 | 201612 | 2016-12-31 | 100%
[6 empty] | 20171 | 2017-01-31 | 57419 | 91993.6192 | 19001 |  |  | 20171 | 2017-01-31 | 138405 | 20171 | 2017-01-31 | 98.4%
[6 empty] | 20172 | 2017-02-28 | 72140 | 99573.4044 | 19001 |  |  | 20172 | 2017-02-28 | 174412 | 20172 | 2017-02-28 | 99.5%
[6 empty] | 20173 | 2017-03-31 | 130929 | 162185.9657 | 19001 |  |  | 20173 | 2017-03-31 | 305674 | 20173 | 2017-03-31 | 98.2%
[6 empty] | 20174 | 2017-04-30 | 175995 | 196133.6992 | 19001 |  |  | 20174 | 2017-04-30 | 370359 | 20174 | 2017-04-30 | 99.4%
[6 empty] | 20175 | 2017-05-31 | 191532 | 194769.515 | 19001 |  |  | 20175 | 2017-05-31 | 359810 | 20175 | 2017-05-31 | 99.5%
[6 empty] | 20176 | 2017-06-30 | 210005 | 207811.7376 | 19001 |  |  | 20176 | 2017-06-30 | 382085 | 20176 | 2017-06-30 | 98.9%
[6 empty] | 20177 | 2017-07-31 | 202668 | 201926.2037 | 19001 |  |  | 20177 | 2017-07-31 | 357555 | 20177 | 2017-07-31 | 99.4%
[6 empty] | 20178 | 2017-08-31 | 170093 | 180253.8981 | 19001 |  |  | 20178 | 2017-08-31 | 334492 | 20178 | 2017-08-31 | 99.9%
[6 empty] | 20179 | 2017-09-30 | 132578 | 155762.3605 | 19001 |  |  | 20179 | 2017-09-30 | 294322 | 20179 | 2017-09-30 | 99.3%
[6 empty] | 201710 | 2017-10-31 | 100566 | 135380.8486 | 19001 |  |  | 201710 | 2017-10-31 | 255220 | 201710 | 2017-10-31 | 99.7%
[6 empty] | 201711 | 2017-11-30 | 59782 | 89706.5589 | 19001 |  |  | 201711 | 2017-11-30 | 153491 | 201711 | 2017-11-30 | 99.9%
[6 empty] | 201712 | 2017-12-31 | 46396 | 71072.0072 | 19001 |  |  | 201712 | 2017-12-31 | 94590 | 201712 | 2017-12-31 | 99.9%
[6 empty] | 20181 | 2018-01-31 | 54735 | 84466.2551 | 19001 |  |  | 20181 | 2018-01-31 | 119420 | 20181 | 2018-01-31 | 99.1%
[6 empty] | 20182 | 2018-02-28 | 74995 | 104315.6996 | 19001 |  |  | 20182 | 2018-02-28 | 183365 | 20182 | 2018-02-28 | 99.6%
[6 empty] | 20183 | 2018-03-31 | 117205 | 142585.3523 | 19001 |  |  | 20183 | 2018-03-31 | 246935 | 20183 | 2018-03-31 | 99.4%
[6 empty] | 20184 | 2018-04-30 | 139793 | 152401.0829 | 19001 |  |  | 20184 | 2018-04-30 | 284592 | 20184 | 2018-04-30
[6 empty] | 20185 | 2018-05-31 | 166363 | 168571.2553 | 19001 |  |  | 20185 | 2018-05-31 |  | 20185 | 2018-05-31
[6 empty] | 20186 | 2018-06-30 | 200723 | 196807.7218 | 19001 |  |  | 20186 | 2018-06-30 |  | 20186 | 2018-06-30
[6 empty] | 20187 | 2018-07-31 | 231214 | 232926.0298 | 19001 |  |  | 20187 | 2018-07-31 |  | 20187 | 2018-07-31
[6 empty] | 20188 | 2018-08-31 | 197884 | 213324.4473 | 19001 |  |  | 20188 | 2018-08-31 |  | 20188 | 2018-08-31
[6 empty] | 20189 | 2018-09-30 | 152863 | 183713.2724 | 19001 |  |  | 20189 | 2018-09-30 |  | 20189 | 2018-09-30
[6 empty] | 201810 | 2018-10-31 | 42711 | 53054.6818 | 19001 |  |  | 201810 | 2018-10-31 |  | 201810 | 2018-10-31
[6 empty] | 201811 | 2018-11-30 |  |  | 19001 |  |  | 201811 | 2018-11-30 |  | 201811 | 2018-11-30
[6 empty] | 201812 | 2018-12-31 | -67441 | -77603.9088 | 19001 |  |  | 201812 | 2018-12-31 |  | 201812 | 2018-12-31
[6 empty] | 20191 | 2019-01-31 | -177593 | -208262.4995 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20192 | 2019-02-28 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20193 | 2019-03-31 | -287745 | -338921.0901 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20194 | 2019-04-30 | -397897 | -469579.6807 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20195 | 2019-05-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20196 | 2019-06-30 | -508049 | -600238.2713 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20197 | 2019-07-31 | -618201 | -730896.862 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20198 | 2019-08-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20199 | 2019-09-30 | -728353 | -861555.4526 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 201910 | 2019-10-31 | -838505 | -992214.0432 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 201911 | 2019-11-30 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 201912 | 2019-12-31 | -948657 | -1122872.6339 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20201 | 2020-01-31 | -1058809 | -1253531.2245 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20202 | 2020-02-29 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20203 | 2020-03-31 | -1168961 | -1384189.8151 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20204 | 2020-04-30 | -1279113 | -1514848.4057 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20205 | 2020-05-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20206 | 2020-06-30 | -1389265 | -1645506.9964 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20207 | 2020-07-31 | -1499417 | -1776165.587 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20208 | 2020-08-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20209 | 2020-09-30 | -1609569 | -1906824.1776 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 202010 | 2020-10-31 | -1719721 | -2037482.7682 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 202011 | 2020-11-30 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 202012 | 2020-12-31 | -1829873 | -2168141.3589 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20211 | 2021-01-31 | -1940025 | -2298799.9495 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20212 | 2021-02-28 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20213 | 2021-03-31 | -2050177 | -2429458.5401 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20214 | 2021-04-30 | -2160329 | -2560117.1308 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20215 | 2021-05-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20216 | 2021-06-30 | -2270481 | -2690775.7214 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20217 | 2021-07-31 | -2380633 | -2821434.312 | 19001 |  |  | 19001 |  |  | 19001
Note on O1: Feyswal Assiandi (3E): Copie monthly pyronometer data For more accurate results, only use complete years with no data issue. The remaining data points will be used to determine the RMSE of the correlated data
Note on S1: Feyswal Assiandi (3E): Only consider complete months and complete years for the correlation and then use remaining complete months to calculate uncertainty
Note on A42: Feyswal Assiandi (3E): BE CAREFUL : Put in the following sections the exact text that will be automatically retrieved to the report
Note on C68: Feyswal Assiandi (3E): Copy this link into an internet browser. Wait 5 minutes to get the SoDa data to paste in tab "Irr Correlation"

## Irr Correlation
| Date | GHI [Wh/m^2] | POA Irradiation [Wh/m^2] | nod | Month | Year | GTI Pyrano [kWh/m²] | GTI SoDa Correlated [kWh/m²] | Series of 12 | Month | GHI SoDa LT | GTI SoDa LT | Year | GHI SoDa LT | GTI SoDa LT | Date (à modifier en fonction des series) | GTI SoDa [kWh/m²] | GTI Pyrano [kWh/m²] |  |  | Monthly historical irradiation data (GHI) | Date (ne prendre que les séries incomplets) | GTI SoDa Correlated [kWh/m²] | GTI Pyrano NOT used [kWh/m²] | Obs - Pred
20051 | 2005-01-31 | 58936 | 93669.8571 | 31 | 1 | 2005 | 40 | 80.146 | 1 | 1 | 55.9339 | 86.7442 | 2005 | 1467.23 | 1687.5548 | 2016-01-31 | 73.893 | 60.9 | For more accurate results, only use complete years with no data issue. |  |  | 2005-01-31 | 80.146 | 40 | -40.146 | RMSE | 103.4659
20052 | 2005-02-28 | 75313 | 106519.8359 | 28 | 2 | 2005 | 0 | 93.2549 | 0 | 2 | 77.1563 | 108.6291 | 2006 | 1530.144 | 1752.0751 | 2016-02-29 | 107.9172 | 94 | The remaining data points will be used to determine the RMSE of the correlated data |  |  | 2015-07-31 | 210.0701 | 20 | -190.0701 | MIN | 0
20053 | 2005-03-31 | 115584 | 143795.6841 | 31 | 3 | 2005 | 0 | 131.2816 | 0 | 3 | 119.9226 | 147.6672 | 2007 | 1498.153 | 1745.9154 | 2016-03-31 | 137.2047 | 123.2 |  |  |  | 2018-01-31 | 70.757 | 0 | -70.757 | MAX | 40
20054 | 2005-04-30 | 147550 | 160126.6395 | 30 | 4 | 2005 | 0 | 147.9416 | 0 | 4 | 154.711 | 170.2341 | 2008 | 1491.758 | 1711.1177 | 2016-04-30 | 172.8941 | 157.4 | If pyranometer data are provided, you have to manually determine the uncertainty. |  |  | 2018-10-31 | 38.7127 | 30 | -8.7127 | NRMSE | 258.7%
20055 | 2005-05-31 | 184347 | 187315.3561 | 31 | 5 | 2005 | 0 | 175.678 | 0 | 5 | 182.1622 | 184.8753 | 2009 | 1530.797 | 1761.4131 | 2016-05-31 | 178.4435 | 165.5 | This will be done by comparing the datapoints from "GTI Pyrano" NOT considered to determine the fit equation,
20056 | 2005-06-30 | 203724 | 201306.2162 | 30 | 6 | 2005 | 0 | 189.9507 | 0 | 6 | 204.8498 | 201.8916 | 2010 | 1523.175 | 1742.2608 | 2016-06-30 | 205.6419 | 199.9 | with the corresponding values from "GTI SoDa Correlated"
20057 | 2005-07-31 | 212392 | 212584.4606 | 31 | 7 | 2005 | 0 | 201.4561 | 0 | 7 | 211.9478 | 212.5401 | 2011 | 1536.38 | 1770.8417 | 2016-07-31 | 211.7666 | 208.9 | If no GTI Pyrano value provided, then consider the uncertainty from SoDa given in Cell I19
20058 | 2005-08-31 | 153789 | 163410.511 | 31 | 8 | 2005 | 0 | 151.2916 | 0 | 8 | 183.7792 | 196.871 | 2012 | 1537.229 | 1783.5766 | 2016-08-31 | 217.3564 | 203.8 | Be careful to consider only complete months
20059 | 2005-09-30 | 134705 | 159657.2096 | 30 | 9 | 2005 | 0 | 147.4627 | 0 | 9 | 136.0541 | 160.8667 | 2013 | 1484.804 | 1703.0507 | 2016-09-30 | 180.3744 | 173.4
200510 | 2005-10-31 | 71903 | 87919.1128 | 31 | 10 | 2005 | 0 | 74.2794 | 0 | 10 | 92.2895 | 122.2478 | 2014 | 1552.379 | 1783.0379 | 2016-10-31 | 133.4344 | 119.6 | Equation
200511 | 2005-11-30 | 55493 | 81516.4917 | 30 | 11 | 2005 | 0 | 67.7479 | 0 | 11 | 57.8332 | 85.686 | 2015 | 1581.247 | 1825.5533 | 2016-11-30 | 85.6064 | 72.8 | a | x | + b
200512 | 2005-12-31 | 53494 | 89733.449 | 31 | 12 | 2005 | 0 | 76.1303 | 0 | 12 | 49.498 | 79.3008 | 2016 | 1556.39 | 1795.2344 | 2016-12-31 | 90.7018 | 82.4 | 1.0201 | x | -15.4108
20061 | 2006-01-31 | 49365 | 73054.041 | 31 | 1 | 2006 | 0 | 59.1149 | 0 |  |  |  | 2017 | 1550.103 | 1786.5698 | 2017-01-31 | 91.9936 | 76.7
20062 | 2006-02-28 | 85307 | 124523.0215 | 28 | 2 | 2006 | 0 | 111.6207 | 0 | SoDa LT | [5 empty] | 2017-02-28 | 99.5734 | 84.3
20063 | 2006-03-31 | 113827 | 137760.6059 | 31 | 3 | 2006 | 0 | 125.125 | 0 | Annual variability | 2.126% |  |  |  |  | 2017-03-31 | 162.186 | 150.4
20064 | 2006-04-30 | 163081 | 180844.1669 | 30 | 4 | 2006 | 0 | 169.0764 | 0 | LT GHI | 1526.1376 |  |  |  |  | 2017-04-30 | 196.1337 | 184.2
20065 | 2006-05-31 | 187865 | 190688.7677 | 31 | 5 | 2006 | 0 | 179.1194 | 0 | LT GTI | 1757.554 |  |  |  |  | 2017-05-31 | 194.7695 | 179.9
20066 | 2006-06-30 | 220762 | 219147.7669 | 30 | 6 | 2006 | 0 | 208.1517 | 0 | GHI uncertainty | 5.1% |  |  |  |  | 2017-06-30 | 207.8117 | 194.4
20067 | 2006-07-31 | 219791 | 222115.7537 | 31 | 7 | 2006 | 0 | 211.1794 | 0 | [6 empty] | 2017-07-31 | 201.9262 | 183.2
20068 | 2006-08-31 | 186492 | 199068.3851 | 31 | 8 | 2006 | 0 | 187.6678 | 0 | Nb Years | 13 |  |  |  |  | 2017-08-31 | 180.2539 | 168.8
20069 | 2006-09-30 | 111189 | 128150.0899 | 30 | 9 | 2006 | 0 | 115.3209 | 0 | [6 empty] | 2017-09-30 | 155.7624 | 143.4
200610 | 2006-10-31 | 81408 | 103772.0593 | 31 | 10 | 2006 | 0 | 90.4517 | 0 | SoDa LT Correlated | [5 empty] | 2017-10-31 | 135.3808 | 126
200611 | 2006-11-30 | 59516 | 88966.4841 | 30 | 11 | 2006 | 0 | 75.3479 | 0 | Month | GTI SoDa Correlated | Monthly breakdsown | Year | GTI SoDa Correlated |  | 2017-11-30 | 89.7066 | 78.5
200612 | 2006-12-31 | 51541 | 83984.002 | 31 | 12 | 2006 | 0 | 70.2651 | 0 | 1 | 73.0808 | 4.545% | 2005 | 1536.6208 |  | 2017-12-31 | 71.072 | 52.5
20071 | 2007-01-31 | 60723 | 97430.2009 | 31 | 1 | 2007 | 0 | 83.9821 | 0 | 2 | 95.4066 | 5.933% | 2006 | 1602.4409
20072 | 2007-02-28 | 65183 | 88617.6454 | 28 | 2 | 2007 | 0 | 74.9921 | 0 | 3 | 135.2312 | 8.41% | 2007 | 1596.157
20073 | 2007-03-31 | 118607 | 144813.8506 | 31 | 3 | 2007 | 0 | 132.3203 | 0 | 4 | 158.2527 | 9.841% | 2008 | 1560.6584
20074 | 2007-04-30 | 153341 | 168547.0334 | 30 | 4 | 2007 | 0 | 156.5316 | 0 | 5 | 173.1888 | 10.77% | 2009 | 1611.967
20075 | 2007-05-31 | 166761 | 168950.5595 | 31 | 5 | 2007 | 0 | 156.9432 | 0 | 6 | 190.5479 | 11.85% | 2010 | 1592.4288
20076 | 2007-06-30 | 196734 | 194099.9919 | 30 | 6 | 2007 | 0 | 182.5993 | 0 | 7 | 201.4109 | 12.53% | 2011 | 1621.5854
20077 | 2007-07-31 | 210466 | 210514.5275 | 31 | 7 | 2007 | 0 | 199.3445 | 0 | 8 | 185.4261 | 11.53% | 2012 | 1634.5769
20078 | 2007-08-31 | 167786 | 177771.472 | 31 | 8 | 2007 | 0 | 165.9418 | 0 | 9 | 148.6966 | 9.247% | 2013 | 1552.4289
20079 | 2007-09-30 | 144552 | 171373.8806 | 30 | 9 | 2007 | 0 | 159.4154 | 0 | 10 | 109.2997 | 6.797% | 2014 | 1634.0274
200710 | 2007-10-31 | 89070 | 120045.0965 | 31 | 10 | 2007 | 0 | 107.0526 | 0 | 11 | 72.0013 | 4.478% | 2015 | 1677.3992
200711 | 2007-11-30 | 69936 | 110839.9884 | 30 | 11 | 2007 | 0 | 97.6621 | 0 | 12 | 65.4875 | 4.073% | 2016 | 1646.4696
200712 | 2007-12-31 | 54994 | 92911.1492 | 31 | 12 | 2007 | 0 | 79.372 | 0 | Total | 1608.0301 | 100% | 2017 | 1637.6304
20081 | 2008-01-31 | 55991 | 85880.0434 | 31 | 1 | 2008 | 0 | 72.1993 | 0
20082 | 2008-02-29 | 77394 | 109982.7855 | 29 | 2 | 2008 | 0 | 96.7876 | 0 | SoDa LT Correlated
20083 | 2008-03-31 | 118504 | 143513.0304 | 31 | 3 | 2008 | 0 | 130.9933 | 0 | Annual variability | 2.513%
20084 | 2008-04-30 | 152598 | 166771.3451 | 30 | 4 | 2008 | 0 | 154.7201 | 0 | LT GTI SoDa Correlated | 1608.0301
20085 | 2008-05-31 | 156968 | 158688.6495 | 31 | 5 | 2008 | 0 | 146.4746 | 0 | GTI Correlation Uncertainty | 258.7%
20086 | 2008-06-30 | 206964 | 204072.018 | 30 | 6 | 2008 | 0 | 192.7722 | 0
20087 | 2008-07-31 | 214450 | 215544.566 | 31 | 7 | 2008 | 0 | 204.4759 | 0
20088 | 2008-08-31 | 182035 | 195253.4904 | 31 | 8 | 2008 | 0 | 183.776 | 0
20089 | 2008-09-30 | 132411 | 157982.9997 | 30 | 9 | 2008 | 0 | 145.7547 | 0
200810 | 2008-10-31 | 92573 | 121981.0445 | 31 | 10 | 2008 | 0 | 109.0275 | 0
200811 | 2008-11-30 | 57351 | 84316.8822 | 30 | 11 | 2008 | 0 | 70.6047 | 0
200812 | 2008-12-31 | 44519 | 67130.8898 | 31 | 12 | 2008 | 0 | 53.0725 | 0
20091 | 2009-01-31 | 54983 | 83119.5526 | 31 | 1 | 2009 | 0 | 69.3832 | 0
20092 | 2009-02-28 | 79007 | 111123.4371 | 28 | 2 | 2009 | 0 | 97.9512 | 0
20093 | 2009-03-31 | 133766 | 167991.4077 | 31 | 3 | 2009 | 0 | 155.9648 | 0
20094 | 2009-04-30 | 130015 | 140505.3443 | 30 | 4 | 2009 | 0 | 127.925 | 0
20095 | 2009-05-31 | 172744 | 175990.3156 | 31 | 5 | 2009 | 0 | 164.1248 | 0
20096 | 2009-06-30 | 205505 | 202353.1672 | 30 | 6 | 2009 | 0 | 191.0187 | 0
20097 | 2009-07-31 | 210983 | 212094.0485 | 31 | 7 | 2009 | 0 | 200.9558 | 0
20098 | 2009-08-31 | 195999 | 212280.0019 | 31 | 8 | 2009 | 0 | 201.1455 | 0
20099 | 2009-09-30 | 149630 | 179723.458 | 30 | 9 | 2009 | 0 | 167.9332 | 0
200910 | 2009-10-31 | 105221 | 143521.1727 | 31 | 10 | 2009 | 0 | 131.0016 | 0
200911 | 2009-11-30 | 48162 | 64251.5391 | 30 | 11 | 2009 | 0 | 50.1351 | 0
200912 | 2009-12-31 | 44782 | 68459.6707 | 31 | 12 | 2009 | 0 | 54.428 | 0
20101 | 2010-01-31 | 53254 | 80741.2753 | 31 | 1 | 2010 | 0 | 66.957 | 0
20102 | 2010-02-28 | 72073 | 100074.8345 | 28 | 2 | 2010 | 0 | 86.68 | 0
20103 | 2010-03-31 | 115589 | 141885.6695 | 31 | 3 | 2010 | 0 | 129.3331 | 0
20104 | 2010-04-30 | 161347 | 178748.8553 | 30 | 4 | 2010 | 0 | 166.9389 | 0
20105 | 2010-05-31 | 178462 | 179825.2888 | 31 | 5 | 2010 | 0 | 168.037 | 0
20106 | 2010-06-30 | 194122 | 190948.6038 | 30 | 6 | 2010 | 0 | 179.3844 | 0
20107 | 2010-07-31 | 219807 | 220498.6808 | 31 | 7 | 2010 | 0 | 209.5298 | 0
20108 | 2010-08-31 | 200589 | 216919.189 | 31 | 8 | 2010 | 0 | 205.8782 | 0
20109 | 2010-09-30 | 137609 | 163144.3664 | 30 | 9 | 2010 | 0 | 151.0201 | 0
201010 | 2010-10-31 | 83238 | 108119.2402 | 31 | 10 | 2010 | 0 | 94.8865 | 0
201011 | 2010-11-30 | 60389 | 88578.7946 | 30 | 11 | 2010 | 0 | 74.9524 | 0
201012 | 2010-12-31 | 46696 | 72775.9536 | 31 | 12 | 2010 | 0 | 58.8312 | 0
20111 | 2011-01-31 | 55936 | 88610.1675 | 31 | 1 | 2011 | 0 | 74.9844 | 0
20112 | 2011-02-28 | 76334 | 107801.6664 | 28 | 2 | 2011 | 0 | 94.5625 | 0
20113 | 2011-03-31 | 116926 | 143391.9689 | 31 | 3 | 2011 | 0 | 130.8698 | 0
20114 | 2011-04-30 | 169926 | 189513.7615 | 30 | 4 | 2011 | 0 | 177.9207 | 0
20115 | 2011-05-31 | 200380 | 203797.5333 | 31 | 5 | 2011 | 0 | 192.4922 | 0
20116 | 2011-06-30 | 186252 | 181830.2585 | 30 | 6 | 2011 | 0 | 170.0824 | 0
20117 | 2011-07-31 | 204531 | 204177.7442 | 31 | 7 | 2011 | 0 | 192.8801 | 0
20118 | 2011-08-31 | 181207 | 193769.257 | 31 | 8 | 2011 | 0 | 182.2619 | 0
20119 | 2011-09-30 | 141900 | 169708.5511 | 30 | 9 | 2011 | 0 | 157.7165 | 0
201110 | 2011-10-31 | 105796 | 143890.598 | 31 | 10 | 2011 | 0 | 131.3785 | 0
201111 | 2011-11-30 | 47701 | 66658.3202 | 30 | 11 | 2011 | 0 | 52.5904 | 0
201112 | 2011-12-31 | 49491 | 77691.8255 | 31 | 12 | 2011 | 0 | 63.8461 | 0
20121 | 2012-01-31 | 62184 | 101454.3551 | 31 | 1 | 2012 | 0 | 88.0874 | 0
20122 | 2012-02-29 | 95828 | 141824.5715 | 29 | 2 | 2012 | 0 | 129.2708 | 0
20123 | 2012-03-31 | 131464 | 164233.6171 | 31 | 3 | 2012 | 0 | 152.1313 | 0
20124 | 2012-04-30 | 134864 | 145479.5937 | 30 | 4 | 2012 | 0 | 132.9995 | 0
20125 | 2012-05-31 | 181673 | 184659.2905 | 31 | 5 | 2012 | 0 | 172.9684 | 0
20126 | 2012-06-30 | 194789 | 192166.2392 | 30 | 6 | 2012 | 0 | 180.6266 | 0
20127 | 2012-07-31 | 227845 | 229249.851 | 31 | 7 | 2012 | 0 | 218.4572 | 0
20128 | 2012-08-31 | 193623 | 208302.3798 | 31 | 8 | 2012 | 0 | 197.0878 | 0
20129 | 2012-09-30 | 123353 | 142872.5571 | 30 | 9 | 2012 | 0 | 130.3399 | 0
201210 | 2012-10-31 | 85019 | 109341.2401 | 31 | 10 | 2012 | 0 | 96.1331 | 0
201211 | 2012-11-30 | 56305 | 82749.2131 | 30 | 11 | 2012 | 0 | 69.0054 | 0
201212 | 2012-12-31 | 50282 | 81243.6694 | 31 | 12 | 2012 | 0 | 67.4695 | 0
20131 | 2013-01-31 | 58804 | 93885.1927 | 31 | 1 | 2013 | 0 | 80.3657 | 0
20132 | 2013-02-28 | 75912 | 104623.0805 | 28 | 2 | 2013 | 0 | 91.3199 | 0
20133 | 2013-03-31 | 106695 | 127566.4278 | 31 | 3 | 2013 | 0 | 114.7254 | 0
20134 | 2013-04-30 | 135065 | 148717.5683 | 30 | 4 | 2013 | 0 | 136.3027 | 0
20135 | 2013-05-31 | 181237 | 183873.0604 | 31 | 5 | 2013 | 0 | 172.1663 | 0
20136 | 2013-06-30 | 201397 | 196882.7041 | 30 | 6 | 2013 | 0 | 185.4381 | 0
20137 | 2013-07-31 | 208938 | 210158.5175 | 31 | 7 | 2013 | 0 | 198.9813 | 0
20138 | 2013-08-31 | 187685 | 201115.5082 | 31 | 8 | 2013 | 0 | 189.7561 | 0
20139 | 2013-09-30 | 133728 | 155919.2644 | 30 | 9 | 2013 | 0 | 143.6494 | 0
201310 | 2013-10-31 | 88534 | 116310.3018 | 31 | 10 | 2013 | 0 | 103.2426 | 0
201311 | 2013-11-30 | 55644 | 80696.404 | 30 | 11 | 2013 | 0 | 66.9112 | 0
201312 | 2013-12-31 | 51165 | 83302.68 | 31 | 12 | 2013 | 0 | 69.57 | 0
20141 | 2014-01-31 | 49030 | 68253.1877 | 31 | 1 | 2014 | 0 | 54.2174 | 0
20142 | 2014-02-28 | 75229 | 104366.6633 | 28 | 2 | 2014 | 0 | 91.0583 | 0
20143 | 2014-03-31 | 131166 | 167318.8314 | 31 | 3 | 2014 | 0 | 155.2786 | 0
20144 | 2014-04-30 | 157983 | 174060.4366 | 30 | 4 | 2014 | 0 | 162.1561 | 0
20145 | 2014-05-31 | 197665 | 201338.5816 | 31 | 5 | 2014 | 0 | 189.9837 | 0
20146 | 2014-06-30 | 209921 | 207813.8155 | 30 | 6 | 2014 | 0 | 196.5894 | 0
20147 | 2014-07-31 | 192106 | 191361.6991 | 31 | 7 | 2014 | 0 | 179.8058 | 0
20148 | 2014-08-31 | 192028 | 206406.6623 | 31 | 8 | 2014 | 0 | 195.1539 | 0
20149 | 2014-09-30 | 138922 | 163223.6153 | 30 | 9 | 2014 | 0 | 151.1009 | 0
201410 | 2014-10-31 | 105356 | 142560.8426 | 31 | 10 | 2014 | 0 | 130.0219 | 0
201411 | 2014-11-30 | 53946 | 78304.0792 | 30 | 11 | 2014 | 0 | 64.4707 | 0
201412 | 2014-12-31 | 49027 | 78029.5217 | 31 | 12 | 2014 | 0 | 64.1906 | 0
20151 | 2015-01-31 | 60036 | 95689.6995 | 31 | 1 | 2015 | 0 | 82.2066 | 0
20152 | 2015-02-28 | 76152 | 105229.6947 | 28 | 2 | 2015 | 0 | 91.9387 | 0
20153 | 2015-03-31 | 113248 | 138012.4498 | 31 | 3 | 2015 | 0 | 125.3819 | 0
20154 | 2015-04-30 | 170370 | 190701.1386 | 30 | 4 | 2015 | 0 | 179.132 | 0
20155 | 2015-05-31 | 192708 | 195038.1404 | 31 | 5 | 2015 | 0 | 183.5563 | 0
20156 | 2015-06-30 | 224145 | 220516.8537 | 30 | 6 | 2015 | 0 | 209.5483 | 0
20157 | 2015-07-31 | 220319 | 221028.3108 | 31 | 7 | 2015 | 20 | 210.0701 | 1
20158 | 2015-08-31 | 176272 | 187415.7635 | 31 | 8 | 2015 | 0 | 175.7804 | 0
20159 | 2015-09-30 | 138138 | 163374.9248 | 30 | 9 | 2015 | 0 | 151.2553 | 0
201510 | 2015-10-31 | 92980 | 122945.5822 | 31 | 10 | 2015 | 0 | 110.0115 | 0
201511 | 2015-11-30 | 69499 | 111726.7248 | 30 | 11 | 2015 | 0 | 98.5667 | 0
201512 | 2015-12-31 | 47380 | 73874.0375 | 31 | 12 | 2015 | 0 | 59.9514 | 0
20161 | 2016-01-31 | 50480 | 73892.9578 | 31 | 1 | 2016 | 60.9 | 59.9707 | 1
20162 | 2016-02-29 | 77160 | 107917.2437 | 29 | 2 | 2016 | 94 | 94.6804 | 2
20163 | 2016-03-31 | 112689 | 137204.6804 | 31 | 3 | 2016 | 123.2 | 124.5579 | 3
20164 | 2016-04-30 | 159108 | 172894.0939 | 30 | 4 | 2016 | 157.4 | 160.9662 | 4
20165 | 2016-05-31 | 175766 | 178443.4771 | 31 | 5 | 2016 | 165.5 | 166.6274 | 5
20166 | 2016-06-30 | 208727 | 205641.8754 | 30 | 6 | 2016 | 199.9 | 194.3737 | 6
20167 | 2016-07-31 | 211026 | 211766.6409 | 31 | 7 | 2016 | 208.9 | 200.6218 | 7
20168 | 2016-08-31 | 201532 | 217356.4438 | 31 | 8 | 2016 | 203.8 | 206.3242 | 8
20169 | 2016-09-30 | 149988 | 180374.3895 | 30 | 9 | 2016 | 173.4 | 168.5972 | 9
201610 | 2016-10-31 | 98100 | 133434.3923 | 31 | 10 | 2016 | 119.6 | 120.7116 | 10
201611 | 2016-11-30 | 58107 | 85606.3688 | 30 | 11 | 2016 | 72.8 | 71.9201 | 11
201612 | 2016-12-31 | 53707 | 90701.839 | 31 | 12 | 2016 | 82.4 | 77.1182 | 12
20171 | 2017-01-31 | 57419 | 91993.6192 | 31 | 1 | 2017 | 76.7 | 78.436 | 1
20172 | 2017-02-28 | 72140 | 99573.4044 | 28 | 2 | 2017 | 84.3 | 86.1685 | 2
20173 | 2017-03-31 | 130929 | 162185.9657 | 31 | 3 | 2017 | 150.4 | 150.0424 | 3
20174 | 2017-04-30 | 175995 | 196133.6992 | 30 | 4 | 2017 | 184.2 | 184.674 | 4
20175 | 2017-05-31 | 191532 | 194769.515 | 31 | 5 | 2017 | 179.9 | 183.2823 | 5
20176 | 2017-06-30 | 210005 | 207811.7376 | 30 | 6 | 2017 | 194.4 | 196.5873 | 6
20177 | 2017-07-31 | 202668 | 201926.2037 | 31 | 7 | 2017 | 183.2 | 190.5832 | 7
20178 | 2017-08-31 | 170093 | 180253.8981 | 31 | 8 | 2017 | 168.8 | 168.4743 | 8
20179 | 2017-09-30 | 132578 | 155762.3605 | 30 | 9 | 2017 | 143.4 | 143.4894 | 9
201710 | 2017-10-31 | 100566 | 135380.8486 | 31 | 10 | 2017 | 126 | 122.6973 | 10
201711 | 2017-11-30 | 59782 | 89706.5589 | 30 | 11 | 2017 | 78.5 | 76.1029 | 11
201712 | 2017-12-31 | 46396 | 71072.0072 | 31 | 12 | 2017 | 52.5 | 57.093 | 12
20181 | 2018-01-31 | 54735 | 84466.2551 | 31 | 1 | 2018 | 0 | 70.757 | 1
20182 | 2018-02-28 | 74995 | 104315.6996 | 28 | 2 | 2018 | 0 | 91.0063 | 0
20183 | 2018-03-31 | 117205 | 142585.3523 | 31 | 3 | 2018 | 0 | 130.0469 | 0
20184 | 2018-04-30 | 139793 | 152401.0829 | 30 | 4 | 2018 | 0 | 140.0604 | 0
20185 | 2018-05-31 | 166363 | 168571.2553 | 31 | 5 | 2018 | 0 | 156.5563 | 0
20186 | 2018-06-30 | 200723 | 196807.7218 | 30 | 6 | 2018 | 0 | 185.3616 | 0
20187 | 2018-07-31 | 231214 | 232926.0298 | 31 | 7 | 2018 | 0 | 222.2075 | 0
20188 | 2018-08-31 | 197884 | 213324.4473 | 31 | 8 | 2018 | 0 | 202.211 | 0
20189 | 2018-09-30 | 152863 | 183713.2724 | 30 | 9 | 2018 | 0 | 172.0033 | 0
201810 | 2018-10-31 | 42711 | 53054.6818 | 31 | 10 | 2018 | 30 | 38.7127 | 1
201811 | 2018-11-30 | 0 | 0 | 30 | 11 | 2018 | 0 | 0 | 0
201812 | 2018-12-31 | -67441 | -77603.9088 | 31 | 12 | 2018 | 0 | -94.578 | 0
20191 | 2019-01-31 | -177593 | -208262.4995 | 31 | 1 | 2019 | 0 | -227.8686 | 0
20192 | 2019-02-28 | 0 | 0 | 28 | 2 | 2019 | 0 | 0 | 0
20193 | 2019-03-31 | -287745 | -338921.0901 | 31 | 3 | 2019 | 0 | -361.1593 | 0
20194 | 2019-04-30 | -397897 | -469579.6807 | 30 | 4 | 2019 | 0 | -494.4499 | 0
20195 | 2019-05-31 | 0 | 0 | 31 | 5 | 2019 | 0 | 0 | 0
20196 | 2019-06-30 | -508049 | -600238.2713 | 30 | 6 | 2019 | 0 | -627.7406 | 0
20197 | 2019-07-31 | -618201 | -730896.862 | 31 | 7 | 2019 | 0 | -761.0312 | 0
20198 | 2019-08-31 | 0 | 0 | 31 | 8 | 2019 | 0 | 0 | 0
20199 | 2019-09-30 | -728353 | -861555.4526 | 30 | 9 | 2019 | 0 | -894.3219 | 0
201910 | 2019-10-31 | -838505 | -992214.0432 | 31 | 10 | 2019 | 0 | -1027.6125 | 0
201911 | 2019-11-30 | 0 | 0 | 30 | 11 | 2019 | 0 | 0 | 0
201912 | 2019-12-31 | -948657 | -1122872.6339 | 31 | 12 | 2019 | 0 | -1160.9032 | 0
20201 | 2020-01-31 | -1058809 | -1253531.2245 | 31 | 1 | 2020 | 0 | -1294.1938 | 0
20202 | 2020-02-29 | 0 | 0 | 29 | 2 | 2020 | 0 | 0 | 0
20203 | 2020-03-31 | -1168961 | -1384189.8151 | 31 | 3 | 2020 | 0 | -1427.4845 | 0
20204 | 2020-04-30 | -1279113 | -1514848.4057 | 30 | 4 | 2020 | 0 | -1560.7752 | 0
20205 | 2020-05-31 | 0 | 0 | 31 | 5 | 2020 | 0 | 0 | 0
20206 | 2020-06-30 | -1389265 | -1645506.9964 | 30 | 6 | 2020 | 0 | -1694.0658 | 0
20207 | 2020-07-31 | -1499417 | -1776165.587 | 31 | 7 | 2020 | 0 | -1827.3565 | 0
20208 | 2020-08-31 | 0 | 0 | 31 | 8 | 2020 | 0 | 0 | 0
20209 | 2020-09-30 | -1609569 | -1906824.1776 | 30 | 9 | 2020 | 0 | -1960.6471 | 0
202010 | 2020-10-31 | -1719721 | -2037482.7682 | 31 | 10 | 2020 | 0 | -2093.9378 | 0
202011 | 2020-11-30 | 0 | 0 | 30 | 11 | 2020 | 0 | 0 | 0
202012 | 2020-12-31 | -1829873 | -2168141.3589 | 31 | 12 | 2020 | 0 | -2227.2284 | 0
20211 | 2021-01-31 | -1940025 | -2298799.9495 | 31 | 1 | 2021 | 0 | -2360.5191 | 0
20212 | 2021-02-28 | 0 | 0 | 28 | 2 | 2021 | 0 | 0 | 0
20213 | 2021-03-31 | -2050177 | -2429458.5401 | 31 | 3 | 2021 | 0 | -2493.8097 | 0
20214 | 2021-04-30 | -2160329 | -2560117.1308 | 30 | 4 | 2021 | 0 | -2627.1004 | 0
20215 | 2021-05-31 | 0 | 0 | 31 | 5 | 2021 | 0 | 0 | 0
20216 | 2021-06-30 | -2270481 | -2690775.7214 | 30 | 6 | 2021 | 0 | -2760.391 | 0
20217 | 2021-07-31 | -2380633 | -2821434.312 | 31 | 7 | 2021 | 0 | -2893.6817 | 0
Formulas:
nod = DAY(EOMONTH([Date],0))
Note on U1: Feyswal Assiandi (3E): Copy/paste the months you want to use for the correlation (only by groups of 12 consecutive months)
Note on W1: Feyswal Assiandi (3E): For more accurate results, only use complete years with no data issue. The remaining data points will be used to determine the RMSE of the correlated data
Note on AI1: Feyswal Assiandi (3E): Copy/paste all complete months that can be used for testing accuracy of the correlation
Note on AJ1: Feyswal Assiandi (3E): Check a few values to make sure the VLOOKUP worked correctly. You might have issues with the Date format, it is best to copy it from Column S to be sure to have it under the right format and that the VLOOKUP function will recognise the right cell
Note on AK1: Feyswal Assiandi (3E): For more accurate results, only use complete years with no data issue. The remaining data points will be used to determine the RMSE of the correlated data
Note on L21: Feyswal Assiandi (3E): Adapt the range when additionnal years will come

## Yield Correlation
Year&Month | Date | GTI SoDa Correlated [kWh/m²] | Yield at Meter [kWh] | Availability | Yield @100% Av [kWh] | Yield Correlated @100% Av [kWh] | Series of 12 | Select years with complete months and full 12 months available |  |  | Date des séries complets | GTI SoDa Correlated [kWh/m²] | Yield @100% Av [kWh] | nod | Month | Year | Estimate correlation error/uncertainty by comparing the values of the correlated yield NOT used for the correlation, with the actual yields |  |  | Date des séries incomplets | Yield @100% Av [kWh] | Yield Correlated @100% Av [kWh] | Observed - Predicted
20051 | 2005-01-31 | 80.146 | 0 | 97.8% | 0 | 169602.7071 | 0 |  |  |  | 2005-04-30 | 147.9416 | 182736.2525 | 30 | 4 | 2005 |  |  |  | 2006-04-30 | 187306 | 324547.8995 | -137241.8995 | RMSE | 74849.7872
20052 | 2005-02-28 | 93.2549 | 0 | 99.9% | 0 | 192442.4914 | 0 |  |  |  | 2005-05-31 | 175.678 | 312571.2841 | 31 | 5 | 2005 | Month | Actual Monthly Yield | Actual Yield breakdown | 2006-05-31 | 244654 | 342045.8708 | -97391.8708 | MIN | 184101.4056
20053 | 2005-03-31 | 131.2816 | 0 | 95.2% | 0 | 258697.2571 | 0 |  |  |  | 2005-06-30 | 189.9507 | 311309 | 30 | 6 | 2005 | 1 | 638842.874 | 3.998% | 2006-06-30 | 334666.6667 | 392629.4099 | -57962.7432 | MAX | 450178.75
20054 | 2005-04-30 | 147.9416 | 179447 | 98.2% | 182736.2525 | 287724.1921 | 1 |  |  |  | 2005-07-31 | 201.4561 | 358602 | 31 | 7 | 2005 | 2 | 845291.6968 | 5.29% | 2006-07-31 | 450178.75 | 397904.7632 | 52273.9868 | NRMSE | 28.13%
20055 | 2005-05-31 | 175.678 | 309133 | 98.9% | 312571.2841 | 336049.908 | 2 |  |  |  | 2005-08-31 | 151.2916 | 381045 | 31 | 8 | 2005 | 3 | 1267110.5938 | 7.929% | 2006-08-31 | 397238.6707 | 356939.954 | 40298.7167
20056 | 2005-06-30 | 189.9507 | 311309 | 100% | 311309 | 360917.5155 | 3 |  |  |  | 2005-09-30 | 147.4627 | 348398 | 30 | 9 | 2005 | 4 | 1547080.8175 | 9.681% | 2007-04-30 | 194124 | 302690.7524 | -108566.7524
20057 | 2005-07-31 | 201.4561 | 358602 | 100% | 358602 | 380963.6707 | 4 |  |  |  | 2005-10-31 | 74.2794 | 377568 | 31 | 10 | 2005 | 5 | 1728405.5706 | 10.82% | 2007-05-31 | 253274 | 303407.987 | -50133.987
20058 | 2005-08-31 | 151.2916 | 381045 | 100% | 381045 | 293561.0048 | 5 |  |  |  | 2005-11-30 | 67.7479 | 300992 | 30 | 11 | 2005 | 6 | 1862854.3698 | 11.66% | 2018-02-28 | 184101.4056 | 188524.8198 | -4423.4142
20059 | 2005-09-30 | 147.4627 | 348398 | 100% | 348398 | 286889.819 | 6 |  |  |  | 2005-12-31 | 76.1303 | 258594.8454 | 31 | 12 | 2005 | 7 | 1860318.7669 | 11.64% | 2018-03-31 | 248425.5533 | 256545.9915 | -8120.4382
200510 | 2005-10-31 | 74.2794 | 377568 | 100% | 377568 | 159381.2303 | 7 |  |  |  | 2006-01-31 | 59.1149 | 125751 | 31 | 1 | 2006 | 8 | 1770356.9749 | 11.08%
200511 | 2005-11-30 | 67.7479 | 300992 | 100% | 300992 | 148001.096 | 8 |  |  |  | 2006-02-28 | 111.6207 | 104310 | 28 | 2 | 2006 | 9 | 1568016.2777 | 9.812%
200512 | 2005-12-31 | 76.1303 | 250837 | 97% | 258594.8454 | 162606.0642 | 9 |  |  |  | 2006-03-31 | 125.125 | 147955.6025 | 31 | 3 | 2006 | 10 | 1305867.2302 | 8.172%
20061 | 2006-01-31 | 59.1149 | 125751 | 100% | 125751 | 132959.7833 | 10 |  |  |  | 2014-02-28 | 91.0583 | 183483.6401 | 28 | 2 | 2014 | 11 | 900343.9814 | 5.634%
20062 | 2006-02-28 | 111.6207 | 104310 | 100% | 104310 | 224441.6787 | 11 |  |  |  | 2014-03-31 | 155.2786 | 309442.4424 | 31 | 3 | 2014 | 12 | 685519.53 | 4.29%
20063 | 2006-03-31 | 125.125 | 139966 | 94.6% | 147955.6025 | 247970.4002 | 12 |  |  |  | 2014-04-30 | 162.1561 | 327005.2521 | 30 | 4 | 2014 | TOTAL | 15980008.6836 | 100%
20064 | 2006-04-30 | 169.0764 | 187306 | 100% | 187306 | 324547.8995 | 1 |  |  |  | 2014-05-31 | 189.9837 | 365175.1527 | 31 | 5 | 2014
20065 | 2006-05-31 | 179.1194 | 244654 | 100% | 244654 | 342045.8708 | 2 |  |  |  | 2014-06-30 | 196.5894 | 385283.1143 | 30 | 6 | 2014
20066 | 2006-06-30 | 208.1517 | 329312 | 98.4% | 334666.6667 | 392629.4099 | 3 |  |  |  | 2014-07-31 | 179.8058 | 348398 | 31 | 7 | 2014
20067 | 2006-07-31 | 211.1794 | 360143 | 80% | 450178.75 | 397904.7632 | 4 |  |  |  | 2014-08-31 | 195.1539 | 377568 | 31 | 8 | 2014
20068 | 2006-08-31 | 187.6678 | 394458 | 99.3% | 397238.6707 | 356939.954 | 5 | Equation |  |  | 2014-09-30 | 151.1009 | 300992 | 30 | 9 | 2014
20069 | 2006-09-30 | 115.3209 | 393474 | 0% |  | 230888.4954 | 0 | a | x | + b | 2014-10-31 | 130.0219 | 250837 | 31 | 10 | 2014
200610 | 2006-10-31 | 90.4517 | 222165 | 0% |  | 187558.5437 | 0 | 1742.3197 | x | 29962.6788 | 2014-11-30 | 64.4707 | 125751 | 30 | 11 | 2014
200611 | 2006-11-30 | 75.3479 | 297156 | 0% |  | 161242.847 | 0 |  |  |  | 2014-12-31 | 64.1906 | 104310 | 31 | 12 | 2014
200612 | 2006-12-31 | 70.2651 | 212621 | 0% |  | 152386.8934 | 0 |  |  |  | 2015-01-31 | 82.2066 | 144294.8454 | 31 | 1 | 2015
20071 | 2007-01-31 | 83.9821 | 181659 | 0% |  | 176286.41 | 0 |  |  |  | 2015-02-28 | 91.9387 | 187306 | 28 | 2 | 2015
20072 | 2007-02-28 | 74.9921 | 99400 | 0% |  | 160622.8148 | 0 |  |  |  | 2015-03-31 | 125.3819 | 244654 | 31 | 3 | 2015
20073 | 2007-03-31 | 132.3203 | 107637 | 0% |  | 260506.9647 | 0 |  |  |  | 2015-04-30 | 179.132 | 348109.9366 | 30 | 4 | 2015
20074 | 2007-04-30 | 156.5316 | 194124 | 100% | 194124 | 302690.7524 | 1 |  |  |  | 2015-05-31 | 183.5563 | 360143 | 31 | 5 | 2015
20075 | 2007-05-31 | 156.9432 | 253274 | 100% | 253274 | 303407.987 | 2 |  |  |  | 2015-06-30 | 209.5483 | 394458 | 30 | 6 | 2015
20076 | 2007-06-30 | 182.5993 | 0 | 100% | 0 | 348109.0422 | 0 |  |  |  | 2015-07-31 | 210.0701 | 399871.9512 | 31 | 7 | 2015
20077 | 2007-07-31 | 199.3445 | 0 | 100% | 0 | 377284.5343 | 0 |  |  |  | 2015-08-31 | 175.7804 | 277706.25 | 31 | 8 | 2015
20078 | 2007-08-31 | 165.9418 | 0 | 100% | 0 | 319086.4361 | 0 |  |  |  | 2015-09-30 | 151.2553 | 299250.7553 | 30 | 9 | 2015
20079 | 2007-09-30 | 159.4154 | 0 | 100% | 0 | 307715.2416 | 0 |  |  |  | 2015-10-31 | 110.0115 | 212621 | 31 | 10 | 2015
200710 | 2007-10-31 | 107.0526 | 0 | 97% | 0 | 216482.5339 | 0 |  |  |  | 2015-11-30 | 98.5667 | 184238.3367 | 30 | 11 | 2015
200711 | 2007-11-30 | 97.6621 | 0 | 100% | 0 | 200121.2085 | 0 |  |  |  | 2015-12-31 | 59.9514 | 99400 | 31 | 12 | 2015
200712 | 2007-12-31 | 79.372 | 0 | 100% | 0 | 168254.1661 | 0 |  |  |  | 2016-01-31 | 59.9707 | 107637 | 31 | 1 | 2016
20081 | 2008-01-31 | 72.1993 | 0 | 94.6% | 0 | 155756.9515 | 0 |  |  |  | 2016-02-29 | 94.6804 | 194903.6145 | 29 | 2 | 2016
20082 | 2008-02-29 | 96.7876 | 0 | 100% | 0 | 198597.6007 | 0 |  |  |  | 2016-03-31 | 124.5579 | 253781.5631 | 31 | 3 | 2016
20083 | 2008-03-31 | 130.9933 | 0 | 100% | 0 | 258194.8634 | 0 |  |  |  | 2016-04-30 | 160.9662 | 316634.8089 | 30 | 4 | 2016
20084 | 2008-04-30 | 154.7201 | 0 | 98.4% | 0 | 299534.6119 | 0 |  |  |  | 2016-05-31 | 166.6274 | 328898.0433 | 31 | 5 | 2016
20085 | 2008-05-31 | 146.4746 | 0 | 80% | 0 | 285168.2829 | 0 |  |  |  | 2016-06-30 | 194.3737 | 385469.574 | 30 | 6 | 2016
20086 | 2008-06-30 | 192.7722 | 0 | 99.3% | 0 | 365833.5014 | 0 |  |  |  | 2016-07-31 | 200.6218 | 393733.536 | 31 | 7 | 2016
20087 | 2008-07-31 | 204.4759 | 0 | 0% |  | 386225.0155 | 0 |  |  |  | 2016-08-31 | 206.3242 | 399210.8981 | 31 | 8 | 2016
20088 | 2008-08-31 | 183.776 | 0 | 0% |  | 350159.2914 | 0 |  |  |  | 2016-09-30 | 168.5972 | 322978.7449 | 30 | 9 | 2016
20089 | 2008-09-30 | 145.7547 | 0 | 0% |  | 283914.0481 | 0 |  |  |  | 2016-10-31 | 120.7116 | 208853.2663 | 31 | 10 | 2016
200810 | 2008-10-31 | 109.0275 | 0 | 0% |  | 219923.5229 | 0 |  |  |  | 2016-11-30 | 71.9201 | 135718 | 30 | 11 | 2016
200811 | 2008-11-30 | 70.6047 | 0 | 0% |  | 152978.5606 | 0 |  |  |  | 2016-12-31 | 77.1182 | 128530 | 31 | 12 | 2016
200812 | 2008-12-31 | 53.0725 | 0 | 0% |  | 122431.8674 | 0 |  |  |  | 2017-01-31 | 78.436 | 140655.4878 | 31 | 1 | 2017
20091 | 2009-01-31 | 69.3832 | 0 | 0% |  | 150850.4054 | 0 |  |  |  | 2017-02-28 | 86.1685 | 175288.4422 | 28 | 2 | 2017
20092 | 2009-02-28 | 97.9512 | 0 | 0% |  | 200625.0154 | 0 |  |  |  | 2017-03-31 | 150.0424 | 311276.9857 | 31 | 3 | 2017
20093 | 2009-03-31 | 155.9648 | 0 | 0% |  | 301703.1732 | 0 |  |  |  | 2017-04-30 | 184.674 | 372594.5674 | 30 | 4 | 2017
20094 | 2009-04-30 | 127.925 | 0 | 0% |  | 252848.9478 | 0 |  |  |  | 2017-05-31 | 183.2823 | 361618.0905 | 31 | 5 | 2017
20095 | 2009-05-31 | 164.1248 | 0 | 0% |  | 315920.5766 | 0 |  |  |  | 2017-06-30 | 196.5873 | 386334.6815 | 30 | 6 | 2017
20096 | 2009-06-30 | 191.0187 | 0 | 0% |  | 362778.3851 | 0 |  |  |  | 2017-07-31 | 190.5832 | 359713.2797 | 31 | 7 | 2017
20097 | 2009-07-31 | 200.9558 | 0 | 0% |  | 380092.0034 | 0 |  |  |  | 2017-08-31 | 168.4743 | 334826.8268 | 31 | 8 | 2017
20098 | 2009-08-31 | 201.1455 | 0 | 0% |  | 380422.5203 | 0 |  |  |  | 2017-09-30 | 143.4894 | 296396.7774 | 30 | 9 | 2017
20099 | 2009-09-30 | 167.9332 | 0 | 0% |  | 322555.9313 | 0 |  |  |  | 2017-10-31 | 122.6973 | 255987.9639 | 31 | 10 | 2017
200910 | 2009-10-31 | 131.0016 | 0 | 0% |  | 258209.3357 | 0 |  |  |  | 2017-11-30 | 76.1029 | 153644.6446 | 30 | 11 | 2017
200911 | 2009-11-30 | 50.1351 | 0 | 0% |  | 117314.0575 | 0 |  |  |  | 2017-12-31 | 57.093 | 94684.6847 | 31 | 12 | 2017
200912 | 2009-12-31 | 54.428 | 0 | 0% |  | 124793.6665 | 0 |  |  |  | 2018-01-31 | 70.757 | 120504.5409 | 31 | 1 | 2018
20101 | 2010-01-31 | 66.957 | 0 | 0% |  | 146623.2123 | 0
20102 | 2010-02-28 | 86.68 | 0 | 0% |  | 180987.0296 | 0
20103 | 2010-03-31 | 129.3331 | 0 | 0% |  | 255302.3628 | 0
20104 | 2010-04-30 | 166.9389 | 0 | 0% |  | 320823.6548 | 0
20105 | 2010-05-31 | 168.037 | 0 | 0% |  | 322736.9273 | 0
20106 | 2010-06-30 | 179.3844 | 0 | 0% |  | 342507.7081 | 0
20107 | 2010-07-31 | 209.5298 | 0 | 0% |  | 395030.5486 | 0
20108 | 2010-08-31 | 205.8782 | 0 | 0% |  | 388668.2953 | 0
20109 | 2010-09-30 | 151.0201 | 0 | 0% |  | 293087.9545 | 0
201010 | 2010-10-31 | 94.8865 | 0 | 0% |  | 195285.3016 | 0
201011 | 2010-11-30 | 74.9524 | 0 | 0% |  | 160553.7607 | 0
201012 | 2010-12-31 | 58.8312 | 0 | 0% |  | 132465.5057 | 0
20111 | 2011-01-31 | 74.9844 | 0 | 0% |  | 160609.5235 | 0
20112 | 2011-02-28 | 94.5625 | 0 | 0% |  | 194720.8401 | 0
20113 | 2011-03-31 | 130.8698 | 0 | 0% |  | 257979.6864 | 0
20114 | 2011-04-30 | 177.9207 | 0 | 0% |  | 339957.3934 | 0
20115 | 2011-05-31 | 192.4922 | 0 | 0% |  | 365345.6275 | 0
20116 | 2011-06-30 | 170.0824 | 0 | 0% |  | 326300.5965 | 0
20117 | 2011-07-31 | 192.8801 | 0 | 0% |  | 366021.4212 | 0
20118 | 2011-08-31 | 182.2619 | 0 | 0% |  | 347521.1881 | 0
20119 | 2011-09-30 | 157.7165 | 0 | 0% |  | 304755.255 | 0
201110 | 2011-10-31 | 131.3785 | 0 | 0% |  | 258865.9589 | 0
201111 | 2011-11-30 | 52.5904 | 0 | 0% |  | 121591.9137 | 0
201112 | 2011-12-31 | 63.8461 | 0 | 0% |  | 141203.0652 | 0
20121 | 2012-01-31 | 88.0874 | 0 | 0% |  | 183439.0145 | 0
20122 | 2012-02-29 | 129.2708 | 0 | 0% |  | 255193.766 | 0
20123 | 2012-03-31 | 152.1313 | 0 | 0% |  | 295024.0083 | 0
20124 | 2012-04-30 | 132.9995 | 0 | 0% |  | 261690.2686 | 0
20125 | 2012-05-31 | 172.9684 | 0 | 0% |  | 331328.9691 | 0
20126 | 2012-06-30 | 180.6266 | 0 | 0% |  | 344671.9552 | 0
20127 | 2012-07-31 | 218.4572 | 0 | 0% |  | 410585.0365 | 0
20128 | 2012-08-31 | 197.0878 | 0 | 0% |  | 373352.623 | 0
20129 | 2012-09-30 | 130.3399 | 0 | 0% |  | 257056.4746 | 0
201210 | 2012-10-31 | 96.1331 | 0 | 0% |  | 197457.3062 | 0
201211 | 2012-11-30 | 69.0054 | 0 | 0% |  | 150192.1572 | 0
201212 | 2012-12-31 | 67.4695 | 0 | 0% |  | 147516.1767 | 0
20131 | 2013-01-31 | 80.3657 | 0 | 0% |  | 169985.4485 | 0
20132 | 2013-02-28 | 91.3199 | 0 | 0% |  | 189071.1642 | 0
20133 | 2013-03-31 | 114.7254 | 0 | 0% |  | 229851.0839 | 0
20134 | 2013-04-30 | 136.3027 | 0 | 0% |  | 267445.503 | 0
20135 | 2013-05-31 | 172.1663 | 0 | 0% |  | 329931.5096 | 0
20136 | 2013-06-30 | 185.4381 | 0 | 0% |  | 353055.0852 | 0
20137 | 2013-07-31 | 198.9813 | 0 | 0% |  | 376651.7556 | 0
20138 | 2013-08-31 | 189.7561 | 0 | 0% |  | 360578.5476 | 0
20139 | 2013-09-30 | 143.6494 | 0 | 0% |  | 280245.9278 | 0
201310 | 2013-10-31 | 103.2426 | 0 | 0% |  | 209844.2423 | 0
201311 | 2013-11-30 | 66.9112 | 0 | 0% |  | 146543.4573 | 0
201312 | 2013-12-31 | 69.57 | 0 | 0% |  | 151175.8993 | 0
20141 | 2014-01-31 | 54.2174 | 0 | 0% |  | 124426.66 | 0
20142 | 2014-02-28 | 91.0583 | 179447 | 97.8% | 183483.6401 | 188615.4036 | 1
20143 | 2014-03-31 | 155.2786 | 309133 | 99.9% | 309442.4424 | 300507.7239 | 2
20144 | 2014-04-30 | 162.1561 | 311309 | 95.2% | 327005.2521 | 312490.3747 | 3
20145 | 2014-05-31 | 189.9837 | 358602 | 98.2% | 365175.1527 | 360975.0423 | 4
20146 | 2014-06-30 | 196.5894 | 381045 | 98.9% | 385283.1143 | 372484.2399 | 5
20147 | 2014-07-31 | 179.8058 | 348398 | 100% | 348398 | 343241.9511 | 6
20148 | 2014-08-31 | 195.1539 | 377568 | 100% | 377568 | 369983.1405 | 7
20149 | 2014-09-30 | 151.1009 | 300992 | 100% | 300992 | 293228.8129 | 8
201410 | 2014-10-31 | 130.0219 | 250837 | 100% | 250837 | 256502.4276 | 9
201411 | 2014-11-30 | 64.4707 | 125751 | 100% | 125751 | 142291.296 | 10
201412 | 2014-12-31 | 64.1906 | 104310 | 100% | 104310 | 141803.2925 | 11
20151 | 2015-01-31 | 82.2066 | 139966 | 97% | 144294.8454 | 173192.8114 | 12
20152 | 2015-02-28 | 91.9387 | 187306 | 100% | 187306 | 190149.3713 | 1
20153 | 2015-03-31 | 125.3819 | 244654 | 100% | 244654 | 248418.0321 | 2
20154 | 2015-04-30 | 179.132 | 329312 | 94.6% | 348109.9366 | 342067.8591 | 3
20155 | 2015-05-31 | 183.5563 | 360143 | 100% | 360143 | 349776.5243 | 4
20156 | 2015-06-30 | 209.5483 | 394458 | 100% | 394458 | 395062.8494 | 5
20157 | 2015-07-31 | 210.0701 | 393474 | 98.4% | 399871.9512 | 395971.9225 | 6
20158 | 2015-08-31 | 175.7804 | 222165 | 80% | 277706.25 | 336228.3739 | 7
20159 | 2015-09-30 | 151.2553 | 297156 | 99.3% | 299250.7553 | 293497.7531 | 8
201510 | 2015-10-31 | 110.0115 | 212621 | 100% | 212621 | 221637.9095 | 9
201511 | 2015-11-30 | 98.5667 | 181659 | 98.6% | 184238.3367 | 201697.3098 | 10
201512 | 2015-12-31 | 59.9514 | 99400 | 100% | 99400 | 134417.2599 | 11
20161 | 2016-01-31 | 59.9707 | 107637 | 100% | 107637 | 134450.8891 | 12
20162 | 2016-02-29 | 94.6804 | 194124 | 99.6% | 194903.6145 | 194926.2693 | 1
20163 | 2016-03-31 | 124.5579 | 253274 | 99.8% | 253781.5631 | 246982.2882 | 2
20164 | 2016-04-30 | 160.9662 | 314735 | 99.4% | 316634.8089 | 310417.2961 | 3
20165 | 2016-05-31 | 166.6274 | 319360 | 97.1% | 328898.0433 | 320280.8701 | 4
20166 | 2016-06-30 | 194.3737 | 380073 | 98.6% | 385469.574 | 368623.7944 | 5
20167 | 2016-07-31 | 200.6218 | 388615 | 98.7% | 393733.536 | 379510.0632 | 6
20168 | 2016-08-31 | 206.3242 | 395618 | 99.1% | 399210.8981 | 389445.4799 | 7
20169 | 2016-09-30 | 168.5972 | 319103 | 98.8% | 322978.7449 | 323712.9087 | 8
201610 | 2016-10-31 | 120.7116 | 207809 | 99.5% | 208853.2663 | 240280.9101 | 9
201611 | 2016-11-30 | 71.9201 | 135718 | 100% | 135718 | 155270.5174 | 10
201612 | 2016-12-31 | 77.1182 | 128530 | 100% | 128530 | 164327.2982 | 11
20171 | 2017-01-31 | 78.436 | 138405 | 98.4% | 140655.4878 | 166623.3315 | 12
20172 | 2017-02-28 | 86.1685 | 174412 | 99.5% | 175288.4422 | 180095.7786 | 1
20173 | 2017-03-31 | 150.0424 | 305674 | 98.2% | 311276.9857 | 291384.4758 | 2
20174 | 2017-04-30 | 184.674 | 370359 | 99.4% | 372594.5674 | 351723.7903 | 3
20175 | 2017-05-31 | 183.2823 | 359810 | 99.5% | 361618.0905 | 349299.0647 | 4
20176 | 2017-06-30 | 196.5873 | 382085 | 98.9% | 386334.6815 | 372480.5467 | 5
20177 | 2017-07-31 | 190.5832 | 357555 | 99.4% | 359713.2797 | 362019.4924 | 6
20178 | 2017-08-31 | 168.4743 | 334492 | 99.9% | 334826.8268 | 323498.7451 | 7
20179 | 2017-09-30 | 143.4894 | 294322 | 99.3% | 296396.7774 | 279967.0439 | 8
201710 | 2017-10-31 | 122.6973 | 255220 | 99.7% | 255987.9639 | 243740.5766 | 9
201711 | 2017-11-30 | 76.1029 | 153491 | 99.9% | 153644.6446 | 162558.2693 | 10
201712 | 2017-12-31 | 57.093 | 94590 | 99.9% | 94684.6847 | 129436.8807 | 11
20181 | 2018-01-31 | 70.757 | 119420 | 99.1% | 120504.5409 | 153244.0588 | 12
20182 | 2018-02-28 | 91.0063 | 183365 | 99.6% | 184101.4056 | 188524.8198 | 1
20183 | 2018-03-31 | 130.0469 | 246935 | 99.4% | 248425.5533 | 256545.9915 | 2
20184 | 2018-04-30 | 140.0604 | 284592 | 0% |  | 273992.6484 | 0
20185 | 2018-05-31 | 156.5563 | 0 | 0% |  | 302733.8049 | 0
20186 | 2018-06-30 | 185.3616 | 0 | 0% |  | 352921.8103 | 0
20187 | 2018-07-31 | 222.2075 | 0 | 0% |  | 417119.1432 | 0
20188 | 2018-08-31 | 202.211 | 0 | 0% |  | 382278.9364 | 0
20189 | 2018-09-30 | 172.0033 | 0 | 0% |  | 329647.4995 | 0
201810 | 2018-10-31 | 38.7127 | 0 | 0% |  | 97412.5611 | 0
201811 | 2018-11-30 | 0 | 0 | 0% |  |  | 0
201812 | 2018-12-31 | -94.578 | 0 | 0% |  | -134822.3773 | 0
20191 | 2019-01-31 | -227.8686 | 0 | 0% |  | -367057.3157 | 0
20192 | 2019-02-28 | 0 | 0 | 0% |  |  | 0
20193 | 2019-03-31 | -361.1593 | 0 | 0% |  | -599292.2541 | 0
20194 | 2019-04-30 | -494.4499 | 0 | 0% |  | -831527.1925 | 0
20195 | 2019-05-31 | 0 | 0 | 0% |  |  | 0
20196 | 2019-06-30 | -627.7406 | 0 | 0% |  | -1063762.1309 | 0
20197 | 2019-07-31 | -761.0312 | 0 | 0% |  | -1295997.0693 | 0
20198 | 2019-08-31 | 0 | 0 | 0% |  |  | 0
20199 | 2019-09-30 | -894.3219 | 0 | 0% |  | -1528232.0077 | 0
201910 | 2019-10-31 | -1027.6125 | 0 | 0% |  | -1760466.9461 | 0
201911 | 2019-11-30 | 0 | 0 | 0% |  |  | 0
201912 | 2019-12-31 | -1160.9032 | 0 | 0% |  | -1992701.8845 | 0
20201 | 2020-01-31 | -1294.1938 | 0 | 0% |  | -2224936.8229 | 0
20202 | 2020-02-29 | 0 | 0 | 0% |  |  | 0
20203 | 2020-03-31 | -1427.4845 | 0 | 0% |  | -2457171.7612 | 0
20204 | 2020-04-30 | -1560.7752 | 0 | 0% |  | -2689406.6996 | 0
20205 | 2020-05-31 | 0 | 0 | 0% |  |  | 0
20206 | 2020-06-30 | -1694.0658 | 0 | 0% |  | -2921641.638 | 0
20207 | 2020-07-31 | -1827.3565 | 0 | 0% |  | -3153876.5764 | 0
20208 | 2020-08-31 | 0 | 0 | 0% |  |  | 0
20209 | 2020-09-30 | -1960.6471 | 0 | 0% |  | -3386111.5148 | 0
202010 | 2020-10-31 | -2093.9378 | 0 | 0% |  | -3618346.4532 | 0
202011 | 2020-11-30 | 0 | 0 | 0% |  |  | 0
202012 | 2020-12-31 | -2227.2284 | 0 | 0% |  | -3850581.3916 | 0
20211 | 2021-01-31 | -2360.5191 | 0 | 0% |  | -4082816.33 | 0
20212 | 2021-02-28 | 0 | 0 | 0% |  |  | 0
20213 | 2021-03-31 | -2493.8097 | 0 | 0% |  | -4315051.2684 | 0
20214 | 2021-04-30 | -2627.1004 | 0 | 0% |  | -4547286.2068 | 0
20215 | 2021-05-31 | 0 | 0 | 0% |  |  | 0
20216 | 2021-06-30 | -2760.391 | 0 | 0% |  | -4779521.1452 | 0
20217 | 2021-07-31 | -2893.6817 | 0 | 0% |  | -5011756.0836 | 0
Note on D1: Feyswal Assiandi (3E): Only consider complete months and complete years for the correlation and then use remaining complete months to calculate uncertainty
Note on R1: Feyswal Assiandi (3E): Copy/paste the months you want to use for the correlation (only by groups of 12 consecutive months)
Note on S1: Feyswal Assiandi (3E): Baisser la formule pour considérer toute la période sélectionnée
Note on T1: Feyswal Assiandi (3E): Baisser la formule pour considérer toute la période sélectionnée
Note on AE1: Feyswal Assiandi (3E): Copy/paste all complete months that can be used for testing accuracy of the correlation
Note on AF1: Feyswal Assiandi (3E): Baisser la formule pour considérer toute la période sélectionnée
Note on AG1: Feyswal Assiandi (3E): Baisser la formule pour considérer toute la période sélectionnée
Note on J21: Feyswal Assiandi (3E): Please recopy the value of the trendline equation