## Data to provide
Project data from client |  |  | Clear information |  | Clear data | Year&Month | Date | GHI [Wh/m^2] | POA Irradiation [Wh/m^2] | Year&Month | Date | GTI Pyrano [kWh/m²] | Year&Month | Date | Yield at Meter [kWh] | Year&Month | Date | Availability (in %)
[6 empty] | 20051 | 2005-01-31 | 58936 | 93669.8571 | 20157 | 2015-07-31 | 20 | 20051 | 2005-01-31 | 179447 | 20051 | 2005-01-31 | 97.8%
General Information |  | 1 |  | Items changed manually |  | 20052 | 2005-02-28 | 75313 | 106519.8359 | 20158 | 2015-08-31 |  | 20052 | 2005-02-28 | 309133 | 20052 | 2005-02-28 | 99.9%
Client information |  |  |  | Inputs |  | 20053 | 2005-03-31 | 115584 | 143795.6841 | 20159 | 2015-09-30 |  | 20053 | 2005-03-31 | 311309 | 20053 | 2005-03-31 | 95.2%
Client Name |  |  |  | Outputs |  | 20054 | 2005-04-30 | 147550 | 160126.6395 | 201810 | 2018-10-31 | 30 | 20054 | 2005-04-30 | 358602 | 20054 | 2005-04-30 | 98.2%
Client TVA number | [5 empty] | 20055 | 2005-05-31 | 184347 | 187315.3561 | 201511 | 2015-11-30 |  | 20055 | 2005-05-31 | 381045 | 20055 | 2005-05-31 | 98.9%
Contact person | [5 empty] | 20056 | 2005-06-30 | 203724 | 201306.2162 | 201512 | 2015-12-31 |  | 20056 | 2005-06-30 | 348398 | 20056 | 2005-06-30 | 100%
Email address | [5 empty] | 20057 | 2005-07-31 | 212392 | 212584.4606 | 20161 | 2016-01-31 | 60.9 | 20057 | 2005-07-31 | 377568 | 20057 | 2005-07-31 | 100%
3E information | [5 empty] | 20058 | 2005-08-31 | 153789 | 163410.511 | 20162 | 2016-02-29 | 94 | 20058 | 2005-08-31 | 300992 | 20058 | 2005-08-31 | 100%
Reference 3E (PR) | [5 empty] | 20059 | 2005-09-30 | 134705 | 159657.2096 | 20163 | 2016-03-31 | 123.2 | 20059 | 2005-09-30 | 250837 | 20059 | 2005-09-30 | 100%
3E Author | [5 empty] | 200510 | 2005-10-31 | 71903 | 87919.1128 | 20164 | 2016-04-30 | 157.4 | 200510 | 2005-10-31 | 125751 | 200510 | 2005-10-31 | 100%
Date | [5 empty] | 200511 | 2005-11-30 | 55493 | 81516.4917 | 20165 | 2016-05-31 | 165.5 | 200511 | 2005-11-30 | 104310 | 200511 | 2005-11-30 | 100%
Version | [5 empty] | 200512 | 2005-12-31 | 53494 | 89733.449 | 20166 | 2016-06-30 | 199.9 | 200512 | 2005-12-31 | 139966 | 200512 | 2005-12-31 | 97%
3E Controller | [5 empty] | 20061 | 2006-01-31 | 49365 | 73054.041 | 20167 | 2016-07-31 | 208.9 | 20061 | 2006-01-31 | 187306 | 20061 | 2006-01-31 | 100%
Date | [5 empty] | 20062 | 2006-02-28 | 85307 | 124523.0215 | 20168 | 2016-08-31 | 203.8 | 20062 | 2006-02-28 | 244654 | 20062 | 2006-02-28 | 100%
3E Approver | [5 empty] | 20063 | 2006-03-31 | 113827 | 137760.6059 | 20169 | 2016-09-30 | 173.4 | 20063 | 2006-03-31 | 329312 | 20063 | 2006-03-31 | 94.6%
Date | [5 empty] | 20064 | 2006-04-30 | 163081 | 180844.1669 | 201610 | 2016-10-31 | 119.6 | 20064 | 2006-04-30 | 360143 | 20064 | 2006-04-30 | 100%
[6 empty] | 20065 | 2006-05-31 | 187865 | 190688.7677 | 201611 | 2016-11-30 | 72.8 | 20065 | 2006-05-31 | 394458 | 20065 | 2006-05-31 | 100%
Main parameter | [5 empty] | 20066 | 2006-06-30 | 220762 | 219147.7669 | 201612 | 2016-12-31 | 82.4 | 20066 | 2006-06-30 | 393474 | 20066 | 2006-06-30 | 98.4%
Lot | [5 empty] | 20067 | 2006-07-31 | 219791 | 222115.7537 | 20171 | 2017-01-31 | 76.7 | 20067 | 2006-07-31 | 222165 | 20067 | 2006-07-31 | 80%
Project Number | [5 empty] | 20068 | 2006-08-31 | 186492 | 199068.3851 | 20172 | 2017-02-28 | 84.3 | 20068 | 2006-08-31 | 297156 | 20068 | 2006-08-31 | 99.3%
Project Name | [5 empty] | 20069 | 2006-09-30 | 111189 | 128150.0899 | 20173 | 2017-03-31 | 150.4 | 20069 | 2006-09-30 | 212621 | 20069 | 2006-09-30
SPV | [5 empty] | 200610 | 2006-10-31 | 81408 | 103772.0593 | 20174 | 2017-04-30 | 184.2 | 200610 | 2006-10-31 | 181659 | 200610 | 2006-10-31
Project Localization | [5 empty] | 200611 | 2006-11-30 | 59516 | 88966.4841 | 20175 | 2017-05-31 | 179.9 | 200611 | 2006-11-30 | 99400 | 200611 | 2006-11-30
Department code | [5 empty] | 200612 | 2006-12-31 | 51541 | 83984.002 | 20176 | 2017-06-30 | 194.4 | 200612 | 2006-12-31 | 107637 | 200612 | 2006-12-31
Department name | [5 empty] | 20071 | 2007-01-31 | 60723 | 97430.2009 | 20177 | 2017-07-31 | 183.2 | 20071 | 2007-01-31 | 194124 | 20071 | 2007-01-31
Installation Type | [5 empty] | 20072 | 2007-02-28 | 65183 | 88617.6454 | 20178 | 2017-08-31 | 168.8 | 20072 | 2007-02-28 | 253274 | 20072 | 2007-02-28
Name plate power | kWp |  |  |  |  | 20073 | 2007-03-31 | 118607 | 144813.8506 | 20179 | 2017-09-30 | 143.4 | 20073 | 2007-03-31 |  | 20073 | 2007-03-31
COD date | [5 empty] | 20074 | 2007-04-30 | 153341 | 168547.0334 | 201710 | 2017-10-31 | 126 | 20074 | 2007-04-30 |  | 20074 | 2007-04-30
Availability assumption | % |  |  |  |  | 20075 | 2007-05-31 | 166761 | 168950.5595 | 201711 | 2017-11-30 | 78.5 | 20075 | 2007-05-31 |  | 20075 | 2007-05-31
[6 empty] | 20076 | 2007-06-30 | 196734 | 194099.9919 | 201712 | 2017-12-31 | 52.5 | 20076 | 2007-06-30 |  | 20076 | 2007-06-30
Project information | [5 empty] | 20077 | 2007-07-31 | 210466 | 210514.5275 | 19001 |  |  | 20077 | 2007-07-31 |  | 20077 | 2007-07-31
Latitude (4 digits min.) | ° |  |  |  |  | 20078 | 2007-08-31 | 167786 | 177771.472 | 20051 | 2005-01-01 | 40 | 20078 | 2007-08-31 |  | 20078 | 2007-08-31
Longitude (4 digits min.) | ° |  |  |  |  | 20079 | 2007-09-30 | 144552 | 171373.8806 | 19001 |  |  | 20079 | 2007-09-30 |  | 20079 | 2007-09-30
Altitude | m |  |  |  |  | 200710 | 2007-10-31 | 89070 | 120045.0965 | 19001 |  |  | 200710 | 2007-10-31 |  | 200710 | 2007-10-31
Topography | [5 empty] | 200711 | 2007-11-30 | 69936 | 110839.9884 | 19001 |  |  | 200711 | 2007-11-30 |  | 200711 | 2007-11-30
Area superficie | ha |  |  |  |  | 200712 | 2007-12-31 | 54994 | 92911.1492 | 19001 |  |  | 200712 | 2007-12-31 |  | 200712 | 2007-12-31
Azimuth (S=180°,N=360°) | ° |  |  |  |  | 20081 | 2008-01-31 | 55991 | 85880.0434 | 19001 |  |  | 20081 | 2008-01-31 |  | 20081 | 2008-01-31
Tilt | ° |  |  |  |  | 20082 | 2008-02-29 | 77394 | 109982.7855 | 19001 |  |  | 20082 | 2008-02-29 |  | 20082 | 2008-02-29
Albedo (default=0.2) | [5 empty] | 20083 | 2008-03-31 | 118504 | 143513.0304 | 19001 |  |  | 20083 | 2008-03-31 |  | 20083 | 2008-03-31
[6 empty] | 20084 | 2008-04-30 | 152598 | 166771.3451 | 19001 |  |  | 20084 | 2008-04-30 |  | 20084 | 2008-04-30
System Parameters | [5 empty] | 20085 | 2008-05-31 | 156968 | 158688.6495 | 19001 |  |  | 20085 | 2008-05-31 |  | 20085 | 2008-05-31
Module manufacter | [5 empty] | 20086 | 2008-06-30 | 206964 | 204072.018 | 19001 |  |  | 20086 | 2008-06-30 |  | 20086 | 2008-06-30
Module model | [5 empty] | 20087 | 2008-07-31 | 214450 | 215544.566 | 19001 |  |  | 20087 | 2008-07-31 |  | 20087 | 2008-07-31
Module nameplate power | Wp |  |  |  |  | 20088 | 2008-08-31 | 182035 | 195253.4904 | 19001 |  |  | 20088 | 2008-08-31 |  | 20088 | 2008-08-31
Average Flash test power | Wp |  |  |  |  | 20089 | 2008-09-30 | 132411 | 157982.9997 | 19001 |  |  | 20089 | 2008-09-30 |  | 20089 | 2008-09-30
No. of modules | pcs |  |  |  |  | 200810 | 2008-10-31 | 92573 | 121981.0445 | 19001 |  |  | 200810 | 2008-10-31 |  | 200810 | 2008-10-31
Type of inverters | [5 empty] | 200811 | 2008-11-30 | 57351 | 84316.8822 | 19001 |  |  | 200811 | 2008-11-30 |  | 200811 | 2008-11-30
No. of inverters | pcs |  |  |  |  | 200812 | 2008-12-31 | 44519 | 67130.8898 | 19001 |  |  | 200812 | 2008-12-31 |  | 200812 | 2008-12-31
Type of transformers | [5 empty] | 20091 | 2009-01-31 | 54983 | 83119.5526 | 19001 |  |  | 20091 | 2009-01-31 |  | 20091 | 2009-01-31
No. of transformers | pcs |  |  |  |  | 20092 | 2009-02-28 | 79007 | 111123.4371 | 19001 |  |  | 20092 | 2009-02-28 |  | 20092 | 2009-02-28
[6 empty] | 20093 | 2009-03-31 | 133766 | 167991.4077 | 19001 |  |  | 20093 | 2009-03-31 |  | 20093 | 2009-03-31
Module technology | [5 empty] | 20094 | 2009-04-30 | 130015 | 140505.3443 | 19001 |  |  | 20094 | 2009-04-30 |  | 20094 | 2009-04-30
Module cell technology (check) | W |  |  |  |  | 20095 | 2009-05-31 | 172744 | 175990.3156 | 19001 |  |  | 20095 | 2009-05-31 |  | 20095 | 2009-05-31
Module power interval (product) | % |  |  |  |  | 20096 | 2009-06-30 | 205505 | 202353.1672 | 19001 |  |  | 20096 | 2009-06-30 |  | 20096 | 2009-06-30
Module power interval (product) | % |  |  |  |  | 20097 | 2009-07-31 | 210983 | 212094.0485 | 19001 |  |  | 20097 | 2009-07-31 |  | 20097 | 2009-07-31
Power tolerance (min) | % |  |  |  |  | 20098 | 2009-08-31 | 195999 | 212280.0019 | 19001 |  |  | 20098 | 2009-08-31 |  | 20098 | 2009-08-31
Power tolerance (max) | % |  |  |  |  | 20099 | 2009-09-30 | 149630 | 179723.458 | 19001 |  |  | 20099 | 2009-09-30 |  | 20099 | 2009-09-30
Module quality gain / loss | [5 empty] | 200910 | 2009-10-31 | 105221 | 143521.1727 | 19001 |  |  | 200910 | 2009-10-31 |  | 200910 | 2009-10-31
[6 empty] | 200911 | 2009-11-30 | 48162 | 64251.5391 | 19001 |  |  | 200911 | 2009-11-30 |  | 200911 | 2009-11-30
[6 empty] | 200912 | 2009-12-31 | 44782 | 68459.6707 | 19001 |  |  | 200912 | 2009-12-31 |  | 200912 | 2009-12-31
[6 empty] | 20101 | 2010-01-31 | 53254 | 80741.2753 | 19001 |  |  | 20101 | 2010-01-31 |  | 20101 | 2010-01-31
[6 empty] | 20102 | 2010-02-28 | 72073 | 100074.8345 | 19001 |  |  | 20102 | 2010-02-28 |  | 20102 | 2010-02-28
Resolution |  | m |  |  |  | 20103 | 2010-03-31 | 115589 | 141885.6695 | 19001 |  |  | 20103 | 2010-03-31 |  | 20103 | 2010-03-31
Source |  | hc3v5 |  |  |  | 20104 | 2010-04-30 | 161347 | 178748.8553 | 19001 |  |  | 20104 | 2010-04-30 |  | 20104 | 2010-04-30
Début |  | 20050101 |  |  |  | 20105 | 2010-05-31 | 178462 | 179825.2888 | 19001 |  |  | 20105 | 2010-05-31 |  | 20105 | 2010-05-31
Fin |  | 20181018 |  |  |  | 20106 | 2010-06-30 | 194122 | 190948.6038 | 19001 |  |  | 20106 | 2010-06-30 |  | 20106 | 2010-06-30
Lien SoDa |  | http://192.168.100.38:8082/?source=&lat=&lon=&start=kWp&end=&alt=&tilt=&azimuth=&albedo=&resolution=_classic |  |  |  | 20107 | 2010-07-31 | 219807 | 220498.6808 | 19001 |  |  | 20107 | 2010-07-31 |  | 20107 | 2010-07-31
[6 empty] | 20108 | 2010-08-31 | 200589 | 216919.189 | 19001 |  |  | 20108 | 2010-08-31 |  | 20108 | 2010-08-31
[6 empty] | 20109 | 2010-09-30 | 137609 | 163144.3664 | 19001 |  |  | 20109 | 2010-09-30 |  | 20109 | 2010-09-30
[6 empty] | 201010 | 2010-10-31 | 83238 | 108119.2402 | 19001 |  |  | 201010 | 2010-10-31 |  | 201010 | 2010-10-31
[6 empty] | 201011 | 2010-11-30 | 60389 | 88578.7946 | 19001 |  |  | 201011 | 2010-11-30 |  | 201011 | 2010-11-30
[6 empty] | 201012 | 2010-12-31 | 46696 | 72775.9536 | 19001 |  |  | 201012 | 2010-12-31 |  | 201012 | 2010-12-31
[6 empty] | 20111 | 2011-01-31 | 55936 | 88610.1675 | 19001 |  |  | 20111 | 2011-01-31 |  | 20111 | 2011-01-31
[6 empty] | 20112 | 2011-02-28 | 76334 | 107801.6664 | 19001 |  |  | 20112 | 2011-02-28 |  | 20112 | 2011-02-28
[6 empty] | 20113 | 2011-03-31 | 116926 | 143391.9689 | 19001 |  |  | 20113 | 2011-03-31 |  | 20113 | 2011-03-31
[6 empty] | 20114 | 2011-04-30 | 169926 | 189513.7615 | 19001 |  |  | 20114 | 2011-04-30 |  | 20114 | 2011-04-30
[6 empty] | 20115 | 2011-05-31 | 200380 | 203797.5333 | 19001 |  |  | 20115 | 2011-05-31 |  | 20115 | 2011-05-31
[6 empty] | 20116 | 2011-06-30 | 186252 | 181830.2585 | 19001 |  |  | 20116 | 2011-06-30 |  | 20116 | 2011-06-30
[6 empty] | 20117 | 2011-07-31 | 204531 | 204177.7442 | 19001 |  |  | 20117 | 2011-07-31 |  | 20117 | 2011-07-31
[6 empty] | 20118 | 2011-08-31 | 181207 | 193769.257 | 19001 |  |  | 20118 | 2011-08-31 |  | 20118 | 2011-08-31
[6 empty] | 20119 | 2011-09-30 | 141900 | 169708.5511 | 19001 |  |  | 20119 | 2011-09-30 |  | 20119 | 2011-09-30
[6 empty] | 201110 | 2011-10-31 | 105796 | 143890.598 | 19001 |  |  | 201110 | 2011-10-31 |  | 201110 | 2011-10-31
[6 empty] | 201111 | 2011-11-30 | 47701 | 66658.3202 | 19001 |  |  | 201111 | 2011-11-30 |  | 201111 | 2011-11-30
[6 empty] | 201112 | 2011-12-31 | 49491 | 77691.8255 | 19001 |  |  | 201112 | 2011-12-31 |  | 201112 | 2011-12-31
[6 empty] | 20121 | 2012-01-31 | 62184 | 101454.3551 | 19001 |  |  | 20121 | 2012-01-31 |  | 20121 | 2012-01-31
[6 empty] | 20122 | 2012-02-29 | 95828 | 141824.5715 | 19001 |  |  | 20122 | 2012-02-29 |  | 20122 | 2012-02-29
[6 empty] | 20123 | 2012-03-31 | 131464 | 164233.6171 | 19001 |  |  | 20123 | 2012-03-31 |  | 20123 | 2012-03-31
[6 empty] | 20124 | 2012-04-30 | 134864 | 145479.5937 | 19001 |  |  | 20124 | 2012-04-30 |  | 20124 | 2012-04-30
[6 empty] | 20125 | 2012-05-31 | 181673 | 184659.2905 | 19001 |  |  | 20125 | 2012-05-31 |  | 20125 | 2012-05-31
[6 empty] | 20126 | 2012-06-30 | 194789 | 192166.2392 | 19001 |  |  | 20126 | 2012-06-30 |  | 20126 | 2012-06-30
[6 empty] | 20127 | 2012-07-31 | 227845 | 229249.851 | 19001 |  |  | 20127 | 2012-07-31 |  | 20127 | 2012-07-31
[6 empty] | 20128 | 2012-08-31 | 193623 | 208302.3798 | 19001 |  |  | 20128 | 2012-08-31 |  | 20128 | 2012-08-31
[6 empty] | 20129 | 2012-09-30 | 123353 | 142872.5571 | 19001 |  |  | 20129 | 2012-09-30 |  | 20129 | 2012-09-30
[6 empty] | 201210 | 2012-10-31 | 85019 | 109341.2401 | 19001 |  |  | 201210 | 2012-10-31 |  | 201210 | 2012-10-31
[6 empty] | 201211 | 2012-11-30 | 56305 | 82749.2131 | 19001 |  |  | 201211 | 2012-11-30 |  | 201211 | 2012-11-30
[6 empty] | 201212 | 2012-12-31 | 50282 | 81243.6694 | 19001 |  |  | 201212 | 2012-12-31 |  | 201212 | 2012-12-31
[6 empty] | 20131 | 2013-01-31 | 58804 | 93885.1927 | 19001 |  |  | 20131 | 2013-01-31 |  | 20131 | 2013-01-31
[6 empty] | 20132 | 2013-02-28 | 75912 | 104623.0805 | 19001 |  |  | 20132 | 2013-02-28 |  | 20132 | 2013-02-28
[6 empty] | 20133 | 2013-03-31 | 106695 | 127566.4278 | 19001 |  |  | 20133 | 2013-03-31 |  | 20133 | 2013-03-31
[6 empty] | 20134 | 2013-04-30 | 135065 | 148717.5683 | 19001 |  |  | 20134 | 2013-04-30 |  | 20134 | 2013-04-30
[6 empty] | 20135 | 2013-05-31 | 181237 | 183873.0604 | 19001 |  |  | 20135 | 2013-05-31 |  | 20135 | 2013-05-31
[6 empty] | 20136 | 2013-06-30 | 201397 | 196882.7041 | 19001 |  |  | 20136 | 2013-06-30 |  | 20136 | 2013-06-30
[6 empty] | 20137 | 2013-07-31 | 208938 | 210158.5175 | 19001 |  |  | 20137 | 2013-07-31 |  | 20137 | 2013-07-31
[6 empty] | 20138 | 2013-08-31 | 187685 | 201115.5082 | 19001 |  |  | 20138 | 2013-08-31 |  | 20138 | 2013-08-31
[6 empty] | 20139 | 2013-09-30 | 133728 | 155919.2644 | 19001 |  |  | 20139 | 2013-09-30 |  | 20139 | 2013-09-30
[6 empty] | 201310 | 2013-10-31 | 88534 | 116310.3018 | 19001 |  |  | 201310 | 2013-10-31 |  | 201310 | 2013-10-31
[6 empty] | 201311 | 2013-11-30 | 55644 | 80696.404 | 19001 |  |  | 201311 | 2013-11-30 |  | 201311 | 2013-11-30
[6 empty] | 201312 | 2013-12-31 | 51165 | 83302.68 | 19001 |  |  | 201312 | 2013-12-31 |  | 201312 | 2013-12-31
[6 empty] | 20141 | 2014-01-31 | 49030 | 68253.1877 | 19001 |  |  | 20141 | 2014-01-31 |  | 20141 | 2014-01-31
[6 empty] | 20142 | 2014-02-28 | 75229 | 104366.6633 | 19001 |  |  | 20142 | 2014-02-28 | 179447 | 20142 | 2014-02-28 | 97.8%
[6 empty] | 20143 | 2014-03-31 | 131166 | 167318.8314 | 19001 |  |  | 20143 | 2014-03-31 | 309133 | 20143 | 2014-03-31 | 99.9%
[6 empty] | 20144 | 2014-04-30 | 157983 | 174060.4366 | 19001 |  |  | 20144 | 2014-04-30 | 311309 | 20144 | 2014-04-30 | 95.2%
[6 empty] | 20145 | 2014-05-31 | 197665 | 201338.5816 | 19001 |  |  | 20145 | 2014-05-31 | 358602 | 20145 | 2014-05-31 | 98.2%
[6 empty] | 20146 | 2014-06-30 | 209921 | 207813.8155 | 19001 |  |  | 20146 | 2014-06-30 | 381045 | 20146 | 2014-06-30 | 98.9%
[6 empty] | 20147 | 2014-07-31 | 192106 | 191361.6991 | 19001 |  |  | 20147 | 2014-07-31 | 348398 | 20147 | 2014-07-31 | 100%
[6 empty] | 20148 | 2014-08-31 | 192028 | 206406.6623 | 19001 |  |  | 20148 | 2014-08-31 | 377568 | 20148 | 2014-08-31 | 100%
[6 empty] | 20149 | 2014-09-30 | 138922 | 163223.6153 | 19001 |  |  | 20149 | 2014-09-30 | 300992 | 20149 | 2014-09-30 | 100%
[6 empty] | 201410 | 2014-10-31 | 105356 | 142560.8426 | 19001 |  |  | 201410 | 2014-10-31 | 250837 | 201410 | 2014-10-31 | 100%
[6 empty] | 201411 | 2014-11-30 | 53946 | 78304.0792 | 19001 |  |  | 201411 | 2014-11-30 | 125751 | 201411 | 2014-11-30 | 100%
[6 empty] | 201412 | 2014-12-31 | 49027 | 78029.5217 | 19001 |  |  | 201412 | 2014-12-31 | 104310 | 201412 | 2014-12-31 | 100%
[6 empty] | 20151 | 2015-01-31 | 60036 | 95689.6995 | 19001 |  |  | 20151 | 2015-01-31 | 139966 | 20151 | 2015-01-31 | 97%
[6 empty] | 20152 | 2015-02-28 | 76152 | 105229.6947 | 19001 |  |  | 20152 | 2015-02-28 | 187306 | 20152 | 2015-02-28 | 100%
[6 empty] | 20153 | 2015-03-31 | 113248 | 138012.4498 | 19001 |  |  | 20153 | 2015-03-31 | 244654 | 20153 | 2015-03-31 | 100%
[6 empty] | 20154 | 2015-04-30 | 170370 | 190701.1386 | 19001 |  |  | 20154 | 2015-04-30 | 329312 | 20154 | 2015-04-30 | 94.6%
[6 empty] | 20155 | 2015-05-31 | 192708 | 195038.1404 | 19001 |  |  | 20155 | 2015-05-31 | 360143 | 20155 | 2015-05-31 | 100%
[6 empty] | 20156 | 2015-06-30 | 224145 | 220516.8537 | 19001 |  |  | 20156 | 2015-06-30 | 394458 | 20156 | 2015-06-30 | 100%
[6 empty] | 20157 | 2015-07-31 | 220319 | 221028.3108 | 19001 |  |  | 20157 | 2015-07-31 | 393474 | 20157 | 2015-07-31 | 98.4%
[6 empty] | 20158 | 2015-08-31 | 176272 | 187415.7635 | 19001 |  |  | 20158 | 2015-08-31 | 222165 | 20158 | 2015-08-31 | 80%
[6 empty] | 20159 | 2015-09-30 | 138138 | 163374.9248 | 19001 |  |  | 20159 | 2015-09-30 | 297156 | 20159 | 2015-09-30 | 99.3%
[6 empty] | 201510 | 2015-10-31 | 92980 | 122945.5822 | 19001 |  |  | 201510 | 2015-10-31 | 212621 | 201510 | 2015-10-31 | 100%
[6 empty] | 201511 | 2015-11-30 | 69499 | 111726.7248 | 19001 |  |  | 201511 | 2015-11-30 | 181659 | 201511 | 2015-11-30 | 98.6%
[6 empty] | 201512 | 2015-12-31 | 47380 | 73874.0375 | 19001 |  |  | 201512 | 2015-12-31 | 99400 | 201512 | 2015-12-31 | 100%
[6 empty] | 20161 | 2016-01-31 | 50480 | 73892.9578 | 19001 |  |  | 20161 | 2016-01-31 | 107637 | 20161 | 2016-01-31 | 100%
[6 empty] | 20162 | 2016-02-29 | 77160 | 107917.2437 | 19001 |  |  | 20162 | 2016-02-29 | 194124 | 20162 | 2016-02-29 | 99.6%
[6 empty] | 20163 | 2016-03-31 | 112689 | 137204.6804 | 19001 |  |  | 20163 | 2016-03-31 | 253274 | 20163 | 2016-03-31 | 99.8%
[6 empty] | 20164 | 2016-04-30 | 159108 | 172894.0939 | 19001 |  |  | 20164 | 2016-04-30 | 314735 | 20164 | 2016-04-30 | 99.4%
[6 empty] | 20165 | 2016-05-31 | 175766 | 178443.4771 | 19001 |  |  | 20165 | 2016-05-31 | 319360 | 20165 | 2016-05-31 | 97.1%
[6 empty] | 20166 | 2016-06-30 | 208727 | 205641.8754 | 19001 |  |  | 20166 | 2016-06-30 | 380073 | 20166 | 2016-06-30 | 98.6%
[6 empty] | 20167 | 2016-07-31 | 211026 | 211766.6409 | 19001 |  |  | 20167 | 2016-07-31 | 388615 | 20167 | 2016-07-31 | 98.7%
[6 empty] | 20168 | 2016-08-31 | 201532 | 217356.4438 | 19001 |  |  | 20168 | 2016-08-31 | 395618 | 20168 | 2016-08-31 | 99.1%
[6 empty] | 20169 | 2016-09-30 | 149988 | 180374.3895 | 19001 |  |  | 20169 | 2016-09-30 | 319103 | 20169 | 2016-09-30 | 98.8%
[6 empty] | 201610 | 2016-10-31 | 98100 | 133434.3923 | 19001 |  |  | 201610 | 2016-10-31 | 207809 | 201610 | 2016-10-31 | 99.5%
[6 empty] | 201611 | 2016-11-30 | 58107 | 85606.3688 | 19001 |  |  | 201611 | 2016-11-30 | 135718 | 201611 | 2016-11-30 | 100%
[6 empty] | 201612 | 2016-12-31 | 53707 | 90701.839 | 19001 |  |  | 201612 | 2016-12-31 | 128530 | 201612 | 2016-12-31 | 100%
[6 empty] | 20171 | 2017-01-31 | 57419 | 91993.6192 | 19001 |  |  | 20171 | 2017-01-31 | 138405 | 20171 | 2017-01-31 | 98.4%
[6 empty] | 20172 | 2017-02-28 | 72140 | 99573.4044 | 19001 |  |  | 20172 | 2017-02-28 | 174412 | 20172 | 2017-02-28 | 99.5%
[6 empty] | 20173 | 2017-03-31 | 130929 | 162185.9657 | 19001 |  |  | 20173 | 2017-03-31 | 305674 | 20173 | 2017-03-31 | 98.2%
[6 empty] | 20174 | 2017-04-30 | 175995 | 196133.6992 | 19001 |  |  | 20174 | 2017-04-30 | 370359 | 20174 | 2017-04-30 | 99.4%
[6 empty] | 20175 | 2017-05-31 | 191532 | 194769.515 | 19001 |  |  | 20175 | 2017-05-31 | 359810 | 20175 | 2017-05-31 | 99.5%
[6 empty] | 20176 | 2017-06-30 | 210005 | 207811.7376 | 19001 |  |  | 20176 | 2017-06-30 | 382085 | 20176 | 2017-06-30 | 98.9%
[6 empty] | 20177 | 2017-07-31 | 202668 | 201926.2037 | 19001 |  |  | 20177 | 2017-07-31 | 357555 | 20177 | 2017-07-31 | 99.4%
[6 empty] | 20178 | 2017-08-31 | 170093 | 180253.8981 | 19001 |  |  | 20178 | 2017-08-31 | 334492 | 20178 | 2017-08-31 | 99.9%
[6 empty] | 20179 | 2017-09-30 | 132578 | 155762.3605 | 19001 |  |  | 20179 | 2017-09-30 | 294322 | 20179 | 2017-09-30 | 99.3%
[6 empty] | 201710 | 2017-10-31 | 100566 | 135380.8486 | 19001 |  |  | 201710 | 2017-10-31 | 255220 | 201710 | 2017-10-31 | 99.7%
[6 empty] | 201711 | 2017-11-30 | 59782 | 89706.5589 | 19001 |  |  | 201711 | 2017-11-30 | 153491 | 201711 | 2017-11-30 | 99.9%
[6 empty] | 201712 | 2017-12-31 | 46396 | 71072.0072 | 19001 |  |  | 201712 | 2017-12-31 | 94590 | 201712 | 2017-12-31 | 99.9%
[6 empty] | 20181 | 2018-01-31 | 54735 | 84466.2551 | 19001 |  |  | 20181 | 2018-01-31 | 119420 | 20181 | 2018-01-31 | 99.1%
[6 empty] | 20182 | 2018-02-28 | 74995 | 104315.6996 | 19001 |  |  | 20182 | 2018-02-28 | 183365 | 20182 | 2018-02-28 | 99.6%
[6 empty] | 20183 | 2018-03-31 | 117205 | 142585.3523 | 19001 |  |  | 20183 | 2018-03-31 | 246935 | 20183 | 2018-03-31 | 99.4%
[6 empty] | 20184 | 2018-04-30 | 139793 | 152401.0829 | 19001 |  |  | 20184 | 2018-04-30 | 284592 | 20184 | 2018-04-30
[6 empty] | 20185 | 2018-05-31 | 166363 | 168571.2553 | 19001 |  |  | 20185 | 2018-05-31 |  | 20185 | 2018-05-31
[6 empty] | 20186 | 2018-06-30 | 200723 | 196807.7218 | 19001 |  |  | 20186 | 2018-06-30 |  | 20186 | 2018-06-30
[6 empty] | 20187 | 2018-07-31 | 231214 | 232926.0298 | 19001 |  |  | 20187 | 2018-07-31 |  | 20187 | 2018-07-31
[6 empty] | 20188 | 2018-08-31 | 197884 | 213324.4473 | 19001 |  |  | 20188 | 2018-08-31 |  | 20188 | 2018-08-31
[6 empty] | 20189 | 2018-09-30 | 152863 | 183713.2724 | 19001 |  |  | 20189 | 2018-09-30 |  | 20189 | 2018-09-30
[6 empty] | 201810 | 2018-10-31 | 42711 | 53054.6818 | 19001 |  |  | 201810 | 2018-10-31 |  | 201810 | 2018-10-31
[6 empty] | 201811 | 2018-11-30 |  |  | 19001 |  |  | 201811 | 2018-11-30 |  | 201811 | 2018-11-30
[6 empty] | 201812 | 2018-12-31 | -67441 | -77603.9088 | 19001 |  |  | 201812 | 2018-12-31 |  | 201812 | 2018-12-31
[6 empty] | 20191 | 2019-01-31 | -177593 | -208262.4995 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20192 | 2019-02-28 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20193 | 2019-03-31 | -287745 | -338921.0901 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20194 | 2019-04-30 | -397897 | -469579.6807 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20195 | 2019-05-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20196 | 2019-06-30 | -508049 | -600238.2713 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20197 | 2019-07-31 | -618201 | -730896.862 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20198 | 2019-08-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20199 | 2019-09-30 | -728353 | -861555.4526 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 201910 | 2019-10-31 | -838505 | -992214.0432 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 201911 | 2019-11-30 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 201912 | 2019-12-31 | -948657 | -1122872.6339 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20201 | 2020-01-31 | -1058809 | -1253531.2245 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20202 | 2020-02-29 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20203 | 2020-03-31 | -1168961 | -1384189.8151 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20204 | 2020-04-30 | -1279113 | -1514848.4057 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20205 | 2020-05-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20206 | 2020-06-30 | -1389265 | -1645506.9964 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20207 | 2020-07-31 | -1499417 | -1776165.587 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20208 | 2020-08-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20209 | 2020-09-30 | -1609569 | -1906824.1776 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 202010 | 2020-10-31 | -1719721 | -2037482.7682 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 202011 | 2020-11-30 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 202012 | 2020-12-31 | -1829873 | -2168141.3589 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20211 | 2021-01-31 | -1940025 | -2298799.9495 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20212 | 2021-02-28 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20213 | 2021-03-31 | -2050177 | -2429458.5401 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20214 | 2021-04-30 | -2160329 | -2560117.1308 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20215 | 2021-05-31 |  |  | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20216 | 2021-06-30 | -2270481 | -2690775.7214 | 19001 |  |  | 19001 |  |  | 19001
[6 empty] | 20217 | 2021-07-31 | -2380633 | -2821434.312 | 19001 |  |  | 19001 |  |  | 19001
Note on O1: Feyswal Assiandi (3E): Copie monthly pyronometer data For more accurate results, only use complete years with no data issue. The remaining data points will be used to determine the RMSE of the correlated data
Note on S1: Feyswal Assiandi (3E): Only consider complete months and complete years for the correlation and then use remaining complete months to calculate uncertainty
Note on A42: Feyswal Assiandi (3E): BE CAREFUL : Put in the following sections the exact text that will be automatically retrieved to the report
Note on C68: Feyswal Assiandi (3E): Copy this link into an internet browser. Wait 5 minutes to get the SoDa data to paste in tab "Irr Correlation"

## Irr Correlation
| Date | GHI [Wh/m^2] | POA Irradiation [Wh/m^2] | nod | Month | Year | GTI Pyrano [kWh/m²] | GTI SoDa Correlated [kWh/m²] | Series of 12 | Month | GHI SoDa LT | GTI SoDa LT | Year | GHI SoDa LT | GTI SoDa LT | Date (à modifier en fonction des series) | GTI SoDa [kWh/m²] | GTI Pyrano [kWh/m²] |  |  | Monthly historical irradiation data (GHI) | Date (ne prendre que les séries incomplets) | GTI SoDa Correlated [kWh/m²] | GTI Pyrano NOT used [kWh/m²] | Obs - Pred
20051 | 2005-01-31 | 58936 | 93669.8571 | 31 | 1 | 2005 | 40 | 52.5105 | 1 | 1 | 55.9339 | 86.7442 | 2005 | 1467.23 | 1687.5548 | 2014-04-30 | 174.0604 | 0 | For more accurate results, only use complete years with no data issue. |  |  | 2015-04-30 | 120.4089 | 0 | -120.4089 | RMSE | 96.6469
20052 | 2005-02-28 | 75313 | 106519.8359 | 28 | 2 | 2005 | 0 | 61.5024 | 0 | 2 | 77.1563 | 108.6291 | 2006 | 1530.144 | 1752.0751 | 2014-05-31 | 201.3386 | 0 | The remaining data points will be used to determine the RMSE of the correlated data |  |  | 2015-05-31 | 123.4438 | 0 | -123.4438 | MIN | 0
20053 | 2005-03-31 | 115584 | 143795.6841 | 31 | 3 | 2005 | 0 | 87.5864 | 0 | 3 | 119.9226 | 147.6672 | 2007 | 1498.153 | 1745.9154 | 2014-06-30 | 207.8138 | 0 |  |  |  | 2015-06-30 | 141.2727 | 0 | -141.2727 | MAX | 20
20054 | 2005-04-30 | 147550 | 160126.6395 | 30 | 4 | 2005 | 0 | 99.0142 | 0 | 4 | 154.711 | 170.2341 | 2008 | 1491.758 | 1711.1177 | 2014-07-31 | 191.3617 | 0 | If pyranometer data are provided, you have to manually determine the uncertainty. |  |  | 2015-07-31 | 141.6306 | 20 | -121.6306 | NRMSE | 483.2%
20055 | 2005-05-31 | 184347 | 187315.3561 | 31 | 5 | 2005 | 0 | 118.0397 | 0 | 5 | 182.1622 | 184.8753 | 2009 | 1530.797 | 1761.4131 | 2014-08-31 | 206.4067 | 0 | This will be done by comparing the datapoints from "GTI Pyrano" NOT considered to determine the fit equation, |  |  | 2015-08-31 | 118.1099 | 0 | -118.1099
20056 | 2005-06-30 | 203724 | 201306.2162 | 30 | 6 | 2005 | 0 | 127.8299 | 0 | 6 | 204.8498 | 201.8916 | 2010 | 1523.175 | 1742.2608 | 2014-09-30 | 163.2236 | 0 | with the corresponding values from "GTI SoDa Correlated" |  |  | 2015-10-31 | 72.9964 | 0 | -72.9964
20057 | 2005-07-31 | 212392 | 212584.4606 | 31 | 7 | 2005 | 0 | 135.7219 | 0 | 7 | 211.9478 | 212.5401 | 2011 | 1536.38 | 1770.8417 | 2014-10-31 | 142.5608 | 0 | If no GTI Pyrano value provided, then consider the uncertainty from SoDa given in Cell I19 |  |  | 2015-11-30 | 65.1459 | 0 | -65.1459
20058 | 2005-08-31 | 153789 | 163410.511 | 31 | 8 | 2005 | 0 | 101.3121 | 0 | 8 | 183.7792 | 196.871 | 2012 | 1537.229 | 1783.5766 | 2014-11-30 | 78.3041 | 0 | Be careful to consider only complete months |  |  | 2015-12-31 | 38.6582 | 0 | -38.6582
20059 | 2005-09-30 | 134705 | 159657.2096 | 30 | 9 | 2005 | 0 | 98.6857 | 0 | 9 | 136.0541 | 160.8667 | 2013 | 1484.804 | 1703.0507 | 2014-12-31 | 78.0295 | 0 |  |  |  | 2018-01-31 | 46.0702 | 0 | -46.0702
200510 | 2005-10-31 | 71903 | 87919.1128 | 31 | 10 | 2005 | 0 | 48.4864 | 0 | 10 | 92.2895 | 122.2478 | 2014 | 1552.379 | 1783.0379 | 2015-01-31 | 95.6897 | 0 | Equation |  |  | 2018-02-28 | 59.96 | 0 | -59.96
200511 | 2005-11-30 | 55493 | 81516.4917 | 30 | 11 | 2005 | 0 | 44.0061 | 0 | 11 | 57.8332 | 85.686 | 2015 | 1581.247 | 1825.5533 | 2015-02-28 | 105.2297 | 0 | a | x | + b | 2018-03-31 | 86.7395 | 0 | -86.7395
200512 | 2005-12-31 | 53494 | 89733.449 | 31 | 12 | 2005 | 0 | 49.756 | 0 | 12 | 49.498 | 79.3008 | 2016 | 1556.39 | 1795.2344 | 2015-03-31 | 138.0124 | 0 | 0.69976 | x | -13.0357
20061 | 2006-01-31 | 49365 | 73054.041 | 31 | 1 | 2006 | 0 | 38.0844 | 0 |  |  |  | 2017 | 1550.103 | 1786.5698 | 2016-01-31 | 73.893 | 60.9
20062 | 2006-02-28 | 85307 | 124523.0215 | 28 | 2 | 2006 | 0 | 74.1002 | 0 | SoDa LT | [5 empty] | 2016-02-29 | 107.9172 | 94
20063 | 2006-03-31 | 113827 | 137760.6059 | 31 | 3 | 2006 | 0 | 83.3633 | 0 | Annual variability | 2.126% |  |  |  |  | 2016-03-31 | 137.2047 | 123.2
20064 | 2006-04-30 | 163081 | 180844.1669 | 30 | 4 | 2006 | 0 | 113.5114 | 0 | LT GHI | 1526.1376 |  |  |  |  | 2016-04-30 | 172.8941 | 157.4
20065 | 2006-05-31 | 187865 | 190688.7677 | 31 | 5 | 2006 | 0 | 120.4003 | 0 | LT GTI | 1757.554 |  |  |  |  | 2016-05-31 | 178.4435 | 165.5
20066 | 2006-06-30 | 220762 | 219147.7669 | 30 | 6 | 2006 | 0 | 140.3147 | 0 | GHI uncertainty | 5.1% |  |  |  |  | 2016-06-30 | 205.6419 | 199.9
20067 | 2006-07-31 | 219791 | 222115.7537 | 31 | 7 | 2006 | 0 | 142.3915 | 0 | [6 empty] | 2016-07-31 | 211.7666 | 208.9
20068 | 2006-08-31 | 186492 | 199068.3851 | 31 | 8 | 2006 | 0 | 126.264 | 0 | Nb Years | 13 |  |  |  |  | 2016-08-31 | 217.3564 | 203.8
20069 | 2006-09-30 | 111189 | 128150.0899 | 30 | 9 | 2006 | 0 | 76.6383 | 0 | [6 empty] | 2016-09-30 | 180.3744 | 173.4
200610 | 2006-10-31 | 81408 | 103772.0593 | 31 | 10 | 2006 | 0 | 59.5796 | 0 | SoDa LT Correlated | [5 empty] | 2016-10-31 | 133.4344 | 119.6
200611 | 2006-11-30 | 59516 | 88966.4841 | 30 | 11 | 2006 | 0 | 49.2193 | 0 | Month | GTI SoDa Correlated | Monthly breakdsown | Year | GTI SoDa Correlated |  | 2016-11-30 | 85.6064 | 72.8
200612 | 2006-12-31 | 51541 | 83984.002 | 31 | 12 | 2006 | 0 | 45.7327 | 0 | 1 | 47.6642 | 4.44% | 2005 | 1024.4511 |  | 2016-12-31 | 90.7018 | 82.4
20071 | 2007-01-31 | 60723 | 97430.2009 | 31 | 1 | 2007 | 0 | 55.1418 | 0 | 2 | 62.9783 | 5.867% | 2006 | 1069.5997 |  | 2017-01-31 | 91.9936 | 76.7
20072 | 2007-02-28 | 65183 | 88617.6454 | 28 | 2 | 2007 | 0 | 48.9752 | 0 | 3 | 90.2956 | 8.412% | 2007 | 1065.2894 |  | 2017-02-28 | 99.5734 | 84.3
20073 | 2007-03-31 | 118607 | 144813.8506 | 31 | 3 | 2007 | 0 | 88.2989 | 0 | 4 | 106.087 | 9.883% | 2008 | 1040.9394 |  | 2017-03-31 | 162.186 | 150.4
20074 | 2007-04-30 | 153341 | 168547.0334 | 30 | 4 | 2007 | 0 | 104.9064 | 0 | 5 | 116.3322 | 10.84% | 2009 | 1076.134 |  | 2017-04-30 | 196.1337 | 184.2
20075 | 2007-05-31 | 166761 | 168950.5595 | 31 | 5 | 2007 | 0 | 105.1888 | 0 | 6 | 128.2395 | 11.95% | 2010 | 1062.732 |  | 2017-05-31 | 194.7695 | 179.9
20076 | 2007-06-30 | 196734 | 194099.9919 | 30 | 6 | 2007 | 0 | 122.7873 | 0 | 7 | 135.6909 | 12.64% | 2011 | 1082.7317 |  | 2017-06-30 | 207.8117 | 194.4
20077 | 2007-07-31 | 210466 | 210514.5275 | 31 | 7 | 2007 | 0 | 134.2735 | 0 | 8 | 124.7263 | 11.62% | 2012 | 1091.6431 |  | 2017-07-31 | 201.9262 | 183.2
20078 | 2007-08-31 | 167786 | 177771.472 | 31 | 8 | 2007 | 0 | 111.3613 | 0 | 9 | 99.5321 | 9.272% | 2013 | 1035.2945 |  | 2017-08-31 | 180.2539 | 168.8
20079 | 2007-09-30 | 144552 | 171373.8806 | 30 | 9 | 2007 | 0 | 106.8845 | 0 | 10 | 72.5081 | 6.755% | 2014 | 1091.2662 |  | 2017-09-30 | 155.7624 | 143.4
200710 | 2007-10-31 | 89070 | 120045.0965 | 31 | 10 | 2007 | 0 | 70.9668 | 0 | 11 | 46.9237 | 4.371% | 2015 | 1121.0167 |  | 2017-10-31 | 135.3808 | 126
200711 | 2007-11-30 | 69936 | 110839.9884 | 30 | 11 | 2007 | 0 | 64.5254 | 0 | 12 | 42.4556 | 3.955% | 2016 | 1099.8007 |  | 2017-11-30 | 89.7066 | 78.5
200712 | 2007-12-31 | 54994 | 92911.1492 | 31 | 12 | 2007 | 0 | 51.9796 | 0 | Total | 1073.4335 | 100% | 2017 | 1093.7376 |  | 2017-12-31 | 71.072 | 52.5
20081 | 2008-01-31 | 55991 | 85880.0434 | 31 | 1 | 2008 | 0 | 47.0595 | 0
20082 | 2008-02-29 | 77394 | 109982.7855 | 29 | 2 | 2008 | 0 | 63.9256 | 0 | SoDa LT Correlated
20083 | 2008-03-31 | 118504 | 143513.0304 | 31 | 3 | 2008 | 0 | 87.3886 | 0 | Annual variability | 2.582%
20084 | 2008-04-30 | 152598 | 166771.3451 | 30 | 4 | 2008 | 0 | 103.6638 | 0 | LT GTI SoDa Correlated | 1073.4335
20085 | 2008-05-31 | 156968 | 158688.6495 | 31 | 5 | 2008 | 0 | 98.0079 | 0 | GTI Correlation Uncertainty | 483.2%
20086 | 2008-06-30 | 206964 | 204072.018 | 30 | 6 | 2008 | 0 | 129.7653 | 0
20087 | 2008-07-31 | 214450 | 215544.566 | 31 | 7 | 2008 | 0 | 137.7933 | 0
20088 | 2008-08-31 | 182035 | 195253.4904 | 31 | 8 | 2008 | 0 | 123.5945 | 0
20089 | 2008-09-30 | 132411 | 157982.9997 | 30 | 9 | 2008 | 0 | 97.5141 | 0
200810 | 2008-10-31 | 92573 | 121981.0445 | 31 | 10 | 2008 | 0 | 72.3215 | 0
200811 | 2008-11-30 | 57351 | 84316.8822 | 30 | 11 | 2008 | 0 | 45.9657 | 0
200812 | 2008-12-31 | 44519 | 67130.8898 | 31 | 12 | 2008 | 0 | 33.9396 | 0
20091 | 2009-01-31 | 54983 | 83119.5526 | 31 | 1 | 2009 | 0 | 45.1278 | 0
20092 | 2009-02-28 | 79007 | 111123.4371 | 28 | 2 | 2009 | 0 | 64.7238 | 0
20093 | 2009-03-31 | 133766 | 167991.4077 | 31 | 3 | 2009 | 0 | 104.5176 | 0
20094 | 2009-04-30 | 130015 | 140505.3443 | 30 | 4 | 2009 | 0 | 85.284 | 0
20095 | 2009-05-31 | 172744 | 175990.3156 | 31 | 5 | 2009 | 0 | 110.1149 | 0
20096 | 2009-06-30 | 205505 | 202353.1672 | 30 | 6 | 2009 | 0 | 128.5625 | 0
20097 | 2009-07-31 | 210983 | 212094.0485 | 31 | 7 | 2009 | 0 | 135.3788 | 0
20098 | 2009-08-31 | 195999 | 212280.0019 | 31 | 8 | 2009 | 0 | 135.5089 | 0
20099 | 2009-09-30 | 149630 | 179723.458 | 30 | 9 | 2009 | 0 | 112.7272 | 0
200910 | 2009-10-31 | 105221 | 143521.1727 | 31 | 10 | 2009 | 0 | 87.3943 | 0
200911 | 2009-11-30 | 48162 | 64251.5391 | 30 | 11 | 2009 | 0 | 31.9248 | 0
200912 | 2009-12-31 | 44782 | 68459.6707 | 31 | 12 | 2009 | 0 | 34.8695 | 0
20101 | 2010-01-31 | 53254 | 80741.2753 | 31 | 1 | 2010 | 0 | 43.4636 | 0
20102 | 2010-02-28 | 72073 | 100074.8345 | 28 | 2 | 2010 | 0 | 56.9924 | 0
20103 | 2010-03-31 | 115589 | 141885.6695 | 31 | 3 | 2010 | 0 | 86.2499 | 0
20104 | 2010-04-30 | 161347 | 178748.8553 | 30 | 4 | 2010 | 0 | 112.0452 | 0
20105 | 2010-05-31 | 178462 | 179825.2888 | 31 | 5 | 2010 | 0 | 112.7984 | 0
20106 | 2010-06-30 | 194122 | 190948.6038 | 30 | 6 | 2010 | 0 | 120.5821 | 0
20107 | 2010-07-31 | 219807 | 220498.6808 | 31 | 7 | 2010 | 0 | 141.26 | 0
20108 | 2010-08-31 | 200589 | 216919.189 | 31 | 8 | 2010 | 0 | 138.7552 | 0
20109 | 2010-09-30 | 137609 | 163144.3664 | 30 | 9 | 2010 | 0 | 101.1258 | 0
201010 | 2010-10-31 | 83238 | 108119.2402 | 31 | 10 | 2010 | 0 | 62.6216 | 0
201011 | 2010-11-30 | 60389 | 88578.7946 | 30 | 11 | 2010 | 0 | 48.948 | 0
201012 | 2010-12-31 | 46696 | 72775.9536 | 31 | 12 | 2010 | 0 | 37.8898 | 0
20111 | 2011-01-31 | 55936 | 88610.1675 | 31 | 1 | 2011 | 0 | 48.9699 | 0
20112 | 2011-02-28 | 76334 | 107801.6664 | 28 | 2 | 2011 | 0 | 62.3993 | 0
20113 | 2011-03-31 | 116926 | 143391.9689 | 31 | 3 | 2011 | 0 | 87.3039 | 0
20114 | 2011-04-30 | 169926 | 189513.7615 | 30 | 4 | 2011 | 0 | 119.578 | 0
20115 | 2011-05-31 | 200380 | 203797.5333 | 31 | 5 | 2011 | 0 | 129.5732 | 0
20116 | 2011-06-30 | 186252 | 181830.2585 | 30 | 6 | 2011 | 0 | 114.2014 | 0
20117 | 2011-07-31 | 204531 | 204177.7442 | 31 | 7 | 2011 | 0 | 129.8393 | 0
20118 | 2011-08-31 | 181207 | 193769.257 | 31 | 8 | 2011 | 0 | 122.5558 | 0
20119 | 2011-09-30 | 141900 | 169708.5511 | 30 | 9 | 2011 | 0 | 105.7192 | 0
201110 | 2011-10-31 | 105796 | 143890.598 | 31 | 10 | 2011 | 0 | 87.6529 | 0
201111 | 2011-11-30 | 47701 | 66658.3202 | 30 | 11 | 2011 | 0 | 33.6089 | 0
201112 | 2011-12-31 | 49491 | 77691.8255 | 31 | 12 | 2011 | 0 | 41.3297 | 0
20121 | 2012-01-31 | 62184 | 101454.3551 | 31 | 1 | 2012 | 0 | 57.9578 | 0
20122 | 2012-02-29 | 95828 | 141824.5715 | 29 | 2 | 2012 | 0 | 86.2071 | 0
20123 | 2012-03-31 | 131464 | 164233.6171 | 31 | 3 | 2012 | 0 | 101.888 | 0
20124 | 2012-04-30 | 134864 | 145479.5937 | 30 | 4 | 2012 | 0 | 88.7648 | 0
20125 | 2012-05-31 | 181673 | 184659.2905 | 31 | 5 | 2012 | 0 | 116.1811 | 0
20126 | 2012-06-30 | 194789 | 192166.2392 | 30 | 6 | 2012 | 0 | 121.4341 | 0
20127 | 2012-07-31 | 227845 | 229249.851 | 31 | 7 | 2012 | 0 | 147.3837 | 0
20128 | 2012-08-31 | 193623 | 208302.3798 | 31 | 8 | 2012 | 0 | 132.7255 | 0
20129 | 2012-09-30 | 123353 | 142872.5571 | 30 | 9 | 2012 | 0 | 86.9405 | 0
201210 | 2012-10-31 | 85019 | 109341.2401 | 31 | 10 | 2012 | 0 | 63.4767 | 0
201211 | 2012-11-30 | 56305 | 82749.2131 | 30 | 11 | 2012 | 0 | 44.8687 | 0
201212 | 2012-12-31 | 50282 | 81243.6694 | 31 | 12 | 2012 | 0 | 43.8152 | 0
20131 | 2013-01-31 | 58804 | 93885.1927 | 31 | 1 | 2013 | 0 | 52.6612 | 0
20132 | 2013-02-28 | 75912 | 104623.0805 | 28 | 2 | 2013 | 0 | 60.1751 | 0
20133 | 2013-03-31 | 106695 | 127566.4278 | 31 | 3 | 2013 | 0 | 76.2299 | 0
20134 | 2013-04-30 | 135065 | 148717.5683 | 30 | 4 | 2013 | 0 | 91.0306 | 0
20135 | 2013-05-31 | 181237 | 183873.0604 | 31 | 5 | 2013 | 0 | 115.6309 | 0
20136 | 2013-06-30 | 201397 | 196882.7041 | 30 | 6 | 2013 | 0 | 124.7345 | 0
20137 | 2013-07-31 | 208938 | 210158.5175 | 31 | 7 | 2013 | 0 | 134.0244 | 0
20138 | 2013-08-31 | 187685 | 201115.5082 | 31 | 8 | 2013 | 0 | 127.6964 | 0
20139 | 2013-09-30 | 133728 | 155919.2644 | 30 | 9 | 2013 | 0 | 96.07 | 0
201310 | 2013-10-31 | 88534 | 116310.3018 | 31 | 10 | 2013 | 0 | 68.3533 | 0
201311 | 2013-11-30 | 55644 | 80696.404 | 30 | 11 | 2013 | 0 | 43.4322 | 0
201312 | 2013-12-31 | 51165 | 83302.68 | 31 | 12 | 2013 | 0 | 45.256 | 0
20141 | 2014-01-31 | 49030 | 68253.1877 | 31 | 1 | 2014 | 0 | 34.725 | 0
20142 | 2014-02-28 | 75229 | 104366.6633 | 28 | 2 | 2014 | 0 | 59.9957 | 0
20143 | 2014-03-31 | 131166 | 167318.8314 | 31 | 3 | 2014 | 0 | 104.047 | 0
20144 | 2014-04-30 | 157983 | 174060.4366 | 30 | 4 | 2014 | 0 | 108.7644 | 0
20145 | 2014-05-31 | 197665 | 201338.5816 | 31 | 5 | 2014 | 0 | 127.8525 | 0
20146 | 2014-06-30 | 209921 | 207813.8155 | 30 | 6 | 2014 | 0 | 132.3836 | 0
20147 | 2014-07-31 | 192106 | 191361.6991 | 31 | 7 | 2014 | 0 | 120.8711 | 0
20148 | 2014-08-31 | 192028 | 206406.6623 | 31 | 8 | 2014 | 0 | 131.399 | 0
20149 | 2014-09-30 | 138922 | 163223.6153 | 30 | 9 | 2014 | 0 | 101.1813 | 0
201410 | 2014-10-31 | 105356 | 142560.8426 | 31 | 10 | 2014 | 0 | 86.7223 | 0
201411 | 2014-11-30 | 53946 | 78304.0792 | 30 | 11 | 2014 | 0 | 41.7582 | 0
201412 | 2014-12-31 | 49027 | 78029.5217 | 31 | 12 | 2014 | 0 | 41.566 | 0
20151 | 2015-01-31 | 60036 | 95689.6995 | 31 | 1 | 2015 | 0 | 53.9239 | 0
20152 | 2015-02-28 | 76152 | 105229.6947 | 28 | 2 | 2015 | 0 | 60.5996 | 0
20153 | 2015-03-31 | 113248 | 138012.4498 | 31 | 3 | 2015 | 0 | 83.5396 | 0
20154 | 2015-04-30 | 170370 | 190701.1386 | 30 | 4 | 2015 | 0 | 120.4089 | 0
20155 | 2015-05-31 | 192708 | 195038.1404 | 31 | 5 | 2015 | 0 | 123.4438 | 0
20156 | 2015-06-30 | 224145 | 220516.8537 | 30 | 6 | 2015 | 0 | 141.2727 | 0
20157 | 2015-07-31 | 220319 | 221028.3108 | 31 | 7 | 2015 | 20 | 141.6306 | 1
20158 | 2015-08-31 | 176272 | 187415.7635 | 31 | 8 | 2015 | 0 | 118.1099 | 0
20159 | 2015-09-30 | 138138 | 163374.9248 | 30 | 9 | 2015 | 0 | 101.2872 | 0
201510 | 2015-10-31 | 92980 | 122945.5822 | 31 | 10 | 2015 | 0 | 72.9964 | 0
201511 | 2015-11-30 | 69499 | 111726.7248 | 30 | 11 | 2015 | 0 | 65.1459 | 0
201512 | 2015-12-31 | 47380 | 73874.0375 | 31 | 12 | 2015 | 0 | 38.6582 | 0
20161 | 2016-01-31 | 50480 | 73892.9578 | 31 | 1 | 2016 | 60.9 | 38.6714 | 1
20162 | 2016-02-29 | 77160 | 107917.2437 | 29 | 2 | 2016 | 94 | 62.4802 | 2
20163 | 2016-03-31 | 112689 | 137204.6804 | 31 | 3 | 2016 | 123.2 | 82.9743 | 3
20164 | 2016-04-30 | 159108 | 172894.0939 | 30 | 4 | 2016 | 157.4 | 107.9483 | 4
20165 | 2016-05-31 | 175766 | 178443.4771 | 31 | 5 | 2016 | 165.5 | 111.8315 | 5
20166 | 2016-06-30 | 208727 | 205641.8754 | 30 | 6 | 2016 | 199.9 | 130.8638 | 6
20167 | 2016-07-31 | 211026 | 211766.6409 | 31 | 7 | 2016 | 208.9 | 135.1497 | 7
20168 | 2016-08-31 | 201532 | 217356.4438 | 31 | 8 | 2016 | 203.8 | 139.0612 | 8
20169 | 2016-09-30 | 149988 | 180374.3895 | 30 | 9 | 2016 | 173.4 | 113.1827 | 9
201610 | 2016-10-31 | 98100 | 133434.3923 | 31 | 10 | 2016 | 119.6 | 80.336 | 10
201611 | 2016-11-30 | 58107 | 85606.3688 | 30 | 11 | 2016 | 72.8 | 46.868 | 11
201612 | 2016-12-31 | 53707 | 90701.839 | 31 | 12 | 2016 | 82.4 | 50.4336 | 12
20171 | 2017-01-31 | 57419 | 91993.6192 | 31 | 1 | 2017 | 76.7 | 51.3375 | 1
20172 | 2017-02-28 | 72140 | 99573.4044 | 28 | 2 | 2017 | 84.3 | 56.6415 | 2
20173 | 2017-03-31 | 130929 | 162185.9657 | 31 | 3 | 2017 | 150.4 | 100.4552 | 3
20174 | 2017-04-30 | 175995 | 196133.6992 | 30 | 4 | 2017 | 184.2 | 124.2104 | 4
20175 | 2017-05-31 | 191532 | 194769.515 | 31 | 5 | 2017 | 179.9 | 123.2558 | 5
20176 | 2017-06-30 | 210005 | 207811.7376 | 30 | 6 | 2017 | 194.4 | 132.3822 | 6
20177 | 2017-07-31 | 202668 | 201926.2037 | 31 | 7 | 2017 | 183.2 | 128.2637 | 7
20178 | 2017-08-31 | 170093 | 180253.8981 | 31 | 8 | 2017 | 168.8 | 113.0984 | 8
20179 | 2017-09-30 | 132578 | 155762.3605 | 30 | 9 | 2017 | 143.4 | 95.9602 | 9
201710 | 2017-10-31 | 100566 | 135380.8486 | 31 | 10 | 2017 | 126 | 81.6981 | 10
201711 | 2017-11-30 | 59782 | 89706.5589 | 30 | 11 | 2017 | 78.5 | 49.7371 | 11
201712 | 2017-12-31 | 46396 | 71072.0072 | 31 | 12 | 2017 | 52.5 | 36.6975 | 12
20181 | 2018-01-31 | 54735 | 84466.2551 | 31 | 1 | 2018 | 0 | 46.0702 | 1
20182 | 2018-02-28 | 74995 | 104315.6996 | 28 | 2 | 2018 | 0 | 59.96 | 0
20183 | 2018-03-31 | 117205 | 142585.3523 | 31 | 3 | 2018 | 0 | 86.7395 | 0
20184 | 2018-04-30 | 139793 | 152401.0829 | 30 | 4 | 2018 | 0 | 93.6081 | 0
20185 | 2018-05-31 | 166363 | 168571.2553 | 31 | 5 | 2018 | 0 | 104.9233 | 0
20186 | 2018-06-30 | 200723 | 196807.7218 | 30 | 6 | 2018 | 0 | 124.682 | 0
20187 | 2018-07-31 | 231214 | 232926.0298 | 31 | 7 | 2018 | 0 | 149.9561 | 0
20188 | 2018-08-31 | 197884 | 213324.4473 | 31 | 8 | 2018 | 0 | 136.2398 | 0
20189 | 2018-09-30 | 152863 | 183713.2724 | 30 | 9 | 2018 | 0 | 115.5191 | 0
201810 | 2018-10-31 | 42711 | 53054.6818 | 31 | 10 | 2018 | 30 | 24.0897 | 1
201811 | 2018-11-30 | 0 | 0 | 30 | 11 | 2018 | 0 | 0 | 0
201812 | 2018-12-31 | -67441 | -77603.9088 | 31 | 12 | 2018 | 0 | -67.3397 | 0
20191 | 2019-01-31 | -177593 | -208262.4995 | 31 | 1 | 2019 | 0 | -158.7691 | 0
20192 | 2019-02-28 | 0 | 0 | 28 | 2 | 2019 | 0 | 0 | 0
20193 | 2019-03-31 | -287745 | -338921.0901 | 31 | 3 | 2019 | 0 | -250.1985 | 0
20194 | 2019-04-30 | -397897 | -469579.6807 | 30 | 4 | 2019 | 0 | -341.6279 | 0
20195 | 2019-05-31 | 0 | 0 | 31 | 5 | 2019 | 0 | 0 | 0
20196 | 2019-06-30 | -508049 | -600238.2713 | 30 | 6 | 2019 | 0 | -433.0573 | 0
20197 | 2019-07-31 | -618201 | -730896.862 | 31 | 7 | 2019 | 0 | -524.4867 | 0
20198 | 2019-08-31 | 0 | 0 | 31 | 8 | 2019 | 0 | 0 | 0
20199 | 2019-09-30 | -728353 | -861555.4526 | 30 | 9 | 2019 | 0 | -615.9161 | 0
201910 | 2019-10-31 | -838505 | -992214.0432 | 31 | 10 | 2019 | 0 | -707.3455 | 0
201911 | 2019-11-30 | 0 | 0 | 30 | 11 | 2019 | 0 | 0 | 0
201912 | 2019-12-31 | -948657 | -1122872.6339 | 31 | 12 | 2019 | 0 | -798.7749 | 0
20201 | 2020-01-31 | -1058809 | -1253531.2245 | 31 | 1 | 2020 | 0 | -890.2043 | 0
20202 | 2020-02-29 | 0 | 0 | 29 | 2 | 2020 | 0 | 0 | 0
20203 | 2020-03-31 | -1168961 | -1384189.8151 | 31 | 3 | 2020 | 0 | -981.6337 | 0
20204 | 2020-04-30 | -1279113 | -1514848.4057 | 30 | 4 | 2020 | 0 | -1073.0631 | 0
20205 | 2020-05-31 | 0 | 0 | 31 | 5 | 2020 | 0 | 0 | 0
20206 | 2020-06-30 | -1389265 | -1645506.9964 | 30 | 6 | 2020 | 0 | -1164.4925 | 0
20207 | 2020-07-31 | -1499417 | -1776165.587 | 31 | 7 | 2020 | 0 | -1255.9219 | 0
20208 | 2020-08-31 | 0 | 0 | 31 | 8 | 2020 | 0 | 0 | 0
20209 | 2020-09-30 | -1609569 | -1906824.1776 | 30 | 9 | 2020 | 0 | -1347.3513 | 0
202010 | 2020-10-31 | -1719721 | -2037482.7682 | 31 | 10 | 2020 | 0 | -1438.7807 | 0
202011 | 2020-11-30 | 0 | 0 | 30 | 11 | 2020 | 0 | 0 | 0
202012 | 2020-12-31 | -1829873 | -2168141.3589 | 31 | 12 | 2020 | 0 | -1530.2101 | 0
20211 | 2021-01-31 | -1940025 | -2298799.9495 | 31 | 1 | 2021 | 0 | -1621.6395 | 0
20212 | 2021-02-28 | 0 | 0 | 28 | 2 | 2021 | 0 | 0 | 0
20213 | 2021-03-31 | -2050177 | -2429458.5401 | 31 | 3 | 2021 | 0 | -1713.0689 | 0
20214 | 2021-04-30 | -2160329 | -2560117.1308 | 30 | 4 | 2021 | 0 | -1804.4983 | 0
20215 | 2021-05-31 | 0 | 0 | 31 | 5 | 2021 | 0 | 0 | 0
20216 | 2021-06-30 | -2270481 | -2690775.7214 | 30 | 6 | 2021 | 0 | -1895.9277 | 0
20217 | 2021-07-31 | -2380633 | -2821434.312 | 31 | 7 | 2021 | 0 | -1987.3571 | 0
Formulas:
nod = DAY(EOMONTH([Date],0))
Note on U1: Feyswal Assiandi (3E): Copy/paste the months you want to use for the correlation (only by groups of 12 consecutive months)
Note on W1: Feyswal Assiandi (3E): For more accurate results, only use complete years with no data issue. The remaining data points will be used to determine the RMSE of the correlated data
Note on AI1: Feyswal Assiandi (3E): Copy/paste all complete months that can be used for testing accuracy of the correlation
Note on AJ1: Feyswal Assiandi (3E): Check a few values to make sure the VLOOKUP worked correctly. You might have issues with the Date format, it is best to copy it from Column S to be sure to have it under the right format and that the VLOOKUP function will recognise the right cell
Note on AK1: Feyswal Assiandi (3E): For more accurate results, only use complete years with no data issue. The remaining data points will be used to determine the RMSE of the correlated data
Note on L21: Feyswal Assiandi (3E): Adapt the range when additionnal years will come

## Yield Correlation
Year&Month | Date | GTI SoDa Correlated [kWh/m²] | Yield at Meter [kWh] | Availability | Yield @100% Av [kWh] | Yield Correlated @100% Av [kWh] | Series of 12 | Select years with complete months and full 12 months available |  |  | Date des séries complets | GTI SoDa Correlated [kWh/m²] | Yield @100% Av [kWh] | nod | Month | Year | Estimate correlation error/uncertainty by comparing the values of the correlated yield NOT used for the correlation, with the actual yields |  |  | Date des séries incomplets | Yield @100% Av [kWh] | Yield Correlated @100% Av [kWh] | Observed - Predicted
20051 | 2005-01-31 | 52.5105 | 179447 | 97.8% | 183483.6401 | 151680.5686 | 1 |  |  |  | 2015-01-31 | 53.9239 | 144294.8454 | 31 | 1 | 2015 |  |  |  | 2014-02-28 | 183483.6401 | 173286.7237 | 10196.9164 | RMSE | 8520.2448
20052 | 2005-02-28 | 61.5024 | 309133 | 99.9% | 309442.4424 | 177635.8517 | 2 |  |  |  | 2015-02-28 | 60.5996 | 187306 | 28 | 2 | 2015 | Month | Actual Monthly Yield | Actual Yield breakdown | 2014-03-31 | 309442.4424 | 300441.9021 | 9000.5403 | MIN | 104310
20053 | 2005-03-31 | 87.5864 | 311309 | 95.2% | 327005.2521 | 252928.209 | 3 |  |  |  | 2015-03-31 | 83.5396 | 244654 | 31 | 3 | 2015 | 1 | 392587.3332 | 4.102% | 2014-04-30 | 327005.2521 | 314059.0664 | 12946.1857 | MAX | 385283.1143
20054 | 2005-04-30 | 99.0142 | 358602 | 98.2% | 365175.1527 | 285914.6114 | 4 |  |  |  | 2015-04-30 | 120.4089 | 348109.9366 | 30 | 4 | 2015 | 2 | 557498.0567 | 5.825% | 2014-05-31 | 365175.1527 | 369157.3657 | -3982.213 | NRMSE | 3.032%
20055 | 2005-05-31 | 118.0397 | 381045 | 98.9% | 385283.1143 | 340832.277 | 5 |  |  |  | 2015-05-31 | 123.4438 | 360143 | 31 | 5 | 2015 | 3 | 809712.5489 | 8.46% | 2014-06-30 | 385283.1143 | 382236.4946 | 3046.6197
20056 | 2005-06-30 | 127.8299 | 348398 | 100% | 348398 | 369091.9919 | 6 |  |  |  | 2015-06-30 | 141.2727 | 394458 | 30 | 6 | 2015 | 4 | 1037339.3128 | 10.84% | 2014-07-31 | 348398 | 349005.3627 | -607.3627
20057 | 2005-07-31 | 135.7219 | 377568 | 100% | 377568 | 391872.5763 | 7 |  |  |  | 2015-07-31 | 141.6306 | 399871.9512 | 31 | 7 | 2015 | 5 | 1050659.1337 | 10.98% | 2014-08-31 | 377568 | 379394.2286 | -1826.2286
20058 | 2005-08-31 | 101.3121 | 300992 | 100% | 300992 | 292547.6042 | 8 |  |  |  | 2015-08-31 | 118.1099 | 277706.25 | 31 | 8 | 2015 | 6 | 1166262.2555 | 12.18% | 2014-09-30 | 300992 | 292170.0991 | 8821.9009
20059 | 2005-09-30 | 98.6857 | 250837 | 100% | 250837 | 284966.4242 | 9 |  |  |  | 2015-09-30 | 101.2872 | 299250.7553 | 30 | 9 | 2015 | 7 | 1153318.7669 | 12.05% | 2014-10-31 | 250837 | 250433.9902 | 403.0098
200510 | 2005-10-31 | 48.4864 | 125751 | 100% | 125751 | 140064.8142 | 10 |  |  |  | 2015-10-31 | 72.9964 | 212621 | 31 | 10 | 2015 | 8 | 1011743.9749 | 10.57% | 2014-11-30 | 125751 | 120643.699 | 5107.301
200511 | 2005-11-30 | 44.0061 | 104310 | 100% | 104310 | 127132.3538 | 11 |  |  |  | 2015-11-30 | 65.1459 | 184238.3367 | 30 | 11 | 2015 | 9 | 918626.2777 | 9.598% | 2014-12-31 | 104310 | 120089.1286 | -15779.1286
200512 | 2005-12-31 | 49.756 | 139966 | 97% | 144294.8454 | 143729.537 | 12 |  |  |  | 2015-12-31 | 38.6582 | 99400 | 31 | 12 | 2015 | 10 | 677462.2302 | 7.078% | 2018-01-31 | 120504.5409 | 133090.4916 | -12585.9508
20061 | 2006-01-31 | 38.0844 | 187306 | 100% | 187306 | 110039.3058 | 1 |  |  |  | 2016-01-31 | 38.6714 | 107637 | 31 | 1 | 2016 | 11 | 473600.9814 | 4.948% | 2018-02-28 | 184101.4056 | 173183.7836 | 10917.622
20062 | 2006-02-28 | 74.1002 | 244654 | 100% | 244654 | 213999.9414 | 2 |  |  |  | 2016-02-29 | 62.4802 | 194903.6145 | 29 | 2 | 2016 | 12 | 322614.6847 | 3.371% | 2018-03-31 | 248425.5533 | 250483.4965 | -2057.9432
20063 | 2006-03-31 | 83.3633 | 329312 | 94.6% | 348109.9366 | 240738.1374 | 3 |  |  |  | 2016-03-31 | 82.9743 | 253781.5631 | 31 | 3 | 2016 | TOTAL | 9571425.5565 | 100%
20064 | 2006-04-30 | 113.5114 | 360143 | 100% | 360143 | 327761.3179 | 4 |  |  |  | 2016-04-30 | 107.9483 | 316634.8089 | 30 | 4 | 2016
20065 | 2006-05-31 | 120.4003 | 394458 | 100% | 394458 | 347646.129 | 5 |  |  |  | 2016-05-31 | 111.8315 | 328898.0433 | 31 | 5 | 2016
20066 | 2006-06-30 | 140.3147 | 393474 | 98.4% | 399871.9512 | 405129.6 | 6 |  |  |  | 2016-06-30 | 130.8638 | 385469.574 | 30 | 6 | 2016
20067 | 2006-07-31 | 142.3915 | 222165 | 80% | 277706.25 | 411124.5467 | 7 |  |  |  | 2016-07-31 | 135.1497 | 393733.536 | 31 | 7 | 2016
20068 | 2006-08-31 | 126.264 | 297156 | 99.3% | 299250.7553 | 364571.8645 | 8 | Equation |  |  | 2016-08-31 | 139.0612 | 399210.8981 | 31 | 8 | 2016
20069 | 2006-09-30 | 76.6383 | 212621 | 0% |  | 221326.1469 | 0 | a | x | + b | 2016-09-30 | 113.1827 | 322978.7449 | 30 | 9 | 2016
200610 | 2006-10-31 | 59.5796 | 181659 | 0% |  | 172085.701 | 0 | 2886.5259 | x | 107.6859 | 2016-10-31 | 80.336 | 208853.2663 | 31 | 10 | 2016
200611 | 2006-11-30 | 49.2193 | 99400 | 0% |  | 142180.3679 | 0 |  |  |  | 2016-11-30 | 46.868 | 135718 | 30 | 11 | 2016
200612 | 2006-12-31 | 45.7327 | 107637 | 0% |  | 132116.4032 | 0 |  |  |  | 2016-12-31 | 50.4336 | 128530 | 31 | 12 | 2016
20071 | 2007-01-31 | 55.1418 | 194124 | 0% |  | 159275.9732 | 0 |  |  |  | 2017-01-31 | 51.3375 | 140655.4878 | 31 | 1 | 2017
20072 | 2007-02-28 | 48.9752 | 253274 | 0% |  | 141475.7592 | 0 |  |  |  | 2017-02-28 | 56.6415 | 175288.4422 | 28 | 2 | 2017
20073 | 2007-03-31 | 88.2989 | 0 | 0% |  | 254984.7727 | 0 |  |  |  | 2017-03-31 | 100.4552 | 311276.9857 | 31 | 3 | 2017
20074 | 2007-04-30 | 104.9064 | 0 | 0% |  | 302922.7103 | 0 |  |  |  | 2017-04-30 | 124.2104 | 372594.5674 | 30 | 4 | 2017
20075 | 2007-05-31 | 105.1888 | 0 | 0% |  | 303737.7805 | 0 |  |  |  | 2017-05-31 | 123.2558 | 361618.0905 | 31 | 5 | 2017
20076 | 2007-06-30 | 122.7873 | 0 | 0% |  | 354536.3575 | 0 |  |  |  | 2017-06-30 | 132.3822 | 386334.6815 | 30 | 6 | 2017
20077 | 2007-07-31 | 134.2735 | 0 | 0% |  | 387691.5811 | 0 |  |  |  | 2017-07-31 | 128.2637 | 359713.2797 | 31 | 7 | 2017
20078 | 2007-08-31 | 111.3613 | 0 | 0% |  | 321554.8745 | 0 |  |  |  | 2017-08-31 | 113.0984 | 334826.8268 | 31 | 8 | 2017
20079 | 2007-09-30 | 106.8845 | 0 | 0% |  | 308632.5733 | 0 |  |  |  | 2017-09-30 | 95.9602 | 296396.7774 | 30 | 9 | 2017
200710 | 2007-10-31 | 70.9668 | 0 | 0% |  | 204955.1162 | 0 |  |  |  | 2017-10-31 | 81.6981 | 255987.9639 | 31 | 10 | 2017
200711 | 2007-11-30 | 64.5254 | 0 | 0% |  | 186361.997 | 0 |  |  |  | 2017-11-30 | 49.7371 | 153644.6446 | 30 | 11 | 2017
200712 | 2007-12-31 | 51.9796 | 0 | 0% |  | 150148.0776 | 0 |  |  |  | 2017-12-31 | 36.6975 | 94684.6847 | 31 | 12 | 2017
20081 | 2008-01-31 | 47.0595 | 0 | 0% |  | 135946.1597 | 0
20082 | 2008-02-29 | 63.9256 | 0 | 0% |  | 184630.5589 | 0
20083 | 2008-03-31 | 87.3886 | 0 | 0% |  | 252357.2855 | 0
20084 | 2008-04-30 | 103.6638 | 0 | 0% |  | 299336.0512 | 0
20085 | 2008-05-31 | 98.0079 | 0 | 0% |  | 283010.0591 | 0
20086 | 2008-06-30 | 129.7653 | 0 | 0% |  | 374678.5511 | 0
20087 | 2008-07-31 | 137.7933 | 0 | 0% |  | 397851.6036 | 0
20088 | 2008-08-31 | 123.5945 | 0 | 0% |  | 356866.2743 | 0
20089 | 2008-09-30 | 97.5141 | 0 | 0% |  | 281584.7384 | 0
200810 | 2008-10-31 | 72.3215 | 0 | 0% |  | 208865.4791 | 0
200811 | 2008-11-30 | 45.9657 | 0 | 0% |  | 132788.7778 | 0
200812 | 2008-12-31 | 33.9396 | 0 | 0% |  | 98075.312 | 0
20091 | 2009-01-31 | 45.1278 | 0 | 0% |  | 130370.328 | 0
20092 | 2009-02-28 | 64.7238 | 0 | 0% |  | 186934.5265 | 0
20093 | 2009-03-31 | 104.5176 | 0 | 0% |  | 301800.4187 | 0
20094 | 2009-04-30 | 85.284 | 0 | 0% |  | 246282.1514 | 0
20095 | 2009-05-31 | 110.1149 | 0 | 0% |  | 317957.1706 | 0
20096 | 2009-06-30 | 128.5625 | 0 | 0% |  | 371206.6965 | 0
20097 | 2009-07-31 | 135.3788 | 0 | 0% |  | 390882.0077 | 0
20098 | 2009-08-31 | 135.5089 | 0 | 0% |  | 391257.6094 | 0
20099 | 2009-09-30 | 112.7272 | 0 | 0% |  | 325497.632 | 0
200910 | 2009-10-31 | 87.3943 | 0 | 0% |  | 252373.7319 | 0
200911 | 2009-11-30 | 31.9248 | 0 | 0% |  | 92259.3988 | 0
200912 | 2009-12-31 | 34.8695 | 0 | 0% |  | 100759.2762 | 0
20101 | 2010-01-31 | 43.4636 | 0 | 0% |  | 125566.5175 | 0
20102 | 2010-02-28 | 56.9924 | 0 | 0% |  | 164617.7885 | 0
20103 | 2010-03-31 | 86.2499 | 0 | 0% |  | 249070.2285 | 0
20104 | 2010-04-30 | 112.0452 | 0 | 0% |  | 323529.0614 | 0
20105 | 2010-05-31 | 112.7984 | 0 | 0% |  | 325703.317 | 0
20106 | 2010-06-30 | 120.5821 | 0 | 0% |  | 348170.9641 | 0
20107 | 2010-07-31 | 141.26 | 0 | 0% |  | 407858.2701 | 0
20108 | 2010-08-31 | 138.7552 | 0 | 0% |  | 400628.163 | 0
20109 | 2010-09-30 | 101.1258 | 0 | 0% |  | 292010.0267 | 0
201010 | 2010-10-31 | 62.6216 | 0 | 0% |  | 180866.4401 | 0
201011 | 2010-11-30 | 48.948 | 0 | 0% |  | 141397.2856 | 0
201012 | 2010-12-31 | 37.8898 | 0 | 0% |  | 109477.6055 | 0
20111 | 2011-01-31 | 48.9699 | 0 | 0% |  | 141460.6548 | 0
20112 | 2011-02-28 | 62.3993 | 0 | 0% |  | 180224.9824 | 0
20113 | 2011-03-31 | 87.3039 | 0 | 0% |  | 252112.7569 | 0
20114 | 2011-04-30 | 119.578 | 0 | 0% |  | 345272.7695 | 0
20115 | 2011-05-31 | 129.5732 | 0 | 0% |  | 374124.1279 | 0
20116 | 2011-06-30 | 114.2014 | 0 | 0% |  | 329753.0945 | 0
20117 | 2011-07-31 | 129.8393 | 0 | 0% |  | 374892.1044 | 0
20118 | 2011-08-31 | 122.5558 | 0 | 0% |  | 353868.3161 | 0
20119 | 2011-09-30 | 105.7192 | 0 | 0% |  | 305268.8247 | 0
201110 | 2011-10-31 | 87.6529 | 0 | 0% |  | 253119.9229 | 0
201111 | 2011-11-30 | 33.6089 | 0 | 0% |  | 97120.783 | 0
201112 | 2011-12-31 | 41.3297 | 0 | 0% |  | 119407.0263 | 0
20121 | 2012-01-31 | 57.9578 | 0 | 0% |  | 167404.2405 | 0
20122 | 2012-02-29 | 86.2071 | 0 | 0% |  | 248946.8184 | 0
20123 | 2012-03-31 | 101.888 | 0 | 0% |  | 294210.1712 | 0
20124 | 2012-04-30 | 88.7648 | 0 | 0% |  | 256329.4872 | 0
20125 | 2012-05-31 | 116.1811 | 0 | 0% |  | 335467.3706 | 0
20126 | 2012-06-30 | 121.4341 | 0 | 0% |  | 350630.429 | 0
20127 | 2012-07-31 | 147.3837 | 0 | 0% |  | 425534.4938 | 0
20128 | 2012-08-31 | 132.7255 | 0 | 0% |  | 383223.3309 | 0
20129 | 2012-09-30 | 86.9405 | 0 | 0% |  | 251063.6128 | 0
201210 | 2012-10-31 | 63.4767 | 0 | 0% |  | 183334.7207 | 0
201211 | 2012-11-30 | 44.8687 | 0 | 0% |  | 129622.2903 | 0
201212 | 2012-12-31 | 43.8152 | 0 | 0% |  | 126581.2883 | 0
20131 | 2013-01-31 | 52.6612 | 0 | 0% |  | 152115.5185 | 0
20132 | 2013-02-28 | 60.1751 | 0 | 0% |  | 173804.653 | 0
20133 | 2013-03-31 | 76.2299 | 0 | 0% |  | 220147.2255 | 0
20134 | 2013-04-30 | 91.0306 | 0 | 0% |  | 262869.7739 | 0
20135 | 2013-05-31 | 115.6309 | 0 | 0% |  | 333879.2882 | 0
20136 | 2013-06-30 | 124.7345 | 0 | 0% |  | 360157.0737 | 0
20137 | 2013-07-31 | 134.0244 | 0 | 0% |  | 386972.4872 | 0
20138 | 2013-08-31 | 127.6964 | 0 | 0% |  | 368706.7865 | 0
20139 | 2013-09-30 | 96.07 | 0 | 0% |  | 277416.262 | 0
201310 | 2013-10-31 | 68.3533 | 0 | 0% |  | 197411.3174 | 0
201311 | 2013-11-30 | 43.4322 | 0 | 0% |  | 125475.8834 | 0
201312 | 2013-12-31 | 45.256 | 0 | 0% |  | 130740.2214 | 0
20141 | 2014-01-31 | 34.725 | 0 | 0% |  | 100342.2076 | 0
20142 | 2014-02-28 | 59.9957 | 179447 | 97.8% | 183483.6401 | 173286.7237 | 1
20143 | 2014-03-31 | 104.047 | 309133 | 99.9% | 309442.4424 | 300441.9021 | 2
20144 | 2014-04-30 | 108.7644 | 311309 | 95.2% | 327005.2521 | 314059.0664 | 3
20145 | 2014-05-31 | 127.8525 | 358602 | 98.2% | 365175.1527 | 369157.3657 | 4
20146 | 2014-06-30 | 132.3836 | 381045 | 98.9% | 385283.1143 | 382236.4946 | 5
20147 | 2014-07-31 | 120.8711 | 348398 | 100% | 348398 | 349005.3627 | 6
20148 | 2014-08-31 | 131.399 | 377568 | 100% | 377568 | 379394.2286 | 7
20149 | 2014-09-30 | 101.1813 | 300992 | 100% | 300992 | 292170.0991 | 8
201410 | 2014-10-31 | 86.7223 | 250837 | 100% | 250837 | 250433.9902 | 9
201411 | 2014-11-30 | 41.7582 | 125751 | 100% | 125751 | 120643.699 | 10
201412 | 2014-12-31 | 41.566 | 104310 | 100% | 104310 | 120089.1286 | 11
20151 | 2015-01-31 | 53.9239 | 139966 | 97% | 144294.8454 | 155760.387 | 12
20152 | 2015-02-28 | 60.5996 | 187306 | 100% | 187306 | 175029.9347 | 1
20153 | 2015-03-31 | 83.5396 | 244654 | 100% | 244654 | 241246.8292 | 2
20154 | 2015-04-30 | 120.4089 | 329312 | 94.6% | 348109.9366 | 347671.1167 | 3
20155 | 2015-05-31 | 123.4438 | 360143 | 100% | 360143 | 356431.2952 | 4
20156 | 2015-06-30 | 141.2727 | 394458 | 100% | 394458 | 407894.9769 | 5
20157 | 2015-07-31 | 141.6306 | 393474 | 98.4% | 399871.9512 | 408928.0536 | 6
20158 | 2015-08-31 | 118.1099 | 222165 | 80% | 277706.25 | 341035.0869 | 7
20159 | 2015-09-30 | 101.2872 | 297156 | 99.3% | 299250.7553 | 292475.7246 | 8
201510 | 2015-10-31 | 72.9964 | 212621 | 100% | 212621 | 210813.7195 | 9
201511 | 2015-11-30 | 65.1459 | 181659 | 98.6% | 184238.3367 | 188153.0891 | 10
201512 | 2015-12-31 | 38.6582 | 99400 | 100% | 99400 | 111695.592 | 11
20161 | 2016-01-31 | 38.6714 | 107637 | 100% | 107637 | 111733.8084 | 12
20162 | 2016-02-29 | 62.4802 | 194124 | 99.6% | 194903.6145 | 180458.4334 | 1
20163 | 2016-03-31 | 82.9743 | 253274 | 99.8% | 253781.5631 | 239615.2403 | 2
20164 | 2016-04-30 | 107.9483 | 314735 | 99.4% | 316634.8089 | 311703.2061 | 3
20165 | 2016-05-31 | 111.8315 | 319360 | 97.1% | 328898.0433 | 322912.2372 | 4
20166 | 2016-06-30 | 130.8638 | 380073 | 98.6% | 385469.574 | 377849.4586 | 5
20167 | 2016-07-31 | 135.1497 | 388615 | 98.7% | 393733.536 | 390220.6871 | 6
20168 | 2016-08-31 | 139.0612 | 395618 | 99.1% | 399210.8981 | 401511.3607 | 7
20169 | 2016-09-30 | 113.1827 | 319103 | 98.8% | 322978.7449 | 326812.4288 | 8
201610 | 2016-10-31 | 80.336 | 207809 | 99.5% | 208853.2663 | 231999.7495 | 9
201611 | 2016-11-30 | 46.868 | 135718 | 100% | 135718 | 135393.3727 | 10
201612 | 2016-12-31 | 50.4336 | 128530 | 100% | 128530 | 145685.5587 | 11
20171 | 2017-01-31 | 51.3375 | 138405 | 98.4% | 140655.4878 | 148294.7864 | 12
20172 | 2017-02-28 | 56.6415 | 174412 | 99.5% | 175288.4422 | 163604.965 | 1
20173 | 2017-03-31 | 100.4552 | 305674 | 98.2% | 311276.9857 | 290074.1822 | 2
20174 | 2017-04-30 | 124.2104 | 370359 | 99.4% | 372594.5674 | 358644.1813 | 3
20175 | 2017-05-31 | 123.2558 | 359810 | 99.5% | 361618.0905 | 355888.707 | 4
20176 | 2017-06-30 | 132.3822 | 382085 | 98.9% | 386334.6815 | 382232.2977 | 5
20177 | 2017-07-31 | 128.2637 | 357555 | 99.4% | 359713.2797 | 370344.2857 | 6
20178 | 2017-08-31 | 113.0984 | 334492 | 99.9% | 334826.8268 | 326569.0519 | 7
20179 | 2017-09-30 | 95.9602 | 294322 | 99.3% | 296396.7774 | 277099.3365 | 8
201710 | 2017-10-31 | 81.6981 | 255220 | 99.7% | 255987.9639 | 235931.3376 | 9
201711 | 2017-11-30 | 49.7371 | 153491 | 99.9% | 153644.6446 | 143675.2226 | 10
201712 | 2017-12-31 | 36.6975 | 94590 | 99.9% | 94684.6847 | 106035.8558 | 11
20181 | 2018-01-31 | 46.0702 | 119420 | 99.1% | 120504.5409 | 133090.4916 | 12
20182 | 2018-02-28 | 59.96 | 183365 | 99.6% | 184101.4056 | 173183.7836 | 1
20183 | 2018-03-31 | 86.7395 | 246935 | 99.4% | 248425.5533 | 250483.4965 | 2
20184 | 2018-04-30 | 93.6081 | 284592 | 0% |  | 270309.9936 | 0
20185 | 2018-05-31 | 104.9233 | 0 | 0% |  | 302971.6354 | 0
20186 | 2018-06-30 | 124.682 | 0 | 0% |  | 360005.6192 | 0
20187 | 2018-07-31 | 149.9561 | 0 | 0% |  | 432959.8962 | 0
20188 | 2018-08-31 | 136.2398 | 0 | 0% |  | 393367.253 | 0
20189 | 2018-09-30 | 115.5191 | 0 | 0% |  | 333556.5373 | 0
201810 | 2018-10-31 | 24.0897 | 0 | 0% |  | 69643.2056 | 0
201811 | 2018-11-30 | 0 | 0 | 0% |  |  | 0
201812 | 2018-12-31 | -67.3397 | 0 | 0% |  | -194270.1261 | 0
20191 | 2019-01-31 | -158.7691 | 0 | 0% |  | -458183.4579 | 0
20192 | 2019-02-28 | 0 | 0 | 0% |  |  | 0
20193 | 2019-03-31 | -250.1985 | 0 | 0% |  | -722096.7896 | 0
20194 | 2019-04-30 | -341.6279 | 0 | 0% |  | -986010.1213 | 0
20195 | 2019-05-31 | 0 | 0 | 0% |  |  | 0
20196 | 2019-06-30 | -433.0573 | 0 | 0% |  | -1249923.453 | 0
20197 | 2019-07-31 | -524.4867 | 0 | 0% |  | -1513836.7848 | 0
20198 | 2019-08-31 | 0 | 0 | 0% |  |  | 0
20199 | 2019-09-30 | -615.9161 | 0 | 0% |  | -1777750.1165 | 0
201910 | 2019-10-31 | -707.3455 | 0 | 0% |  | -2041663.4482 | 0
201911 | 2019-11-30 | 0 | 0 | 0% |  |  | 0
201912 | 2019-12-31 | -798.7749 | 0 | 0% |  | -2305576.7799 | 0
20201 | 2020-01-31 | -890.2043 | 0 | 0% |  | -2569490.1117 | 0
20202 | 2020-02-29 | 0 | 0 | 0% |  |  | 0
20203 | 2020-03-31 | -981.6337 | 0 | 0% |  | -2833403.4434 | 0
20204 | 2020-04-30 | -1073.0631 | 0 | 0% |  | -3097316.7751 | 0
20205 | 2020-05-31 | 0 | 0 | 0% |  |  | 0
20206 | 2020-06-30 | -1164.4925 | 0 | 0% |  | -3361230.1068 | 0
20207 | 2020-07-31 | -1255.9219 | 0 | 0% |  | -3625143.4386 | 0
20208 | 2020-08-31 | 0 | 0 | 0% |  |  | 0
20209 | 2020-09-30 | -1347.3513 | 0 | 0% |  | -3889056.7703 | 0
202010 | 2020-10-31 | -1438.7807 | 0 | 0% |  | -4152970.102 | 0
202011 | 2020-11-30 | 0 | 0 | 0% |  |  | 0
202012 | 2020-12-31 | -1530.2101 | 0 | 0% |  | -4416883.4337 | 0
20211 | 2021-01-31 | -1621.6395 | 0 | 0% |  | -4680796.7655 | 0
20212 | 2021-02-28 | 0 | 0 | 0% |  |  | 0
20213 | 2021-03-31 | -1713.0689 | 0 | 0% |  | -4944710.0972 | 0
20214 | 2021-04-30 | -1804.4983 | 0 | 0% |  | -5208623.4289 | 0
20215 | 2021-05-31 | 0 | 0 | 0% |  |  | 0
20216 | 2021-06-30 | -1895.9277 | 0 | 0% |  | -5472536.7606 | 0
20217 | 2021-07-31 | -1987.3571 | 0 | 0% |  | -5736450.0924 | 0
Note on D1: Feyswal Assiandi (3E): Only consider complete months and complete years for the correlation and then use remaining complete months to calculate uncertainty
Note on R1: Feyswal Assiandi (3E): Copy/paste the months you want to use for the correlation (only by groups of 12 consecutive months)
Note on S1: Feyswal Assiandi (3E): Baisser la formule pour considérer toute la période sélectionnée
Note on T1: Feyswal Assiandi (3E): Baisser la formule pour considérer toute la période sélectionnée
Note on AE1: Feyswal Assiandi (3E): Copy/paste all complete months that can be used for testing accuracy of the correlation
Note on AF1: Feyswal Assiandi (3E): Baisser la formule pour considérer toute la période sélectionnée
Note on AG1: Feyswal Assiandi (3E): Baisser la formule pour considérer toute la période sélectionnée
Note on J21: Feyswal Assiandi (3E): Please recopy the value of the trendline equation