## HST BENCH FORM
DATE | Acceptable Range : LOW (CC) | ACTUAL EXPANSION READING (CC) | Acceptable Range : HIGH (CC) | EXPECTED PRESSURE READING (PSI) (A) | ACTUAL PRESSURE READING (PSI) (B) | S/N OF CALIBRATED CYLINDER: SCC1705-1478
| 0 | 0 | 0 | 0 | 0
(dd/mm/yyyy) | 32.8 |  | 33.4 | 3000
N°_____/______ | 43.8 |  | 44.6 | 4000 |  | Prior calibration test, the calibration cylinder must be pressurized 2 times at 8000 PSI to enable it to strectch. When the "EXPECTED EXPANSION READING" is not 0 à the end of the calibration test, a new calibration test must be renewed. Defected reports must be recorded
| 54.9 |  | 55.9 | 5000
TIME | 66 |  | 67.2 | 6000
| 77.3 |  | 78.7 | 7000
RETEST OPERATOR: | 88.5 |  | 90.1 | 8000
| 0 |  | 0 | 0 | 0
DATE | Acceptable Range : LOW (CC) | ACTUAL EXPANSION READING (CC) | Acceptable Range : HIGH (CC) | EXPECTED PRESSURE READING (PSI) (A) | ACTUAL PRESSURE READING (PSI) (B) | S/N OF CALIBRATED CYLINDER: SCC1705-1478
| 0 | 0 | 0 | 0 | 0
(dd/mm/yyyy) | 32.8 |  | 33.4 | 3000
N°_____/______ | 43.8 |  | 44.6 | 4000 |  | Prior calibration test, the calibration cylinder must be pressurized 2 times at 8000 PSI to enable it to strectch. When the "EXPECTED EXPANSION READING" is not 0 à the end of the calibration test, a new calibration test must be renewed. Defected reports must be recorded
| 54.9 |  | 55.9 | 5000
TIME | 66 |  | 67.2 | 6000
| 77.3 |  | 78.7 | 7000
RETEST OPERATOR: | 88.5 |  | 90.1 | 8000
| 0 |  | 0 | 0 | 0