## LISTE GENERALE
[13 empty] | NOMENCLATURE GENERALE | [8 empty] | DATE : | #REF!
Optimisation du traitement de la station d'* de *
[22 empty] | INDICE : A | #REF!
INDICE | Base / Option | Doublons | ZONE | Codification | Commande | Rang | Mesure | Fourniture | Pose | CATEGORIE | Lot_elec | TYPE DEMARRAGE | DESIGNATION | AJOUTER UN COMMENTAIRE | Description de la Commande | DN | PN | Matière | Fermeture | Qualité | Fourniture2 | Localisation /Ouvrage | Commentaires | Tiret
[13 empty] | UNITE FONCTIONNELLE 1 : EAU BRUTE | [10 empty] | TRUE
A | Base | AEPPS-1 | AEP | PS | - | 1
A | Base | AEPAIT-1température | AEP | AIT | - | 1 | température
A | Base | AEPAIT-2pH | AEP | AIT | - | 2 | pH
A | Base | AEPVBOH1 | AEP | VBO | H | 1
A | Base | AEPVBOL2 | AEP | VBO | L | 2
A | Base | #REF! | AEP | VBO | P | 3
A | Base | AEPCPU-1 | AEP | CPU | - | 1
A | Base | AEPAML-1 | AEP | AML | - | 1
A | Base | AEPAML-2 | AEP | AML | - | 2
A | Base | AEPCL-1 | AEP | CL | - | 1
A | Base | AEPDD-1 | AEP | DD | - | 1
UNITE FONCTIONNELLE 2 :
A | Base | GAZPS-1 | GAZ | PS | - | 1
A | Base | GAZPS-2 | GAZ | PS | - | 2
UNITE FONCTIONNELLE 3 :
A | Base | FPCPS-1 | FPC | PS | - | 1
UNITE FONCTIONNELLE 4 :
A | Base | PELPS-1 | PEL | PS | - | 1
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
A | Base | [6 empty] | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A |  | #N/A | [5 empty] | #N/A
AJOUTER LES UF

## README
Codification | DESIGNATION | CATEGORIE | Lot_elec | Fourniture | Pose | Colonne1 | Ajout1 | Ajout2 | Ajout3 | Ajout4 | Ajout5 | Ajout6 | TYPE DE DEMARRAGE : | DIRECT | VARIATEUR | DEMARREUR | LISTE_DEMARRAGE | LISTE_TYPE | LISTE_ELEC | Codif. Interne | LISTE_FOURNITURE | Codif. Interne |  | Filtre N°2.1 | MATIERES | QUALITE | PN | EQUIVALENCES |  | DN | Choix |  | Filtre N°1 | Rang
AFB | Floculateur à barrière | EQUIPEMENT | - | EQP | ST | [7 empty] | Ajout1 | D1 | V1 | DEM1 | DIRECT | EQUIPEMENT | - | Sans objet | EXT | Existant |  | Commande | - | - | PN10 | 1/8" |  | 5 | Base |  | Zone de traitement | -
AM | Malaxeur | EQUIPEMENT | M | EQP | ST | [7 empty] | Ajout2 | D2 | V2 |  | VARIATEUR | ROBINETTERIE | D | Détection | EQP | SAUR | PID | Description de la Commande | ABS | 1,4307 (304L) | PN16 | 1/4" | 8x13 | 8 | Option | LISTE_PID | DESCRITPTION | 1
AML | Mélangeur en ligne | EQUIPEMENT | - | EQP | ST | [7 empty] | Ajout3 |  | V3 |  | DEMARREUR | ACCESSOIRES | I | Instrumentation | ELEC | Electricité | - | / | Acier | 1,4404 (316L) | PN20 | 3/8" | 12x17 | 10 | FIN | ABO | Aire à Boues | 2
APB | Pont Brosse | EQUIPEMENT | M | EQP | ST | [12 empty] | INSTRUMENTATION | M | Moteur | MON | MONTEUR | AP | ACTIONNEUR POSITIONNEUR | Alu | 1,4541 (321) | PN25 | 1/2" | 15x21 | 15 |  | ACO | Air comprimé (service) | 3
AS | Turbine d’aération surface | EQUIPEMENT | M | EQP | ST | [12 empty] | SERRURERIE | A DEFINIR | A DEFINIR | VRD | VRD | H | COMMANDE MANUELLE | Fonte | 1,4571 (316Ti) | PN40 | 3/4" | 20x27 | 20 |  | AEP | Eau potable | 4
ASS | Turbine d’aération submersible | EQUIPEMENT | M | EQP | ST | [12 empty] | MATIERE |  |  | GC | GC | L | COMMANDE PAR FLOTTEUR | Inox | ACS | PN60 | 1" | 26x34 | 25 |  | ALA | Air de lavage | 5
AT | Agitateur | EQUIPEMENT | M | EQP | ST | [12 empty] | TUYAUTERIE |  |  | ELM | ELECCTROMONTAGE | V | COMMANDE PAR SERVO MOTEUR | Laiton | Biorienté | PN100 | 1 1/4" | 33x42 | 32 |  | ANB | Anti-bélier | 6
ATS | Agitateur Submersible | EQUIPEMENT | M | EQP | ST | [15 empty] | ST | SOUS-TRAITANCE | P | COMMANDE PNEUMATIQUE à membrane (double effet) | PEHD | Brut | - | 1 1/2" | 40x49 | 40 |  | BAC | Bassin de Contact | 7
BB | Presse à bande | EQUIPEMENT | M | EQP | ST | [15 empty] | SERR | SERRURERIE | N | COMMANDE PNEUMATIQUE à membrane (ferme/defaut) | PET | CR16 |  | 2" | 50x60 | 50 |  | BAE | Bassin d'Aération | 8
BC | Compacteur à piston | EQUIPEMENT | M | EQP | ST | [13 empty] | Filtre avancé README ELEC "I" et "D" |  | A DEFINIR | A DEFINIR | B | COMMANDE PNEUMATIQUE à membrane (ouvert/defaut) | Polyamide | CR4 |  | 2 1/2" | 66x76 | 65 |  | BAX | Bassin d'Anoxie | 9
BCP | Centrale Polymères | EQUIPEMENT | M | EQP | ST | [13 empty] | Lot_elec | Codif. Interne |  |  | F | COMMANDE PNEUMATIQUE à vérin double effet | PTFE | CR8 |  | 3" | 80x90 | 80 |  | BER | Bâche d'eau récupérée et toutes eaux | 10
BD | Pot de dégazage | EQUIPEMENT | - | EQP | ST | [13 empty] | *D* | Détection |  |  | E | COMMANDE PNEUMATIQUE à vérin simple effet | PVC | Galva | FIN | 4" | 102x114 | 100 |  | BET | Bâche d'eau traitée | 11
BDR | Dilacérateur | EQUIPEMENT | M | EQP | ST | [13 empty] | *I* | Instrumentation |  |  | S | COMMANDE SOLENOIDE | PVCA | Peint |  | 5" |  | 125 |  | BRE | Bassin de Régulation | 12
BE | Centrifugeuse | EQUIPEMENT | M | EQP | ST | [19 empty] | PVDF | Pression |  | 6" |  | 150 |  | BTA | Bassin Tampon | 13
BEG | Table d’égouttage | EQUIPEMENT | M | EQP | ST | [19 empty] | Tricoclair |  |  | 8" |  | 200 |  | CAE | Cascade d'Aération | 14
BG | Pelletiseur | EQUIPEMENT | - | EQP | ST | [13 empty] | Filtre avancé README ELEC "M" | [5 empty] | Verre |  |  | 10" |  | 250 |  | CAI | Centrale d'Air | 15
BP | Presse à plateau | EQUIPEMENT | M | EQP | ST | [13 empty] | Lot_elec | Codif. Interne | [5 empty] | FIN |  | 12" |  | 300 |  | CAP | Charbon Actif en Poudre | 16
BRN | Retourneur à boues | EQUIPEMENT | M | EQP | ST | [13 empty] | *M* | Moteur | [7 empty] | 14" |  | 350 |  | CBP | CARBOPLUS® | 17
BST | Strainpress (tamis à boues sous pression) | EQUIPEMENT | M | EQP | ST | [22 empty] | 16" |  | 400 |  | CHE | Chenal d'Aération | 18
BV | Vis compacteuse | EQUIPEMENT | M | EQP | ST | [19 empty] | FIN |  |  | 18" |  | 450 |  | CLA | Clarification Secondaire | 19
CA | Filtre à air | EQUIPEMENT | - | EQP | ST | [22 empty] | 20" |  | 500 |  | CLF | Clarifloculateur | 20
CAM | Aérateur à membrane | EQUIPEMENT | - | EQP | ST | [24 empty] | 600 |  | COA | Coagulation | FIN
CAS | Aérateur statique | EQUIPEMENT | - | EQP | ST | [24 empty] | 700 |  | COM | Comptage
CB | Buselures | EQUIPEMENT | - | EQP | ST | [24 empty] | 800 |  | DDO | Désodorisation
CC | Ventilateur centrifuge | EQUIPEMENT | M | EQP | ST | [24 empty] | 900 |  | DEB | Débourbeur
CDP | Disques poreux | EQUIPEMENT | - | EQP | ST | [24 empty] | 1000 |  | DEC | Décantation Primaire
CF | Filtre déshuileur | EQUIPEMENT | - | EQP | ST | [24 empty] | 1200 |  | DEF | Déferrisation
CFC | Filtre à cartouche | EQUIPEMENT | - | EQP | ST | [24 empty] | 1400 |  | DEG | Dégazeur
CH | Ventilateur hélicoïdal | EQUIPEMENT | M | EQP | ST | [26 empty] | DEM | Démanganisation
CI | Compresseur à piston | EQUIPEMENT | M | EQP | ST | [26 empty] | DES | Déshydratation
CL | Lubrificateur | EQUIPEMENT | - | EQP | ST | [26 empty] | DGR | Dégrilleur
COX | Membrane Oxyflex | EQUIPEMENT | - | EQP | ST | [26 empty] | DIP | Digestion Primaire
CP | Compresseur à palettes | EQUIPEMENT | M | EQP | ST | [26 empty] | DIS | Digestion Secondaire
CPD | Pot de décantation | EQUIPEMENT | - | EQP | ST | [26 empty] | DLA | Décantation Lamellaire
CPU | Purgeur condensats | EQUIPEMENT | M | EQP | ST |  | Ajout1: TEST 1; Ajout2: TEST 2; Ajout3: TEST 3 | [19 empty] | DSA | Dessableur/Dégraissage
CR | Compresseur spiralé | EQUIPEMENT | M | EQP | ST | [26 empty] | DVO | Déversoir d'orage
CS | Surpresseur rotatif | EQUIPEMENT | M | EQP | ST | [26 empty] | ECL | Eau chlorée
CSA | Sécheur d'air | EQUIPEMENT | M | EQP | ST | [26 empty] | EDI | Echange d'Ion
CSH | Séparateur d’huile | EQUIPEMENT | - | EQP | ST | [26 empty] | EID | Eau Industrielle
CSI | Silencieux | EQUIPEMENT | - | EQP | ST | [26 empty] | EPA | Epaississeur
CT | Turbo compresseur | EQUIPEMENT | M | EQP | ST | [26 empty] | EXH | Exhaure - Prise d'eau
CU | Purgeur d'air | EQUIPEMENT | M | EQP | ST | [26 empty] | FAG | Fosse a graisses
CV | Compresseur à vis | EQUIPEMENT | M | EQP | ST | [26 empty] | FBA | Filt. Biologique Anoxique
CVE | Ventouse | EQUIPEMENT | - | EQP | ST | [26 empty] | FBI | Filtration Bicouche
DA | Laveur de gaz | EQUIPEMENT | - | EQP | ST | [26 empty] | FBO | Filt. Biologique Aérée
DC | Cheminée | EQUIPEMENT | - | EQP | ST | [26 empty] | FCH | Filtration Charbon
DD | Colonne de dépoussiérage | EQUIPEMENT | - | EQP | ST | [26 empty] | FCO | Filtration Commun
DTO | Torchère | EQUIPEMENT | M | [28 empty] | FLC | Floculation
ECO | Condenseur | EQUIPEMENT | - | EQP | ST | [26 empty] | FLO | Flottation
EDC | Dalle chauffante | EQUIPEMENT | M | EQP | ST | [26 empty] | FNE | Filtration Neutralite
EGL | Echangeur de gaz liquide | EQUIPEMENT | - | EQP | ST | [26 empty] | FPA | Polymère anionique (eau)
EGS | Echangeur de gaz sec | EQUIPEMENT | - | EQP | ST | [26 empty] | FPC | Polymère cationique (boues)
EPC | Pompe à chaleur | EQUIPEMENT | M | EQP | ST | [26 empty] | FPV | Fosse Produits de Vidange
ERE | Refroidisseur | [30 empty] | FSA | Filtration Sable
ETA | Echangeur de chaleur | EQUIPEMENT | - | EQP | ST | [26 empty] | GAZ | Gazomètre
ETB | Echangeur de chaleur 2 | EQUIPEMENT | - | EQP | ST | [26 empty] | GCL | Préparation/injection chlore
FB | Brûleur | [30 empty] | INC | Incinération
FC | Chaudière | EQUIPEMENT | M | EQP | ST | [26 empty] | JAV | Javel
FG | Groupe électrogène | EQUIPEMENT | M | EQP | ST | [26 empty] | KCF | Chlorure ferrique
FR | Four | EQUIPEMENT | M | EQP | ST | [26 empty] | KWA | Injection PAX
FSB | Sécheur a boues | EQUIPEMENT | M | EQP | ST | [26 empty] | LAG | Lagunage
GA | Garde corps | SERRURERIE | - | SERR | SERR | [26 empty] | LAS | Laveur à sables
GBA | Batardeau | SERRURERIE | - | SERR | SERR | [26 empty] | LIB | Lit Bactérien
GC | Clifford | EQUIPEMENT | - | EQP | ST | [26 empty] | LIS | Lit de séchage
GCL | Clapet d'entrée | EQUIPEMENT | - | EQP | ST | [26 empty] | MCP | Préparation/injection charbon
GD | Déversoir | EQUIPEMENT | - | EQP | ST | [26 empty] | MEM | Membrane
GE | Echelle | EQUIPEMENT | - | SERR | SERR | [26 empty] | MER | Mélangeur Rapide
GG | Goulotte | EQUIPEMENT | - | EQP | ST | [26 empty] | OZD | Destruction Ozone
GGB | Glissière de batardeau | SERRURERIE | - | SERR | SERR | [26 empty] | OZI | Interozonation
GGR | Goulotte à graisse | EQUIPEMENT | - | EQP | ST | [26 empty] | OZO | Ozonation Commun
GH | Herse | EQUIPEMENT | M | EQP | ST | [26 empty] | OZP | Préozonation
GJT | Joint tournant | EQUIPEMENT | - | EQP | ST | [26 empty] | OZS | Postozonation
GLA | Module Lamellaire | EQUIPEMENT | - | A DEFINIR | A DEFINIR | [26 empty] | PAC | Stockage/injection CO2
GL | Pont longitudinal (tout type) | EQUIPEMENT | M | EQP | ST | [26 empty] | PEL | Pompage Eau de Lavage
GMD | Membrane double étage | EQUIPEMENT | - | EQP | ST | [26 empty] | PRE | Prétraitement Ensemble
GMS | Membrane simple étage | EQUIPEMENT | - | EQP | ST | [26 empty] | PTE | Poste toutes eaux
GMU | Vanne Murale | EQUIPEMENT | - | EQP | ST | [26 empty] | PTH | Préparation/injection lait de chaux
GP | Porte | EQUIPEMENT | - | SERR | SERR | [26 empty] | PUC | Stockage/injection soude
GR | Trappe | EQUIPEMENT | - | SERR | SERR | [26 empty] | PUD | Injection soude diluée
GRA | Râtelier | EQUIPEMENT | - | EQP | ST | [26 empty] | PUL | Pulvérisation
GRC | Racleur circulaire | EQUIPEMENT | M | EQP | ST | [26 empty] | REA | Réactifs Ensemble
GRE | Registre d’isolement | EQUIPEMENT | - | EQP | ST | [26 empty] | REC | Recirc. Boues (Pompage)
GRL | Racleur dessableur longitudinal | EQUIPEMENT | M | EQP | ST | [26 empty] | REL | Relèvement (Pompage)
GRR | Pont racleur | EQUIPEMENT | M | EQP | ST | [26 empty] | REP | Reprise (Pompage eau traitée)
GRS | Pont racleur sucé | EQUIPEMENT | M | EQP | ST | [26 empty] | RES | Réservoir
GS | Distributeur d'arrosage | EQUIPEMENT | - | EQP | ST | [26 empty] | RMI | Reminéralisation
GSR | Serre | EQUIPEMENT | - | EQP | ST | [26 empty] | RPA | Répartition
GT | Pont tournant (tout type) | EQUIPEMENT | M | EQP | ST | [26 empty] | RPP | Préparation/injection Permanganate
GU | Supportage tuyauterie | TUYAUTERIE | - | EQP | ST | [26 empty] | SAT | Saturateur
GVT | Vanne télescopique | EQUIPEMENT | - | EQP | ST | [26 empty] | SEC | Séchage Thermique
GX | Chaudronnerie diverse | EQUIPEMENT | - | EQP | ST | [26 empty] | SIL | Silo à Boues
HY | Centrale Hydraulique | EQUIPEMENT | M | EQP | ST | [26 empty] | STO | Stockeur Boues Liquides
JA | Filtre à air | EQUIPEMENT | - | EQP | ST | [26 empty] | TAM | Tamisage
JB | Batterie chauffante - CTA | EQUIPEMENT | M | EQP | ST | [26 empty] | TDB | Traitement des Boues (Général)
JC | Radiateur | EQUIPEMENT | M | ELEC | ELEC | [26 empty] | TDG | Traitement des Graisses
JCH | CTA électrique | EQUIPEMENT | M | A DEFINIR | A DEFINIR | [26 empty] | TDR | Traitement des Refus
JD | Groupe froid | EQUIPEMENT | M | EQP | ST | [26 empty] | TPC | Traitement des Produits de Curage
JDA | Diffuseur Gaine de ventilation | EQUIPEMENT | - | EQP | ST | [26 empty] | ODR | Ouvrage de reception
JE | Ventilateur extracteur en tourelle | EQUIPEMENT | M | EQP | ST | [26 empty] | EBR | Eau Brute
JF | Résistance chauffante | EQUIPEMENT | M | A DEFINIR | A DEFINIR | [26 empty] | AQU | Aqualenc
JG | Gaine de ventilation | EQUIPEMENT | - | EQP | ST | [26 empty] | ELA | Eau de service
JGV | Grille à ventelle | EQUIPEMENT | - | EQP | ST
JH | Déshumidificateur | EQUIPEMENT | M | EQP | ST
JK | Clapet coupe feu | EQUIPEMENT | - | A DEFINIR | A DEFINIR
JL | Climatiseur | EQUIPEMENT | M | ELEC | ELEC
JM | Aérotherme | EQUIPEMENT | M | ELEC | ELEC
JN | Grille de ventilation | EQUIPEMENT | - | EQP | ST
JP | Piège à son | EQUIPEMENT | - | EQP | ST
JQ | CTA - Gaz | EQUIPEMENT | M | A DEFINIR | A DEFINIR
JR | Ruban chauffant ou traceur | EQUIPEMENT | M | A DEFINIR | A DEFINIR
JRV | Registre à ventelle | EQUIPEMENT | - | EQP | ST
JS | Registre de ventilation | EQUIPEMENT | - | EQP | ST
JT | Trappe de désenfumage | EQUIPEMENT | - | GC | GC
JTV | Trappe de visite Gaine de ventilation | EQUIPEMENT | - | EQP | ST
JU | CTA - Eau chaude | EQUIPEMENT | M | A DEFINIR | A DEFINIR
JV | Ventilateur / extracteur mural | EQUIPEMENT | M | A DEFINIR | ELEC
JX | CTA Mixte | EQUIPEMENT | M | A DEFINIR | A DEFINIR
KA | Alarme (avertisseur sonore) | EQUIPEMENT | D | A DEFINIR | A DEFINIR
KI | Interphone | EQUIPEMENT | M | ELEC | ELEC
KIR | Barrière infra rouge | EQUIPEMENT | D | ELEC | ELEC
KT | Téléphone | EQUIPEMENT | M | ELEC | ELEC
KV | Circuit vidéo | EQUIPEMENT | M | ELEC | ELEC
KVL | Voyant lumineux | EQUIPEMENT | D | ELEC | ELEC
MD | Moteur diesel | EQUIPEMENT | - | A DEFINIR | A DEFINIR
ME | Moteur électrique | EQUIPEMENT | M | A DEFINIR | A DEFINIR
ML | Moto réducteur variation électrique | EQUIPEMENT | M | EQP | ST
MM | Moto réducteur | EQUIPEMENT | M | EQP | ST
MR | Moto réducteur variation mécanique | EQUIPEMENT | M | EQP | ST
MV | Moteur électrique à vitesse variable | EQUIPEMENT | M | EQP | ST
NG | Filtregan
NN | Filtronic
NR | Armoire - Coffret électrique | EQUIPEMENT | - | A DEFINIR | ELEC
PA | Pompe à membrane | EQUIPEMENT | M | EQP | ST
PB | Pompe à piston | EQUIPEMENT | M | EQP | ST
PC | Pompe centrifuge | EQUIPEMENT | M | EQP | ST
PD | Pompe doseuse | EQUIPEMENT | M | EQP | ST
PE | Pompe à vide | EQUIPEMENT | M | EQP | ST
PG | Pompe gaveuse à rotor excentré | EQUIPEMENT | M | EQP | ST
PGM | Pompe gaveuse à piston avec malaxeur | EQUIPEMENT | M | EQP | ST
PGP | Pompe gaveuse à piston | EQUIPEMENT | M | EQP | ST
PH | Pompe hydro-éjecteur | EQUIPEMENT | M | EQP | ST
PIM | Pompe immergée (forage) | EQUIPEMENT | M | EQP | ST
PK | Vis de relevage | EQUIPEMENT | M | EQP | ST
PL | Pompe à lobes rotatifs | EQUIPEMENT | M | EQP | ST
PM | Pompe gaveuse à rotor excentre avec malaxeur | EQUIPEMENT | M | EQP | ST
PP | Pompe péristaltique | EQUIPEMENT | M | EQP | ST
PPC | Module hydraulique pour pompe à chaleur
PPN | Pompe pneumatique | EQUIPEMENT | M | EQP | ST
PR | Pompe verticale | EQUIPEMENT | M | EQP | ST
PS | Pompe submersible | EQUIPEMENT | M | EQP | ST
PTU | Pompe en tube | EQUIPEMENT | M | EQP | ST
PV | Pompe à rotor excentré | EQUIPEMENT | M | EQP | ST
PX | Pompe réservoir | EQUIPEMENT | M | EQP | ST
RA | Bac tous types | EQUIPEMENT | - | EQP | ST
RAD | Adoucisseur | EQUIPEMENT | - | EQP | ST
RAG | Filtre à charbon | EQUIPEMENT | - | EQP | ST
RAM | Ballon amortisseur | EQUIPEMENT | - | EQP | ST
RAS | Filtre à sable | EQUIPEMENT | - | EQP | ST
RB | Benne | EQUIPEMENT | - | A DEFINIR | A DEFINIR
RC | Cuve tous types | EQUIPEMENT | - | EQP | ST
RDP | Cuve double peau | EQUIPEMENT | - | EQP | ST
RE | Ensacheur | EQUIPEMENT | - | EQP | ST
RF | Filtre fermé | EQUIPEMENT | - | EQP | ST
RG | Bouteille de gaz | EQUIPEMENT | - | EQP | ST
RGZ | Gazomètre
RH | Ballon hydrophore | EQUIPEMENT | - | EQP | ST
RK | Tank | EQUIPEMENT | - | EQP | ST
RM | Filtre automatique | EQUIPEMENT | M | EQP | ST
RP | Poubelle | EQUIPEMENT | - | EQP | ST
RR | Citerne tous types | EQUIPEMENT | - | EQP | ST
RS | Silo tous types | EQUIPEMENT | - | EQP | ST
RT | Trémie tous types | EQUIPEMENT | - | EQP | ST
RV | Cuve verticale | EQUIPEMENT | - | EQP | ST
RVA | Vase expansion | EQUIPEMENT | - | EQP | ST
SA | Séparateur air | EQUIPEMENT | - | EQP | ST
SAC | Piège à cailloux | EQUIPEMENT | - | EQP | ST
SAT | Filtres sous pression | EQUIPEMENT | - | EQP | ST
SCS | Classificateur à sable | EQUIPEMENT | M | EQP | ST
SCY | Cyclone | EQUIPEMENT | - | EQP | ST
SD | Dépoussiéreur | EQUIPEMENT | M | EQP | ST
SDC | Dégrilleur compacteur à vis (dans canal) | EQUIPEMENT | M | EQP | ST
SEG | Egoutteur vibrant | EQUIPEMENT | M | EQP | ST
SF | Récupérateur de flottants | EQUIPEMENT | - | EQP | ST
SG | Concentrateur à graisses | EQUIPEMENT | M | EQP | ST
SH | Hydrocyclone | EQUIPEMENT | - | EQP | ST
SHY | Séparateur hydraulique | EQUIPEMENT | - | EQP | ST
SLS | Laveur de sable | EQUIPEMENT | M | EQP | ST
SM | Grille manuelle | EQUIPEMENT | - | EQP | ST
SP | Disconnecteur | EQUIPEMENT | - | EQP | ST
SR | Dégrilleur rotatif | EQUIPEMENT | M | EQP | ST
SS | Classificateur à sable avec hydrocyclone | EQUIPEMENT | M | EQP | ST
ST | Tamiseur | EQUIPEMENT | M | EQP | ST
SV | Dégrilleur vertical | EQUIPEMENT | M | EQP | ST
TA | Dévouteur | EQUIPEMENT | M | EQP | ST
TB | Transporteur à bande | EQUIPEMENT | M | EQP | ST
TC | Chariot porte palan | EQUIPEMENT | A DEFINIR | EQP | ST
TCP | Chariot porte potence | EQUIPEMENT | A DEFINIR | EQP | ST
TD | Vis de dosage et transfert | EQUIPEMENT | M | EQP | ST
TDO | Distributeur à oculus
TE | Aube de dévoutage | EQUIPEMENT | M | EQP | ST
TF | Vis flexible de dosage et transfert | EQUIPEMENT | M | EQP | ST
TG | Elévateur à godets | EQUIPEMENT | M | EQP | ST
TIN | Injecteur | EQUIPEMENT | M | EQP | ST
TK | Pied de potence | EQUIPEMENT | - | EQP | ST
TL | Treuil | EQUIPEMENT | A DEFINIR | EQP | ST
TM | Monorail | EQUIPEMENT | - | GC | GC
TN | Grappin | EQUIPEMENT | M | EQP | ST
TO | Potence | EQUIPEMENT | - | EQP | ST
TP | Palan | EQUIPEMENT | - | EQP | ST
TR | Pont roulant | EQUIPEMENT | - | EQP | ST
TS | Sauterelle | EQUIPEMENT | M | EQP | ST
TT | Vis de transfert | EQUIPEMENT | M | EQP | ST
TV | Vibreur de trémie fond vibrant | EQUIPEMENT | M | EQP | ST
TX | Tripode | EQUIPEMENT | - | EQP | ST
UA | Arrêt d'urgence | ACCESSOIRES | D | ELEC | ELEC
UC | Colonne sèche | EQUIPEMENT | - | A DEFINIR | A DEFINIR
UD | Douche de sécurité | EQUIPEMENT | - | EQP | ST
UDP | Coffret de dépotage | EQUIPEMENT | - | EQP | ST
UDS | Coffret de dosage | EQUIPEMENT | - | EQP | ST
UE | Extincteur | EQUIPEMENT | - | EQP | ST
UG | Détecteur de gaz
UH | Bouche d’incendie | EQUIPEMENT | - | A DEFINIR | A DEFINIR
UI | Poteau incendie | EQUIPEMENT | - | A DEFINIR | A DEFINIR
UP | Porte coupe feu | EQUIPEMENT | - | GC | GC
UR | Appareil respiratoire | EQUIPEMENT | A DEFINIR | A DEFINIR | A DEFINIR
UT | Paratonnerre | EQUIPEMENT | - | ELEC | ELEC
UU | Bouée | EQUIPEMENT | - | EQP | ST
UV | Dévidoir | EQUIPEMENT | - | EQP | ST
UY | Rince oeil | EQUIPEMENT | - | EQP | ST
VAL | Vanne alvéolaire | ROBINETTERIE | M | EQP | ST
VBO | Robinet à boisseau | ROBINETTERIE | - | A DEFINIR | ST
VCB | Clapet anti-retour à battant | ROBINETTERIE | - | A DEFINIR | ST
VCD | Clapet à double battant | ROBINETTERIE | - | EQP | ST
VCM | Clapet à membrane | ROBINETTERIE | - | EQP | ST
VCN | Clapet de nez | ROBINETTERIE | - | A DEFINIR | ST
VCP | Clapet de pied crépine | ROBINETTERIE | - | A DEFINIR | ST
VCR | Clapet avec rappel à ressort | ROBINETTERIE | - | EQP | ST
VCS | Clapet anti-retour à soupape | ROBINETTERIE | - | A DEFINIR | ST
VCU | Clapet à boule | ROBINETTERIE | - | A DEFINIR | ST
VCV | Soupape de sureté à dépression | ROBINETTERIE | - | EQP | ST
VDE | Disque d’éclatement | ROBINETTERIE | - | EQP | ST
VDI | Clapet de non retour à soupape | ROBINETTERIE | - | EQP | ST
VDR | Détendeur Régulateur | ROBINETTERIE | - | EQP | ST
VDT | Détendeur | ROBINETTERIE | - | EQP | ST
VE | Venturi | EQUIPEMENT | - | EQP | ST
VEA | Electro-Vanne 2 voies assistée à membrane | ROBINETTERIE | M | A DEFINIR | ST
VEE | Electro-Vanne 2 voies | ROBINETTERIE | M | A DEFINIR | ST
VEJ | Ejecteur | ACCESSOIRES | - | EQP | ST
VEM | Electro-Vanne 4 voies | ROBINETTERIE | M | A DEFINIR | ST
VEP | Electro-Vanne 2 voies à commande séparée | ROBINETTERIE | M | A DEFINIR | ST
VES | Electro-Vanne 3 voies à Cde séparée | ROBINETTERIE | M | A DEFINIR | ST
VET | Electro-Vanne 3 voies | ROBINETTERIE | M | A DEFINIR | ST
VFD | Filtre droit | ROBINETTERIE | - | EQP | ST
VFP | Filtre à décolmatage automatique | ROBINETTERIE | M | EQP | ST
VFY | Filtre en Y | ACCESSOIRES | - | EQP | ST
VGU | Vanne à guillotine | ROBINETTERIE | - | EQP | ST
VMA | Robinet à manchon | ROBINETTERIE | - | EQP | ST
VME | Robinet à membrane | ROBINETTERIE | - | EQP | ST
VP | Pot d'étalonnage | ACCESSOIRES | - | EQP | ST
VPA | Robinet à papillon | ROBINETTERIE | - | EQP | ST
VPO | Robinet pointeau | ROBINETTERIE | - | EQP | ST
VQD | Robinet droit à opercule | ROBINETTERIE | - | A DEFINIR | ST
VQE | Robinet d’équerre | ROBINETTERIE | - | A DEFINIR | ST
VQM | Robinet à 4 voies | ROBINETTERIE | - | EQP | ST
VQT | Robinet à 3 voies | ROBINETTERIE | - | EQP | ST
VSD | Soupape droite | ROBINETTERIE | - | EQP | ST
VSE | Soupape de sureté à surpression | ROBINETTERIE | - | EQP | ST
VSH | Soupape hydraulique | ROBINETTERIE | - | EQP | ST
VSO | Robinet à soupape | ROBINETTERIE | - | EQP | ST
VSP | Séparateur | ROBINETTERIE | - | EQP | ST
VST | Stabilisateur d’écoulement | ROBINETTERIE | - | EQP | ST
VTA | Distributeur tiroir 3.2 NF | ROBINETTERIE | M | EQP | ST
VTB | Distributeur tiroir 3.2 NO | ROBINETTERIE | M | EQP | ST
VTV | Distributeur tiroir 5.2 | ROBINETTERIE | M | EQP | ST
XAB | Adaptateur à bride | ACCESSOIRES | - | EQP | ST
XAT | Adaptateur à talon | ACCESSOIRES | - | EQP | ST
XBA | Adaptateur à bride autobuté | ACCESSOIRES | - | EQP | ST
XBP | Buse de pulvérisation (eau) | ACCESSOIRES | - | EQP | ST
XBR | Bouche d’arrosage | ACCESSOIRES | - | EQP | ST
XCI | Canne d’injection | ACCESSOIRES | - | EQP | ST
XCP | Crépine | ACCESSOIRES | - | EQP | ST
XDH | Orifice calibré | ACCESSOIRES | - | EQP | ST
XFL | Flexible | ACCESSOIRES | - | EQP | ST
XJD | Joint de démontage autobuté | ACCESSOIRES | - | EQP | ST
XJV | Compensateur dilatation | ACCESSOIRES | - | EQP | ST
XMA | Mise à l’atmosphère - évent | ACCESSOIRES | - | EQP | ST
XME | Mise à l’égout | ACCESSOIRES | - | EQP | ST
XMR | Mélangeur en ligne | ACCESSOIRES | - | EQP | ST
XMT | Manchette translucide | ACCESSOIRES | - | EQP | ST
XPF | Pare-flamme | ACCESSOIRES | - | EQP | ST
XPP | Raccord prise de pression | ACCESSOIRES | - | EQP | ST
XRA | Raccord type manchon | ACCESSOIRES | - | EQP | ST
XRC | Réduction concentrique | TUYAUTERIE | - | EQP | ST
XRD | Rampe de diffusion d’air | ACCESSOIRES | - | EQP | ST
XRE | Réduction excentrique | TUYAUTERIE | - | EQP | ST
XRP | Rampe de diffusion d’eau | ACCESSOIRES | - | EQP | ST
XRR | Raccord rapide | ACCESSOIRES | - | EQP | ST
XSI | Siphon | ACCESSOIRES | - | GC | GC
XTB | Adaptateur à talon autobuté | ACCESSOIRES | - | EQP | ST
XUV | Lampes UV | EQUIPEMENT | M | EQP | ST
ZB | Peson | ACCESSOIRES | A DEFINIR | EQP | ST
ZP | Pont peseur | ACCESSOIRES | A DEFINIR | EQP | ST
ZU | Balance | ACCESSOIRES | M | EQP | ST
AIT | Analyseur | INSTRUMENTATION | I | EQP | ST |  | Ajout1: Signal analogique mesure; Ajout2: Information de défaut transmetteur mesure
FI | Indicateur de débit | INSTRUMENTATION | I | EQP | ST
FIT | Débitmètre | INSTRUMENTATION | I | EQP | ST |  | Ajout1: Signal analogique mesure de débit; Ajout2: Impulsion comptage de débit; Ajout3: Information de défaut mesure analogique
LIT | Mesure de niveau | INSTRUMENTATION | I | EQP | ST |  | Ajout1: Signal analogique mesure de hauteur; Ajout2: Information de défaut mesure analogique
LSH | Détection de niveau haut | INSTRUMENTATION | D | EQP | ST
LSHH | Détection de niveau très haut | INSTRUMENTATION | D | EQP | ST
LSL | Détection de niveau bas | INSTRUMENTATION | D | EQP | ST
LSLL | Détection de niveau très bas | INSTRUMENTATION | D | EQP | ST
PDT | Mesure de pression différentielle | INSTRUMENTATION | I | EQP | ST
PI | Indicateur de pression | INSTRUMENTATION | - | EQP | ST
PISL | Détection de pression basse | INSTRUMENTATION | I | EQP | ST
PIT | Mesure de pression | INSTRUMENTATION | I | EQP | ST |  | Ajout1: Signal analogique mesure de pression; Ajout2: Information de défaut mesure analogique
MSA | Sable | MATIERE | - | A DEFINIR | A DEFINIR
MGA | Gravier | MATIERE | - | A DEFINIR | A DEFINIR
MCA | Charbon actif en grain | MATIERE | - | EQP | ST
MCP | Charbon actif en poudre | MATIERE | - | EQP | ST
MAH | Anthracite | MATIERE | - | EQP | ST
MNE | Neutralite | MATIERE | - | EQP | ST
MPO | Pouzzolane | MATIERE | - | EQP | ST
MPP | Pierre ponce | MATIERE | - | EQP | ST
MSE | Sessil | MATIERE | - | EQP | ST
MGO | Garnissage ordonné | MATIERE | - | EQP | ST
MTU | Element tubulaire | MATIERE | - | EQP | ST
MAT | Anneau thermoplastique type "Raschig" | MATIERE | - | EQP | ST
MPY | Polystyrène | MATIERE | - | EQP | ST
MRE | Résine échangeuse d'ions | MATIERE | - | EQP | ST